## Pricing schedule
Name, Nature and Location
The project consists of rebuilding boundry wall, concrete paving, patio and drainage works. to 60 Cedar way, Penarth, CF64 3NN
Contract Timescales
Commencement Date: TBA
Contract Period: 4 Weeks
Completion Date: TBA
Employer:
Vale of Glamorgan Council, The Alps Depot, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
Contract Administrator:
Vale of Glamorgan Council, The Alps Depot, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
N.B. It is strongly recommended that the contractor visits the site to determine sizes, access and all local conditions and restrictions likely to affect the works. No claim whatsoever will be entertained by the employer resulting from failure to properly ascertain conditions and restrictions which may affect the works.
All works included within this Schedule are to be priced in accordance with the relevant Specification, attachments, drawings and all other documentation. Tenders may be rejected if the information asked for in the ITT, Specification and pricing scheduleda are not completed in full at the time of tendering. Faiure to complete all cells/sections may lead to the tender being rejected .The use of "included" should be avoided. Where cells/sections do not apply they should be marked as "N/a"
During the works, the contractor is to provide sufficient & appropriate protection to all structures and surfaces to prevent damage. Any dust, dirt, moisture etc. created by the works is to be fully cleaned on a daily basis and as required to prevent spread of dirt & dust to other areas.
Signals to all data services (TV, Sky etc.) are to be maintained to all properties/blocks, as appropriate, through-out the contract.
The contractor is to devise a safe means of access to all points of work, which will also allow for regular an safe pedestrian movement This will be assessed by and agreed with the Contract Administrator prior to commencement of works. The nature of the works means that a fixed means of access such as a standard scaffold, may in cases not be appropriate whilst working at height.. Safe and suitable working platforms must be provided with a full and unbroken working area in complaince with health nd safety and constructions standards..
All waste is to be disposed to registered waste disposal or recyling unit
It is the responsibility of the tendering contractor to bring to the attention of the contract administrator any queries with regard to his tender submission prior to the tender submission date. Any query that is raised after the award of contract that should have been raised during the tender stage will be completed by the contractor at no additional cost to the client.
Applications for payments should identify %age of completion and be agreed with contract administrator on a monthly basis.
Notes
Drawing/Info included: VOGC Specification S- concrete posts VOGC Specification K- paths and steps VOGC Specification U- patio slabs
| Description | Qty | Unit | Rate | £. P
Preliminaries (including but not limited to)
Time related charges
| Head office support/ General administration | 1 | Wks |  | 0
| Site supervision | 1 | Wks |  | 0
| Tenant liaison | 1 | Wks |  | 0
| Principal Contractor | 1 | Wks |  | 0
| Site set up and demobilisation including connections and disconnections of temporary services | 1 | Wks |  | 0
| Accommodation - welfare Installation, site Set Up (Delivery, Installation & Hire, cleaning and removal.) | 1 | Wks |  | 0
| Site Security Fencing/ Hoardings and the like (dellivery, set up and removal) | 1 | Wks |  | 0
| Insurances, permits fees and contracts | 1 | Wks |  | 0
| Performance Bond | N/a | N/a |  | N/a
| Preliminaries weekly total |  |  |  | 0
| Total time related charges over contract period | 4 | wkks |  | 0
Preliminaries (Fixed charges )
| Plant and equipment |  | Wks |  | 0
| Scaffolding, lifts, and the like |  | Wks |  | 0
| Surveys, Photography pre condition and completion |  | Item |  | 0
| Protection of existing landscaping, structures & surfaces, etc. |  | Wks |  | 0
| Waste disposal, skips and the like |  | Item |  | 0
| Safety equipment , PPE traffic management and deliveries |  | Item |  | 0
| Legal Fees |  | Item |  | 0
| Inspection, Testing, commissioning and training |  | Item |  | 0
| Signage |  | Wks |  | 0
| Client meetings | 1 | No |  | 0
| Training and induction |  | Item |  | 0
| Cleaning |  | Item |  | 0
| Attendance and management |  | Item |  | 0
| Risk management |  | % |  | 0
| Preliminaries (Fixed charges ) |  |  |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | £. P
Blockwork
1 | Supply and install concrete single splitface blockwork to front garden wall, work to include the safe removal of rotten timber fencing, top section of concrete block peers and all loose exisitng blockwork. New finish height of wall to be approximatly 1m from public footpath. | 6 | m2 |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | £. P
Paving
2 | Supply and install new concrete paving to perimeter of property, path to be 900mm wide and to be 150mm lower than DPC/EWI finish height and 100mm away from brick work of property, see attached NHBC Paving Specification chapter 10.2.6, work to include the removal of surrounding paving slabs to allow installation of new path. | 20 | m2 |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | £. P
Patio
3 | Supply and install concrete slab patio area to rear of property. Work to include the removal of exisitng broken up concrete base and associated subbase. | 10 | m2 |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | £. P
Fencing
4 | Supply and install concrete post timber fencing to side elevation of property, fence to include lockable gate. No fixings should be driven into exisitng EWI, see attached fencing specification | 5 | Lm |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | £. P
Drainage
5 | Supply and install manhole cover, work to include the removal of exisitng and making good brick work haunching | 1 | item |  | 0
6 | Remove exisitng brick work surrounding gully outlets and take from site to allow free flow of rainwater run off | 2 | item |  | 0
7 | Supply and install channel drainage to area between pation and paving, including linking to exisitng gully | 5 | Lm |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | £. P
Provisional Sums
8 | Allow £1000.00 for the removal of any unforeseen Asbestos containing materials | 1 | Items | 1000 | 1000
Contingencies
9 | Contingencies Include the sum of £2500 for unforeseen works |  |  | 2500 | 2500
Carried to Main Summary
| Page 4 Blockwork |  |  |  | 0
| Page 4 Paving |  |  |  | 0
| Page 4 Patio |  |  |  | 0
| Page 4 Fencing |  |  |  | 0
| Page 4 Drainage |  |  |  | 0
| Tender summary 1 |  |  |  | 0
| Provisional Sums |  |  |  | 1000
| Tender summary 2 |  |  |  | 1000
| Contingencies |  |  |  | 2500
| Tender summary3 |  |  |  | 3500
| Page 2 Preliminaries |  |  |  | 0
| Total to tender |  |  |  | 4500
| Community Benefits Percentage Included |  | % | 0% | 0
Schedule of rates and Variations to be priced as items below
Day Works.
Include the following Provisional Sums
Section A
| Labour - The rate should be inclusive of overheads & profit | 1 | Hours
Tradesman
| Labourer | 1 | Hours
Section B
| Materials and Goods |  | %
Incidental costs, overheads and profit.
Section C
| Plant |  | %
Incidental costs, overheads and profit.
| Section D |  | %
NHF schedule of rates Version 7.1