## Price Evaluation
MVH25002 – Heating Servicing, Repairs and Installation
Bidders are advised to carefully read and adhere to the instructions set out below when completing this price schedule.
Lot Selection
Bidders should only complete pricing for those Lots they are actively bidding for. Bidders are not required to bid for all Lots. Submitting pricing for a Lot will be taken as confirmation that the bidder is offering to deliver the specified services within that Lot if successful.
Lot Evaluation Methodology
Lots 1 to 5 will be evaluated based on the absolute pricing provided in the completed price schedule. These Lots will follow a standard price/quality ratio as set out in the Invitation to Tender. Pricing to be evaluated inclusive of VAT. Lots 6 to 8 will be evaluated based on the percentage adjustment (positive or negative) submitted against the NHF Schedule of Rates Version 7.2. The submitted percentage will be applied across a representative sample basket of works to determine the evaluated price score. Note the NHF Schedule of Rates is exclusive of VAT.
If you identify any issues with the spreadsheet please raise the issue via Sell2Wales.

## Lot 1
Supplier:
Lot 1 - Gas Servicing and Repairs (to include solid fuels)
The tendered Rates for Servicing and Repair of Domestic Solid Fuel and Gas Heating systems set out in the below table should include all costs of complying with the Service Provider’s obligations under this Contract. This includes preliminaries costs, Central Overheads and Profit. Prices should be inclusive of VAT.
Area | Item | Description | Unit of Measure | Quantity | Tendered Rate (per single unit per Year) | Annual Total (qty x annual value) | Comments
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – SOLID FUEL | Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of solid fuel appliance and all components of wet central heating radiator systems, provision and renewal of replacement parts to the appliance including but not being limited controls, radiators, radiator valves, pumps, pipework, tanks and cylinders, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 8 | 0 | 0
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – GAS BOILER | Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of gas fired boiler or heating appliance [backboiler with fire front, traditional floor or wall mounted combination, condensing, warm air unit] and all components of wet central heating radiator systems, provision and renewal of replacement parts to boiler and system including but not being limited controls, radiators, radiator valves, pumps, pipework, tanks and cylinders, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 4089 | 0 | 0
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – GAS BOILER AND ADDITIONAL APPLIANCE | These costings will be utilised in cases that MVH wish the contractor to take on additional work. Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of gas fired boiler or heating appliance [backboiler with fire front, traditional floor or wall mounted combination, condensing, warm air unit, gas fire, multipoint or wall heater] with an additional gas fire, balance flue wall heater or single or multipoint water heater and all components of wet central heating radiator systems, provision and renewal of replacement parts to boiler and system including but not being limited controls, radiators, radiator valves, pumps, pipework, tanks and cylinders, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 0 | 0 | 0
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – 1 GAS INDEPENDENT APPLIANCE | These costings will be utilised in cases that MVH wish the contractor to take on additional work. Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of gas fire, balanced flue wall heater or single or multipoint water heater as only gas fired appliance in dwelling or building, provision and renewal of replacement parts to appliance including but not being limited controls, pumps, pipework, etc, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 0 | 0 | 0
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – 2 GAS INDEPENDENT APPLIANCES | These costings will be utilised in cases that MVH wish the contractor to take on additional work. Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of gas fire, balanced flue wall heater or single or multipoint water heater with an additional gas fire, balanced flue wall heater or single or multipoint water heater as only gas fired appliance in dwelling or building, provision and renewal of replacement parts to appliance including but not being limited controls, pumps, pipework, etc, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 0 | 0 | 0

## Lot 2
Supplier:
Lot 2 - Solar Thermal Servicing and Repairs
The tendered Rates for Servicing and Repair of Domestic Solar Thermal Heating systems set out in the below table should include all costs of complying with the Service Provider’s obligations under this Contract. This includes preliminaries costs, Central Overheads and Profit. Prices should be inclusive of VAT.
Area | Item | Description | Unit of Measure | Quantity | Tendered Rate (per single unit per Year) | Annual Total (qty x annual value) | Comments
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – SOLAR THERMAL | Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of solar thermal and all components of wet central heating radiator systems, provision and renewal of replacement parts to the appliance including but not being limited controls, radiators, radiator valves, pumps, pipework, tanks and cylinders, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 124 | 0 | 0

## Lot 3
Supplier:
Lot 3 - Air Source Heat Pump Servicing and Repairs
The tendered Rates for Servicing and Repair of Domestic Air Source Heat Pump Heating systems set out in the below table should include all costs of complying with the Service Provider’s obligations under this Contract. This includes preliminaries costs, Central Overheads and Profit. Prices should be inclusive of VAT.
Area | Item | Description | Unit of Measure | Quantity | Tendered Rate (per single unit per Year) | Annual Total (qty x annual value) | Comments
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – AIR SOUCE HEAT PUMP (ASHP) | Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of air source heat pump and all components of wet central heating radiator systems, provision and renewal of replacement parts to the appliance including but not being limited controls, radiators, radiator valves, pumps, pipework, tanks and cylinders, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 22 | 0 | 0

## Lot 4
Supplier:
Lot 4 - Solar PV Servicing and Repairs
The tendered Rates for Servicing and Repair of Domestic Solar PV Heating systems set out in the below table should include all costs of complying with the Service Provider’s obligations under this Contract. This includes preliminaries costs, Central Overheads and Profit. Prices should be inclusive of VAT.
Area | Item | Description | Unit of Measure | Quantity | Tendered Rate (per single unit per Year) | Annual Total (qty x annual value) | Comments
Maintenance Domestic | SERVICE & MAINTAIN:UNDERTAKE ANNUAL MAINTENANCE OF HEATING SYSTEM – AIR SOUCE HEAT PUMP (ASHP) | Service & Maintain: Undertake during the year the service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] any type of air source heat pump and all components of wet central heating radiator systems, provision and renewal of replacement parts to the appliance including but not being limited controls, radiators, radiator valves, pumps, pipework, tanks and cylinders, all builder’s work, test as necessary, provision of maintenance and repair records and make good. [Per Dwelling per year] | Properties | 50 | 0 | 0

## Lot 5
Supplier:
Lot 5 - Commercial Gas Servicing and Repairs
The tendered Rates for Servicing and Repair of Commercial Gas Heating systems set out in the below table should include all costs of complying with the Service Provider’s obligations under this Contract. This includes preliminaries costs, Central Overheads and Profit. Prices should be inclusive of VAT.
Area | Item | Description | Unit of Measure | Quantity | Tendered Rate (per single unit per Year) | Annual Total (qty x annual value) | Comments
Maintenance Commercial | SERVICE & MAINTAIN: UNDERTAKE ANNUAL MAINTENANCE OF GAS FIRED COMMUNAL HEATING SYSTEM – FIRST BOILER | Service & Maintain: Undertake during the year service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] to the whole of the centralised commercial type gas fired boiler installation within a boiler room including associated controls, pumps, calorifiers etc which may be located outside of the boiler room, boiler not exceeding 80kwh including communal wet central heating radiator system, provision and renewal of replacement parts to boiler and system including but not being limited to, controls, radiators, radiator valves, pumps, pipework, tanks and cylinders, test and make good all as specified. [Per Installation and System per year] | Properties | 4 | 0 | 0
Maintenance Commercial | SERVICE & MAINTAIN: UNDERTAKE ANNUAL MAINTENANCE OF GAS FIRED COMMUNAL HEATING SYSTEM – ADDITIONAL BOILERS | Service & Maintain: Undertake during the year service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] to the whole of the centralised commercial type gas fired boiler installation in the boiler room, boiler not exceeding 80kwh including inspection of communal wet central heating radiator system, provision and renewal of replacement parts to boiler, test and make good all as specified. [Per additional boiler in boiler room per year] | Properties | 3 | 0 | 0
Maintenance Commercial | SERVICE & MAINTAIN: UNDERTAKE ANNUAL MAINTENANCE OF GAS FIRED COOKER RANGE | These costings will be utilised in cases that MVH wish the contractor to take on additional work. Service & Maintain: Undertake during the year service, maintenance and repair in response to breakdown callouts [at any time including out of hours emergency callouts] to any commercial type of gas fired cooking range and associated controls, fittings, pipework etc, including provision and renewal of replacement parts to appliance including controls, test and make good all as specified. [Per Appliance per year] | Properties | 0 | 0 | 0
Maintenance Commercial | SERVICE & MAINTAIN: UNDERTAKE ANNUAL MAINTENANCE OF GAS FIRED COOKING EQUIPMENT | These costings will be utilised in cases that MVH wish the contractor to take on additional work. Service & Maintain: Undertake during the year service, maintenance and repair in response to breakdown call outs [at any time including out of hours emergency callouts] to any commercial type of gas fired cooking equipment (6 ring hob, deep fat fryer, bain marie, or grill) and associated controls, fittings, pipework etc, including provision and renewal of replacement parts to appliances including controls, test and make good all as specified. [Per Appliance per year] | Properties | 0 | 0 | 0

## Lot 6-8
Supplier:
Lot 6-8 - Installations
Pricing Basis: All unit rates referenced in this pricing schedule are based on the current NHF Schedule of Rates (Version 7.2), which are exclusive of VAT. Bidders are required to submit a single percentage adjustment to apply uniformly across all NHF rates, indicating whether their pricing is above (+%) or below (–%) the published NHF values. This percentage will be used for price evaluation purposes, and no line-by-line unit pricing is required. VAT will be applied separately at the prevailing rate where applicable.
Area | Item | NHF Reference Range | Bidder Adjustment NHF Rate (%) | Comments
Lot 6 | Gas Installations | 13 ****xx | 0%
Lot 7 | Commercial Gas Installations | 13 ****xx | 0%
Lot 8 | Air Source Heat Pump Installations | 13 ****xx | 0%