## Front Sheet
Adra (Tai) Cyf
Volume 4 – Price Framework
in relation to a procurement for Drain Clearance, Investigation and Associated Services to Adra (tai) Cyfyngedig.

## Instructions
Instructions
The Contractor is required to complete the Pricing Framework with the required fee.Contractors are required to complete the Price Framework in full. Adra reserves the right to reject any incomplete submissions.
The Contractor is required to complete the worksheets named 'Blockages, CCTV & Testing' 'Remedial Works' and 'Sustainable Drainage' in their entirety as set out below.
Prices submitted for each item on the worksheet named 'Blockages, CCTV & Testing' 'Remedial Works' and 'Sustainable Drainage' must be based on the details provided in Volume3: Specification and the worksheet named 'Definitions'. Please provide prices for all lines. Prices must be based on delivering all requirements as outlined within the description including people, plant and machinery, disposal of waste, and all other associated deliverables.
Prices must be stated in Sterling (GBP) exclusive of VAT but inclusive of other costs, expenses and disbursements (either in part or in whole) howsoever incurred in the delivery of these services. Please do not amend this pricing template or add additional lines.
The Contractor is required to complete the worksheets named 'Remedial Works' by inserting a % adjustment to the M3NHF Schedule: Planned Maintenance and Property Reinvestment Version 7.1 Rates, as detailed in Column E. The adjusted rates will be shown in Column F.
Contractors should note that the prices submitted as part of their submission will form part of the Agreement Documents with the successful provider and will be 'fixed' for the duration of the contract.
Contractors should note that the estimated quantities contained within the Price Framework are based on Adra’s anticipated requirements and that Adra does not guarantee any minimum level or value of required Services under this Agreement.
Contractors should note that where it is necessary to terminate any part of the provision of these services as a result of (but not restricted to)the removal of certain sites from the schedule for any reason whatsoever, such termination shall be in accordance with the provisions of Clause 31 and Schedule 6 of the Volume 2: Terms & Conditions. For the avoidance of doubt, following such a termination, Adra will immediately cease to be liable for any service charges applicable to that location, and will not be liable for any charges incurred by the contractor as a result of such termination.
Contractors should note that where it is necessary to change any part of the provision of these services, such change shall be in accordance with the provisions of Regulation 21 and Schedule 6 of the Volume 2: Terms & Conditions.
Please Note the prices submitted within the worksheets will be carried over to the Summary Sheet, and the 'Total Price of Services' as will be evaluated as part of the available 70% marks available for the Price

## Definitions
In this price framework, the following definitions of measurement units are applicable:
Unit of measure
hr | per hour
no | per number of each
it | per item
lm | per linear meter
sm | per square meter
cm | per cubic meter
pr | per pair
Drainage
Drainage Rates Deemed to Include as appropriate for the following
Excavation by hand or machine as necessary and appropriate for the location of the work.
Multiple handling of excavated material
Working in or next to existing buildings.
Working next to public footpaths, roads and the like.
Working next to or around existing services, maintaining and protecting as required.
Levelling and compacting formation level, backfilling and compacting selected material and disposal of all surplus excavated material from site.
Earthwork support including everything necessary to uphold the sides of the excavations.
Allowances for working space as necessary for formwork, brickwork, rendering, tanking or similar work including additional excavation, earthwork support, backfilling and disposal.
Blinding surfaces of hardcore beds and filling to excavations with approved fine material.
Disposal of ground and surface water.
Breaking up and removing concrete, brickwork, blockwork, rock and other obstructions.
Sulphate resisting cement where required.
Formwork and temporary support to concrete where required.
Earthwork support including everything necessary to uphold the sides of the excavations
Temporary diversion of existing drains, maintaining flow and subsequently reinstating on completion of the works.
Stopping off ends of redundant drains.
Jointing new drains to existing.
Vertical expansion boards to concrete surrounds at pipe joints.
Coring, cleaning and flushing all drains, gullies and manholes etc., on completion.
Testing all drainage, commissioning and providing all certificates required by the relevant authorities, bodies or the Client.
Temporary barriers, watching and lighting
The Contractor is to allow in their tender for any additional costs that they consider may be necessary.
General
Generally, rates for all items are deemed to include as appropriate for the following:
All work that can reasonably be deemed to be included either as good workmanship, including the provision of materials and plant, or accepted practice whether or not specifically referred to in this document, the Client’s Representative’s decision on this will be final.
Clearing away all arisings, redundant materials, debris, rubbish etc., from site including damping down to reduce dust, loading into skips at ground level, skip hire or equivalent, transport and landfill and other waste disposal charges including any recycling costs. .
Temporary supports, shoring or hoarding to existing structure including maintaining, adapting and clearing away on completion and making good all work damaged or disturbed.
Temporary dustproof, weatherproof and security screens, etc., as required complete with doors including maintaining, adapting and clearing away on completion and making good all work damaged or disturbed.
All setting and marking out, including provision and removal of temporary profiles.
Taking up any necessary boarding, de-nailing timbers, relaying boarding and punching in nail heads.
Removing all screws, nails, plugs and the like associated with the removal of any item.
Setting aside, storing, cleaning and subsequently re-fixing items described as re-fixed.
Setting aside, protecting and reinstating tenants’ goods, chattels, fixtures, fittings and other property and clearing roof space where necessary to undertake the works ordered.
Fixing to any surface with nails, screws, blocks, glue, bolts etc., as required including drilling, packing and scribing.
Jointing and or finishing new materials including additional material where required.
Jointing and or finishing new materials to existing including additional material where required.
Matching all materials to existing.
Making good existing structure, finishings etc., as necessary.
Protecting the whole of the works.
Seeking the approvals of the Client and or Client’s Representative in respect of any Works including any reasonable waiting or other down time whilst awaiting approval.
The removal and disposal of all non regulated asbestos containing materials e.g. artex, vinyl floor tiling, asbestos cement products.
Working in conjunction with all non regulated asbestos containing materials e.g. artex, vinyl floor tiling, asbestos cement products.
The Contractor is to allow in their tender for any additional costs that they considers may be necessary.

## Summary Sheet
Summary Sheet
Total carried over from worksheets
Blockages, CCTV & Testing | 0
Remedial Works | 11507.14
Sustainable Drainage | 0
Total Price for Services | 11507.14

## Blockages, CCTV & Testing
Description | Unit of Measure | Normal Hours Rate | Rate to be carried over
Clearing Blockages, CCTV and Testing
Clearing Blockages
DRAIN/MANHOLE:CLEAR BLOCKAGE | IT
Drain/Gully/Manhole:Clear blocked drain run by pressure jet and / or rodding as necessary, and / or clear blockage to gully including rodding as necessary, remove and refix manhole covers and gratings as necessary, attend upon Client Representative during any inspection, including all hire charges and any temporary relocation, remove on completion, clear out debris to manhole not exceeding 3.00m deep and remove from site, flush out with clean water, test and remove waste and debris (rate includes for travelling and other non-productive time).
DOMESTIC GULLY:CLEAR BLOCKAGE INCLUDING RODDING | IT
Gully:Clear blockage to gully of all debris, including jetting/rodding as necessary, flush with clean water and removal of debris to approved tip.
HIGHWAY/ROAD GULLY:CLEAR BLOCKAGE INCLUDING RODDING | IT
Gully:Clear blockage to gully of all debris, including jetting/rodding as necessary, flush with clean water and removal of debris to approved tip.
DRAIN:ROD BLOCKAGE | IT
Drain:Rod blocked drain run by rodding, remove and refix manhole covers and gratings as necessary, flush out, test and remove waste and debris.
DRAIN:REMOVE TREE/BUSH ROOTS | IT
Drain:Remove tree root from drainage using a rotary cutter from the nearest appropriate manhole, remove and refix manhole covers and gratings as necessary, flush out, test and cart away debris.
DRAIN:SUCTION CLEAR | IT
Drain:Suction blocked drain run not exceeding 30m in length, by suction machine, remove and refix manhole covers and gratings, flush out, test and remove waste and debris.
WASTE:DISPOSAL OF DRAINAGE WASTE | IT
Waste:Disposal of contaminated waste debris, silts etc, arising from the clearance of blocked drains, gullies and manholes of all types, waste to be disposed of to approved tip.
DRAIN CHANNELS:CLEAR | IT
Drain Channels:Clear drain channel and grating of all debris, including rodding as necessary, flush with clean water and removal of debris to approved tip.
CCTV Drains
DRAIN:CCTV SURVEY | IT
Drain:Undertake CCTV survey of drain runs to identify fault or following repairs or jetting, remove and refix manhole covers and gratings as necessary, including all hire charges and any temporary relocation, remove on completion, supply report and video to Client Representative (to be charged for hours worked on site, rate includes for travelling and other non-productive time)
Smoke or Pressure test
Test:Carry out smoke or pressure test to existing drain run and report to Client Representative (not to be claimed in association with any other works). | IT
Call out fees
CALL OUT FEES - OUT OF HOURS | IT
Call out fee: Single charge which payable to contractors for call outs outside Adra's normal working hours (18:00 - 08:00)
Day Rates - To include Operatives and vehicle
up to 7.5t City Flex - Half Day | IT
Up to 7.5t City Flex - Full Day | IT
Jet-Vaccuum Tanker - Half Day | IT
Jet-Vaccuum Tanker - Full Day | IT
|  | Total to be carried over | 0

## Remedial Works
Tendered Percentage Adjustments to M3NHF Schedule: Planned Maintenance & Property Reinvestment Version 7.1
Item | Description | Unit of Measure | M3NHF Schedule of Rates | Adjusted Rates
Drainage Below Ground
Drainage - New - Clay Pipes
DRAIN:INSTALL 100MM CLAY NE 1M DEEP |  | LM | 133.37 | 133.37
33101 | Drain:Excavate not exceeding 1.00m deep, level and compact bottoms of excavations, 150mm thick concrete bed and lay 100mm diameter clay pipe and haunch up in concrete and backfill, remove waste and debris, including all connections, junctions and bends, allow for exposing, breaking out and removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing.
DRAIN:INSTALL 100MM CLAY 1-2M DEEP |  | LM | 204.75 | 204.75
33103 | Drain:Excavate exceeding 1.00m and ne 2m deep, level and compact bottoms of excavations, 150mm thick concrete bed and lay 100mm diameter clay pipe and haunch up in concrete and backfill, remove waste and debris, including all connections, junctions and bends, allow for exposing, breaking out and removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing.
DRAIN:INSTALL 150MM CLAY NE 1M DEEP |  | LM | 164.21 | 164.21
0331AD | Drain:Excavate not exceeding 1.00m deep, level and compact bottoms of excavations, 150mm thick concrete bed and lay 150mm diameter clay pipe and haunch up in concrete and backfill, include for removing spoil and all connections, junctions and bends, allow for exposing, breaking out and removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing.
DRAIN:INSTALL 150MM CLAY 1-2M DEEP |  | LM | 235.6 | 235.6
0331AE | Drain:Excavate exceeding 1.00m and ne 2m deep, level and compact bottoms of excavations, 150mm thick concrete bed and lay 150mm diameter clay pipe and haunch up in concrete and backfill, include for removing spoil and all connections, junctions and bends, allow for exposing, breaking out and removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing.
Drainage - New - Plastic Pipes
DRAIN:INSTALL 110MM PVCU NE 1M DEEP |  | LM | 117.95 | 117.95
0333AB | Drain:Excavate not exceeding 1.00m deep, level and compact bottoms of excavations, 100mm thick bed of gravel and lay 110mm diameter PVCu pipe and backfill 210mm with selected granular material, compacted by hand and backfill, remove waste and debris, including all bends, fittings, connections etc, allow for removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing.
DRAIN:INSTALL 110MM PVCU 1-2M DEEP |  | LM | 198.92 | 198.92
0333AC | Drain:Excavate exceeding 1.00m and ne 2.00m deep level and compact bottoms of excavations, 100mm thick bed of gravel and lay 110mm diameter PVCu pipe and backfill 210mm with selected granular material, compacted by hand and backfill, remove waste and debris, including all bends, fittings, connections etc, allow for removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing.
DRAIN:INSTALL 160MM PVCU NE 1M DEEP |  | LM | 118.51 | 118.51
0333AD | Drain:Excavate not exceeding 1.00m deep, level and compact bottoms of excavations, 100mm thick bed of gravel and lay 160mm diameter PVCu pipe and backfill 210mm with selected granular material, compacted by hand and backfill, remove spoil including all bends, fittings, connections etc, allow for removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing
DRAIN:INSTALL 160MM PVCU 1-2M DEEP |  | LM | 188.02 | 188.02
0333AE | Drain:Excavate exceeding 1.00m and ne 2m deep level and compact bottoms of excavations, 100mm thick bed of gravel and lay 160mm diameter PVCu pipe and backfill 210mm with selected granular material, compacted by hand and backfill, remove spoil including all bends, fittings, connections etc, allow for removal of any existing drains including concrete beds and surrounds and all connections to existing pipework, testing.
Drainage - Channel Drains
CHANNEL DRAIN:INSTALL 100MM PCC SAFTI-KERB CHANNEL |  | LM | 121.54 | 121.54
0335AA | Channel Drain:Excavate not exceeding 1.00m deep, level and compact bottoms of excavations, 150mm thick concrete bed and lay 100mm internal diameter pcc safti-kerb channel drain and haunch up in concrete and backfill, include for removing spoil and all connections, junctions and bends, allow for exposing, breaking out and removal of any existing channel drains including concrete beds and surrounds and all connections to existing pipework, testing.
CHANNEL DRAIN:INSTALL 150MM PCC SAFTI-KERB CHANNEL |  | LM | 164.9 | 164.9
0335AB | Channel Drain:Excavate not exceeding 1.00m deep, level and compact bottoms of excavations, 150mm thick concrete bed and lay 150mm internal diameter pcc safti-kerb channel drain and haunch up in concrete and backfill, include for removing spoil and all connections, junctions and bends, allow for exposing, breaking out and removal of any existing channel drains including concrete beds and surrounds and all connections to existing pipework, testing.
DRAIN:INSTALL PCC SAFTI-KERB CHANNEL SUMP |  | LM | 556.85 | 556.85
0335AC | Drain:Excavate not exceeding 1.00m deep, level and compact bottoms of excavations, 150mm thick concrete bed and install 450x450mm internal size pcc safti-kerb channel sump and haunch up in concrete and backfill, include for heavy duty grate and frame, removing spoil and all connections, junctions and bends, allow for exposing, breaking out and removal of any existing channel drains and sumps including concrete beds and surrounds and all connections to existing pipework, testing.
Drainage - Existing - Repairs
DRAIN:REPAIR 100MM PIPE NE 1M DEEP |  | NO | 326.49 | 326.49
0337AA | Drain:Repair by locating damaged pipe, excavate ne 1.00mm deep, for a length ne 3.00m, remove pipe, concrete bed and surround and level and compact bottoms of excavations, 150mm thick concrete, bed and lay 100mm diameter clay pipe and backfill, include for all adaptors, junctions and bends, remove waste and debris and all connections to existing pipework, testing.
DRAIN:REPAIR 100MM PIPE 1-2M DEEP |  | NO | 473.02 | 473.02
0337AB | Drain:Repair by locating damaged pipe, excavate over 1.00m ne 2.00m deep, for a length ne 3.00m, remove pipe, concrete bed and surround and level and compact bottoms of excavations, 150mm thick concrete, bed and lay 100mm diameter clay pipe and backfill, include for all adaptors, junctions and bends, remove waste and debris and all connections to existing pipework testing.
DRAIN:REPAIR 150MM PIPE NE 1M DEEP |  | NO | 429.01 | 429.01
0337AD | Drain:Repair by locating damaged pipe, excavate ne 1.00m deep, for a length ne 3.00m, remove pipe, concrete bed and surround and level and compact bottoms of excavations, 150mm thick concrete bed and lay 150mm diameter clay pipe and backfill, include for all adaptors, junctions and bends, remove waste and debris and all connections to existing pipework, testing.
DRAIN:REPAIR 150MM PIPE 1-2M DEEP |  | NO | 569.9 | 569.9
0337AE | Drain:Repair by locating damaged pipe, excavate over 1.00m ne 2.00m deep, for a length ne 3.00m, remove pipe, concrete bed and surround and level and compact bottoms of excavations, 150mm thick concrete, bed and lay 150mm diameter clay pipe and backfill, include for all adaptors, junctions and bends, remove waste and debris and all connections to existing pipework, testing.
Gullies
GULLY:INSTALL CLAY BACK INLET GULLY |  | NO | 231.99 | 231.99
0350AA | Gully:Excavate, level and compact bottoms and set any type of vitrified clay gully with 100mm back inlet and grating including setting and surrounding in concrete, backfill, remove waste and debris, and reinstate paving, gardens and the like as necessary, testing.
GULLY:INSTALL PVCU BACK INLET GULLY |  | NO | 87.5 | 87.5
0350BA | Gully:Excavate, level and compact bottoms and set any type of PVCu gully with 100mm back inlet and grating including setting and surrounding in concrete, backfill, remove waste and debris, and reinstate paving, gardens and the like as necessary, testing.
GULLY:REMOVE AND SEAL OFF AND MAKE GOOD |  | NO | 16.1 | 16.1
0350DA | Gully:Excavate, remove existing gully (any type) seal pipe, backfill and make good, remove waste and debris, and reinstate paving, gardens and the like as necessary.
GULLY:RENEW ANY TYPE SURROUND AND KERB |  | NO | 23.47 | 23.47
0350CA | Gully:Renew precast concrete or brick gully surround or kerb bedded in cement mortar (1:4) including breaking up existing and remove waste and debris, and reinstate paving, gardens and the like as necessary.
GULLY:RENEW GRATING |  | NO | 9.16 | 9.16
0350EA | Gully:Renew missing or damaged any size or type of gully grating, remove waste and debris.
GULLY:RENEW INSPECTION PLATE |  | NO | 34.58 | 34.58
0350FA | Gully:Renew missing or damaged any size or type of screwed down inspection plate to gully or rodding eye, remove waste and debris.
Extra Over for Breaking Out and Reinstatement
MAIN AND DRAIN:REINSTATE CONCRETE PAVING |  | LM | 66.92 | 66.92
0470AA | Main and Drain:Extra for breaking up, remove waste and debris and subsequently reinstating not exceeding 150mm thick concrete with hardcore sub-base under, not exceeding 600mm wide including joints and make good to existing finishes.
MAIN AND DRAIN:REINSTATE MACADAM PAVING |  | LM | 51.02 | 51.02
0470BA | Main and Drain:Extra for breaking up, remove waste and debris and subsequently reinstating not exceeding 100mm thick tarmacadam with hardcore sub-base under, not exceeding 600mm wide including joints and make good to existing finishes.
MAIN AND DRAIN:REINSTATE FLAG PAVING |  | LM | 9.17 | 9.17
0470CA | Main and Drain:Extra for lifting, set aside and subsequently relaying flag paving and sub-base grout and point, not exceeding 600mm wide including any extra cutting and bonding to existing paving.
MAIN AND DRAIN:REINSTATE BRICK PAVING |  | LM | 40.57 | 40.57
0470DA | Main and Drain:Extra for lifting, set aside and subsequently relaying brick paviors and sub-base grout and point, not exceeding 600mm wide including all bonding to existing paving.
Manholes
Manholes - Brick
MANHOLE:CONSTRUCT NEW BRICK NE 1.35M DEEP |  | IT | 1191.62 | 1191.62
0370AA | Manhole:Construct manhole ne 1.35m deep to invert level in semi engineering bricks 225mm thick with 150mm thick concrete base, 100mm thick reinforced precast concrete cover slab, cover with frame bedded in cement mortar, build in ends of pipes and bed in all required channels, bends etc, testing, allow for all excavation, earth support, backfill and remove waste and debris, and reinstate paving, gardens and the like as necessary.
MANHOLE:RENEW BRICK NE 1.35M DEEP |  | IT | 1208.44 | 1208.44
0370AB | Manhole:Renew manhole ne 1.35m deep to invert level in semi engineering bricks 225mm thick with 150mm thick concrete base, 100mm thick reinforced precast concrete cover slab, cover with frame bedded in cement mortar, build in ends of pipes and bed in all required channels, bends etc, testing, allow for breaking out of existing manhole including any extra excavation required, all diversions to existing services, earth support, backfill and remove waste and debris, and reinstate paving, gardens and the like as necessary.
MANHOLE:RENEW BENCHING
0370AC | Manhole:Carefully break out existing benching and renew with plain in-situ concrete grade GEN 3, rendered with granolithic, trowelled finish, make good to channels and branches, remove waste and debris. | NO | 56.88 | 56.88
MANHOLE:ADJUST COVER LEVEL
0370AD | Manhole:Adjust cover level of manhole, carefully remove manhole cover and frame, and cover slab, either demolish one course of brickwork, or build one course of brickwork to accommodate new height of cover, reinstate cover slab, manhole cover and frame, make good, remove waste and debris. | NO | 21.47 | 21.47
Inspection Chambers - Polypropylene
INSPECTION CHAMBER:NEW SHALLOW POLYPROPYLENE |  | IT | 196.8 | 196.8
0370BA | Inspection Chamber:Construct polypropylene shallow inspection chamber ne 600mm deep for 110mm diameter PVCu pipe including cover and frame, connections to all pipework, testing and allow for all excavation, earth support, backfill and remove waste and debris, and reinstate paving, gardens and the like as necessary.
INSPECTION CHAMBER:RENEW SHALLOW POLYPROPYLENE |  | IT | 213.28 | 213.28
0370BB | Inspection Chamber:Renew polypropylene shallow inspection chamber ne 600mm deep for 110mm diameter PVCu pipe including cover and frame, connections to all pipework, testing and allow for all excavation, earth support, backfill and remove waste and debris, and reinstate paving, gardens and the like as necessary, allow for breaking out existing including any extra excavation etc. required and all temporary diversions to existing services.
INSPECTION CHAMBER:NEW UNIVERSAL POLYPROPYLENE |  | IT | 260.64 | 260.64
0370BC | Inspection Chamber:Construct polypropylene universal inspection chamber ne 1000mm deep for 110mm diameter PVCu pipe including cover and frame, connections to all pipework, testing and allow for all excavation, earth support, backfill and remove waste and debris, and reinstate paving, gardens and the like as necessary.
INSPECTION CHAMBER:RENEW UNIVERSAL POLYPROPY |  | IT | 266.73 | 266.73
0370BD | Inspection Chamber:Renew polypropylene universal inspection chamber ne 1000mm deep for 110mm diameter PVCu pipe including cover and frame, connections to all pipework, testing and allow for all excavation, earth support, backfill and remove waste and debris, and r einstate paving, gardens and the like as necessary, allow for breaking out existing including any extra excavation etc. required and all temporary diversions to existing services.
INSPECT CHAMBER:NEW UNIVERSAL POLYPROPYLENE NE1.5M
0370BE | Inspection Chamber:Construct polypropylene universal inspection chamber over 1000mm and ne 1500mm deep for 110mm diameter PVCu pipe including cover and frame, connections to all pipework, testing and allow for all excavation, earth support, backfill and remove waste and debris, and reinstate paving, gardens and the like as necessary. | IT | 328.26 | 328.26
INSPECT CHAMBER:RENEW UNIVERSAL POLYPROPY NE1.5M
0370BF | Inspection Chamber:Renew polypropylene universal inspection chamber over 1000mm and ne 1500mm deep for 110mm diameter PVCu pipe including cover and frame, connections to all pipework, testing and allow for all excavation, earth support, backfill and remove waste and debris, and r einstate paving, gardens and the like as necessary, allow for breaking out existing including any extra excavation etc. required and all temporary diversions to existing services. | IT | 339.99 | 339.99
Manhole - Covers and Slabs
MANHOLE:RENEW PCC COVER SLAB |  | NO | 86.68 | 86.68
0370CA | Manhole:Renew precast cover slab not exceeding 1000x1500x100mm thick including bed in cement mortar (1:3), remove waste and debris, and reinstate paving, gardens and the like as necessary.
MANHOLE:REBED COVER AND OR FRAME |  | NO | 16.31 | 16.31
0370CC | Manhole:Lift and rebed existing cover and frame, bed frame in cement mortar (1:3) including any breaking out of foundation required to ensure correct levels clean off cover and replace including reset in grease.
MANHOLE:RENEW COVER LIGHT GRADE |  | NO | 34.21 | 34.21
0370DA | Manhole:Renew manhole cover and frame, light duty single seal, any size including bed frame in cement mortar (1:3), remove waste and debris, and reinstate paving, gardens and the like as necessary.
MANHOLE:RENEW COVER MEDIUM GRADE |  | NO | 46.43 | 46.43
0370DB | Manhole:Renew manhole cover and frame, medium duty, single seal, any size including bed frame in cement mortar (1:3), remove waste and debris, and reinstate paving, gardens and the like as necessary.
MANHOLE:RENEW COVER HEAVY GRADE |  | NO | 62.23 | 62.23
0370DC | Manhole:Renew manhole cover and frame, heavy duty, single seal, any size including bed frame in cement mortar (1:3), remove waste and debris, and reinstate paving, gardens and the like as necessary.
MANHOLE:RENEW COVER-LIGHT-INTERNAL 610X475MM |  | NO | 86.37 | 86.37
0370DE | Manhole:Renew manhole cover and frame with stainless steel double seal light duty recessed inspection cover and frame size ne 610x475mm including bed frame in cement mortar (1:3) and fill recessed cover with screed and floor finish to match existing and remove waste and debris, and reinstate flooring as necessary.
INSPECTION COVER:RENEW-300X300MM |  | NO | 33.21 | 33.21
0370EA | Inspection Cover:Renew galvanised inspection cover and frame size 300x300mm including bed frame in cement mortar (1:3), remove waste and debris, and reinstate paving, gardens and the like as necessary.
MANHOLE:RENEW LOCKABLE COVER MEDIUM GRADE |  | NO | 42.16 | 42.16
0370FA | Manhole:Renew manhole cover and frame, medium duty, single seal, lockable, any size including bed frame in cement mortar (1:3), remove waste and debris, and reinstate paving, gardens and the like as necessary, hand keys to Client's Representative.
MANHOLE:RENEW LOCKABLE COVER-LIGHT-INTERNAL |  | NO | 134.7 | 134.7
0370FB | Manhole:Renew manhole cover and frame with stainless steel double seal light duty recessed, lockable, inspection cover and frame size ne 610x475mm including bed frame in cement mortar (1:3) and fill recessed cover with screed and floor finish to match existing and remove waste and debris, and reinstate flooring as necessary, hand keys to Client's Representative.
MANHOLE COVER:RAISE HEIGHT
0370GA | Manhole Cover: Take up existing concrete or steel manhole access cover and frame, setting aside for reuse, preparing tops of existing brickwork for raising, new engineering brick x max six course high to raise access cover and frame flush with surround ground level, prepare top of new masonry to receive access cover and, reinstate access cover and frame, bedding in cement mortar, make good, and remove waste and debris. | NO | 117.87 | 117.87
MANHOLE COVER:LOWER HEIGHT
0370GB | Manhole Cover:Take up existing concrete or steel manhole access cover and frame, setting aside for reuse, cutting out a maximum of six course of brickwork to lower level of manhole flush with surround ground level, prepare top of existing masonry to receive access cover and frame reinstate access cover and frame, bedding in cement mortar, make good and remove waste and debris. | NO | 101.77 | 101.77
Land Drainage and Soakaways
Land Drainage
LAND DRAIN:NE 100MM NE 1.0M DEEP |  | LM | 141.47 | 141.47
0410AB | Land Drain:Excavate trench maximum 630mm wide ne 1.00m deep, remove waste and debris, lay 50mm granular bed, not exceeding 100mm concrete or plastic land drain pipe and matting, backfill trench in stone to within 200mm of existing ground level, level with topsoil, include for all necessary bends, junctions and connections.
LAND DRAIN:NE 100MM NE 2.0M DEEP |  | LM | 262.65 | 262.65
0410AA | Land Drain:Excavate trench maximum 630mm wide over 1.00m ne 2.00m deep, remove waste and debris, lay 50mm granular bed, not exceeding 100mm concrete or plastic land drain pipe and matting, backfill trench in stone to within 200mm of existing ground level, level with topsoil, include for all necessary bends, junctions and connections.
Soakaways
SOAKAWAY:EXCAVATE NEW |  | CM | 270.33 | 270.33
0410DB | Soakaway:Excavate for new soakaway ne 2.00m deep, lift turf and set aside, excavate soakaway, remove excavated material to temporary spoil heap where directed, fill excavation with hard, dry, broken, masonry, stone or gravel ne 100mm gauge to within 250mm of existing ground level, backfill as necessary with excavated material from temporary debris heap, remove waste and debris from temporary spoil heap, relay turfs.
SOAKAWAY:CLEAR EXISTING |  | CM | 270.33 | 270.33
0410DA | Soakaway:Excavate to locate soakaway ne 2.00m deep, lift turf and set aside, excavate soakaway, remove excavated material to temporary spoil heap where directed, clear debris from soakaway, refill with new and existing soakaway medium to within 250mm of existing ground level, backfill with excavated material from temporary debris heap, remove waste and debris from temporary spoil heap, relay turfs.
SOAKAWAY:CLEAR EXISTING WITH PVC CRATE |  | CM | 419.72 | 419.72
0410DC | Soakaway:Excavate to locate soakaway ne 2.00m deep, lift turf and set aside, excavate soakaway, remove excavated material to temporary spoil heap where directed, clear debris from soakaway, refill with new PVC crate system wrapped in suitable geotextile membrane to within 250mm of existing ground level, backfill with excavated material from temporary spoil heap, remove waste and debris from temporary spoil heap, relay turfs
SOAKAWAY:EXCAVATE NEW PVC CRATE |  | CM | 427.23 | 427.23
0410DD | Soakaway:Excavate for new soakaway ne 2.00m deep, lift turf and set aside, excavate soakaway, remove excavated material to temporary spoil heap where directed, fill excavation with new PVC crate system wrapped in suitable geotextile membrane to within 250mm of existing ground level, backfill as necessary with excavated material from temporary spoil heap, remove waste and debris from temporary spoil heap, relay turfs
Aco Domestic Channel Drains
DRAIN:INSTALL ACO DOMESTIC CHANNEL PLASTIC |  | LM | 23.85 | 23.85
0411AA | Drain:Supply and lay ACO HEX or other equal and approved polypropylene channel drain and black plastic grating in conjunction with new or renewed paved surfacing, clip channels together complete with all fixings, outlets, angle and end units, make all connections to existing pipework, testing, remove waste and debris.
DRAIN:INSTALL ACO DOMESTIC CHANNEL STEEL |  | LM | 25.18 | 25.18
0411AB | Drain:Supply and lay ACO HEX or other equal and approved polypropylene channel drain and galvanised steel grating in conjunction with new or renewed paved surfacing, clip channels together complete with all fixings, outlets, angle and end units, make all connections to existing pipework, testing, remove waste and debris.
DRAIN:INSTALL ACO DOMESTIC CHANNEL BRICKSLOT |  | LM | 29.61 | 29.61
0411AC | Drain:Supply and lay ACO HEX or other equal and approved brickslot polypropylene channel drain in conjunction with new or renewed brick paved surfacing, clip channels together complete with all fixings, outlets, angle and end units, make all connections to existing pipework, testing, remove waste and debris.
DRAIN:PROVIDE OR RENEW DRAIN CHANNEL GRATING |  | LM | 13.11 | 13.11
0420AE | Drain:Provide and install or renew proprietary drain channel galvanised steel grating.
Drain Lining
DRAIN:INSTALL LINING 100MM |  | LM | 95.86 | 95.86
0338AA | Drain:Re-line damaged 100mm pipe including clearing debris with high pressure water jet, measure liner to correct length using CCTV, pour resin and force through liner using a mangle, insert liner through pipe and and inflate with air bag, leave to cure, deflate and remove air bag, inspect with CCTV and remotely cut any previously marked areas for access points, testing, remove waste and debris.
DRAIN:INSTALL LINING 150MM |  | LM | 108.23 | 108.23
0338AB | Drain:Re-line damaged 150mm pipe including clearing of debris with high pressure water jet, measure liner to correct length using CCTV, pour resin and force through liner using a mangle, insert liner through pipe and and inflate with air bag, leave to cure, deflate and remove air bag, inspect with CCTV and remotely cut any previously marked areas for access points, testing, remove waste and debris.
|  |  | Total to be carried over | 11507.14

## Sustainable Drainage
Description | Unit of Measure | Cost per item
Sustainable drainage maintenance schedule
Green Roofs - Monthly Maintenance | Item
Clear outlets, remove debris and litter
Green Roof - Annual Maintainance | Item
Clear outlets, remove debris and litter, cut or mow grass (if Applicable)
Simple Rainwater Harvesting - (Water Butt) | Item
Water Butt - Cleaning inlets (including adaptor), Outlets, de-silting tank
Rain Garden - Monthly Maintainance | Item
Litter Picking, inspection of inlets, outlets and control structures
Rain Garden - Annual Maintainance | Item
Silt control around components, Vegetation management around components,inspection of flow control elements
Permiable Paving - Single car Driveway Monthly Maintainance | Item
Sweeping surface, Removal of plant growth, removal of debris
Permiable Paving - Single car Driveway Annual Maintainance | Item
Sweeping surface, Removal of plant growth, removal of debris, clean inlets suction clean surface
Permiable Paving - Double Car Driveway Monthly Maintainance | Item
Sweeping surface, Removal of plant growth, removal of debris
Permiable Paving - Double Car Driveway Monthly Maintainance | Item
Sweeping surface, Removal of plant growth, removal of debris, clean inlets suction clean surface
Permiable Paving - Footpath per m2 Monthly Maintainance | Item
Sweeping surface, Removal of plant growth, removal of debris
Permiable Paving - Footpath per m2 Annual Maintainance | Item
Sweeping surface, Removal of plant growth, removal of debris, clean inlets suction clean surface
Filter Strips - Per 10 linear meter | Item
Inspection, Litter and Debris Removal
Infitration Trench - Per 10 Linear meter | Item
Inspection, Litter and Debris Removal, weed and root removal to prevent blockages
Soakaways | Item
Remove sediment from pre-treatment device, removal and replacement of sand layers (if present)
Sand Filters | Item
Litter Picking, inspection of inlets, outlets and control structures
Geocelular systems | Item
Inspection of silt traps, manholes, pipework and pre-treatment devices. Removal of sediment and debris as required
Silt Traps - not exceeding 600mm x 600mm up to 1.2mtr deep | Item
Inspection of slit trap, removal of sediment and debris as required
Silt Traps - not exceeding 600mm x 600mm up to 1.8mtr deep | Item
Inspection of slit trap, removal of sediment and debris as required
Silt Traps - not exceeding 1200mm diameter up to 1.2mtr deep | Item
Inspection of slit trap, removal of sediment and debris as required
Silt Traps - not exceeding 1200mm diameter up to 1.8mtr deep | Item
Inspection of slit trap, removal of sediment and debris as required
Silt Traps - not exceeding 1800mm diameter up to 1.2mtr deep | Item
Inspection of slit trap, removal of sediment and debris as required
Silt Traps - not exceeding 1800mm diameter up to 1.8mtr deep | Item
Inspection of slit trap, removal of sediment and debris as required
Pipework and Chambers | Item
High pressure water jet to remove silt - up to 5 meters
Pipework and Chambers | Item
High pressure water jet to remove silt - up to 10 meters
Pipework and Chambers | Item
High pressure water jet to remove silt - up to 25 meters
Pipework and Chambers | Item
High pressure water jet to remove silt - up to 50 meters
Pipework and Chambers | Item
High pressure water jet to remove silt - up to 100 meters
Combined kerb and drainage system (Beany Block) | Item
High pressure water jet to remove silt - up to 10 meters
Combined kerb and drainage system (Beany Block) | Item
High pressure water jet to remove silt - up to 25 meters
Combined kerb and drainage system (Beany Block) | Item
High pressure water jet to remove silt - up to 50 meters
Hydrobreaks | Item
inspection of chamber, removal of foreign objects, removal of silt, cleaning flow control device
Rain Gardens / Bio Retention | Item
Litter Picking, inspection of inlets, outlets and control structures
Culverts - Per 10 Linear Meters | Item
Litter Picking removal of debris, inspection of inlets, outlets and control structures,
Swales up to 50m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Swales up to 100m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Swales up to 500m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Swales up to 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Swales over 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Infiltration Basins up to 50m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Infiltration Basins up to 100m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Infiltration Basins up to 500m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Infiltration Basins up to 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Infiltration Basins over 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Detention Basins up to 50m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Detention Basins up to 100m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Detention Basins up to 500m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Detention Basins up to 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Detention Basins over 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Ponds up to 50m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Ponds up to 100m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Ponds up to 500m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Ponds up to 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Ponds over 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Wetlands up to 50m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Wetlands up to 100m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Wetlands up to 500m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Wetlands up to 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
Wetlands over 1000m2 | Item
Litter Picking, inspection of inlets, outlets and control structures
| Total to be carried over | 0