| Heddlu Gogledd Cymru Adran Rheoli Cyfleusterau Ffordd William Morgan Parc Busnes Llanelwy Llanelwy Sir Ddinbych LL17 0HQ Tel: 01745 588433 ### Fax: 01745 588445 | ### North Wales Police Facilities Management Department Ffordd William Morgan St. Asaph Business Park St. Asaph Denbighshire LL17 0HQ Tel: 01745 588433 Fax: 01745 588445 |
| --- | --- |

CONFIDENTIAL

# THE OFFICE OF THE POLICE & CRIME COMMISSIONER FOR NORTH WALES

PROVISION OF ARCHITECTURAL AND STRUCTURAL CONSULTANT’S

PROFESSIONAL SERVICES

PROPOSED new police station

at

Deeside, flintshire

APPENDCIES PACKAGE

Tender Reference number 1467

Facilities Management Department

Ffordd William Morgan

St. Asaph Business Park

St. Asaph

Denbighshire

LL17 0HQ

CONTENTS

APPENDICES:

- Environmental Policy

- Energy Policy

- Sustainability Policy

- Air Tightness Testing Policy

- Decarbonisation & Low Cardon Design

- Schedule of Accommodation

- Home Office Design Quality Document

- NWP Bilingual Policies

- Initial Designed Schemes

- Programme of Work

Ian Poole

Project Manager

29 July 2025

APPENDIX 1.

ENVIRONMENTAL POLICY

APPENDIX 2.

ENERGY POLICY

APPENDIX 3.

SUSTAINABILITY POLICY

SUSTAINABILITY POLICY

North Wales Police & Partners are committed to Sustainable Development and as part of your tender submission we invite you to detail your sustainable approach to the project with accompanying information, guidance and supporting information.

APPENDIX 4.

AIR TIGHTNESS TESTING POLICY

AIR TIGHTNESS TESTING POLICY

NEW BUILDINGS

Irrespective of the requirements of the Building Regulations, the North Wales Police require the project to be air tested for Air Tightness in accordance with CIBSE TM23. The air leakage must not exceed 4 m³/h/m² at 50 pa.  All designs and solutions must reflect this requirement.  Robust solutions must be adopted, as identified by the BRE and other similar proposals.

North Wales Police do not consider adhesive tape, mastic or foam to be robust solutions in this regard and they will not be accepted.

(For inclusions in the Building Contractors specification/bill of quantities) plus Preliminaries

Irrespective of the requirements of the building regulations the North Wales Police require the project to be air tested in accordance with CIBSE TM23. The air leakage must not exceed 4 m³/h/m² at 50 pa.  It has been a requirement of the design that all solutions must reflect this.  It is incumbent on the contractor to ensure all site practices also reflect the above requirement. The robust solutions to obtain the air tightness requirement must not include adhesive tape, mastic or foam.  The contractor must engage a specialist company, approved by North Wales Police, to undertake the air tightness testing.  This includes any re testing or smoke testing which may be required.

General

If, after exhaustive testing and remedial works, it is found that the building does not meet North Wales Police requirements of 5 m³/h/m² at 50 pa. an independent organisation will calculate the actual energy costs to the authority between the requirements of the North Wales Police and the actual air test results the North Wales Police will be compensated accordingly in respect of the life of the building.

APPENDIX 5.

DECARBONISATION & LOW CARDON DESIGN

DECARBONISATION & LOW CARDON DESIGN

The station design must be in accordance with the All-Wales Sustainability & Decarbonisation Strategy and you are detail in your tender submission how this is to be achieved. Our aspirations is to have a Net Zero station but have fallen foul of this in the past especially around 24hr shift changes, therefore we are looking for a low carbon building.

APPENDIX 6.

SCHEDULE OF ACCOMMODATION

APPENDIX 7.

HOME OFFICE DESIGN QUALITY GUIDANCE FOR POLICE BUILDINGS

Documentation is available.

APPENDIX 8.

NWP BILINGUAL POLICY

To comply with North Wales Police’s Welsh Language/Bilingual Policy there is a need for all temporary or permanent signs on site to be in both Welsh and English. (Welsh First) Contractors / Consultants are advised to adhere to this policy and to contact Mrs Glenda Owen, Facilities Department Office Manager on 01745 588444 for advice and information.  They can provide translations and check proofs of any signs before they go into final production.

APPENDIX 9.

INITIAL DESIGNED SCHEMES

INITIAL DESIGNED SCHEMES

LLANDUDNO POLICE STATION

HOLYHEAD POLICE STATION

APPENDIX 10.

PROGRAMME OF WORK (indicative)