PRELIMINARIES

To be read in conjunction with the main Tender Documents

## GENERAL

The Preliminary items are to be individually priced by the Contractor for all major items of work e.g. scaffolding, site compound and hoardings, Health and Safety measures, etc. The Contractor’s charge for all other items will be deemed to be included elsewhere in the Contractor’s rates or the Contractor’s preliminary costs. The items are applicable to all work included in these Employer’s Requirements etc. and the Contractor is to allow accordingly.

LICENCES

The Contractor shall allow for all expenses and costs in connection with obtaining appropriate licences for street works, skips or any other matters requiring the issue of licences

COMPLIANCE WITH REGULATIONS OF LOCAL AUTHORITIES AND STATUTORY AUTHORITIES

The Contractor shall comply with all police highway and statutory authorities’ regulations having regard to access and egress from the site and to works that may be executed in public throughfares adjacent to the site

The Contractor shall be responsible for obtaining all necessary approvals to progress and finish the works, including but not limited to Building Regulations, Environmental Health approval, fees, and associated costs in complying with these and other Statutory Requirements. Building Regulations shall be those current at the time the works commence on site. On receipt of the approval documentation the Contractor shall pass the original Notice of Approval together with any supporting documents to the Employer

The Contractor is to allow in his price or include here for the cost of collaborating with statutory authorities for connecting and testing service to the building

The Contractor shall handle, store and fix materials in accordance with and pay all costs in complying with manufacturers recommendations

NATIONAL INSURANCE AND PENSIONS

The Contractor shall allow for all costs in connection with the National Insurance Acts

POLICE AND TRAFFIC REGULATIONS

- Ascertain and comply with Police regulations.

- Comply with all regulations in relation to movement of traffic especially relating to works which may affect roads outside the curtilage of the site.

- The Contractor shall allow for all expenses and costs incurred in complying with any Police or traffic Regulations and Restrictions.

SAFEGUARD THE WORKS

Provide watching, lighting and everything necessary for the proper protection of the Works, materials and plant against damage and theft

SITE SECURITY

The Contractor shall provide all:

(1)	Necessary precautions, protection and security to safeguard the works, all property, equipment, materials and plant against damage and theft.

(2)	The Contractor's attention is drawn to the likely high incidence of vandalism in the area of the site.  He is advised to discuss this matter with the local police and to allow for any special precautions that he considers necessary.

(3)	The Contractor shall provide all necessary precautions, protection and security to safeguard the public, lessees and persons on or near the site

(4)	The Contractor shall provide all necessary protective casings and coverings required to protect the works in all sections and shall allow for the removal of the same on completion

PROTECTION AND STORAGE OF PLANT, MATERIALS ETC

1)	The Contractor shall not store plant or materials in positions which may cause obstruction on the public footpaths, or access and egress points to the property.  All plant and materials stored within the curtilage of the site or buildings shall be located only in positions agreed with the Contract Administrator

(2)	The Contractor shall provide all necessary protection to the overall site, inclusive of providing areas for the deposition, storage and transport of materials, rubbish etc.  It is the Contractor's responsibility to make good or pay for all damage that could have in the Contract Administrator's opinion been avoided.

(3)	The Contractor shall take all necessary precautions and care to prevent damage to the existing buildings and installations on site or forming part of the site boundary.  Any damage that does occur shall be reported immediately to the Contract Administrator who shall have the authority to require the Contractor to make good any such damage.

PROTECTING THE WORKS FROM ADVERSE WEATHER

The Contractor shall provide all necessary precautions, protection and covering to the works to prevent injury by frost and other adverse weather conditions for which the Contractor will be held responsible

The Contractor shall maintain wherever practicable continuity of working and particularly during periods of adverse weather

DRYING OUT

The Contractor shall allow for drying out the works as necessary during the execution of and on completion of the contract, both for his own works and for the works of any nominated sub-contractors and he shall include for providing all necessary labour, appliances and fuel for the same in order to comply with this requirement

DUST AND DEBRIS

The Contractor shall provide all necessary facilities to contain any dust or debris occasioned by the works.

TEST CERTIFICATES

The Contractor shall provide the Contract Administrator with test certificates relating to all samples/tests carried out under the contract

CONTRACTOR'S GENERAL COST ITEMS: MANAGEMENT AND STAFF

Management and staff

The contractor must provide all disbursements arising from the employment of work people, including compliance with all Acts and National and Local Working Rules and Agreements.

Supply of labour, materials, plant and supervision

The contractor must keep on the works a full time and competent supervisor/foreperson/manager (SMTS\SSSTS) approved or similar to manage, supervise and to co-ordinate all works:

a) 	The work of quality of both directly employed and subcontract employees.

b) 	To maintain a daily diary listing the numbers on site, weather conditions and other items relevant to the efficient running of the contract.

c) 	To co-ordinate supplies of materials.

d) 	To be responsible for ensuring compliance to health and safety.

e) 	To fully inspect each individual property for snagging items and to ensure completion of such snags before handing over to the Project Manager.

f)	Site labour should consist wherever practical of 20% local labour.

g)	To ensure that access to surrounding areas (where required) is maintained in safe conditions utilising banksmen where required.

NUISANCE AND POLLUTION CONTROL

The Contractor shall comply with the Control of Noise Regulations 2005 and allow for all costs from such compliance. Details of noise consents shall be obtained from Local Authority concerned

The Contractor shall allow for taking all reasonable precautions to ensure the efficient protection of all streams and waterways against pollution arising out of or by reason of the execution of the works

Take all necessary precautions to prevent nuisance from smoke, dust, rubbish and other causes.  (In the instance of this Contract, noxious vapours from asphalt heating plant).

FIRE

The Contractor is to take all reasonable precautions to avoid the outbreak of fire particularly in work involving the use if naked flames. He is to impress on workmen the dangers involved in the careless disposal of matches, cigarette ends, etc. and in accumulation of rubbish on site. Fire extinguishers are to be kept on site and operatives instructed of their whereabouts and use

PUBLIC AND PRIVATE SERVICES

Adequately protect, uphold, maintain and prevent damage to all services. Do not interfere with their operation without consent of the service authorities or private owners or the CA as appropriate

If any damage results from the execution of the Works, immediately:

(1)	Notify the CA and the appropriate service authority.

(2)	Make arrangements for the work to be made good without delay to the satisfaction of the service authorities or private owners as appropriate

EXISTING FEATURES

Prevent damage to existing buildings, fences, gates, walls, roads, paved areas and other site features which are to remain in position during the execution of the Works

ADJOINING PROPERTY

Take all reasonable precautions to prevent damage to adjoining property.  Obtain permission as necessary from the owners of adjoining property if requiring to erect scaffolding on, or otherwise use, adjoining property and pay all charges.  Clear away and made good on completion or when directed.

STRUCTURAL FABRIC

(1)	Provide and maintain during the execution of the Works all shoring, strutting, needling and other supports as may be necessary to preserve the stability of the buildings, whether new or existing, on the site or adjoining that may be endangered or affected by the Works.

(2)	The Contractor shall keep all public and private roads and footpaths clean from debris or rubbish arising from the works. The Contractor shall remove at his own expense any such deposits which may be transmitted to such roads and footpaths as and when they occur to the satisfaction of Contract Administrator.

MAINTENANCE OF EXISTING SERVICES

The Contractor shall maintain all existing services for the duration of the works

COMMISSIONING OF SYSTEMS

The contractor shall allow for all testing and commissioning of all installations by themselves  and their sub-contractors

WORK AT COMPLETION

Cleanliness and protection

All equipment is to be kept in a clean condition and surfaces shall be kept clean and free from dust.

On completion of works, the areas are to be left clean and all items left in full working order.

On completion of the work each day, all dust and rubbish etc. is to be cleared up and removed from site by the operatives. Under no circumstances is it to be left for others to dispose of.

Clean the works thoroughly inside and out, removing all splashes, deposits, efflorescence, rubbish and surplus materials consequent upon the execution of the work.  On completion of the works the site is to be left in a clean and tidy condition.

The Contractor shall remove all protective casings and coverings from materials and goods delivered to the works and arrange for their disposal from the site

The Contractor shall clean out all gutters and downpipes, clean glass, metalwork and sanitary fittings, scrub floors, etc, oil locks throughout, touch up paintwork and leave the building fit for use to the satisfaction of the Contract Administrator

MAKING GOOD DEFECTS

Repair services to be available The Contractor will be required to make good defects notified to him during the Defects Liability Period on the following basis

Emergencies - Defects that constitute an emergency shall be dealt with within twenty four hours, of the complaint being received by the Contractor

Other Defects - Defects that do not constitute an emergency shall be notified to the Contractor at the earliest opportunity.  The Contractor shall be required to provide all necessary labour, materials, plant and supervision to make good these defects and complete the works within a reasonable period

Completion of defects - The Contractor shall notify the Contract Administrator in writing on completion of defects within one week of the specified date for making good the defect

Making Good Defects

Any defects that may appear within the Rectification Period, as stated in the Conditions, the Contractor shall make good at his own cost to the satisfaction to the CA

CONTRACTOR'S GENERAL COST ITEMS: PROTECTION

Protection of the works

Provide all the necessary protection all internal areas (i.e. dust sheets or similar).

Provide all the necessary protection to paved and landscaped areas (i.e. dust sheets).

The Contractor is responsible for the protection of the whole of the works.

The Contractor shall provide all necessary coverings, etc. and cover and protect all materials and the work from damage by weather or by any other cause during the progress of the works and remove on completion.

Except for damage or loss by fire, lightning, etc. as detailed in the Agreement, the Contractor is to be responsible for any damage, loss or destruction of any part of the works, materials, tools, scaffolding, plant or effects which may from time to time be in or about the Works, and shall likewise be liable to make good all damage caused by reason of the execution of the works.

Protection of materials

All materials shall be suitably protected against the weather. Plant motors and materials whether fixed or unfixed shall be protected from the ingress of dirt or moisture by means of polythene covers or other approved method.

Protection against mechanical damage by other trades shall be provided where necessary.

Protection of existing buildings and surrounds

The Contractor shall allow for protecting all existing buildings, furniture, fittings and equipment and shall make good, at his own expense all damage caused by negligence on the part of his workmen.

The Contractor is to take all reasonable precautions to adequately protect and prevent damage to all surrounds including all natural features.

Protection of the public

Provision of temporary hoarding and fencing where required, for which the Contractor shall ensure the maintenance and good order as necessary for the public safety.

Hoardings, fans, fencing, etc The Contractor shall provide and maintain all necessary temporary fencing, hoardings, screens, fans, chutes, guardrails, gantries and the like for the proper execution of the works, for the protection of the public and for meeting the requirements of local or other authorities and alter, shift and adapt from time to time as necessary and finally clear away when no longer required and reinstate all surfaces, services, etc. disturbed.to enable the safe use of the building(s).

The Contractor shall allow for altering, shifting and adapting the foregoing temporary buildings from time to time as maybe necessary and finally clear away and make good all surfaces, services, etc. disturbed on completion

Hardstanding The Contractor shall provide all necessary hardstanding as required and clear away and make good surfaces disturbed on completion of the works

Temporary roads and access The Contractor shall provide any temporary roads, crossovers from existing roads which he considers necessary to carry out the works and obtain any wayleaves that may be required including those in connection with cranes where jibs enter the air space over adjoining property and reinstate surfaces on completion of the works.

Temporary walkways The contractor shall provide all necessary planked footways and guardlines to enable the safe movement around the site and buildings of all people authorised and engaged upon the works

Access scaffoldingThe Contractor shall provide all scaffolding required for the execution of the whole of the works. If the Contractor shall strike any of his scaffolding before ascertaining whether it is required by any sub-contractors or statutory authorities, etc. he must re-erect it if so required, at his own expense

Support scaffolding and proppingThe Contractor shall provide all support scaffolding and propping required for the execution of the whole works if the Contractor shall strike any of his scaffolding before ascertaining whether it is required by any sub-contractors or statutory authorities, etc. he must re-erect it if so required, at his own expense

Small plant and tools Provide all necessary small plant and tools for the proper execution of the works

SAFEGUARDING VULNERABLE GROUPS ACT 2006 (as amended by the Protection of Freedoms Act 2012)

Where work undertaken on behalf of the Employer meets the definition of Regulated Activity as defined in the above Act: all operatives (including sub-contractors) undertaking such work must have an enhanced Disclosure & Barring Service (DBS) with appropriate barred list(s) check undertaken prior to their presence on site, and operatives (and sub-contractors) may be asked to show their DBS certificate for admittance to the site.

The cost of any such checks will be your responsibility and should be allowed for in your tender submission

CONSTRUCTION SKILLS CERTIFICATION SCHEME (CSCS)

Operatives working on construction projets should have a minimum Blue card in accordance with the construction skills certification scheme (CSCS) or similar approved (www.cscs.uk.com)

CONSIDERATE CONSTRUCTORS SCHEME

The Contractor shall consider registering the site under the Considerate Constructors Scheme

SIGNAGE

Name boards / Advertisements

Obtain approval, including statutory consents and provide a temporary name board.

Contractors are to allow for suitable signage and hazard warning signs to scaffolds and work areas.  The Contractor shall obtain and pay for Planning Permission for any signboards if required.

PHOTOGRAPHS

Number of locations: sufficient to record all work in progress.

Frequency of intervals: Weekly.

Image format: JPEG.

Number of images from each location: sufficient to record all work in progress or as otherwise stipulated by the Employer’s Agent.

Other requirements: provide weekly to the Employer’s Agent on CD or DVD bearing the date of the photographs.

ACCOMMODATION

SITE ACCOMMODATION

The provision of a temporary office and welfare facilities. The Contractor will be responsible for ensuring the same is maintained in good order to meet the requirements of the Health and Safety Executive, Local Authority or any other body.

SITE STORAGE AND SHELTERS

The contractor will be required to provide storage units and shelters around the site to suit his own requirements. The Contractor will be required to maintain in good order for the duration of the contract.

PERFORMANCE BOND

The Contractor may be required to have a Bond in place for this Contract at a value of 10% of the total contract price.