The supply and delivery of Sintering Room (Building and Extraction, M&E)

Ref: AS/SM/#B01

Invitation to Tender (ITT) – Part B Award Criteria Response Document

Tender Return Deadline Date:	 1 October 2025 at 12.00pm (Noon)

NB: - Failure to meet any of the criteria outlined below, or to achieve the minimum required score in any section, will result in your submission being deemed non-compliant and excluded from further consideration.

# 19.0 Award Criteria - Pricing Document – 50% Overall Total Weighting

### 19.1	Award Criteria: Pricing Document – 50% weighting

Please complete Appendix 1e – Pricing Schedule Document for this Tender.

The Pricing Document, which is found in Appendix 1e – Pricing Schedule Document has been allocated an overall total weighting of 50%. The scoring methodology is detailed within Appendix 1a – WPSQ & Award Criteria Evaluation Methodology - Award Criteria Tab AND Invitation to Tender (ITT) Instructions.

The Pricing Document will be evaluated on the basis of the Total Cost (Inclusive of VAT) on the Pricing Schedule.

Pricing Schedule – New - Equipment & Services (Question 19.1).

See Appendix 1e – Pricing Schedule

The prices quoted should be provided in a manner that shows a breakdown of the details of the Total Price for the contract in order to provide transparency.

For any United Kingdom based Tenderer the Pricing Document section 19.1 should be in British pound sterling and shall be exclusive of VAT and inclusive of VAT @20% and include all other Taxes and Tariffs, where applicable.

For any Tenderer based outside the United Kingdom the Pricing Document section 19.1 should be in British pounds sterling. However, the University will need to account for a reverse charge at 20% to HMRC. Therefore the cost of the works including the reverse charge will need to be within the indicative budget.

The prices provided will be deemed to be fixed for the duration of the contract.

### 19.2	Pricing Structure – Parts & Consumables and Consultancy Rates etc.

See Appendix 1e – Pricing Schedule

Please provide pricing cost details for the following optional requirements:

- All parts and consumables including delivery costs (Please provide a list of applicable parts and consumables)

- Additional Technical Implementation Consultancy Costs if required (Rate per day) for each type of consultants.

- Additional Training Consultancy Costs if required (Rate per day)

The prices quoted should be provided.

This question is for information only and will not attract any marks or weighting, but the prices stipulated will form part of the contract in a separate schedule. However, the University will reserve the right to consider alternative supply chain arrangements and will not be bound to purchase the above under this contract.

The above prices for parts will be fixed for a period of 12 months and any subsequent price reviews will be subject to the UK Consumer Price Index (CPI).

The Pricing Document has been allocated an overall total weighting of 50%. The scoring methodology is detailed within Schedule 1 Appendix 1a – Selection & Award Criteria Evaluation Methodology - Award Criteria Tab as well as Section 2.4.2.

## 20.0 Award Criteria – Quality Questions – 50% Overall Total Weighting

The Quality Questions within the ITT Response Document PART B (Award Criteria Response Document) has been allocated an overall total weighting of 50%.  The scoring methodology is detailed within Schedule 1 Appendix 1a – Selection & Award Criteria Evaluation Methodology - Award Criteria Tab as well as in 2.4.3.

Please complete the following Quality Questions method statements describing how you will meet the requirements of the project. Please provide detailed responses that comprehensively address the questions raised and answer them in the same order in which they are asked to ensure your responses relate to the question bullet points in turn. The responses should, wherever possible, relate to this specific project.

## 20.1 Award Criteria – Technical - Adherence and meeting specified Technical Specification (Maximum 5 marks per Equipment Specification Features). Maximum 50 marks (50% weighting in total).

Please read Appendix 1a Award Criteria Scoring Mechanism for a detailed breakdown of all scores and the applicable scoring methodology.

Please provide a method statement confirming YES or NO and outlining with written evidence how your solution will meet the following individual technical specification requirements.

Please note individual technical requirements highlighted as mandatory is a pass/ fail criterion which must obtain a scoring of either 3 or 4 marks depending on the question (pass mark is noted below for each question) i.e., equal, or greater than GOOD confidence, otherwise the tender bid may be deemed non-compliant and may be disqualified.

### 20.1.1 Equipment Type and Functional Classification (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Local fume extraction with HEPA/activated carbon filtration

- Mechanical ventilation with 8–12 air changes per hour

- Dedicated 3-phase electrical supply (400 V, 32–63 A)

- Cold water and waste outlet connection

- Compressed air line (6–8 bar, clean/dry) with regulator

- HVAC or air conditioning for ambient temperature control

- Dust-safe finishes: sealed epoxy floor, anti-static surfaces

- Integrated lighting (500 lux+) and wide access for equipment

### 20.1.2 Functional Capability and Performance Parameters (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Supports safe operation of high-temperature laser sintering

- Compliant with COSHH, PUWER, and HSE for polymer powder

- Modular, scalable setup for future additive tech integration

### 20.1.3 Control Systems and Interface Integration (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Manual and automated environmental controls for airflow, temperature, and filtration

- Emergency shut-off switches and hazard signage installed

- Signage for PPE, laser operation, and high-heat warnings

### 20.1.4 Accessories and Fixtures (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Mobile ATEX-rated vacuum unit for powder and dust control

- PPE-compliant COSHH storage area

- Optional sealed cabinets or enclosures for sensitive handling

### 20.1.5 Operational Software and Digital Integration (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Environmental control system may be linked to BMS

- Digital documentation and as-built drawings to be provided

- Option for smart monitoring of temperature, airflow, and filter load

### 20.1.6 Laboratory Integration and Operational Readiness (mandatory) Maximum 4 marks, Pass Mark = 3 marks (Good Confidence)

- System designed for permanent installation within a multi-use research lab

- Modular configuration allows future adaptation without major works

- Noise and vibration minimised for compatibility with sensitive equipment

- All infrastructure suited to standard lab conditions (temperature, dust)

- Optional elements (e.g. chilled water) to be plug-and-play compatible

### 20.1.7 Training Use Cases and Pedagogical Value (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Training for up to 3 staff included as part of the handover

- Covers operational use, health and safety, and incident response

- Aligns with professional standards in advanced manufacturing

### 20.1.8   Installation and Infrastructure Requirements (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Supplier to provide full list of utility connections: electrical, air, water

- University responsible for pre-installation works

- Supplier responsible for delivery into and within the building

- Final delivery address: Faculty of Arts, Computing and Engineering, Wrexham University, Mold Road, Wrexham, LL11 2AW

### 20.1.9   Compliance, Certification and Safety Standards (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- All systems CE marked and conforming to UKCA standards

- Full health and safety documentation provided

- Commissioning must be completed by 31st March 2026

- Equipment to meet applicable UK/EU safety directives and documentation standards

### 20.1.10 Documentation, Export Control, and Commercial Use (mandatory) Maximum 5 marks, Pass Mark = 4 marks (Good Confidence)

- Technical documentation (print and digital) covering operation, maintenance, safety

- Avoidance of restricted components from US, China, or France unless approved

- Equipment may be used for commercial training, research, and CPD under Wrexham University’s commercial framework

# 20.2	Award Criteria – Non - Technical

Please read Appendix 3 Award Criteria Scoring Mechanism for a detailed breakdown of all scores and the applicable scoring methodology.

### 20.2.1	Delivery time scales (5 marks per bullet point, maximum 10 marks 20% weighting).

### This is a Pass / Fail question Pass Mark=4 (Good Confidence)

The University requires the supply, delivery, installation, and commissioning of a new machine before the 31st of March 2026. This is a mandatory pass mark requirement.

- Please provide a method statement confirming if you are able to meet the above deadline and please confirm this with respect to new equipment.

- Please provide a Gantt chart  outlining the project delivery plan against the 31st of March 2026 date (or the proposed revised date).

### 20.2.2 Maintenance and Support Service Levels (5 mark per bullet point, Maximum marks = 30 marks, 5% weighting)

Please provide details of how You will deliver and ensure continued levels of service for both ongoing maintenance and support throughout the contract.

The response should cover:

- Detailed description of the maintenance and support service available including after sales support and service .

- Description of the process for dealing with and reporting and responding to faults including response times. Including details of the location of the engineers and call out lead times and fix lead times guarantees.

- Details about the sourcing and delivery response for the supply of parts and consumables

- Details about how you will communicate regarding of software / equipment updates / upgades

- Details of how your organisation will deal with corrective action and lessons learnt if you fail to meet your key performance indicators and key contract outcomes and deliverables for this contract.

- Provide details of Your complaints procedure and key contacts who will resolve any complaints under this Contract.  Include details regarding complaints for but not limited to; customer services, invoicing, damage to property, and faulty goods including resolution response times in hours / days for all aspects outlined above.

Maximum 5 Sides A4 Page for Response (Text Size 11) – If providing separate document for the response, please include Question number and Question description.

### 20.2.3	Training Provision (5 marks per bullet point, maximum 5 marks 5% weighting)

- Please provide details of the Please provide details of the Training programme for up to 3 members of staff from the University as part of the delivery package to be provided. The programme should cover all normal operational tasks of the plant and user trouble‑shooting training.

Maximum 1 Sides A4 Page for Response (Text Size 11) – If providing separate document for the response, please include Question number and Question description.

### 20.2.4	Risk Management (5 marks per bullet point, maximum 10 marks, 5% weighting)

Please provide a detailed method statement detailing the:

- Risks and main challenges associated with the delivery of this Contract as well as

- The actions you will put in place to mitigate against the identified risks.

Maximum 3 Sides A4 Page for Response (Text Size 11) – If providing separate document for the response, please include Question number and Question description.

### 20.2.5 Business Continuity and Disaster Recovery (5 marks per bullet point, maximum marks 5       marks 5% weighting)

- Please provide a method statement detailing Your business continuity and Disaster Recovery plans and how you will ensure continuity of supply and service to the University under this contract in the event of any business continuity issues or any disasters.

Maximum 3 Sides A4 Page for Response (Text Size 11) – If providing separate document for the response, please include Question number and Question description.

### 20.2.6	 Added Value Services (5 marks per bullet point, maximum 5 marks 5% weighting)

- Please provide details of any relevant value-added services that Your organisation will offer under this contract, e.g., training, service and support, extra warranty, software upgrades, early payment discounts.

-

Maximum 3 Sides A4 Page for Response (Text Size 11) – If providing separate document for the response, please include Question number and Question description.

### 20.2.7	 Fair Work Practices (5 marks per bullet, maximum 35 marks, 5% weighting)

The University has adopted the Welsh Government’s Code of Practice on Ethical Procurement in Supply Chains. This is designed to ensure that high-quality public services are delivered throughout Wales by a workforce that is treated legally, fairly, and safely, and is well-rewarded. This Code includes a commitment to consider promoting the Living Wage in relevant contracts.

Evidence of fair work practices to include:

• a fair and equal pay policy that includes a commitment to paying all staff at least the Living Wage

• becoming an accredited Living Wage Employer

• ensuring that all staff have access to training and development opportunities

• promoting equal opportunities for all staff regardless of age, gender, disability, religion, race, and   sexual orientation

• stable employment, avoiding inappropriate use of zero-hours contracts, and umbrella employment firms

• flexible working arrangements to allow support for carers, and for family-friendly working

• supporting workforce engagement, for example Trade Union recognition and representation, or other arrangements for empowering staff.

In order to ensure high standards of service quality in this contract we expect the Economic Operators to take a similar approach in relation to ethical working practices.

Please describe how you will commit to fair working practices for workers engaged in the delivery of this contract (including any agency or sub-contracted workers). Answers need not be constrained to the examples given in the guidance alongside this question. Good answers will reassure evaluators that your company takes a positive approach to ensuring that your workers are subject to fair work practices, receive fair pay and have opportunities to develop skills.

Your answer should refer to the supply chain involved in this Contract footprint only.

Maximum 3 Sides A4 Page for Response (Text Size 11) – If providing separate document for the response, please include Question number and Question description.

# 21	Additional Questions – Not Evaluated and is for information only.

The following questions are for information only and will not be evaluated and does not attract any marks or weighting as part of the Award Criteria.

### 21.1	Assumptions (please complete this question)

Please detail any assumptions made in relation to responding to this Invitation to Tender as well as any assumptions made in the successful delivery of the proposed contract.

Maximum 3 Sides A4 Page for Response (Text Size 11) – If providing separate document for the response, please include Question number and Question description.

# 22 Document Checklist for Completion and Submission

22.1	A complete Tender Submission will include all the following documents. Please ensure that you upload all the relevant documents by the Deadline, or you may incur a loss of marks.

| Document Reference | Document Title | Action Required |
| --- | --- | --- |
| ITT Response Document PART A (Selection Questionnaire Response Document) | ITT Response Document PART A (Selection Questionnaire Response Document) | Completion and Submission |
| ITT Response Document PART B (Award Criteria Response Document) | ITT Response Document PART B (Award Criteria Response Document) | Completion and Submission |
| ITT Response Document PART C (Declarations Response Document) | ITT Response Document PART C (Declarations Response Document) | Sign, Completion and Submission |
| Schedule 1 Appendix 1g | Confidential & Commercially Sensitive Information | Completion and Submission |