## Pricing Schedule
Name, Nature and Location
The project consists of the replacement of Soffits, Fascias, and RWG, to Falcon Road Barry CF63 2AT (6 No semi detached houses ) within the Vale of Glamorgan area.
Contract Timescales
Commencement Date: To be agreed
Contract Period: submission to be based on 12 Weeks - no alternative time period will be accepted
Completion Date: within the 12 week period from agreed start date
Employer:
Vale of Glamorgan Council, The Alps Depot, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
Contract Administrator:
Vale of Glamorgan Council, The Alps Depot, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
N.B. It is strongly recommended that the contractor visits the site to determine sizes, access and all local conditions and restrictions likely to affect the works. No claim whatsoever will be entertained by the employer resulting from failure to properly ascertain conditions and restrictions which may affect the works.
All works included within this Schedule are to be priced in accordance with the relevant Specification, attachments, drawings and all other documentation. Tenders may be rejected if the information asked for in the ITT, Specification and pricing scheduleda are not completed in full at the time of tendering. Faiure to complete all cells/sections may lead to the tender being rejected .The use of "included" should be avoided. Where cells/sections do not apply they should be marked as "N/a"
During the works, the contractor is to provide sufficient & appropriate protection to all structures and surfaces to prevent damage. Any dust, dirt, moisture etc. created by the works is to be fully cleaned on a daily basis and as required to prevent spread of dirt & dust to other areas.
Signals to all data services (TV, Sky etc.) are to be maintained to all properties/blocks, as appropriate, through-out the contract.
The contractor is to devise a safe means of access to all points of work, which will also allow for regular an safe pedestrian movement This will be assessed by and agreed with the Contract Administrator prior to commencement of works. The nature of the works means that a fixed means of access such as a standard scaffold, may in cases not be appropriate whilst working at height.. Safe and suitable working platforms must be provided with a full and unbroken working area in complaince with health and safety and constructions standards..
All waste is to be disposed to registered waste disposal or recyling unit
It is the responsibility of the tendering contractor to bring to the attention of the contract administrator any queries with regard to his tender submission prior to the tender submission date. Any query that is raised after the award of contract that should have been raised during the tender stage will be completed by the contractor at no additional cost to the client.
Applications for payments should identify %age of completion and be agreed with contract administrator on a monthly basis.
Information included: Fascia soffit etc specification Fascia soffit etc drawings Property schedule Address List
The following information will be required to be provided by the contractor and is to be included in the pricing schedules Asbestos removal surveys and details Asbestos consignment notes RAMS Completion photos
All measurments and meterages provided allow for + or - 15% variation The address list provided is indicative and properties may be added or removed as necessry No's 6,14,& 26 condition to be checked and currently not included in works schedule
| Description | Qty | Unit | Rate | £. P
Preliminaries (including but not limited to)
Time related charges for 9 properties
| Head office support/ General administration | 1 | Wks |  | 0
| Site supervision | 1 | Wks |  | 0
| Tenant liaison | 1 | Wks |  | 0
| Principal contractor | 1 | Wks |  | 0
| Accommodation - Site compound and welfare facilities | 1 | Wks |  | 0
| Services - Electricity | 1 | Wks |  | 0
| Services - Water | 1 | Wks |  | 0
| Site Security Fencing/ Hoardings and the like | 1 | Wks |  | 0
| Insurances, permits fees and contracts | 1 | Wks |  | 0
| Performance Bond | N/a | N/a |  | N/a
| Preliminaries weekly total |  |  |  | 0
| Total time related charges over contract period. | 12 | Wks |  | 0
Fixed chargesfor 9 properties
| Protection of existing landscaping, structures & surfaces |  | Wks |  | 0
| Scaffolding, lifts, and the like |  | Wks |  | 0
| Traffic Management |  | Wks |  | 0
| Plant and equipment |  | Wks |  | 0
| Client meetings | 2 | Nr |  | 0
| Surveys, Photography pre condition and completion |  |  |  | 0
| Inspection, Testing, commissioning and training |  | Item |  | 0
| Site set up and demobilisation including welfare, security, temporary services and the like |  | Item |  | 0
| Safety equipment and PPE |  | Item |  | 0
| Training and induction |  | Item |  | 0
| Waste disposal, skips and the like |  | Item |  | 0
| Legal Fees |  | Item |  | 0
| Signage |  | Item |  | 0
| Deliveries |  | Item |  | 0
| Cleaning |  | Item |  | 0
| Risk management |  | % |  | 0
| Fixed charges total |  |  |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
1.00 | Enabling works
1.01 | Carryout a complete Asbestos survey to the each property and provide a copy of the survey report to the CA. The report must identify each ACM and provide a laboratory testing/analysis certification of each sample. No 'notes as' (presumed ACM's) will be accepted. | 1 | Item |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
2 | Roof Tles, battens and felt
2.01 | To front, rear,elevation Remove existing 1 metre of roof tiles and set aside for reuse, remove existing timber battens and felt, Based on 6m front and 6m rear. include for disposing of the degraded felt and battens | 12 | m2 |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
3 | Existing guttering,fascias, soffits and associated components
3.01 | Remove existing guttering.fascia, soffits and all associated components to front and rear of properties (assume 500mm girth by 6m front and rear (total 6M2 ) include for disposing to recycling unit | 6 | m2 |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
4 | Rafter trays
4.01 | Suppy and fix Corovent or similar 800mm X 6m Rafter Tray that provides 25mm per LM Air Gap to front and rear of properties as per manufacturers instructions. Based on 6m front and 6m rear | 12 | m |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
5 | Eaves Ventilation
5.01 | Eaves :Supply and fit an Injection-moulded polypropylene Over Eaves Ventilation System Manthorpe G2500N Over Fascia Vent or slmlar to provide airflow of 25,000 mm² per metre with an Integral flyscreen to block insects. | 12 | m |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
6 | Roof membrane
6.01 | Install Tyvek Supro water tight and breatheable roof membrane or similar fixedwith stainless-steel staples or large headed felt nails to stripped roof sections to front and rear elevations . Fixings should be positioned at 300mm max centres to each rafter.Based on 6m front and 6m rear | 12 | m |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
7 | Timber roof battens
7.01 | Install new BS 5534, PEFC certified -25mm x 50mm timber roof battens fixed securely with nails/screws to existng truss timbers.Treated with MicroPro® preservative to BS 8417:2011 | 1 | Item |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
8 | Roof tile installation and associated components
8.01 | Reinstall saved Tiles and install starting from the bottom course and work upwards. Ensure correct overlap and alignment. Fix tiles using nails or clips as per manufacturer’s guidance. | 1 | Item |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
9 | Gutters and downpipes
9.01 | Half round deep flow Upvc gutters, Provide and fix Swish/Eurocell or similar white half round deep flow Upvc gutters,including all necessary outlets, Jointing trims, stop ends etc all fitted to manufacturer’s instructions. Ensure a fall of approximately 1:350 to 1:600 toward the outlet. including all necessary outlets, .Include for universal adapter FloPlast Deepflow/Hi-Cap to Half Round Gutter Adaptor or similar to connect Deepflow (114mm) systems to standard half round (100mm) existing compatible gutter system.Based on 6m front and 6m rear | 12 | m |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
10 | Gutter brackets
10.01 | Install gutter brackets suited to Deep flow guttering at a maximum connection distance not exceeding 1 metre and use two 5mm x 25mm screws per bracket (round head or countersunk | 1 | Item |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
11 | Downpipes
11.01 | Install 75mm dimeter downpipes to the Deepflow gutter system, secured with proprietary clips every 1.8 m and directly under swan neck bends. Allow for 1 downpipe to be installed per gutter run or every 9–12 metres | 1 | Item |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
12 | Water test.
12.01 | On completion of the guttering installation, conduct a thorough water test to test and confirm the system integrity to ensure clear proper flow and drainage. | 1 | Item |  | 0
| Carried to summary |  |  |  | 0
| Description | Qty | Unit | Rate | £.p
Provisional sum
| Allow for temporary repositioning of any incoming electrica/telecommunication supplies at eaves level and re-instatement on completion of works | 1 | Item | 500 | 500
| Carried to summary |  |  |  | 500
| Description | Qty | Unit | Rate | £.p
Provisional quantity
| Allow for replacement of Bargeboards includung for removal/adjusting & reinstating dry verge edging system | 11 | m |  | 0
| Carried to summary |  |  |  | 0
13 | Client Contingency
| Description | Qty | Unit | Rate | £.p
13 | Client Contingency
13.01 | Allow £1000 per property for miscellaneous and unforseen works | 1 | Item |  | 1000
| Carried to summary |  |  |  | 1000
Main Summary
| Page 4 Enabling works |  |  |  | 0
| Page 4 Roof Tles, battens and felt |  |  |  | 0
| Page 4 Existing guttering,fascias, soffits and associated components |  |  |  | 0
| Page 4 Rafter trays |  |  |  | 0
| Page 4 Eaves Ventilation |  |  |  | 0
| Page 5 Roof membrane |  |  |  | 0
| Page 5 Timber roof battens |  |  |  | 0
| Page 5 Roof tile installation and associated components |  |  |  | 0
| Page 5 Gutters and downpipes |  |  |  | 0
| Page 6 Gutter brackets |  |  |  | 0
| Page 6 Downpipes |  |  |  | 0
| Page 6 Water test. |  |  |  | 0
| Total of project cost per property |  |  |  | 0
| Sub total 1 Total of project cost for 9 properties | 9 | No |  | 0
| Page 6 Provisional sums |  |  |  | 500
| Sum of Project Provisional sums for 9 properties | 9 | No |  | 4500
| Sub total 2 -Total for project costs and provisional sums |  |  |  | 4500
| Page 6 Client Contingency |  |  |  | 1000
| Total of project contingency for 9 properties | 9 | No |  | 9000
| Sub total 3 works plus Provisional sums and contingencies |  |  |  | 13500
| Page 6 Provisional Quantity |  |  |  | 0
| Page 3 Prelim costs for 9 properties |  |  |  | 0
| Total Carried to tender |  |  |  | 13500
| Community Benefits Percentage Included |  | % | 0% | 0
Variations to be priced as items below
Day Works.
Include the following Provisional Sums
Section A
Labour - The rate should be inclusive of overheads & profit
| Tradesman | 1 | Hours
| Labourer | 1 | Hours
Section B
Materials and Goods
| Incidental costs, overheads and profit. |  | %
Section C
Plant
| Incidental costs, overheads and profit. |  | %
Section D
| NHF schedule of rates Version 7.1 |  | %