## Pricing Schedule
PROJECT PARTICULARS - SCHEDULE OF WORKS
Item | Name, Nature and Location
Address: 2 Burley Place, St Athan, Barry CF62 4LB
Description Of Works - Internal and External Refurbishment Works to allow a suitable and habitable Childrens Home.
Commencement Date: ASAP
Contract Period: Submission to be based on 16 Weeks
Note - Timescales that exceed the Contract Period listed above will not be accepted and void the tender submission.
Completion Date: Pending Confirming of Commencement Date
Employer: Vale of Glamorgan Council, The Alps Depot, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
Contract Administrator: Vale of Glamorgan Council, The Alps Depot, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
Note. If the tenderer requests to visit site to ascertain scope and visualise works, they must first liase with the contract administrator; Mark Speed (mspeed@valeofglamorgan.gov.uk). It is strongly recommended that the contractor visits the site to determine sizes etc. Additionally please be aware that the contract is for works to Vale of Glamorgan Council owned properties only. The property may border privately owned properties that may appear in the middle of row of properties. No claim whatsoever will be entertained by the employer resulting from failure to properly ascertain conditions and restrictions which may affect the works. The submitted tender must be fully inclusive of all items shown, failure to price any items or to price items outside of the submitted tender figure may invalidate the tender and lead to rejection of the tender.
All works included within this Schedule are to be priced in accordance with the relevant specifications, attachments, drawings and all other documentation. Items of work which are not individually specified nor seemingly 'allowed for' within in the pricing schedule, but are however expressed or detailed within the specificions. Are to be included by the contractor and are deemed included within the contractors price.
Tenders may be rejected if the information asked for in the ITT, Specification and Pricing Schedule are not completed in full at the time of tendering. Faiure to complete all cells/sections or to price items outside of the submitted tender figure may invalidate the tender and lead to the tender being rejected. The use of "included" should be avoided. Where cells/sections do not apply they should be marked as "N/A"
It is the responsibility of the tendering contractor to bring to the attention of the contract administrator any queries with regard to their tender submission prior to the tender submission date. Any query that is raised after the award of contract that should have been raised during the tender stage will be completed by the contractor at no additional cost to the client.
All waste materials generated through these works are to be disposed of away from site to a registered waste disposal or recyling unit in a documented manner. All disposal costs are to be allowed for in the tendered contract bids.
During the works, the contractor is to provide sufficient & appropriate protection to all structures and surfaces to prevent damage. Any dust, dirt, moisture etc. created by the works is to be fully cleaned on a daily basis and as required to prevent spread of dirt & dust to other areas.
Signals to all data services (TV, Sky etc.) are to be maintained to all properties/blocks, as appropriate, through-out the contract.
The contractor is to devise a safe means of access to all points of work. This will be assessed by and agreed with the Contract Administrator prior to commencement of works. Safe and suitable working platforms must be provided with a full and unbroken working area in complaince with health & safety and construction standards.
All installations, including supplied products and materials, are to comply fully with the "Welsh Housing Quality Standards 2023" specification and all other specifications attached to this document.
Applications for payments should identify %age of completion and be agreed with contract administrator on a monthly basis.
Note: Works are to make reference to and follow instructions within the following associated documents: PHOTOS N/A DRAWINGS 2 Burley Place - Ground Floor - Existing 2 Burley Place - Ground Floor - Existing - No Detail 2 Burley Place - Ground Floor - Proposed 2 Burley Place - Ground Floor - Proposed - No Detail 2 Burley Place - First Floor - Existing 2 Burley Place - First Floor - Existing - No Detail 2 Burley Place - First Floor - Proposed 2 Burley Place - First Floor - Proposed - No Detail 2 Burley Place Kitchen Floorplan TAL25 05 01 SURVEYS & REPORTS N/A
SPECIFICATIONS Additional Rewire Informaiton - 2 Burley Place Bathrooms & Tiling Specification Burley Place - Beam Calculation Carpet Matieral Specification Centreal Heating Specification Fire Alarm - 2 Burley Place Fire mist sprinkler system quote K8 document Estimate-40129902 Kitchen & Tiling Spefication MOD_Installation_LVT_LLIntoo55_EN-UK MOD-TDS_LVT_Intoo_EN Painting Internal Specification Rewiring Specification - 2 Burley Specification H Rev 1 - Loft Insulation Sprinkler Head Plot Vinyl Floor Specification Welsh Housing Quailty Standard 2023
| Description | Qty | Unit | Rate | Total
1 | ALL PRICED ITEMS SHOWN BELOW ARE TO BE FULLY INCLUSIVE OF ALL PRELIMINARY COSTS.
Preliminaries (including but not limited to) - all relevant sections to be completed
1.01 | Time related charges
| Head office support/ General administration | 1 | Wks |  | 0
| Site supervision | 1 | Wks |  | 0
| Tenant liaison | 1 | Wks |  | 0
| Principal Contractor | 1 | Wks |  | 0
| Accommodation - Site Compound and Welfare Facilities | 1 | Wks |  | 0
| Site Security Fencing/ Hoardings and the like | 1 | Wks |  | 0
| Protection of existing landscaping, structures & surfaces, etc | 1 | Wks |  | 0
| Insurances, permits fees and contracts | 1 | Wks |  | 0
| Performance Bond | N/a | N/a |  | N/a
| Preliminaries weekly total |  |  |  | 0
| Sub Total time related charges over contract period. | 16 | Wks |  | 0
1.02 | Preliminaries (Fixed charges)
| Plant and equipment |  | Item |  | 0
| Signage |  | Item |  | 0
| Site set up and demobilisation including welfare, security, temporary services and the like |  | Item |  | 0
| Scaffolding, lifts, and the like |  | Wks |  | 0
| Surveys, Photography pre condition and completion |  | Item |  | 0
| Waste disposal, skips and the like |  | Item |  | 0
| Safety equipment , PPE traffic management and deliveries |  | Item |  | 0
| Legal Fees |  | Item |  | 0
| Inspection, Testing, commissioning and training |  | Item |  | 0
| Training and induction |  | Item |  | 0
| Cleaning |  | Item |  | 0
| Client meetings |  | No |  | 0
| Attendance and management |  | Item |  | 0
| Risk management |  | % |  | 0
| Sub Total fixed charges over contract period. |  |  |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
2 | FACILITATING WORKS
Pre works gas safety checks MUST be carried out by a competent Gas Safe Engineer to solid, oil and gas fuelled heating appliances and to include all flues. All "Live Flues" are to be isolated and tagged prior to commencement of works on a daily basis and ensure all flues are reinstated, replaced, extended or modified as per Gas Safe Specification & Regulations and CP12s provided as soon as practicable indicating and recording any remedial works carried out. Pre-start gas checks are to be carried out with a VOGC supervising Officer and a CP12 completed indicating appliances, their current condition and location flue conditions both vertical and horizontal and whether the chimneys are in use prior to commencement of works. No works are to proceed until approval has been provided by the VOGC supervising officer by the issuing of a "Permit" to commence works (CPT/PCW 001) to be signed and dated by the contractor and VOGC Officer.
2.01 | Carry out Pre-start gas checks to boiler, main line, flues and Chimney. Provide a CP12 indicating appliances, their current condition prior to commencement of works. An additional to be provided at the completion of works. | 1 | Item |  | 0
2.02 | Carry out a full R&D asbestos survey to the internal and external areas of the property. Provide the report to the contract administrator before commencing any relating works. | 1 | Item |  | 0
2.03 | Carry out an electrical inspection condition report (EICR) and must provide to the contract administrator before commencing any relating works. | 1 | Item |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
3 | DEMOLITION WORKS
All removal costs are to include for all necessary isolations, connections. All disposal costs are to be included unless stated to refix/fit or set aside.
3.01 | Remove all existing kitchen units, worktops, fixtures, tiling and dispose off site. | 1 | Item |  | 0
3.02 | Remove all existing bathroom and downstairs WC fixtures and tiling and dispose off site. | 1 | Item |  | 0
3.03 | Remove skirting throughout. | 114 | lm |  | 0
3.04 | Remove internal PVC cills to windows. | 12 | lm |  | 0
3.05 | Demolish stud wall between kitchen and dining room up to ceiling level and make good. Converting the space to a kitchen-diner. | 4.5 | m2 |  | 0
3.06 | Demolish block wall between kitchen and dining room up to ceiling level and make good. Converting the space to a kitchen-diner. | 1.5 | m2 |  | 0
3.07 | Demolish block wall between first floor bathroom and stairwell to expand bathroom, make good and prep. | 2.6 | m2 |  | 0
3.08 | Demolish single skin brick wall between first floor WC, airing cupboard and rear bedroom and make good walls & ceiling. Expanding the WC into an en-suite. | 9 | m2 |  | 0
3.09 | Remove vinyl flooring throughout property. | 51 | m2 |  | 0
3.1 | Remove carpet throughout property. | 47 | m2 |  | 0
3.11 | Remove internal doors, door linings and architrave to the following locations; Hallway to WC Hallway to living room Hallway to kitchen Kitchen to dining room Landing to bathroom Landing to WC Landing to airing cupboard Landing to bedrooms (3nr) Bedroom to cupboards (3nr) | 13 | nr |  | 0
3.12 | Core holes from internal to outerskin walls required for ventillation fans. To the folowing locations; Downstairs WC | 1 | nr |  | 0
3.13 | Core and install ventillation fans through the ceiling and vent through loft and into the soffit. Include for necessary ducting and covers. To the following locations; Upstairs bathroom En-suite | 2 | nr |  | 0
3.14 | Remove 300-600mm timber boxing above kitchen units and high level in living Room and dining area. | 10 | lm |  | 0
3.15 | Remove plasterboard ceilings throughout and prep for renewal. | 103 | m2 |  | 0
3.16 | Remove attic hatch, frame and architrave. | 1 | Item |  | 0
3.17 | Remove redundant electrical cabling and dispose off site. | 1 | Item |  | 0
3.18 | Remove Bannister to top of staircase to allow construction of timber partition. | 1.5 | lm |  | 0
3.19 | Remove and refit radiators leaving pipework in-situ for re-install. | 8 | nr |  | 0
3.2 | Remove and dispose existing radiators. To the following locations; Upstairs bathroom En-suite | 2 | nr |  | 0
3.21 | Demolish half brick thick, single skin external sheds 14m2 of total brickwork. Include for removal of 1nr L&B door, frame, roof sheeting and making good. | 1 | Item |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
4 | ELECTRICAL SERVICES
All electrical work to be constructed, inspected and tested in accordance with the British Standard 7671 by a qualified and competent person.
Ventilation systems to be a Nuaire CYFAN centrifugal extract fan, designed to meet the flow rates for all wet room applications such as the bathroom, kitchen, utility, WC etc. The fan to be continuous operation and include for all necessary duct work, electrical fittings and making good.
4.01 | Carry out full rewire to property as per "Rewiring Specification - 2 Burley" & "Additional Rewire Information - 2 Burley Place". Inclusive of sockets, lighting points, switches, spurs, heat and smoke sensors as required to bring up current 18 edition regulations. All wiring to be chased within walls besides Garden Office to be surface mounted and trunked. Consumer Unit installed as per regulatory heights (1.5m from the floor). Lights to be located centrally within rooms. | 1 | Item |  | 0
4.02 | Supply and install CCTV & security system. Installation of 4MP IP hikvision CCTV system with 4TB hard drive storage. Including 4nr cameras, installed with a 8ch NVR & 21inch monitor. External locations of cameras at high level; 1 - Front elevation left 2 - Front elevation right 3 - Rear looking at side of house 4 - Rear looking at back of house | 1 | Item |  | 0
4.03 | Supply and install Ventilation fans as described above to the following locations; Kitchen (Set in, Wall mounted) Downstairs WC (Set in, Wall mounted) Rear bedroom en-suite (Set in, Ceiling or Wall mounted) Upstairs bathroom (Set in, Ceiling or Wall mounted) | 4 | nr |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
5 | PLUMBING SYSTEM
5.01 | Adjust pipework and heating supply within upstairs bathroom and en-suite. Install 2nr 1.8m chrome towel rails. Upon completion balance boiler and test. | 1 | Item |  | 0
5.02 | Resite incoming water main from Kitchen to downstairs WC. | 1 | Item |  | 0
5.03 | Carry out installation of mist sprinkler systems and fire alarms as per "Sprinkler Head Plot" & "Fire mist sprinkler system quote" archetype & "Fire Alarm - 2 Burley Place". Inclusive of all electrical and plumbing cabling, pipework and connections. Include for siting sprinkler pump within understairs cupboard. | 1 | Item |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
6 | LAYOUT CHANGES, WALLS, CEILINGS & LOFT
6.01 | Supply and install an RSJ to Kitchen Diner. To support the Upper Floor and safely distribute weight as per "2 Burley Place - Ground Floor - Proposed", "TAL25 05 01" & "Burley Place - Beam Calculation". | 1 | Item |  | 0
6.02 | Supply and build studwork walls, plasterboard and insulate with soundproof rockwool or similar approved material to create the en suite. As per "2 Burley Place - First Floor - Proposed". | 6.5 | m2 |  | 0
6.03 | Supply and build studwork walls, plasterboard and insulate with soundproof rockwool or similar approved material to create alcoves to bedrooms 1 & 2. As per "2 Burley Place - First Floor - Proposed". | 4.5 | m2 |  | 0
6.04 | Supply and build studwork walls between the bathroom and stairwell, from GF floor to FF ceiling level to enclose the space. Inclusive of soundproof insulation and plasterboard as per "2 Burley Place - First Floor - Proposed". | 8.5 | m2 |  | 0
6.05 | Extend timber joists from the existing bathroom to stairwell opening (1.1m x 0.8m). Inclusive of boarding the GF ceiling and FF floor. | 1 | Item |  | 0
6.06 | Supply and install fireline plasterboard to underside of stairs within understairs cupboard | 2.5 | m2 |  | 0
6.07 | Supply and apply 3mm Skim coat to newly built studwork walls. | 42 | m2 |  | 0
6.08 | Supply and apply 3mm Skim coat to newly built ceilings. | 103 | m2 |  | 0
6.09 | Top up to 400mm fire retardant euroclass A1 mineral wool loft Insulation to attic space as per "Specification H Rev 1 - Loft Insulation". | 54 | m2 |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
7 | CARPENTRY
7.01 | Supply and fit 100mm bullnose skirting throughout. | 90.5 | lm |  | 0
7.02 | Supply and fit 75mm PVC skirting. To the following locations; Upstairs bathroom En-suite | 15.5 | lm |  | 0
7.03 | Supply and fit mdf cills to internal window cills. | 12 | lm |  | 0
7.04 | Supply and install mopstick handrail to stairwell. | 3 | lm |  | 0
7.05 | Supply and install 300-600mm fire rated plasterboard to box in and encase the Kitchen RSJ. As located per "2 Burley Place - Ground Floor - Proposed". | 3.2 | m2 |  | 0
7.06 | Supply and install whiterock cladding to bathroom, WC and en-suite walls. | 19.5 | m2 |  | 0
7.07 | Supply and install up to 36" FD30 Howdens Llandow Oak Foil Flush door or similar approved (For durability purposes) Inclusive of frame, doorstops, architrave and ironmongery. To the following locations; Ground floor WC First floor Bathroom First floor en-suite | 3 | Item |  | 0
7.08 | Supply and install up to 36" FD30S fire door set with approved certifications. To be carried out by a licensed persons and to meet current regulations. Inclusive of doors, frames, architraves, closers and ironmongery. To the following locations; Hallway to kitchen-diner Hallway to living room Landing to bedrooms (3nr) | 5 | Item |  | 0
7.09 | Supply and fit pocket door set between kitchen-diner and living room. Include for doors, architrave, roller kit to create sliding doors and concealed with studwork and plasterboard to conceal. | 1 | Item |  | 0
7.1 | EO for privacy lever latch to the following locations; Downstairs WC Rear bedroom en-suite Upstairs bathroom | 3 | nr |  | 0
7.11 | EO supply and install suited locks to bedrooms. | 3 | nr |  | 0
7.12 | Supply and install lock for understairs cupboard with a set of 3 keys. | 1 | nr |  | 0
7.13 | Supply & fit a new lockable PROFAB ACCESS 1000FR series hatch, in size 500x700mm to existing attic hatch location. Allow for all necessary adjustments to structure of ceiling around new hatch for correct fitting. | 1 | nr |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
8 | INTERNAL FINISHES
Decorating is to be carried out as per "Painting Internal Specification". Kitchens and Bathroom are to be finished utilising Wykamol Anti-Condensation Paint where cladding is not applied. Wall colours to be agreed on site. Ceiling colours to be agreed on site. Woodwork colours to be agreed on site.
8.01 | Decorate woodwork ne 300mm with two undercoats and one coat gloss. | 203 | lm |  | 0
8.02 | Decorate woodwork 300-600mm with two undercoats and one coat gloss. | 3.2 | m2 |  | 0
8.03 | Decorate woodwork exceeding 600mm (Timber cupboards to bedrooms) in white gloss paint. Inclusive of stopping, priming, two coats of undercoat and gloss. | 7.2 | m2 |  | 0
8.04 | Walls to be decorated with mist coat and one coat of emulsion paint. | 214 | m2 |  | 0
8.05 | Walls to be decorated with mist coat and one coat of anti-condensation Wykamol to Kitchen external walls. | 32 | m2 |  | 0
8.06 | Ceilings to be decorated with mist coat and one coat of emulsion paint. | 62.5 | m2 |  | 0
8.07 | Ceilings to be decorated with mist coat and one coat of anti-condensation Wkyamol to Kitchen and Bathrooms. | 40 | m2 |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
9 | FLOORING
The contractor is to ensure that floors are level throughout all rooms before installing any flooring. Flooring and latex is to be wall to wall.
9.01 | Latex the ground floor with self levelling compound to provide a smooth and level finish. | 54.5 | m2 |  | 0
9.02 | Supply and install non-slip vinyl flooring as per "Vinyl Flooring Specification". To the following locations; Downstairs WC En-suite Upstairs Bathroom | 10 | m2 |  | 0
9.03 | Supply and install 'stick down' LVT Flooring 'Galtymore Oak' as per "MOD_TDS_LVT_Intoo_EN" and "MOD_Installation_LVT_LLIntoo55_EN-UK". Product; https://pro.moduleo.com/en-gb/lvt-flooring/intoo-galtymore-oak-936 To the following locations; Hallway Kitchen-diner Living Room | 52 | m2 |  | 0
9.04 | Supply and install Carpet using easy twist carpet and cosy 10mm underlay as per "Carpet Material Specification". To the following locations; Stairwell Landing Bedrooms (Including cupboards) | 47 | m2 |  | 0
9.05 | Supply and fit aluminium threshold strips. | 8 | lm |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
10 | KITCHEN
Supply & Fit Kitchen as per "2 Burley Place Kitchen Floorplan" & "K8 document Estimate-40129902". Base units are to be drawline. Range: "Greenwich Reed Green" All works to include ancillary items. Including but not exclusive to; All plumbing, taps, waste and handles. See "Kitchen & Tiling Specification" for additional information.
10.01 | Supply Kitchen and white goods as per Howdens design. | 1 | Item |  | 0
10.02 | Fit Kitchen as per Howdens design above. | 1 | Item |  | 0
10.03 | Supply and install surestop. | 1 | nr |  | 0
10.04 | Supply and Fit Tiling | 4 | m2 |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
11 | BATHROOM, WC, EN-SUITE
All bathroom works are to be carried out in accordance with "Bathrooms & Tiling Speification". Inclusive of all fittings, plumbing, pipework and ancillary items. Location of items to be installed as per drawing "2 Burley Place - First Floor - Proposed". Existing Locations shown in "2 Burley Place - Ground Floor - Existing".
11.01 | Supply and install close coupled WC & Cistern Complete. Including seat. Model BTL WC 2go pan includicing soft close seat. | 2 | nr |  | 0
11.02 | Supply and install all in one Toreno 1300mm gloss white vanity unit (400/200mm) with pan, cistern and WHB or similar approved by Contract Administrator. | 1 | nr |  | 0
11.03 | Supply and Fit legado versa chrome round diverter bar shower (VER400) or similar approved by Contract Administrator. To upstairs bathroom and en suites. | 2 | nr |  | 0
11.04 | Re-route downstairs WC SVP through the external wall. Core hole and connect to existing external SVP with additional bracketing. Include for all necessary connections and block existing outlet located in floor. | 1 | Item |  | 0
11.05 | Supply and install 550 WHB & Pedestal. Model BTL basin 2go including pedestal and mixer tap. | 2 | nr |  | 0
11.06 | Supply and install 900x900 Shower Cubical to Ensuites includes of all necessary drainage and fixings. | 2 | nr |  | 0
11.07 | Supply and install Zypho Slim50 shower heat recovery system. To be sited under shower as per "Zypho slim50-horizontal Waste" specification. | 2 | nr |  | 0
11.08 | Supply & install ne 300mm UPVC Casing/ Boxing for the SVPs & decorate to match finish of the walls. | 4 | lm |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
12 | EXTERNAL WORKS - LANDSCAPING
12.01 | Trim garden perimeter hedge to 1.8m high maximum or a manageable height and dress and cart away trimmings. | 36 | lm |  | 0
12.02 | Remove small bush in rear garden and cart away. | 1 | Item |  | 0
12.03 | Cutback and dress overgrown tree behind Garage and cart away trimmings. | 1 | Item |  | 0
12.04 | Break out section of concrete pathway and excavate to a suitable depth ne 200mm to lay armoured cable to garage. Inclusive for necessary agggates, covering, sanding and making good. Depth and installation to comply with current Building Regulations. | 2 | lm |  | 0
12.05 | Excavate rear garden to a suitable depth ne 200mm to lay armoured cable to garden office. Inclusive for necessary agggates, covering, sanding and backfill. Depth and installation to comply with current Building Regulations. | 8 | lm |  | 0
12.06 | Supply and lay ne 200mm thick topsoil and turf to rear garden. Ensure a slight taper/ gradient from the house. | 24 | m2 |  | 0
12.07 | On completion of property, mow grassed areas and dress around paths and patio. Dispose of waste. | 1 | Item |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
13 | EXTERNAL WORKS - DRAINAGE
13.01 | Raise manhole in rear garden. | 1 | Item |  | 0
13.02 | Break out gulleys and concrete slab and prep to install aco drains to rear perimeter of the property. | 8 | lm |  | 0
31.03 | Supply and install aco drains to the rear of the property. | 10 | lm |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
14 | External Works - PATIOS
14.01 | Supply and lay 450x450x50mm patio slabs to rear garden on top of existing slabs and patio. Include necessary blinding, terram and aggregates. | 41 | m2 |  | 0
14.02 | Supply and lay 200x100mm timber sleepers to rear garden to create boundary between patio and garden. | 7 | lm |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
15 | EXTERNAL WORKS - FIXINGS
15.01 | Remove Canopy above front door and make good. | 1 | Item |  | 0
15.02 | Supply and Install fibreglass canopy above front door. Similar to https://www.fibreglassmouldings.co.uk/specs/Glees-Country-Canopy.pdf and approved by Contract Administrator. | 1 | Item |  | 0
15.03 | Supply and install Keter Manor Pent Outdoor Garden Storage Shed 6 x 4ft - Brown. | 1 | Item |  | 0
15.04 | Supply and install a high level bird box. | 1 | Item |  | 0
15.05 | Supply and install L&B timber gate with 2 concrete posts and necessary ironmongery and latches to the entrance to the rear garden. | 1 | Item |  | 0
15.06 | Supply and install rotary line to rear garden bedded with a postcrete base. | 1 | nr |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
16 | PROVISIONAL QUANTITIES
16.01 | Remove loose damaged plaster, apply blue grit PVA and apply 2 coats of 3mm plaster skim coat. | 180 | m2 |  | 0
16.02 | Renew floorboards in poor condition. | 16 | lm |  | 0
| Carried to Main Summary |  |  |  | 0
| Description | Qty | Unit | Rate | Total
17 | PROVISIONAL SUMS
17.01 | An allowance of £1,500.00 to remove asbestos and cart away to a registered waste facility. | 1 | Item | 1500 | 1500
17.02 | An allowance of £1,000.00 to renew lintel to support new doors. | 1 | Item | 1000 | 1000
17.03 | An allowance of £6,500.00 for any necessary window replacements. | 1 | Item | 6500 | 6500
17.04 | An allowance of £500.00 to disconnect and transport white goods and appliances off site to an area designated by the Contract Administrator. Condition to be photographed before disconnection and after transport. | 1 | Item | 500 | 500
| Carried to Main Summary |  |  |  | 9500
| Description | Qty | Unit | Rate | Total
CONTINGENCIES
13.01 | Include the sum of £25,000.00 for unforeseen works | 1 | Item | 25000 | 25000
| Carried to Main Summary |  |  |  | 25000
Main Summary
| Page 04: Facilitating works |  |  |  | 0
| Page 05: Demolition |  |  |  | 0
| Page 06: Electrical Services |  |  |  | 0
| Page 06: Plumbing System |  |  |  | 0
| Page 07: Internal & Cavity Walls, Ceiling & Loft |  |  |  | 0
| Page 08: Carpentry |  |  |  | 0
| Page 09: Internal Finishes |  |  |  | 0
| Page 09: Flooring |  |  |  | 0
| Page 10: Kitchen |  |  |  | 0
| Page 10: Bathroom, WC, En-suite |  |  |  | 0
| Page 11: External Works - Landscaping |  |  |  | 0
| Page 11: External Works - Drainage |  |  |  | 0
| Page 11: External Works - Patios |  |  |  | 0
| Page 11: External Works - Fixings |  |  |  | 0
| Summary works schedule 1 |  |  |  | 0
| Page 12: Provisional Quantities |  |  |  | 0
| Page 12: Provisional Sum |  |  |  | 9500
| Page 12: Contingencies |  |  |  | 25000
| Summary 2 |  |  |  | 34500
| Page 03: Preliminaries |  |  |  | 0
| Total cost to formTender |  |  |  | 34500
Day Works
Section A
The rates are to be inclusive of overheads & profit
| Tradesman | 1 | Hours
| Labourer | 1 | Hours
Section B
Materials and Goods
| Incidental costs, overheads and profit. |  | %
Section C
Plant
| Incidental costs, overheads and profit. |  | %
Section D
| NHF schedule of rates Version 7.1 |  | %