Invitation to Tender

General Specifications

Table of Contents

Contents

1	Introduction	2

2	Background	2

3	Scope	3

4	Objectives	3

5	Detailed Requirements	4

6	Works	4

7	Standards	4

8	Operations	4

9	Waste Management	5

10	Behaviour	5

11	Safeguarding	5

12	Equalities	6

13	Reporting	6

14	Meetings	6

15	Payment	7

16	General	7

17	Form of Contract	7

Introduction

The Vale of Glamorgan Council (“the Council”) requires annual servicing, heating and hot water maintenance, the provision of customer information with database management and the presence of a representative at the Council offices three (3) days per week. The Council requires annual servicing and provision of landlord’s safety record and relevant landlord certificates, as required in the Vale of Glamorgan Council Housing Gas, LPG, Oil, Solid Fuel and Air Source Heat Pump Servicing, Policy V1.3. All Suppliers and Approved Subcontractors must comply with latest British Standards, Approved Documents for the region and all Council and specialist specifications supplied with the tender documents (“the Works”).

The Works will be in accordance with the Invitation to Tender and Framework Agreement (“the Agreement”).

You are invited to tender for the provision of these Works.

Background

The Works are required on a total of one (1) complex to ensure compliance with the Welsh Housing Quality Standard (“WHQS”).

The Council is seeking to appoint one (1) successful contractor (“Supplier”) to the Framework to carry out the Works outlined within the Schedule of Rates and in accordance with additional information supplied.

The successful Supplier will ensure that all Works are carried out promptly, effectively, within timescales and in ways that reflect tenant satisfaction.

Under no circumstances should bidders contact or attempt to contact any of the site residents during the bidding process. Any such contact will be treated as canvassing and any bidder engaging in such will be disqualified from the bidding process.

If a site visit is required, to make appropriate arrangements please contact: Rbago@valeofglamorgan.gov.uk

Scope

The Works will include annual servicing, heating and hot water maintenance, the provision of customer information with database management and the presence of a representative at the Council offices three (3) days per week. The Council requires annual servicing and provision of landlord’s safety record and relevant landlord certificates, as required in the Vale of Glamorgan Council Housing Gas, LPG, Oil, Solid Fuel and Air Source Heat Pump Servicing, Policy V1.3. All Suppliers and Approved Subcontractors must comply with latest British Standards, Approved Documents for the region and all Council and specialist specifications supplied with the tender documents.

The Supplier must comply with Council and specialist specifications supplied within the tender pack.

The Supplier and any approved Sub Contractor will meet the Council’s service standards. The Supplier will be registered with CHAS or Constructionline and all operatives, whether employed by the Supplier or any approved Sub Contractor, will possess Cat B qualification (Asbestos Awareness). All operatives working on electrical and heating works will be Gas Safe, NICEIC registered respectively, or similar industry approved.

All Suppliers and approved sub-contractors will comply with latest British Standards and Approved Documents for the region.

To ensure a full understanding of the Council’s environment, bidders are encouraged to review the Vale of Glamorgan Corporate Plan which is available on the Council’s website www.valeofglamorgan.gov.uk .

Objectives

The Council has identified a number of key objectives for the procurement of the Works.

It must:

- Deliver value for money.

An important driver for this project is the delivery of significant efficiency savings. The successful bidder will understand the context in which the Council operates and ensure a competitive cost underpinned by a commitment to the principles of cost avoidance, containment and reduction.

- Support continuous improvement.

The successful Bidder must be committed to working with the Council to identify and introduce improvements to the supply of the Works throughout the contract period.

Key performance indicators

- The Suppliers provision of the Works and Services will be subject to several Key Performance Indicators (“KPI’s”). The Authority will be monitoring KPIs on a monthly basis where low value work is concerned, and on an order by order basis where larger schemes are concerned. The objectives of the KPI’s are to:

- Objective: Respond to emergencies within the assigned timeframe to ensure callouts are accommodated accordingly.

- KPI: Respond to all emergency callouts within 2 hours and ensure there is additional staff, parts, and heaters readily available;

- Measurement: Maintain a call log of all emergencies and the lead time. This must be reported on a monthly basis to the contract manager.

- Objective: Maintain a positive experience for all building tenants.

- KPI: Maintain a tenant satisfaction score of 4 or 5 in annual surveys.

- Measurement: Complete and review an annual feedback form.

- Objective: Ensure all product-related complaints are acknowledged within 24 hours and fully resolved.

- KPI: Acknowledge complaints within 24 hours and fully resolve within 2 working days, unless an extension is requested and agreed by the Council.

- Measurement: Maintain a report of all complaints; this must be reported to the Contract Manager on a monthly basis.

Objective: Ensure that the supplier consistently provides detailed returns receipts to enable accurate tracking of refunds to accounts and P-cards.

KPI: The supplier will provide returns receipts for all returned / refused / damaged or faulty goods / warranty repairs or returns.  The receipt will detail the engineer, job reference to enable the tracking of refunds to accounts and P-cards.

Measurement: Ensure all receipts are safely stored and return receipts are provided with clear justification.

Remedial levels have been set for failure to achieve the required service levels and these are commensurable to the number of times the provider has failed to achieve the required KPI.

Remedial Action Plan Requirements

Where the KPI failure persists for more than two (2) occasion in one (1) month, the Contractor will be required to submit a Remedial Action Plan to include the following;

- Summary of the KPI Failure.

- Summary of the root cause of failure identified (if applicable).

- Details of the immediate actions being taken to address the root cause, with time scales and owners clearly identified.

- Target date for meeting the KPI and/or justifying a change to Service levels if the Contractor deems the service levels unreasonable.

- Details of the longer-term remedial actions to be undertaken to meet the KPI or be in a position where a justification for change can be submitted.

Detailed Requirements

Works

The Supplier will:

- supply all Works as described, including all supporting Appendices, drawings. specifications etc.  and in accordance with, Pre-construction Information Pack.

- when required, attend sites on Working Days (Mondays to Fridays excluding Bank Holidays), between the hours of 08:00 and 18:00 and within 24 hours of request, or as agreed with the Council.

- bear any travel costs associated with initial and subsequent visits and accept that the Council will incur no liability for such travel costs.

- accept verification by the Council of completed Works.

- appoint a Resident Liaison Officer for the duration of the Works.

- take photographic evidence of key stages of the Works including but not limited to prior, during and on completion of the Works.

- Provide electronic copies of all relevant certification, permits, warranties, notices, reports, audits, operational and maintenance manuals, etc.

Standards

The Supplier will:

- undertake all Works in accordance with the Council’s Invitation to Tender.

- fully comply with all documents included

- ensure that Works are undertaken by a reasonable number of personnel all of whom are appropriately qualified and experienced for the task.

- Undertake the Works to the Council’s satisfaction and guarantee all Works for twelve months from practical completion with payment of the 2.5% retention released after this period.

Operations

The Supplier will:

- provide monthly valuations for completed works which will be approved before payment by the Council’s Contract Administrator.

- Ensure that any variations receive prior approval, in writing, from the Contract Administrator.

Waste Management

The Supplier will:

- remove and dispose of all associated waste and unwanted material at the Supplier’s cost and in accordance with all applicable legislation.

- hold all relevant licences for the management, transport and control of waste.

- if carrying waste, be a registered carrier of waste and dispose of such waste only at disposal sites fully licensed to dispose of the waste concerned.

- provide all necessary waste transfer notes, including Duty of Care notes, when requested and at no additional charge.

- Demonstrate a sustainable approach to waste management and not treat, keep or dispose of any waste product from the Works in a manner likely to cause harm to the health and safety of any person or the environment.

Behaviour

The Supplier will:

- Recognise that whilst Works will be undertaken generally outside of the properties, council tenants will be in close proximity. The Supplier will therefore pay due regard to the sensibilities and welfare of tenants.

- ensure that Suppliers personnel undertaking the Works are appropriately dressed identifying the company they work for and carry identification at all times.

- ensure that staff are polite and courteous and behave in a professional manner at all times.

- keep tenants’ property safe and secure at all times.

- recognise that some items are confidential and pay due regard to this at all times.

- keep the working environment in a safe and reasonably tidy condition at all times.

- clean up thoroughly after each day’s work.

- report any damage caused to property or the building to the Council and the tenant in a timely manner.

- not, whilst undertaking the Works at properties where tenants reside:

- smoke.

- use foul or offensive language.

- Play radios.

Safeguarding

The Supplier will:

- comply with the requirements of the Safeguarding Vulnerable Groups Act 2006 as amended under the Protection of Freedoms Act 2012, whilst providing the Works.

- ensure that in respect of any of its staff who may come into contact with children or vulnerable adults whilst undertaking the Works:

- each such person is questioned as to whether he has any criminal convictions, cautions, reprimands, final warnings or anything which makes them unsuitable to perform any of the works.

- the most extensive check possible is made with the Disclosure and Barring Service in accordance with Part V of the Police Act 1997

- the results of such checks are notified to the Council.

- Undertake a risk assessment in relation to any person who discloses or who is found to have any convictions following the results of the aforementioned checks to determine if that person could pose a risk during the provision of the Works.

- Notify the Council of any member of staff who could pose a risk during the provision of the works. If such information comes to light then that person will not be permitted to continue with the provision of the works without The Council’s prior, written approval.

- Accept that failure to comply with this Clause 6.6 may lead to immediate termination of this contract at the Council’s sole discretion.

Equalities

The Supplier will:

- give due consideration to people with additional needs.

- Comply with all statutory obligations under the Equality Act 2010 and operate in a non-discriminatory manner. Bidders are advised that the Council has a Procurement Policy and Strategy, Equalities policies and a Welsh Language Scheme, copies of which are available upon request.  Bidders are required to take account of these policies whilst undertaking the Works.

Reporting

The Supplier will provide weekly and/or monthly reports as requested by the Council, detailing:

- location of the Works.

- the nature of the Works.

- updates on programme, progress, delays and details of any resolution.

- All necessary information such as works carried out, any problems encountered affecting the nature of the raised works and agreed resolution to enable the Council to undertake post Works inspections.

Meetings

The Supplier will:

- attend meetings with the Council's representative as requested to review operation of the Contract and consider opportunities for improvement.

- Give such information and/or assistance to the Council as required to enable the Council to inspect paperwork or data records associated with the Works.

Payment

The Supplier will:

- hold quoted prices throughout the term of the project.

- submit monthly invoices of Works undertaken.

- ensure that variations are priced in accordance with the agreed rates.

- send all invoices to the Council at buildservinvoices@valeofglamorgan.gov.uk.

- Accept payment against calendar month invoices claimed in arrears.

- Accept that the Council reserves the right to apply calculated Liquidated and Ascertained Damages (approximately 7.5% of the accepted contract sum) in the event that agreed programme deadlines are not met.

General

The Supplier will:

- ensure the Works are undertaken in a competent and safe manner and adhere to Health and Safety legislation, guidance and relevant Council policies and procedures, and take reasonable care for the health and safety of himself and other persons who may be adversely affected by his acts or omissions.

- immediately advise the Council of any serious health and safety incident.

- Recognise that failure to comply with the health and safety requirements under the contract constitutes a substantial breach of contract.

Form of Contract

The Tender shall be subject to JCT MTC 2024 and Framework Agreement terms and conditions of contract. Any conditions which the bidder may seek to impose shall be excluded and not form any part of the Contract unless each of these conditions have been specifically agreed to in writing by the Council.

Appendix A: Conditions of Tender for Suppliers

General

- Offers made subject to additional or alternative conditions may not be considered and may be rejected.

- Each bidder agrees that its proposal is submitted on the terms and conditions set out in the tender document supplied, any associated documentation and this document.

- The bidder agrees that if successful, it will ensure that all employees, servants, agents, contractors or any persons wholly or partly under its control (“Bidder’s Personnel”) associated with this project adhere to the Council’s Safety Conditions, Alcohol and Drugs Policy and Health, Safety and Environmental Policy.  All Bidder’s Personnel will adhere to the Council’s No Smoking Policy whilst on Council premises.  Copies of these documents are available upon request.

- Bidders, by submitting a tender, confirm that they understand and agree to the nature and extent of their obligations if their Tender is accepted.

- The Form of Tender supplied with the documents must be signed by the individual(s) with the appropriate authority to make the commitment.  The bidder shall produce documentary evidence of such authorisation to the Council if requested.

- The Council does not bind itself to accept the lowest or any Tender bid and reserves the right to accept any Tender either in whole or in part.

- The Council is a public body for the purposes of the Freedom of Information Act and other related access legislation. Accordingly, third parties may request copies of documentation held by the Council pursuant to rights granted to them under various access regimes.  Section 21(1) of the Public Contracts Regulation 2015 provides “A contracting authority shall not disclose information which has been forwarded to it by an economic operator and designated by that economic operator as confidential.”

- The Council is a public body for the purposes of the Freedom of Information Act 2000 (“FOIA”) and other related access legislation. Accordingly, third parties may request copies of documentation held by the Council pursuant to rights granted under various access regimes.

Pursuant to Section 94(1) of the Procurement Act 2023, a contracting authority is not required to publish or disclose information if it is satisfied that;

- withholding the information is necessary for the purpose of safeguarding national security; or

- the information is sensitive commercial information and there is an overriding public interest in its withholding.

For these purposes, Section 94(2) defines “sensitive commercial information” as information which either;

- constitutes a trade secret; or

- would be likely to prejudice the commercial interests of any person if it were published or otherwise disclosed.

Furthermore, Section 99 of the Procurement Act 2023 provides that nothing in the Act authorises or requires the disclosure of information where such disclosure would contravene data protection legislation.

For the avoidance of doubt, the Council remains subject to the duties imposed upon it under FOIA and other applicable access to information regimes. In considering any request for information, the Council will take into account both its statutory obligations under FOIA and the exemptions and restrictions contained within the Procurement Act 2023.

Economic operators are therefore advised to clearly identify any information they consider to be confidential or commercially sensitive at the time it is submitted to the Council, together with an explanation justifying its sensitivity. While this does not guarantee that such information will be exempt from disclosure, it will be taken into account by the Council when responding to any request for information.

Accordingly, if your organisation wishes to rely upon the above provision, please describe those parts of your tender you regard as confidential and set out your reasons why in your tender submission.  Please note that it is the Council that is responsible for determining whether a bidder has reasonably designated the information as confidential. Bidders are advised that even if they have designated the information as confidential, the Council may not necessarily agree and the information may be released to a third party if the Council deems it appropriate. Further, some information is required to be made public under other legislative requirements from time to time in force and organisations are asked to note this.

Form of Contract

- Any successful bidder will be required to execute a contract with the Council. The form of contract will be subject to approval by the Council’s Head of Legal Services.

- No binding contract will exist until the Council and the chosen bidder execute and deliver a formal contract.

Costs

- Bidders are responsible for obtaining all information necessary for the preparation of their respective tenders and all costs, expenses and liabilities incurred by any bidder in connection with the preparation and submission of a proposal or tender shall be borne by that bidder.

- A bidder shall be deemed to have full knowledge of the liability to be incurred by reason of the Tender and shall not, after acceptance by the Council, be entitled to increase any prices or change any terms on the grounds that an error has been made or withdraw the Tender by reason of not having made enquiries which any prudent bidder would have made prior to responding to the Tender or for any other reason.

- Bidders shall take all reasonable care in the preparation and submission of a Tender and acknowledge that the Council may rely upon the representations made in the Tender.

- All payments and royalties that may be payable shall be included in the prices detailed in the Tender and will be paid by the bidder to the relevant persons.

- The Council shall not be responsible for or pay any costs, expenses or losses incurred by any bidder or would be bidder who fails to tender, in the preparation of their Tender.

Submission

- Prices must be in sterling and must relate to all elements included in the proposal.  All prices submitted by bidders must be inclusive of supply, including packaging and carriage but exclusive of VAT. Supply current price list with tender

- Tenders containing clauses such as “prices subject to fluctuation” or “those ruling at the date of delivery” will not be accepted.

- All documents requiring a signature must be signed by an individual with the appropriate authority to make the commitment.

- Non-adherence to any of the above procedures may lead to disqualification.

- The Council may, at its absolute discretion, extend the closing date above.  Any such extension shall apply to all bidders.

Confidentiality of Invitation to Tender

- This Invitation to Tender, the fact that a bidder has been invited to tender, and all other documentation issued by the Council relating to the Tender (“the Tender Documents”) shall be treated by the bidder as private and confidential for use only in connection with the tender and any resulting contract and shall not be disclosed (save as may be required by law) in whole or in part to any third party without the prior written consent of the Council.

- The Tender Documents and all copies of the same are and shall remain the property of the Council (whether or not the Council shall have charged a fee for the supply of such documents) and shall not be copied or reproduced in whole or in part and shall be returned to the Council forthwith upon demand.

- If a prospective bidder decides not to respond to this Invitation to Tender, then the bidder is required to return the whole document unmarked to the Council by the date and time set for receipt of tenders.

- Bidders may copy and disclose the Tender Documents to their professional advisers solely for the purpose of assisting in the preparation of a tender submission in response to this Invitation to Tender.

Collusion and Canvassing

- Any proposal submitted by any bidder in respect of which the bidder:

  - fixes or adjusts prices and rates shown in its proposal by or in accordance with any agreement or arrangement with any other person or by reference to any other proposal or communicates to any person other than the Council the amount or approximate amount of the prices and rates shown in its proposal except where such disclosure is made in confidence, in order to obtain quotations necessary for the preparation of the proposal or for the purposes of financing or insurance; or

  - enters into any agreement with any other person that such person shall refrain from submitting a proposal or shall limit or restrict the prices to be shown by any other bidder in its proposal; or

  - offers or agrees to pay or give or does pay or give any sum of money, inducement or valuable consideration directly or indirectly to any person for doing or having done or causing or having cause to be done in relation to any other tender or any other person’s proposal any act or omission; or

  - in connection with the award of the contract commits an offence under the Bribery Act 2010 or gives any fee or reward, the receipt of which is an offence under sub-Section (2) of Section 117 of the Local Government Act 1972; or

  - indirectly canvasses any member or officer  of the Council concerning the acceptance of any proposal or who has directly or indirectly obtained or attempted to obtain information from any such member or  officer concerning any other  bidder or proposal submitted by any other,

shall be rejected by the Council  provided always that such rejection shall be without prejudice to any other civil remedies available to the Council or any criminal liability of the bidder.

Bidder’s Warranty

- In submitting a proposal a bidder warrants to the Council that:

  - it has not engaged in any of the acts or matters referred to in Clause 26 and has complied in all respects with these tendering requirements;

  - all information, representations and other matters of fact communicated (whether in writing or otherwise) to the Council by the bidder or its operatives in connection with or arising out of the Tender Documents (together with any proposal) are true, complete and accurate in all respects;

  - it has made its own investigations and research, has satisfied itself in respect of all matters relating to the Tender Documents and that it has not submitted any proposal and will not have entered into any contract envisaged by the Tender Documents (“the Contract”) in reliance upon any information, representations or assumptions (whether made orally, in writing or otherwise) which may have been made by the Council;

  - it has full power and Council to enter into the Contract and to make the provision required by the Invitation to Tender and will, if requested, produce evidence of such to the Council;

  - it is of sound financial standing and the bidder and its directors, partners, officers and employees are not aware of any circumstances (other than such circumstances as may be disclosed in the bidder’s proposal) which may adversely affect its financial standing in the future;

  - it will procure and will have sufficient working capital, skilled staff, equipment, machinery and other resources available to carry out the Contract in accordance with its terms.

Disclaimer

- Any and all documentation and other written or oral information provided or made available by the Vale of Glamorgan Council has been prepared in good faith but does not purport to be comprehensive or to have been independently verified.

- To the full extent permitted by law the Vale of Glamorgan Council does not accept liability or responsibility for the adequacy, accuracy or completeness of the Tender Documents or with respect to any other written or oral information provided or made available to the bidder.

Legislation

- In submitting a response to this Tender, the bidder acknowledges full compliance with ( Sale of Goods Act 1979) and all UK and European Legislation relevant to the goods, services and works being proposed.

- The Supplier is responsible for identifying accreditation from their suppliers as necessary to comply with all legislation and quality assurance processes.

- All produce must be packed and handled in accordance with best commercial practices to prevent damage or deterioration during transportation and storage.

- The supplier shall maintain a Quality System, and will be subjected to audit by VOG representatives.

Freedom of Information

- The Council shall not be in breach of the provisions of Tender Documents or the Contract where it can show that any disclosure of Information is made solely and to the extent necessary to comply with the Freedom of Information Act 2000 (“the Act”) or the Environmental Information Regulations 2004 (“the Regulations”) or any legislation of a like kind from time to time in force. To the extent permitted by the time for compliance under the Act or the Regulations, the Council shall consult a bidder where the Council is considering the disclosure of Information under the Act or the Regulations and , in any event, shall provide prior notification to the  bidder of any decision.   Whether or not to disclose Information in order to comply with the Act or the Regulations is a matter in which the Council shall exercise its own absolute discretion, subject always to the provisions of the Act or the Regulations.

“Information” means any information in any written or other tangible form disclosed to one party by or on behalf of the other party under or in connection with the Tender Documents or the Con