## Summary
INSTRUCTIONS FOR BIDDERS 1. Bidders are required to review each sheet containing Goods, Works or Services within this Schedule of Rates. 2. Bidders are required to submit a price under each item per sheet (Appliance Servicing, Maintenance, Heating System Installation, etc.) to which the Bidder deems appropriate in the Orange highlighted cells. 3. The number of properties listed is for reference only. Bidders must not calculate or submit their bid by multiplying a unit price by the number of properties. 3. Bidders are required to offer an uplift/discount percetnage (%) for any supporting Goods, Services or Works from the National Housing Federation (NHF) Schedule of Rates, version 7.3 for items not covered within this Schedule of Rates in the "NHF SOR v7.2" sheet. 4. Bidders may provide comments for any items to put forward that Bidders deem would support the justification behind the method of approach, prices etc. Scoring Methodology 1. Item-Level Scoring Each item listed under each sheet will be evaluated individually. A points-based system will be applied to each item: - The lowest-priced bid for an item receives 1 point. - Subsequent bids receive incrementally higher points (2, 3, 4, etc.) based on their relative pricing. This scoring is repeated for every item in the Schedule of Rates. 2. Total Score Calculation After scoring all items, the total score for each bidder is calculated by summing the points across all items and all sheets. The bidder with the lowest total score will be considered the most advantageous and will receive the highest evaluation score, getting 100% of the overall available 50% and the other bids calculated will receive a percentage of this score based on their total cost as follows: (a) The Bidder with the lowest total cost will receive the maximum 100% i.e. the full 50%. (b) All other Bidders will be awarded a percentage value based on their total cost and the lowest total cost received (i.e. (lowest value ÷ next lowest) * 100). This will be multiplied by 0.5 to calculate the amount of the available 50% to be awarded. NB: Bidders are required to submit a price for all items and provide comments if neccessary to ensure the bid is compliant. The successful Bidders submitted prices will be applied to all call-off contracts throughout the duration of the Framework.

## Appliance Servicing
Heating, Installation, Servicing and Maintenance Framework
SOR | Description | Service Cost per Appliance £ | No of Properties | Comments
SERV-001 | Carry out landlords LGSR safety inspection to current Legislation and Manufacturers Instructions of Primary/Main Appliance Gas fired back boiler, any conventional, system or combination wall/floor mounted boilers Inspection and service of Aico AFD carried out by trained competent operative. Service of CO detector Service of magnetic Filter (where applicable) Service of the property extractor fans within the Bathroom and Kitchen. Visual Inspection of PIV system if installed within Property and report if any issues arise. |  | 3787
SERV-002 | Carry out landlords LGSR safety inspection to current Legislation and Manufacturers Instructions of Primary/Main Appliance LPG Gas fired back boiler, any conventional, system or combination wall/floor mounted boilers Inspection and service of Aico AFD carried out by trained competent operative. Service of CO detector Service of magnetic Filter (where applicable) Service of the property extractor fans within the Bathroom and Kitchen. Visual Inspection of PIV system if installed within Property and report if any issues arise. |  | 8
SERV-003 | Carry out landlords OFTEC safety inspection to current Legislation and Manufacturers Instructions of Primary/Main Appliance Oil fired back boiler, any conventional, system or combination wall/floor mounted boilers Inspection and service of Aico AFD carried out by trained competent operative. Service of CO detector Service of magnetic Filter (where applicable) Service of the property extractor fans within the Bathroom and Kitchen. Visual Inspection of PIV system if installed within Property and report if any issues arise. |  | 26
SERV-004 | Carry out landlords safety inspection to current Legislation and Manufacturers Instructions of Primary/Main Appliance Solid Fuel/Multifuel Appliance consisting of annual service along with a 6 monthly chimney sweep and inspection of appliance. Inspection and service of Aico AFD carried out by trained competent operative. Service of CO detector (where applicable) Service of magnetic Filter (where applicable) Service of the property extractor fans within the Bathroom and Kitchen. Visual Inspection of PIV system if installed within Property and report if any issues arise. |  | 13
SERV-005 | Carry out landlords safety inspection to current Legislation and Manufacturers Instructions of Primary & Secondary Hybrid system Appliances Various fuelled Appliances i.e Gas & ASHP, Oil & ASHP, including top of Glycol if required Inspection and service of Aico AFD carried out by trained competent operative. Service of CO detector (where applicable) Service of magnetic Filter (where applicable) Service of the property extractor fans within the Bathroom and Kitchen. Visual Inspection of PIV system if installed within Property and report if any issues arise. |  | 46
SERV-006 | Carry out landlords MCS safety inspection to current Legislation and Manufacturers Instructions of Air Source Heat Pump System including top of Glycol if required Inspection and service of Aico AFD carried out by trained competent operative. Service of CO detector (where applicable) Service of magnetic Filter (where applicable) Service of the property extractor fans within the Bathroom and Kitchen. Visual Inspection of PIV system if installed within Property and report if any issues arise. |  | 8
SERV-007 | Carry out full service safety inspection to current Legislation and Manufacturers Instructions of Solar PV |  | 134
SERV-008 | Carry out landlords safety inspection to current Legislation and Manufacturers Instructions of Gas Fire
SERV-009 | Carry out landlords safety inspection to current Legislation and Manufacturers Instructions of Gas room heater or Multipoint
SERV-010 | Carry out landlords safety inspection to current Legislation and Manufacturers Instructions of Open flued Solid fuel Fire |  | 1
SERV-011 | Carry out landlords safety inspection to current Legislation and Manufacturers Instructions of unvented Hot Water cylinder |  | 180
SERV-012 | VOID Property. As and when property is rendered VOID. Check boiler and radiators for issues. Check whether system needs inhibitor, add as required. Cap off gas supply to cooker, test gas and cap off at ECV. Complete report and submit to VoG. |  | As Required.
SERV-013 | Carry out required servicing of MVHR systems, additional change of filter annually |  | 90
| ACCESS: A). Making appointments with the Tenants to obtain suitable dates and times for access to carry out the works will be the responsibility of the Contractor. B). The Contractor shall include for making 3 attempts to gain entry to each property. C). These attempts should be in the form of a letter giving the agreed date and time that the Contractors are proposing to carry out necessary inspection/works. If this is not appropriate for the tenant, then a request to contact the Contractor to agree a convenient time and date for the necessary inspection/works. D).The Contractor shall note the date and time of each failed attempt. E). Following 3 failed attempts the Contractor shall immediately inform the Contract Administrator to assist with access. F). Any appointments made after this time which are cancelled will be charged as an abortive cost. Refer to the Rate |  |  | N.B 1. Where there is more than one heating appliance within the household the supplier must check whether these appliances have been installed by the client as a secondary heat supply., if so a service will be conducted and charged for. 2. Any installation of secondary heating appliance not client owned and installed with or without permission must be highlighted to the contract supervisor. if no evidence of the appropriate landlord certificate can be established the appliance must be isolated. 3. Visual checks on all gas cooker appliances must be carried out as part of the service. 4. Replace perished filters on extractor fans, if applicable. Chargeback cost of filters.
Abortive call charge rate for appointment made as individual visit (no access)
Cancelled appointment rate on site. (no access whilst on site)
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Its not clear what items we are evaluating or how we are evaluating them. What figures are we using. Reply: Must the bidders be able to complete and price all the works in the spreadsheet to be compliant?
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If this is appliance serving why are we pricing the cost of appliance? Also are we evaluating the cost per service x number of services? Reply: Wording is misleading - we are requesting price for the service for different appliances i.e gas fire boilers, LPG boilers etc. I have made the change now to avoid the confusion.
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What comments are we expecting and what are we doing with the comments?

## Maintenance
Heating, Installation, Servicing and Maintenance Framework
SOR | Description | No of Properties | Annual Cost per Property | Comments
MAIN-001 | Comprehensive Maintenance & Repair Premium Package with 24hr callout service 7 days a week 365 days a year. Covering all Gas Appliances. All central heating issues including water leaks to heating systems, gas leaks, H&C water pipework upto 1lm from Boiler, etc | 3787
MAIN-002 | Comprehensive Maintenance & Repair Premium Package with 24hr callout service 7 days a week 365 days a year. Covering all Oil Appliances. All central heating issues including water leaks to heating systems, Oil leaks, H&C water pipework upto 1lm from Boiler, etc | 26
MAIN-003 | Comprehensive Maintenance & Repair Premium Package with 24hr callout service 7 days a week 365 days a year. Covering all Solid Fuel Appliances. All central heating issues including water leaks to heating systems, H&C water pipework upto 1lm from Boiler, etc | 8
MAIN-004 | Comprehensive Maintenance & Repair Premium Package with 24hr callout service 7 days a week 365 days a year. Covering all Gas & ASHP Hybrid Appliances. All central heating issues including water leaks to heating systems, gas leaks, H&C water pipework upto 1lm from Boiler, etc | 46
MAIN-005 | Comprehensive Maintenance & Repair Premium Package with 24hr callout service 7 days a week 365 days a year. Covering all ASHP Appliances. All central heating issues including water leaks to heating systems,etc | 2
MAIN-006 | Comprehensive Maintenance & Repair Premium Package with 24hr callout service 7 days a week 365 days a year. Covering Solar PV | 1
MAIN-007 | Comprehensive Maintenance & Repair Premium Package with 24hr callout service 7 days a week 365 days a year. Unvented Hot water Cylinders including componants | 180

## Heating System Installations
Heating Installation, Servicing and Maintenance
SOR Code | Description | COST
|  | 1 Bedroom House | 2 Bedroom House | 3 Bedroom House | 4 Bedroom House | 1 Bedroom Flat | 2 Bedroom Flat | 3 Bedroom Flat | 1 Bedroom Bungalow | 2 Bedroom Bungalow | 1 Bedroom Maisonette | 2 Bedroom Maisonette | 3 Bedroom Maisonette
INST-001 | Natural Gas Appliance Remove old Obsolete and Install/upgrade all areas to Gas central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor and agreed specification as per Appendix E
INST-002 | LPG Gas Appliance Remove old Obsolete and Install/upgrade all areas to Gas central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor and agreed specification as per Appendix E
INST-003 | Oil Appliance Remove old Obsolete and Install/upgrade all areas to Oil central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor and agreed specification as per Appendix E
INST-004 | ASHP Appliance Remove old Obsolete and Install/upgrade all areas to central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor and agreed specification as per Appendix E
Revert to specification documents for Manufacturers details

## Boiler System Upgrades
Heating Installation, Servicing and Maintenance Framework
SOR Code | Description | COST
UPG-001 | Natural Gas Appliance Remove old Obsolete and Install/upgrade Gas Boiler appliance to the central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. This will include the required system Filter where necessary as per the agreed specification as per Appendix E Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor.
UPG-002 | LPG Gas Appliance Remove old Obsolete and Install/upgrade Gas Boiler appliance to the central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. This will include the required system Filter where necessary as per the agreed specification as per Appendix E Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor.
UPG-003 | Oil Appliance Remove old Obsolete and Install/upgrade Oil Boiler appliance to the central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. This will include the required system Filter where necessary as per the agreed specification as per Appendix E Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor.
UPG-004 | ASHP Appliance Remove old Obsolete and Install/upgrade ASHP appliance to the central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. This will include the required system Filter where necessary as per the agreed specification as per Appendix E Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor.
UPG-005 | HYBRID Appliance Remove old Obsolete and Install/upgrade to Hybrid appliance to the central heating system as to the agreed specification, carryout any repairs necessary to any fabric disturbed. This will include the required system Filter where necessary as per the agreed specification as per Appendix E Contractor to carry out required survey, calculate and provide detailed survey data for required system. All to be agreed prior to installation through the Contract Supervisor.
Revert to specification documents for Manufacturers details

## PV Installations
Heating Installation, Servicing and Maintenance Framework
SOR | Description | Costs
PV-001 | Install 6 Solar Panels & Inverter. Includes all Labour costs for the installation, scaffolding,(2 Storeys) connections and materials. Supplying of all survey recommendations, surveys, reports and certificates.
PV-002 | Install 8 Solar Panels & Inverter. Includes all Labour costs for the installation, scaffolding,(2 Storeys) connections and materials. Supplying of all survey recommendations, surveys, reports and certificates.
PV-003 | Cost to Install additional panel to any of the above systems, allow for any upgrade to any other part of the system necessary.
SOLAR PV PANEL
| Manufacturer | SHANGHAI JA SOLAR
| Panel Model | JAM60S-12-310-PR-AB
| Panel Type | Monocrystalline

## Radiators
SOR | Height | Length | K1 | Cost | K2 | Cost | P+ | Cost
RAD-001 | 300mm | 500mm
RAD-002 |  | 1000mm
RAD-003 |  | 1500mm
RAD-004 |  | 1800mm
RAD-005 |  | 2000mm
RAD-006 | 400mm | 400mm
RAD-007 |  | 500mm
RAD-008 |  | 600mm
RAD-009 |  | 700mm
RAD-010 |  | 800mm
RAD-011 |  | 900mm
RAD-012 |  | 1000mm
RAD-013 |  | 1100mm
RAD-014 |  | 1200mm
RAD-015 |  | 1400mm
RAD-016 |  | 1600mm
RAD-017 | 500 | 400mm
RAD-018 |  | 500mm
RAD-019 |  | 600mm
RAD-020 |  | 700mm
RAD-021 |  | 800mm
RAD-022 |  | 900mm
RAD-023 |  | 1000mm
RAD-024 |  | 1100mm
RAD-025 |  | 1200mm
RAD-026 |  | 1400mm
RAD-027 |  | 1600mm
RAD-028 | 600 | 400mm
RAD-029 |  | 500mm
RAD-030 |  | 600mm
RAD-031 |  | 700mm
RAD-032 |  | 800mm
RAD-033 |  | 900mm
RAD-034 |  | 1000mm
RAD-035 |  | 1100mm
RAD-036 |  | 1200mm
RAD-037 |  | 1400mm
RAD-038 |  | 1600mm
RAD-039 |  | 1800mm
RAD-040 | 700 | 400
RAD-041 |  | 500
RAD-042 |  | 600
RAD-043 |  | 700
RAD-044 |  | 800
RAD-045 |  | 900
RAD-046 |  | 1000
RAD-047 |  | 1100
RAD-048 |  | 1200
RAD-049 |  | 1400
RAD-050 |  | 1600
DESCRIPTION OF WORKS Radiator:Shut off valves, drain down/refill, renew with radiator and brackets ready primed, make all connections to valves, install corrosion inhibitor, vent, test.
Revert to specification Documents for Manufacturer Details

## Repairs
SOR | DESCRIPTION | QUANTITY | COST | TOTAL
Revert to specification documents for Manufacturer details
SUPLY & INSTALL COPPER PIPEWORK no PVC to be installed.
RP-001 | Pipe: Supply, Install or Repair any 15mm diameter pipe with copper pipe fixed with clips and including all made bends, connectors, fittings and any adaptors for jointing to pipes of other material. | 1 Lm
RP-002 | Pipe: Supply, Install or Repair any 22mm diameter pipe with copper pipe fixed with clips and including all made bends, connectors, fittings and any adaptors for jointing to pipes of other material. | 1 Lm
RP-003 | Pipe: Supply, Install or Repair any 28mm diameter pipe with copper pipe fixed with clips and including all made bends, connectors, fittings and any adaptors for jointing to pipes of other material. | 1 Lm
SUPPLY & INSTALL MOULDED FOAM PIPE INSULATION
RP-004 | Insulation: Renew or supply preformed insulation to any pipe not exceeding 15mm diameter, fix preformed split cellular insulation section to pipework with adhesive tape. | Per lm
RP-005 | Insulation: Renew or supply preformed insulation to any pipe not exceeding 22mm diameter, fix preformed split cellular insulation section to pipework with adhesive tape. | Per lm
RP-006 | Insulation: Renew or supply preformed insulation to any pipe not exceeding 28mm diameter, fix preformed split cellular insulation section to pipework with adhesive tape. | Per lm
RADIATORS
REP-007 | Remove old and reconnect existing radiator, refill system, vent and test sytem. Includes any pipework etc required up to 1 lm | IT
REP-008 | Refix/ re-connect existing radiator following making good wall, refill, test and vent, including all necessary additional pipework, fittings, clipping and making good | IT
REP-009 | Remove and refix existing radiator, refill, test and vent, including all necessary additional pipework, fittings, clipping and making good | IT
REP-010 | Radiator: Isolate, drain down, remove, set aside radiator for reuse, cut back flow and return pipes, run new pipes to relocated position, refix radiator, connect to new pipes, refill, instal inhibitor. | IT
REP-011 | Installation of Adey Aton Magna clean filter to central heating system, drain down system, flush, install inhibitor to correct levels, refill and commission. | IT
REP-012 | Power Flush: Undertake power flushing of existing heating systems when specifically instructed by Client Representative during installation of new boiler or whilst extending existing installation. | IT
REP-013 | Supply and Install Adey MC1 Protector or agreed equivalent | IT
REP-014 | Supply and Install Adey MC3/5 Cleanser or agreed equivalent | IT
VENTILATION
RP-015 | Install new stadium core drill ventilation kit including external wind deflector type grill. (including drilling) | IT
RP-016 | Renew existing Stadium core drill ventilation kit (no drilling required) | IT
RP-017 | Install high and low level compartment ventilation and fit suitable upvc covers on both sides | IT
RP-018 | Install new internal upvc grill to replace existing plaster/ fly screen type vent | IT
WORCESTER BOSCH PLUME MANAGEMENT KIT
RP-019 | Supply and install standard plume kit. | IT
RP-020 | Installation of additional sections to a standard kit (extension flues and bends to allow for change in direction) | IT
Installation of complete flues or remedial repairs along with separate component installations (Worcetser Boilers)
RP-021 | Renew vertical flue kit 100mm to suit. | IT
RP-022 | Renew 1000mm extension flue 100mm | IT
RP-023 | Renew 45 degree 100mm elbow | IT
RP-024 | Renew 90 degree 100mm elbow | IT
RP-025 | Renew flue support bracket 100mm | IT
RP-026 | Renew plume pitched flashing 100mm | IT
RP-027 | Renew vertical flue kit 125mm | IT
RP-028 | Renew 1000mm extension flue 125mm | IT
RP-029 | Renew 125mm telescopic short extension kit | IT
RP-030 | Renew 45 degree 125mm elbow | IT
RP-031 | Renew 90 degree 125mm elbow | IT
RP-032 | Renew flue support bracket 125mm | IT
RP-033 | Renew plume pitched flashing 125mm | IT
ELECTRICAL WORKS
RP-034 | Fault find and amend wiring to the Hortsmann service plus clock and HRT 4 thermostat already fitted. Reinstate any wiring that has been cut or removed | IT
RP-035 | Upgrade sysytem to supply and fit Honeywell T3 time clock including all necessary wiring. | IT
RP-036 | Upgrade sysytem to supply and fit Honeywell T3R time clock including all necessary wiring. | IT
RP-037 | Remove old and upgrade / replace current Aico Heat/CO AFD to kitchen area to EI3028 series in original position, test etc (no wiring needed) | IT
RP-038 | Remove old and upgrade / replace current Aico Multi sensor AFD to all other area locations if required to EI3024 series in original position, test etc (no wiring needed) | IT
RP-039 | Supply & Install Aico AFD to kitchen area EI328 series including all necessary wiring, test on completion and supply all necessary documentation
RP-040 | Supply & Install Aico AFD EI3030 series including all necessary wiring, test on completion and supply all necessary documentation | IT
RP-041 | Supply & Install Aico AFD to all other required areas where applicable a EI3024 series including all necessary wiring, test on completion and supply all necessary documentation Installation positions where none before: - Hallway Landing area Habitable Room (BS 5839-6 ; 2019) | IT
RP-042 | Supply & Install Aico RF module | IT
RP-043 | Carry out annual service and maintenance check of Aico AFD | IT
RP-044 | Carry out annual service and maintenace check of Aico Carbon Monoxide detector | IT
ADDITIONAL ITEMS
RP-045 | Carry out annual service and maintenace check of Adey Atom Filter | IT
RP-046 | Replacement of External Expansion Vessel | IT
RP-047 | Replacement of Valliant Instore 160ltr DHW Cylinder | IT
RP-048 | Replacement of Valliant Instore 180ltr DHW Cylinder | IT
RP-049 | Replacement of Valliant Instore 200ltr DHW Cylinder | IT
RP-050 | Replacement of Joule EvoCyl 180l Direct Unvented Cylinder | lT
RP-051 | Replacement of Dimplex Edel 170l Direct Unvented Cylinder | lT
RP-052 | Replacement of CURV HP 2000M3 195l Direct Unvented Cylinder | lT
RP-053 | Replacement of Oso Nano N 5litre water heater. | lT
RP-054 | Replacement of Dimplex Quantum HHR Electric Wall Heater | lT
RP-055 | Replacement of Logicor Clear Heater System | lT
RP-056 | Replacement of DHW Cylinder to SF System | IT
RP-057 | Replacement of Immersion Heater | IT
RP-058 | Renew Honeywell Motorised valve | IT
RP-059 | Renew Grunfos pump | IT
RP-060 | Replacement of flue basket to current legislation | IT
RP-061 | Glycol Per Litre (top up system where required) | IT
RP-062 | Renew 1200ltr oil tank using original base and pipework, including removal and replacement of any oil stored within original tank allowing the upgrade. | IT
RP-063 | Renew 1200ltr oil tank using original base and upgrading of all necessary pipework including removal and replacement of any oil stored within original tank allowing the upgrade. | IT
RP-064 | Attend site and fix oil leak wherever necessary, including all associated works. | IT
RP-065 | Attend site and renew oil line pipework including all associated works from bulk storage tank to boiler | Lm
RP-066 | Renewal of any size required flue basket to meet manufacturers specification | IT
RP-067 | If any works are undertaken on the hot and cold water services within each dwelling then the Service Provider shall chlorinate all hot and cold water services in accordance with BS 6700, HSG 70 and the current edition of the Water Regulations. Prior to chlorination the Service Provider shall flush out all hot and cold water services. The services chlorinated during the works are to be recorded on the Client’s Chlorination Certificate | IT
RP-068 | Supply and install Grunfos shunt pump to allow for a timed circulation of water within the cylinder. | IT
RP-069 | Install a gas bayonet prior to the cooker for isolation purposes. | IT
RP-070 | Supply and install Grundfos Conlift condensate pump. (Replacement of existing is covered by Maintenance Contract). | IT
RP-071 | Supply and erect scaffolding to current legisalation/standards to access the required Central heating boiler flue on a 2 Storey building. | lT
RP-072 | Supply and erect scaffolding to current legisalation/standards to access the required Central heating boiler flue on a 3 Storey building. | lT
RP-073 | Supply and erect scaffolding to current legisalation/standards to access the required Central heating boiler flue on a 4 Storey building. | lT
RP-074 | Supply and erect scaffolding to current legisalation/standards to access the required Central heating boiler flue on a 5 Storey building. | lT
RP-075 | 1hr labour rate for items not covered by SORs | lT
RP-076 | Day rate for items not covered by SORs | lT
Revert to specification documents for Manufacturer details

## NHF SOR v7.2
For items that are not included within this Schedule of Rates, Bidders are required to provide an uplift or discount based on NHF SOR version 7.3 below.
Tendered Uplift/Discount | +/- %
Please provide a percentage rate adjustment based on the NHF Schedule of Rates version 7.3. Bidders are required to submit either a percentage uplift or discount relative to the NHF SOR (v7.3) rates. If you believe an uplift is appropriate, please indicate this clearly using a positive percentage (+%). Conversely, if you propose a discount, use a negative percentage (-%). This adjustment will form the basis of your bid submission. |  | Insert Uplift/Discount %