## Summary Sheet
SUMMARY |  | SCHEDULE OF EQUIPMENT
Ref | Item | Total cost
SL 1 | STAGELIGHTING SYSTEM
SL 1.1 | Infrastructure
SL 1.2 | Stagelighting control systems
SL 1.3 | Houselight & worklight control system
SL 1.4 | Houselight & worklight fixtures
SL 1.5 | Installation and project management
SUB TOTAL FOR STAGELIGHTING SYSTEM
GRAND TOTAL - STAGELIGHTING SYSTEMS
SUMMARY |  | SCHEDULE OF EQUIPMENT
Ref | Item | Total cost
AV 1 | AUDIOVISUAL SYSTEM
AV 1.1 | Infrastructure
AV 1.2 | Audio system
AV 1.3 | Communications systems
AV 1.4 | Assisted listening and audio description
AV 1.5 | Video show relay system
AV 1.6 | Paging and audio show relay system
AV 1.7 | Installation, design & project management
SUB TOTAL FOR AUDIOVISUAL SYSTEM
GRAND TOTAL - AUDIOVISUAL SYSTEMS

## Stage Lighting
STAGELIGHTING SYSTEM | [8 empty] | SCHEDULE OF EQUIPMENT
Ref |  | Item | Description | Component type | Typical manufacturer & model | Qty | Unit cost | Total cost
SL 1.1 | INFRASTRUCTURE
SL 1.1.1 | Containment & wiring
|  | 2.15-CTS-90/012 | Installed containment system (lot) | One part containment system for SL/1 | By Specialist Contractor
|  | 2.15-CTS-90/EXI | Existing containment system (lot) | Utilise existing one part containment as required for SL/1. Remove any existing containment not required and dispose/recycle as instructed by client. | By Specialist Contractor
|  | 2.15-WIR-91/P10 | Installed cabling - Type P10 (lot) | Single phase 230V PNE 3-core power wiring for 10A radial relay circuits | By Specialist Contractor
|  | 2.15-WIR-91/P13 | Installed cabling - Type P13 (lot) | Single phase 230V PNE 3-core power wiring for 13A ring mains/radial circuits | By Specialist Contractor
|  | 2.15-WIR-91/P16 | Installed cabling - Type P16 (lot) | Single phase 230V PNE 3-core power wiring for 16A radial power circuits | By Specialist Contractor
|  | 2.15-WIR-91/P32 | Installed cabling - Type P32 (lot) | Single phase 230V PNE 3-core power wiring for 32A radial power circuits | By Specialist Contractor
|  | 2.15-WIR-91/P60 | Installed cabling - Type P610 (lot) | Single phase 230V PNE 18-core power wiring for 6 x 10A radial relay circuits | By Specialist Contractor
|  | 2.15-WIR-91/T63 | Installed cabling - Type T63 (lot) | Three phase 400V TPNE 5-core power cabling for 63A radial power circuits | By Specialist Contractor
Item subtotal:
SL 1.1.2 | Socket outlet boxes
|  | 2.51-FPS-SL/EXI | Remove Facility panels (lot) | Remove existing socket boxes as indicated not required and dispose/recycle as instructed by client. | By Specialist Contractor
|  | 2.51-FPS-SL/001 | Facility panels (lot) | Socket boxes with custom faceplates as described in facilities planning schedule - approx 46no. boxes of varying sizes | Custom-manufactured Semi-gloss black finish | 46
|  | 2.51-FPS-RW/EXI | Remove existing socket raceway | Remove existing socket raceways as indicated not required and dispose/recycle as instructed by client. | By Specialist Contractor
|  | 2.51-FPS-RW/001 | Socket raceway #1 | Custom socket raceway type #1 - 1no. Socapex outlet, 6no. dimmer outlets, 1no. Twin 13A power outlets, 3m long | Custom-manufactured. Semi-gloss black finish | 14
Item subtotal:
SL 1.1 | INFRASTRUCTURE - Continued
SL 1.1.3 | Dimmer racks
|  | 2.52-IRR-36/EXI | Remove Existing Dimmer Racks (Lot) | Remove existing dimmer racks as indicated and dispose/recycle as instructed by client | By Specialist Contractor
|  | 2.52-IRR-36/F24 | Installed dimmer/relay rack | Wall-mounted dimmer/ relay rack, 24no. 10A ways with ND and RCD per 4 channels (SLD-101 to SLD-109) | Foundry Switch Panel Connect 24-channel 10A-RCD/4 ND DMX or sACN, configure via UI, web portal or Concert - 7122A1035 | 9
Item subtotal:
SL 1.1.4 | Power panels
|  | 2.51-CBL-PP/EXI | Remove Existing Integrated power panels for connection of temporary equipment (lot) | Remove existing power panels as indicated and dispose/recycle as instructed by client. | By Specialist Contractor
|  | 2.51-CBL-PP/001 | Integrated power panel for connection of temporary equipment | Custom 400A TPN temporary power panel - Powerlock - large | SES Ltd - 2.51-SES-PP/001 Standard black finish | 1
|  | 2.51-CBL-PP/003 | Integrated power panel for connection of temporary equipment | Custom 200A TPN temporary power panel - Powerlock - Medium | SES Ltd - 2.51-SES-PP/003 Standard black finish | 1
|  | 2.51-CBL-PP/008 | Integrated power panel for connection of temporary equipment | Custom 63A TPN temporary power panel AV - large | SES Ltd - 2.51-SES-PP/008 Standard black finish | 1
Item subtotal:
SL 1.2 | STAGELIGHTING CONTROL SYSTEMS
SL 1.2.1 | Equipment racks & accessories
|  | 2.13-IER-SR/842 | Installed equipment rack | Floor mounted 42U high steel rack, black finish, 800mm deep, 800mm wide | Contractor-nominated with custom internal power distr'n | 1
|  | 2.13-DRW-01/002 | Rack-mount drawer | Rack-mounted lockable drawer, 2U | Contractor-nominated | 1
|  | 2.13-BLK-01/001 | Rack blank panel | Installed rack mount blank panel unit, colour black. Sized as required | Contractor-nominated |  | LOT
|  | 2.13-CMB-01/01U | Rack Cable Management | 19" cable management bar | Penn-Elcom R1285-CMP-1UK |  | LOT
|  | 2.13-VNT-01/001 | Rack Vent Panel | 1U 19 inch rack mounted vent panel with pre-cut ventilation holes. | Contractor-nominated |  | LOT
|  | 2.13-UPS-RK/010 | UPS unit to support 1500W of control equipment for 10 mins | Rack-mounted UPS unit | APC Smart UPS | 1
Item subtotal:
SL 1.2 | STAGELIGHTING CONTROL SYSTEMS - Continued
SL 1.2.2 | DMX data distribution
|  | 2.17-PPD-00/32X | 2U patchbay with 32no. 24mm circular panel cutouts | Fitted with XLR-5F panel sockets and XLR-5M panel plugs and labels | Custom-manufactured | 2
|  | 2.53-MSS-RK/010 | DMX data distribution amplifier | 2-in, 10-out unit with loop-through connector in 1U rackmount case | Swisson XSP-5R-5R | 1
|  | 2.53-MRG-RK/004 | DMX data merge unit | 4-in, 2-out unit merge unit with offset in 1U rackmount case | XTBA Smart Merge 4:2 | 1
|  | 2.54-GFC-01/003 | DMX data patchcord | DMX data cable with XLR-5F and 5M connectors, length 300mm, colour red | Custom-manufactured | 20
|  | 2.54-GFC-01/006 | DMX data patchcord | DMX data cable with XLR-5F and 5M connectors, length 600mm, colour red | Custom-manufactured | 15
SL 1.2.3 | Ethernet data distribution
|  | 2.17-PPE-00/U24 | Ethernet patchbay, UTP | 1U panel with 24no. RJ45 UTP connectors over 2 rows | Custom-manufactured | 1
|  | 2.17-PPE-00/U48 | Ethernet patchbay, UTP | 2U panel with 48no. RJ45 UTP connectors over 2 rows | Custom-manufactured | 1
|  | 2.17-FIB-01/024 | Fibreoptic patch bay | 1U panel with 24no. Duplex LC OM4 fibre ways | Custom-manufactured | 1
|  | 2.53-NDE-PT/FSI | Portable DMX/Ethernet Gateway Node - Input | Touring gateway, DMX in, 2-port, with G-clamp and safety bond - Black | ETC RSN-DMX2-I-P | 2
|  | 2.53-NDE-PT/FSO | Portable DMX/Ethernet Gateway Node - Output | Touring gateway, DMX out, 2-port, with G-clamp and safety bond - Black | ETC RSN-DMX2-O-P | 4
|  | 2.53-NDE-4P/RMO | Ethernet node | Rack-mounted DMX out, 4-port, with front panel kit XLR5 | ETC RSN-DMX4-O + N34G-FP4F + N3GA-RM | 2
|  | 2.17-NSW-RK/U24 | Ethernet data switch, rack mounted | 24 Port Layer 2 managed Cat6 switch POE+ 30W per port + SPF fibre points | Contractor nominated | 3
|  | 2.54-HFC-01/003 | Ethernet patch cable | Ethernet data cable with RJ45 connectors, length 300mm, colour red | Custom-manufactured | 40
|  | 2.54-HFC-01/006 | Ethernet patch cable | Ethernet data cable with RJ45 connectors, length 600mm, colour red | Custom-manufactured | 35
Item subtotal:
SECTION SUBTOTAL:
SL 1.3 | HOUSELIGHT & WORKLIGHT CONTROL SYSTEM
SL 1.3.1 | Worklight control system
|  | 2.53-WKL-PP/C01 | Worklight control system configuration & programming | Custom confuration and set-up of control system | Custom | 1
|  | 2.53-WKL-CP/EXI | Relocate Existing Paradigm Processor | Reloate existing Paradigm processor from existing rack to SLR-101 with exsiting links | By Specialist Contractor | 1
|  | 2.52-IRR-36/WXI | Remove existing White Worklight relay racks | Remove existing AMX relay racks and dispose/recycle. Adapt current White Worklight connections to new relay rack WLR-101 | By Specialist Contractor | 1
|  | 2.52-IRR-36/R24 | Installed relay rack | Wall-mouted relay ONLY rack. 24no. 10A ways with RCBO per way for White Worklights (WLR-101/WLR-102) | Vari-Lite - Rig Switch+ 24way 10a Switched relay panel | 2
|  | 2.53-WKL-MP/001 | Worklight master control panel (wall-mounted) | Worklights control master panel | ETC custom - standard black finish | 1
|  | 2.53-WKL-PO/P01 | Worklight master control panel (portable) | Portable worklights control panel | ETC custom - standard black finish | 1
|  | 2.53-WKL-PB/002 | Worklight zonal control button | Worklights control push-button - two non-latching, illuminated vandal-proof buttons | ETC custom - RAL colour finish to Client's spec | 24
|  | 2.53-WKL-PB/004 | Worklight zonal control button | Worklights control push-button - four non-latching, illuminated vandal-proof buttons | ETC custom - RAL colour finish to Client's spec | 3
|  | 2.53-MSS-OP/106 | DIN Rail Mounted, DMX data distribution amplifier | 1-in, 6-out - DIN-mounted | Artistic Licence Rail-split RDM | 1
|  | 2.15-WIR-05/Z05 | Installed cabling - Type Z05 (lot) | Control cable for worklights master panel | Contractor nominated | 1
|  | 2.15-WIR-05/Z09 | Installed cabling - Type Z09 (lot) | Control cable for worklights local control panel | Contractor nominated | 1
Item subtotal:
SECTION SUBTOTAL:
SL 1.4 | HOUSELIGHT & WORKLIGHT FIXTURES
SL 1.4.1 | Blue worklight fixtures
|  | 2.55-BLU-WL/20B | Blue LED fixture, 20 degree beam | Type B - with spill cowl | ETC BSBBMFLB + BSCB | 47
|  | 2.55-BLU-WL/DME | Blue LED fixture, frosted dome | Type E - with eyelid cowl | ETC BSDBF + BSELB | 125
|  | 2.55-REF-SS/FLY | Conversion of existing dimmable fly ropes worklight to LED strip | Refurbishment of existing housing with LED source, including local dimmer control | Custom-manufactured | lot
|  | 2.55-REF-SS/SIL | Refurbished 'Silence' sign | Re-fitted with LED sources and reinstalled | Custom | 4
|  | 2.55-WKL-BL/PS6 | Power supply for Blues worklight fixtures | 6-zone power supply for Blues LED fixtures with DMX input, rack-mounted | ETC BSPS6RD | 6
Item subtotal:
SL 1.4 | HOUSELIGHT & WORKLIGHT FIXTURES - Continued
SL 1.4.2 | Control room fixtures and switches
|  | 2.55-WKL-TR/004 | Lighting track and 4 spots | Control room kit | Design 360 | 6
|  | 2.53-WKL-SS/D01 | Worklight dimmer switch | Worklight switch panel - 1 dimmer switch - with engraving and black finish | MK Grid Plus | 1
|  | 2.53-WKL-SS/S01 | Worklight 1-way switch | Worklight switch panel - 1 way switch - with engraving and black finish | MK Grid Plus | 1
Item subtotal:
SECTION SUBTOTAL:
SL 1.5 | INSTALLATION & PROJECT MANAGEMENT
SL 1.5.1 | Project costs
|  |  | Installation | Installation of all equipment, including testing and commissioning
|  |  | Project management and preliminaries | Project management, production of shop drawings, site attendance, training, etc.
GRAND TOTAL - Stagelighting system:

## Audiovisual
AUDIOVISUAL SYSTEM | [8 empty] | SCHEDULE OF EQUIPMENT
Ref |  | ID | Item | Component description | Typical manufacturer & model | Qty | Unit cost | Total cost
AV 1.1.1 | Containment & wiring
|  | 2.15-CTS-95/013 | Installed AV/SL containment system | Three part containment system for AV/1, AV/2 and SLAV/3 | By Specialist Contractor | (lot)
|  | 2.15-CTS-95/EXA | Existing containment system | Utilise existing one part containment as required for AV1, AV/2 and SLAV/3. Remove any existing containment not required and dispose/recycle as instructed by client. | By Specialist Contractor | (lot)
|  | 2.15-WIR-91/P13 | Installed power cabling | Single phase 230V PNE 3-core power wiring for 13A radial relay circuits | By Specialist Contractor | (lot)
|  | 2.15-WIR-01/A01 | Installed wiring - screened twisted Multiquad Audio cable | Screened twisted dual pair with overall screen - Starquad Type | Belcom Eventseries 220-4601-01 | (lot)
|  | 2.15-WIR-02/D6F | Installed data cabling | CAT 6A S/FTP overall braid screened cable with foil screened balanced elements data cable | Belcom 7297 Series | (lot)
|  | 2.15-WIR-02/D6U | Installed data cabling | CAT 6A S/UTP data cable | Contractor-nominated | (lot)
|  | 2.15-WIR-06/F42 | Installed fibre cabling | Multimode fibre cabling, OM4 loose tube, 2-way | Belcom Surelight | (lot)
|  | 2.15-WIR-08/Z02 | Combined paging cabling | Multi core cabling suitable for 100v line paging loudspeakers and relay cabling. | Contractor-nominated | (lot)
|  | 2.15-WIR-03/C75 | Installed coaxial cabling | 75-ohm 12G SDI coaxial cable | Belcom HD1000 or equivalent | (lot)
|  | 2.15-WIR-04/L44 | Installed loudspeaker cabling | 4-core 4mm loudspeaker cable | Contractor-nominated | (lot)
|  | 2.15-WIR-92/Z11 | Installed GPIO cabling | Cable to link between fire alarm and AV systems | Contractor-nominated | (lot)
Item subtotal:
AV 1.1 | INFRASTRUCTURE (continued)
AV 1.1.2 | Socket outlet boxes
|  | 2.61-FPS-AV/EXI | Remove Facility panels (lot) | Remove existing AV socket boxes as indicated and dispose/recycle as instructed by client. | By Specialist Contractor | 1
|  | 2.61-FPS-AV1/001 | Audiovisual / Stagelighting facilities ELV panel | AVSL socket boxes with custom faceplates and RAL colour as described in facilities planning schedule, 57no. boxes of various sizes. | Custom-manufactured | 57
|  | 2.61-FPS-AV1/002 | Audiovisual Power outlets | Dual 13a socket outlets with USB c connections wired to AV Distribution board. Mounted next to AVSL Facility panels | Contractor Nominated | 57
|  | 2.61-FPS-AV1/PAG | Paging Data connection panel | Small form factor surface mounted panel for data connections to the paging system. | Custom-manufactured | 19
|  | 2.61-FPS-AV1/003 | Loudspeaker Connection Outlet | Custom panel with NL4 connection and mounting point for a loudspeaker up to 8kg. | Custom-manufactured | 29
Item subtotal:
AV 1.1.3 | Equipment racks
|  | 2.13-IDR-36/EXI | Remove Existing AV Racks | Remove existing AV racks and associated cabling and containment and dispose/recycle as instructed by client | By Specialist Contractor | 1
|  | 2.13-IER-SR/842 | Installed equipment rack | Floor-mounted 42U high steel rack, black finish, 800mm wide, 800mm deep | Contractor-nominated with custom internal power distribution | 3
|  | 2.13-CSU-01/005 | 5 channel power distribution unit | 1U 16A input 5 channel unit with individual switches for turning items of rack equipment off when not in use. | PDU16-5DJ-AV Penn Elcom | 1
|  | 2.13-CMB-01/01U | Cable management bar | 19" rack mount 1U cable management bar | R1285-CMP-1UK Penn Elcom | 4
|  | 2.13-CPH-01/001 | Patchcord Holder | Patchcord holder for storage of AV patchcords affixed to side of AV racks | Contractor-nominated | 2
|  | 2.13-UPS-RK/010 | Rackmount UPS | Rack-mounted UPS for stagelighting/audiovisual data system to power all local rack equipment for 10 mins upon power loss. | APC Smart UPS | 2
|  | 2.13-BLK-01/001 | Rack blank panel | Installed rack mount blank panel unit, colour black. Sized as required | Contractor-nominated | (lot)
|  | 2.64-SCP-01/DLL | Standalone computer Rackmount | Micro personal computer for general use in racks with keyboard & Mouse drawer and 4 x network interfaces | Dell or Contractor Nominated | 1
|  | 2.13-SHF-RM/002 | 19" Pullout Rack shelf | Installed 2U 19" rack shelf - pullout, black | Contractor-nominated | 1
|  | 2.67-TSM-01/022 | 22" Touchscreen Monitor | Rackmount Touchscreen 22" | Hannspree HT225HPB with Penn Elcom LCD04 mount | 1
|  | 2.67-KVM-01/001 | Rackmount KVM | Keyboard Video, Mouse transmitter and receiver. 24" screen, keyboard and mouse included | Contractor Nominated | 1
|  | 2.13-DRW-01/003 | Rack mount drawer | Rack-mounted lockable drawer, 3U | Contractor-nominated | 2
AV 1.1 | INFRASTRUCTURE (continued)
AV 1.1.4 | Patchbays and cabling
|  | 2.17-BPO-01/048 | Audio patchbay | 48 B Gauge audio jacks in 1U rackmount frame | Mosses and Mitchell/ Contractor nominated | 3
|  | 2.64-PCC-B0/600 | Audio patch cable | Audio patch cable with B Gauge connectors, length 600mm | Contractor-nominated | 30
|  | 2.17-PPE-00/F24 | Control data patchbay | RJ45 sockets in 1U rackmount frame, 24-way | Contractor-nominated | 7
|  | 2.64-PCC-E0/60Y | Control data patch cable | Ethernet data cable with RJ45 connectors, length 300 and 600mm - Yellow | Custom-manufactured | 30
|  | 2.17-FIB-01/024 | Fibre optic patch bay | 1U panel with 24no. duplex LC 2 core OM4 fibre ways | Contractor-nominated | 2
|  | 2.64-PCC-F0/300 | Fibre optic patch cable | Fibre OM4 duplex data patch cable with LC connectors to match patch bay - 300mm Aqua | Contractor-nominated | 15
|  | 2.17-MSA-01/048 | Micro-MUSA video patchbay | 48no. Micro-MUSA jacks in 1U rackmount frame | Canford 48-4501 | 3
|  | 2.64-PCC-V0/300 | Micro-MUSA video patch cable | microMUSA 12G UHD PATCHCORD 300mm, Black. | Canford Audio | 30
|  | 2.17-RP1-01/012 | Patchbay for non-typical connections | 1U Panel custom for termination of USB, HDMI and similar connections within AV Racks. | Custom-manufactured | 1
|  | 2.17-NL4-01/112 | Loudspeaker patch panel | 1U panel with 12no. NL4-MP loudspeaker connectors | Custom-manufactured | 12
|  | 2.64-PCC-L0/060 | Loudspeaker audio patch cable | Audio patch cable with NL4-MC connectors, length 600mm | Custom-manufactured | 30
AV 1.1.5 | Distribution equipment
|  | 2.17-NSW-RK-M24 | Ethernet data switch, rack mounted | 24 Port Layer 3 managed Cat6 switch POE+ 30W per port + 2x GbE SFP Uplinks | Netgear AV range | 2
AV 1.2 | AUDIO SYSTEM
AV 1.2.1 | Amplification and Processing
|  | 2.62-AMP-DB/20D | 4 Channel Amplifier | Installation specific four channel amplifier, Maximum output power 4 x 1800/900 W into 4/8 Ω | D&B Audiotechnik 25D | 7 |  |  |  | IN PSP
|  | 2.62-AMP-DB/40D | 4 Channel Amplifier | Installation specific four channel amplifier, Maximum output power 4 x 2400/2000 W into 4/8 Ω | D&B Audiotechnik 40D | 1 |  |  |  | IN PSP
|  | 2.62-AMP-DB/05D | 4 Channel Amplifier | Installation specific high-density four channel amplifier Integrated audio networking Flexible output power sharing 1 RU x 9.5“ ultra-compact design | D&B Audiotechnik 5D | 1 |  |  |  | IN PSP
|  | 2.64-AMP-DB/DS1 | Network audio bridge | Interface between d&b amplifiers and the Dante audio transport protocol, 16 AES3 digital output channels, 4 AES3 digital input channels, Integrated 5-port network switch | D&B Audiotechnik DS10 | 2
|  | 2.17-NSW-RK/012 | Ethernet data switch, Rack Mounted | Managed Layer 3 Ethernet switch, 12no. 1G ports with PoE+ 480W, 1 x Multimode SFP+ transceiver module. | Netgear AV range | 2
Item subtotal:
AV 1.2.2 | Loudspeakers and Loudspeaker Rigging
|  | 2.65-LAS-CL/i08 | Main Left / Right Loudspeakers | Installation specific ﻿compact cardioid line array loudspeaker, Components LF: 2 x 7" + 2 x 5"; HF: 2 x 1.75", Dispersion 80° | D&B CCLi8 | 10
|  | 2.65-LAS-CL/i12 | Main Left / Right Loudspeakers | Installation specific ﻿compact cardioid line array loudspeaker, Components LF: 2 x 7" + 2 x 5"; HF: 2 x 1.75",Dispersion 120° | D&B CCLi12 | 2
AV 1.2.2 | Loudspeakers and Loudspeaker Rigging - Continued
|  | 2.65-LAS-AL/i190 | Main Centre Cluster Loudspeaker | Installation specific medium format 2-way augmented array loudspeaker, Components 2 x 10" LF driver, 1 x 1.4” exit compression driver with 3" coil, Dispersion 90° x 30° | D&B ALi90 | 3
|  | 2.65-PSS-Yi/10P | Circle Left, Right and Centre Loudspeakers | Installation specific high performance 2-way passive point source loudspeaker with wide dispersion, Components 2 x 8"/1.4", Dispersion 110° x 40° | D&B Yi10P | 3
|  | 2.65-PSS-05/05S | Side Fill Loudspeakers | Installation specific 2-way compact coaxial loudspeaker, Components 5"/1", Dispersion 100° conical | D&B 5S | 4
|  | 2.65-PSS-10/10S | Side Fill Loudspeakers | Installation specific 2-way compact coaxial loudspeaker, Components 10"/1.4", Dispersion 75° x 50° rotatable | D&B 10S | 2
|  | 2.65-PSS-FF/44S | Front Fill Loudspeakers | 2-way ultra-compact flush mountable loudspeaker, Components 2 x 4.5″, 2 x 1.25″, Dispersion 90° x 30° rotatable. Inc backbox and front grille | D&B 44S | 4 |  |  |  | IN PSP
AV 1.2.2 | Loudspeakers and Loudspeaker Rigging - Continued
|  | 2.65-MS-02/MAX | Passive Full Range Monitor Loudspeaker | 2-way stage monitor, Components 15"/1.4", Dispersion 75° | D&B Max 2 | 8
|  | 2.65-SWF-01/CCL | Sub Array Loudspeaker | Installation specific small to medium format flyable cardioid subwoofer, Components 1 x 15” + 1 x 10”, Dispersion Cardioid | D&B CCLi-SUB | 12
|  | 2.69-HOI-01/RIG | Rigging Solution | Manual chain hoists, dead hang rigging and truss to hang subwoofers and centre cluster | contractor Nominated | 1
|  | 2.64-NL4-01/LOT | Cabling | Rubber cabling with NL4 connections as required to connect all loudspeakers to installed infrastructure | contractor Nominated | (lot)
Item subtotal:
SECTION SUBTOTAL:
AV 1.3 | COMMUNICATION SYSTEMS
AV 1.3.1 | Technical intercom system
|  | 2.17-NSW-RK-N24 | Ethernet data switch, rack mounted | 24 Port Layer 3 managed Cat6 switch POE+ 30W per port NO SFP Uplinks | Netgear AV range | 1
|  | 2.17-PPE-00/F24 | Intercom Patchbay | RJ45 sockets in 1U rackmount frame, 24-way | Contractor-nominated | 1
|  | 2.64-PCC-E0/30B | Intercom Patch cable | Ethernet data cable with RJ45 connectors, length 300mm - Blue | Custom-manufactured | 20
|  | 2.68-TIB-02/001 | Wireless digital intercom beltpack | Digital beltpacks for wireless intercom | Green-go GGO-WBPX | 8
|  | 2.68-TIB-02/002 | Wireless intercom battery charger for 6 no. batteries | Battery charger for 6no. wireless intercom belt pack batteries | Green-go GGO-BC6 | 2
|  | 2.68-TIB-02/005 | Spare Battery pack | Wireless intercom Spare battery pack | Green-go GGO-NRGP | 8
|  | 2.68-TIB-02/003 | Wireless intercom DECT antenna for up to four wireless belt packs | Remote antenna kit for wireless intercom system | Green-go STRIDE Antenna | 2
|  | 2.68-TIB-01/001 | Wired digital intercom belt pack | Wired POE ethernet network based digital intercom belt pack. | Green-go GGO-BPX | 4
|  | 2.68-TWS-01/001 | Wired digital intercom wall mounted | Wired POE Wall panel station for intercom | Green-go GGO-WPX | 2
|  | 2.68-TIH-01/001 | Intercom headset | Single-muff headset with integral mic | GREEN-GO HS200S | 16
Item subtotal:
AV 1.3.2 | Stage manager's desk
|  | 2.68-SMD-01/001 | Stage manager's desk | SM Desk on wheels, Cuelight master station, 1U Comms, 2 x 7"monitors, Audio monitor, Clock and Stopwatch, Paging station and mic, 5 button houselight control | Contractor nominated | 1
AV 1.3.3 | Cuelights
|  | 2.68-CUE-01/001 | Cuelight outstations - IP | Cuelight station fitted with red standby and green go light and confirmation button - RJ45 connection | GDS Concept Q | 8
|  | 2.17-PPE-01/F24 | Cuelight Patchbay | RJ45 sockets in 1U rackmount frame, 24-way | Contractor-nominated | 1
|  | 2.64-PCC-E0/30G | Cuelight Patch cable | Ethernet data cable with RJ45 connectors, length 300mm - Green | Custom-manufactured | 8
|  | 2.68-CUE-02/CUS | Fly Floor cuelight ropelight | Custom interface and set of green and red ropelight with level adjustment | Custom-manufactured | 1
|  | 2.17-NSW-RK-N24 | Ethernet data switch, rack mounted | 24 Port Layer 3 managed Cat6 switch POE+ 30W per port NO SFP Uplinks | Netgear AV range | 1
Item subtotal:
SECTION SUBTOTAL:
AV 1.4 | ASSISTED LISTENING
AV 1.4.1 | Assisted listening system
|  | 2.68-ACT-01/D02 | Auracast transmitter | Dual channel Auracast broadcast transmitter, 100m range in open space, networked system management, Dante input, c/w rigging hardware and cables | AURI TX2N-D TRANSMITTER 2-channel | 2
|  | 2.68-ACR-01/001 | Auracast receiver | Auracast reciever with volume controls, 3.5mm headphone socket, source select, compatible with above transmitter and integrated neckloops | Ampetronic AURI receiver RX1 | 8
|  | 2.68-ARC-02/001 | Headphones for receiver | Dual ear headphones to connect to RX1 receivers, leatherette earpads | Listen Technologies LA-402 | 8
|  | 2.68-NKL-01/001 | Neckloop | Intelligent ear phone / neck loop lanyard providing audio to telecoil-equipped hearing aids or cochlear implants, compatible with above Auracast receiver | Listen Technologies LA-438 | 8
|  | 2.68-ARC-01/004 | Auracast receiver charger | Battery charger for 4no. receivers, compatible with above Auracast receiver | Ampetronic AURI charger D4 | 1
Item subtotal:
AV 1.4.2 | Audio Description
|  | 2.68-ADC-01/GCH | Audio description console | Custom manufactured audio description console, DANTE, with connection loom and case for console, headset and cable | Glensound Charles | 1
|  | 2.68-ADH-11/394 | Audio describers headset | Dual-muff headset with integral mic, 1no with connectors to match the audio description console. | Audio-Technica BPHS2 | 1
Item subtotal:
SECTION SUBTOTAL:
AV 1.5 | VIDEO SHOW RELAY SYSTEM
AV 1.5.1 | Cameras
|  | 2.67-CAM-02/CL2 | SDI PTZ HD Video Camera | High-resolution PTZ 12G SDI & NDI camera with zoom lens and adjustable mount | BirdDog x5 Ultra | 1
|  | 2.67-CAM-03/001 | MD Camera | High quality fixed colour camera with 12x optical zoom, SDI and NDI connectivity, Power supply and mic thread adaptor | BirdDog Maki Ultra 12x | 2
|  | 2.67-CAM-01/IR1 | Night Vision Camera | High quality fixed night vision video camera with integral Infra-red source with manual zoom/focus and adjustable mount | Contractor Nominated | 1
Item subtotal:
AV 1.5.2 | Video distribution
|  | 2.67-LVS-0V/BVH | Video Matrix Switcher | SDI video distribution amplifier with integrated matrix 20 x 20 with screen | Blackmagic videohub 20x20 12G | 1
|  | 2.67-MON-02/6U2 | Video display monitor | Dual 7" rack mount 12G SDI / HDMI monitor | Lilliput RM7026-12G | 1
|  | 2.67-EMB-05/SDA | SDI Audio embedder | Unit to embed show relay audio onto show relay video feed. | Blackmagic Mini Converter Audio to SDI inc. rackmount | 1
|  | 2.67-IPT-02/VDC | Video Decoder Ethernet to HDMI | Unit to convert networked video into HDMI signal for viewing on a standard monitor with HDMI input. Controllable by the monitor remote control via CEC | BirdDog Play | 10
|  | 2.67-IPT-01/BWP | Video Encoder - SDI to Ethernet | Unit to convert 4 x SDI video to a suitable format for distribution through CAT6e cables through the venue | BirdDog 4K Quad | 1
Item subtotal:
SECTION SUBTOTAL:
AV 1.6 | PAGING & AUDIO SHOW RELAY SYSTEM
AV 1.6.1 | Paging processors and input devices
|  | 2.69-MIC-CA/920 | Existing FOH Digipage system testing | Assessment and Testing of existing Digipage Front of House amplifiers and loudspeakers for paging system | By Specialist Contractor | 1 |  |  |  | POE Required
|  | 2.69-PAS-01/TPS | Existing FOH system testing | Assessment and Testing of existing Theatre Front of House PAVA amplifiers and loudspeakers for paging system | By Specialist Contractor | 1
|  | 2.69-PAS-02/REM | Backstage paging system removal | Removal of existing paging speakers within the backstage areas coloured yellow on CBL paging GA drawings | By Specialist Contractor | 1
|  | 2.69-PAS-03/INT | Interconnection of new and existing paging systems | Wiring and integration of existing amplifiers and loudspeakers system to be controlled by new Qsys control system. | By Specialist Contractor | 1
|  | 2.63-PSP-07/110 | Paging processor | Paging system processor, with logic switching, compression and distribution of paging & show relay signals | QSC CORE 24f | 1
|  | 2.63-SOF-03/DAN | Software Dante licence | Q-SYS Core 32ch Dante Software License, Perpetual | QSC SLDAN-32-P | 1
|  | 2.17-NSW-RK/M24 | Ethernet data switch, rack mounted | 24 Port Layer 2 managed Cat6 switch POE+ 30W per port + 2x GbE SFP Uplinks | Contractor Nominated | 2
|  | 2.66-IMC-02/001 | Installed microphone | High-quality cardioid microphone c/w anti-shock mounting bracket. | Audiotechnica AT8015 | 2
|  | 2.64-PCC-E0/30R | Intercom Patch cable | Ethernet data cable with RJ45 connectors, length 300mm - Red | Custom-manufactured | 20
|  | 2.17-PPE-00/F24 | Control data patchbay | RJ45 sockets in 1U rackmount frame, 24 -way | Contractor-nominated | 1
|  | 2.63-PRI-01/001 | Paging system relay interface | Custom paging system volume restoration relay interface | Contractor Nominated | 1
AV 1.6.1 | Paging processors and input devices - Continued
|  | 2.63-PSM-06/AMB | Paging station | 4-Zone Dante Paging Interface, 3 gang including gooseneck microphone and desktop base mount | Alcorn mcbride VP4x | 2
|  | 2.63-AIP-01/CUS | Audio input device | Custom paging system interface with bluetooth and analogue audio input connections with touch screen control and paging microphone | Custom panel with TSC-101-G3 and unD6IO-BT Network audio plate | 3
|  | 2.63-TCS-01/10W | Touchscreen Control Interface | 10" Capacitive LCD touch screen compatible with AV control system. Desk mount with cable | QSC TSC -101-G3 | 1
Item subtotal:
AV 1.6.2 | Paging amplifiers
|  | 2.62-PSA-07/828 | 8 channel 100v line Dante amplifier | 250W per channel into 8 ohms dante enabled | Yamaha XMV8280-D | 3
Item subtotal:
AV 1.6.3 | Paging speakers
|  | 2.65-IPS-03/A55 | High quality, wall-mounted Paging loudspeaker | Installed small loudspeaker 6", with angled wall mount bracket 100v line | Yamaha VS6 | 8
|  | 2.65-IPS-05/001 | Wall-mounted Paging loudspeaker | Wall mounted paging loudspeaker for background calls/show relay 100v line | Penton Sentry 6 | 44
|  | 2.65-IPS-65/001 | Wall-mounted Horn loudspeaker | Wall mounted 100v paging horn loudspeaker for paging in stage / fly gantries | TOA SC-630 | 6
|  | 2.65-IPS-04/001 | Flush ceiling mounted paging loudspeaker IP rated | Ceiling mounted paging loudspeaker for background calls/show relay - 100v line IP Rated for use in shower rooms | Contractor Nominated | 2
Item subtotal:
AV 1.6.4 | Paging volume controls
|  | 2.63-IPV-01/01R | Volume control for paging loudspeaker | Type 1R - Show relay volume control volume restoration when a paging call is made | Custom manufactured | 17
|  | 2.63-IPV-01/001 | Volume control for paging loudspeaker | Type 1 – Volume control for paging and volume control for show relay, show relay ducks on paging call | Custom manufactured | 11
Item subtotal:
SECTION SUBTOTAL:
AV 1.7 | INSTALLATION AND PROJECT MANAGEMENT
|  |  | Installation | Installation of all wiring including termination to racks and outlet boxes |  | (lot)
|  |  | Installation | Installation of all equipment including free-issued equipment, and testing and commissioning |  | (lot)
|  |  | Project management | Project management, production of shop drawings, site attendance, training, etc. |  | (lot)
Item subtotal:
SECTION SUBTOTAL:
Item subtotal:
SECTION SUBTOTAL:
SUB TOTAL - Audiovisual System: