## Instructions
Applicable to:
ANY type of Cladding, regardless of height on any Individual building or Groups of buildings which are connected
or where Any building or group of buildings with a declared value of £1M or moreor where
Please complete the Questionnaire tab fully
Where the EWS1 form is required to be completed, please provide details of who completed this and their qulaifications as well as a copy of the signed form
In respect of the Fire Ratings for any building, please provide a copy of the relevant Engineers Report when returning this information
In addition please provide commentary to the following:
How do you intend to comply with the advice of the Ministry of Housing, Communities & Local Government (MHCL) to identify and mitigate the risks relating to external wall systems on all buildings (not just high rise)
Qualifed Fire Risk Assessor
Fire Engineer
Building Surveyor
Other
A1
A2
A3
B1
B2
Qualifed Fire Risk Assessor | A1
Fire Engineer | A2
Buliding Surveyor | A3
Other | B1
B2

## Questionnaire
[22 empty] | External Wall System 2 | [14 empty] | External Wall System 2 | [12 empty] | External Wall System 3
[22 empty] | [ INSERT BRAND NAME ] | [14 empty] | [ INSERT BRAND NAME ] | [12 empty] | [ INSERT BRAND NAME ]
Insured name | Address 1 | Address 2 | Address 3 | Address 4 | Address 5 | Postcode | Declared Value | Storeys | Height (metres) | Predominant Occupancy | If Predominant Occupancy is other provide details | Date of build | Date of refurb | Wall Construction | If 'Wall Construction' other provide details | Floor construction | If 'Floor Construction' other provide details | Roof construction | If 'Roof Construction' other provide details | Timber Framed | Any form of volumetric, modular or pod construction? | % of external walls covered by system | Cladding Type | If type other provide detail | Insulation Type | If insulation 'other' provide detail | Has a Fire Engineer reviewed & assessed the building for EWS1 Requirements? | If yes, is EWS1 required? | If EWS1 is required, which competent person completed this? | if other, provide details | If EWS1 has been completed, which Fire/Euro Rating has been given? | If B2 Rating, have remedial works been completed? | If remedial works are outstanding, when will these be completed by? | Date EWS1 fitted (approx) | Are there any plans to remove or modify the EWS? | If yes to 'Are there any plans to remove or modify the EWS' give estimated date | % of external walls covered by system | Cladding Type | If type other provide detail | Insulation Type | If insulation 'other' provide detail | Has a Fire Engineer reviewed & assessed the building for EWS1 Requirements? | If yes, is EWS1 required? | If EWS1 is required, which competent person completed this? | if other, provide details | If EWS1 has been completed, which Fire/Euro Rating has been given? | If B2 Rating, have remedial works been completed? | If remedial works are outstanding, when will these be completed by? | Date EWS1 fitted (approx) | % of external walls covered by system | Cladding Type | If type other provide detail | Insulation Type | If insulation 'other' provide detail | Has a Fire Engineer reviewed & assessed the building for EWS1 Requirements? | If yes, is EWS1 required? | If EWS1 is required, which competent person completed this? | if other, provide details | If EWS1 has been completed, which Fire/Euro Rating has been given? | If B2 Rating, have remedial works been completed? | If remedial works are outstanding, when will these be completed by? | Date EWS1 fitted (approx) | Balconies? | If yes to 'Balconies' give material type | Date of last FRA | All recommendations completed following FRA? | Are there documented and displayed emergency / alarm response procedures | Have tenants been (proactively) made aware of these? | Sprinklers in common parts? | Sprinklers in Flats? | Fire Alarms in common parts | Fire Alarms in Flats? | Are Fire Alarms regularly tested and maintained? | 24 hour waking watch in place? | Any other fire protection precautions in place? | If yes to 'Any other fire protection precautions in place' provide details | EWS Risk Management Programme in place? | If yes to 'EWS Risk Management Programme in place' provide details | Has there been an assessment of the suitability of the EWS? | If yes to 'Has there been an assessment of the suitability of the EWS' give Date of assessment
United Welsh | Plas Hyfryd | Ffordd Y Maes | Caerphilly | CAERPHILLY |  | CF83 2BH | £5M | 4 | <18 m | Rented |  | 2011-05-31 |  | Other | Timber framed | Timber |  | Slate |  | YES | NO | [41 empty] | YES | Steel Frame - Timber decked | 2025-01-16 | NO | YES | YES | YES | YES | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Adams Court | North Luton Place | Cardiff | CARDIFF |  | CF24 0NA | £5M | 4 | <18 m | Leased |  | 1980-05-31 |  | Brick |  | Concrete |  | Slate |  | NO | NO | [41 empty] | NO |  | 2025-11-07 | NO | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Llys Nant-y-Mynydd | Hospital Road | Nantyglo | BLAENAU GWENT |  | NP23 4LY | £5M | 4 | <18 m | Rented |  | 2011-05-31 |  | Other | Timber framed | Timber |  | Slate |  | YES | NO | [41 empty] | YES | Steel Frame - Timber decked | 2025-03-11 | YES | YES | YES | YES | YES | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Bon Marche House | Commercial Street | Abertillery | BLAENAU GWENT |  | NP13 1DQ | £5M | 4 | <18 m | Rented |  |  | 1996-05-31 | Brick |  | Timber |  | Other | Flat roof on timber structure to ground floor commercial unit | NO | NO | [15 empty] | 70% | Other | mechanically-fixed mineral wool insulation slabs with supplementary adhesive, reinforced basecoat and render finishes | Mineral / Rock Wool | [22 empty] | NO |  | 2025-11-04 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Baileys Court | Adamsdown | Cardiff | CARDIFF |  | CF24 0AH | £5M | 4 | <18 m | Leased |  | 2014-12-31 |  | Other | Timber framed | Timber |  | Other | Single ply membrane on timber | YES | NO | <10% | Steel |  | Other | aluminium alloy sheets bonded to either side of a core of low-density polyethylene. | [36 empty] | NO |  | 2025-11-07 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Chatterton Square | Windsor Quay | Cardiff | CARDIFF |  | CF11 7PD | £5M | 4 | <18 m | Rented |  | 1992-12-31 |  | Brick |  | Timber |  | Slate |  | NO | NO | [41 empty] | NO |  | 2025-01-06 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 -44 COED UCHEL | HIGH TREES ROAD | GILWERN | MONMOUTH |  | NP7 0AF | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-14 | N/A | Brick |  | Unk |  | Slate |  | No | No | [41 empty] | NO |  | 2025-06-09 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 -43 CRONIN COURT | OFF UNION STREET | TREDEGAR | Blaenau Gwent |  | NP22 3PW | >£1m/<£5m | 4 | Unk | Rented |  | 1905-06-13 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-04-01 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 101-404 GEORGE PARRY COURT | REES STREET | EBBW VALE | Blaenau Gwent |  | NP23 6LU | >£1m/<£5m | 4 | Unk | Rented |  | 1905-06-10 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-04-02 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Ty Gobaith | 240 Bute Street | CARDIFF | CARDIFF |  | CF10 5TY | >£1m/<£5m | 4 | Unk | Rented |  | 1905-06-22 | N/A | Brick |  | Concrete |  | Other | Aluminium Composite | No | No | [41 empty] | NO |  | 2025-05-01 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 - 31 WILLIAM ADAMS COURT | REES STREET | EBBW VALE | Blaenau Gwent |  | NP23 6GH | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-14 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-04-02 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Oak House | 340 Newport Road | CARDIFF | NEWPORT |  | CF24 1RT | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-27 | N/A | Brick |  | Unkown |  | Other | Aluminium Composite | No | No | [41 empty] | NO |  | 2025-02-03 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 - 32 SAXON COURT | ORCHARD STREET | EBBW VALE | Blaenau Gwent |  | NP23 4EQ | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-13 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-04-02 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 - 23 WESLEY HOUSE | MARKET SQUARE | EBBW VALE | Blaenau Gwent |  | NP23 4AJ | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-11 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-07-10 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Sunnybank Court | Brynmawr | EBBW VALE | Blaenau Gwent |  | NP23 4SG | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-14 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | 1 - 32 ST CLAIRS COURT | WEST BUTE STREET | CARDIFF | CARDIFF |  | CF10 5FT | >£1m/<£5m | 5 | Unk | Rented |  | 1905-06-09 | N/A | Brick |  | Unkown |  | Slate |  | No | No | [41 empty] | YES | Concrete Floor - Timber rails (being replaced with steel this year) | 2025-06-13 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1- 30 Kenneth Treasure Court | Bethania Row | St Mellons | CARDIFF |  | CF3 5UD | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-09 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2024-12-02 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1-30 RICHMOND CLOSE | RICHMOND TERRACE | LLANBRADACH | CAERPHILLY |  | CF83 3JE | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-11 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-01-23 | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | Ravenswood Court | St Mary Street | Risca | NEWPORT |  | NP11 6GG | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-15 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | 1-30 CWRT EGLWYS NEWYDD | Tyn Y Pwll Road | Whitchurch | CARDIFF |  | CF14 1BU | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-15 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-05-15 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1-28 CLIFF COURT | WEST BUTE STREET | CARDIFF | CARDIFF |  | CF10 5GL | >£1m/<£5m | 5 | Unk | Rented |  | 1905-06-11 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | YES | Concrete Floor, Steel frame railing with timber panels | 2025-05-15 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Cwrt Rhyd | Needhams Row | Beaufort | Blaenau Gwent |  | NP23 5PL | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-14 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | Ffordd Ty Unnos | Heath | CARDIFF | CARDIFF |  | CF14 4NJ | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-29 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-05-06 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Druids Close | Caerphilly |  |  |  | CF83 2XR | >£1m/<£5m | 4 | Unk | Rented |  | 1905-07-02 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-04-04 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Tatham Road | Llanishen | Cardiff | CARDIFF |  | CF14 5FB | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-30 | N/A | Timber Frame |  | Concrete |  | Tile |  | Yes | No | [41 empty] | NO |  | 2024-12-02 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1- 39 Gwern Las | Victor Road | Cwmtillery | Blaenau Gwent |  | NP13 1HL | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-08 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-11-03 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 96 - 106A De Clare Drive | Radyr | CARDIFF | CARDIFF |  | CF15 8FY | >£1m/<£5m | 3 | Unk | Rented |  | 1905-07-02 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-07-08 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Ashbourne Way | Llanishen | CARDIFF |  |  | CF14 5 DU | >£1m/<£5m | 3 | Unk | Rented |  | 1905-07-02 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-05-08 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Janner House | 48-50 Richmond Road | CARDIFF | CARDIFF |  | CF24 3AT | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-24 | N/A | Brick |  | Unkown |  | Slate |  | No | No | [41 empty] | NO |  | 2025-10-07 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Waverley Square | Burt Street | Butetown | CARDIFF |  | CF10 5GQ | >£1m/<£5m | 4 | Unk | Rented |  | 1905-06-15 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-05-02 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Penylan Road | Roath | CARDIFF | CARDIFF |  | CF24 3PF | >£1m/<£5m | 3 | Unk | Rented |  | 1905-04-23 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-05-07 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 - 43 Newtown Court | North Luton Place | CARDIFF | CARDIFF |  | CF24 0NB | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-05 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-05-07 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Y Borth | 13 Beddau Way | CAERPHILLY | CAERPHILLY |  | CF83 2AX | >£1m/<£5m | 3 | Unk | Other | Head Office | 1905-07-02 | N/A | Other | Steel Frame - Aluminuim Cladding | Concrete |  | Other | Aluminium Composite | No | No | [41 empty] | NO |  | 2025-01-22 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 144- 176 Ifor Jones Court | Hillrise | Llanedeyrn | CARDIFF |  | CF23 6UP | >£1m/<£5m | 2 | Unk | Rented |  | 1905-05-29 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-09-03 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1- 33 Cole Court | Mornington Meadows | CAERPHILLY | CAERPHILLY |  | CF83 3QN | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-01 | N/A | Other | System Build | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-04-10 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 - 38 FITZROY LODGE | Twyn Gardens | Cefn Fforest | CAERPHILLY |  | NP12 3LT | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-04 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-11-03 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Glan-yr-Afon | Ruppera Street | NEW TREDEGAR | CAERPHILLY |  | NP24 6AR | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-08 | N/A | Stone |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-03-31 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 2-30 KENNILWORTH COURT | FAIRWATER | CARDIFF | CARDIFF |  | CF5 3BB | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-11 | N/A | Brick |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-07-22 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Greenwood Court | School Street | Tirphil | CAERPHILLY |  | NP24 6EQ | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-06 | N/A | Brick |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | 2025-07-08 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Dol-yr-Eos | Mornington Meadows | CAERPHILLY | CAERPHILLY |  | CF83 3QL | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-01 | N/A | Other | System Build | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-01-16 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Dol Fran | Mornington Meadows | CAERPHILLY | CAERPHILLY |  | CF83 3QP | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-01 | N/A | Other | System Build | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-01-16 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Parrish Place | Commercial Street | Senghenydd | CAERPHILLY |  | CF83 4GP | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-09 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-01-23 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Tabernacle Court | Park Place | EBBW VALE | Blaenau Gwent |  | NP23 6TP | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-14 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-07-10 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Benjamin Court | Hill Street | Rhymney | CAERPHILLY |  | NP22 5JA | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-14 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | Ael Y Bryn | HENGOED | HENGOED | CAERPHILLY |  | CF82 7LT | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-20 | N/A | Brick |  | Unkown |  | Slate |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | 1-14 Cwrt Trelyn | Fleur De Lis | BLACKWOOD | CAERPHILLY |  | NP12 3RR | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-24 | N/A | Brick |  | Timber |  | Tile |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | Heron Drive | Penallta | HENGOED | CAERPHILLY |  | CF82 6AJ | >£1m/<£5m | 2 | Unk | Rented |  | 1905-07-02 | N/A | Brick |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | 2025-06-04 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1-23 MARIA COURT | Canal Parade | Butetown | CARDIFF |  | CF10 5HJ | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-14 | N/A | Brick |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | 2025-06-09 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1-12 St Dyfrigs Court | Llanrumney | CARDIFF | CARDIFF |  | CF3 5RN | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-13 | N/A | Brick |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | St Teilos Court | Sturminster Road | Roath | CARDIFF |  | CF23 5AQ | >£1m/<£5m | 3 | Unk | Rented |  | 1905-06-04 | N/A | Stone |  | Unkown |  | Slate |  | No | No | [41 empty] | NO |  | 2025-01-07 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Cefn Onn Court | Newborough Avenue | Llanishen | CARDIFF |  | CF14 5DH | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-18 | N/A | Brick |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | Twyn Gardens | Cefn Fforest | CAERPHILLY |  |  | NP12 3LT | >£1m/<£5m | 2 | Unk | Rented |  | 1905-06-04 | N/A | Brick |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | N/A - No communal internal | N/A | N/A | N/A | N/A | NO | N/A | NO | N/A | NO | NO |  |  |  | NO
United Welsh | 114-136 Argosy Way (Evens only) | NEWPORT | NEWPORT | NEWPORT |  | NP19 0LN | >£1m/<£5m | 4 | Unk | Leased |  | 1905-06-30 | N/A | Brick |  | Timber |  | Tile |  | No | No | [41 empty] | NO |  | 2025-01-07 03:00 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1 - 24 BLAEN Y CWM | COMMERCIAL STREET | ABERBARGOED | CAERPHILLY |  | CF81 9EN | >£1m/<£5m | 4 | Unk | Rented |  | 1905-03-22 | N/A | Stone |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-04-01 | YES | YES | YES | YES | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1-10 TY CORNEL | COMMERCIAL STREET | ABERBARGOED | CAERPHILLY |  | CF81 9BT | >£1m/<£5m | 2 | Unk | Rented |  | 1905-03-22 | N/A | Stone |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-04-01 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Blk 1-10 BEECHWOOD LODGE | STEELWORKS ROAD | EBBW VALE | Blaenau Gwent |  |  | >£1m/<£5m | 3 | Unk | Rented |  | 1905-04-07 | N/A | Stone |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-03-17 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Catherine Royce House | Lysaght Avenue | NEWPORT | NEWPORT |  | NP19 4AJ | >£1m/<£5m | 4 | Unk | Rented |  | 1905-07-03 | N/A | Brick |  | Timber |  | Tile |  | No | No | [41 empty] | NO |  | 2025-08-06 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Emily Moss House Blk 1-6 | Lysaght Avenue | NEWPORT | NEWPORT |  | NP19 4AJ | >£1m/<£5m | 3 | Unk | Rented |  | 1905-07-03 | N/A | Brick |  | Timber |  | Tile |  | No | No | [41 empty] | NO |  | 2025-08-06 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Margaret Browne House Area around the 3 Blocks | Lysaght Avenue | NEWPORT | NEWPORT |  | NP19 4AW | >£1m/<£5m | 4 | Unk | Rented |  | 1905-07-03 | N/A | Brick |  | Timber |  | Tile |  | No | No | [41 empty] | NO |  | 2025-08-06 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | 1-8 LONDON HOUSE | Beaufort Street | EBBW VALE | Blaenau Gwent |  | NP23 4AB | >£1m/<£5m | 3 | Unk | Rented |  | 1905-03-24 | N/A | Stone |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | 2025-09-11 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Ty r Fesen | 1 Heol Awstin | Caerphilly | CAERPHILLY |  | CF83 1BG | >£1m/<£5m | 2 | Unk | Rented |  | 1905-07-04 | N/A | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-04-04 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Ty Parc | Park Row | TREDEGAR | NEWPORT |  | NP22 3NG | >£1m/<£5m | 2 | Unk | Rented |  | 1905-07-04 | N/A | Brick |  | Timber |  | Slate |  | No | No | [41 empty] | NO |  | 2025-08-12 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | John Rowley Hostel | 95 to 97 Court Road | BARRY | Vale of Glamorgan |  | CF63 1ET | >£1m/<£5m | 2 | Unk | Rented |  | 1905-04-18 | 1905-06-11 | Brick |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-05-09 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | The Grange | 58 Tyfica Road | Pontypridd | Rhondda Cynon Taf |  | CF37 2DB | >£1m/<£5m | 4 | Unk | Rented |  | 1905-03-14 | 1905-07-08 | Stone |  | Concrete |  | Slate |  | No | No | [41 empty] | NO |  | 2025-02-04 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | The Granary | Stable Lane | TREDEGAR | Blaenau Gwent |  | NP22 4BU | >£1m/<£5m | 3 | Unk | Rented |  | 1905-07-03 | N/A | Brick |  | Timber |  | Slate |  | No | No | [41 empty] | NO |  | 2025-06-05 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Northlands Lifehouse | 202 North Road | CARDIFF | CARDIFF |  | CF14 3XP | >£1m/<£5m | 3 | Unk | Rented |  | 1905-07-04 | N/A | Brick |  | Timber |  | Other | Aluminium Composite | No | No | [41 empty] | NO |  | 2025-11-03 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Blk 5-12 Grace Holmes House | Severn Sisters Close |  | Newport |  | NP19 4AU | >£1m/<£5m | 4 | Unk | Rented |  | 1905-07-07 | N/A | Brick |  | Unkown |  | Tile |  | No | No | [41 empty] | NO |  | 2025-01-06 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Ty Short | Cwrt yr Orsaf Dan | Gilfach | Bargoed | CAERPHILLY | CF81 9PB | >£1m/<£5m | 3 | Unk | Rented |  | 1899-12-31 | N/A | Brick |  | Timber |  | Tile |  | No | No | [41 empty] | NO |  | 2025-03-11 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Maes y Dderwen | Heol Fawr | Nelson | TREHARRIS |  | CF46 6PX | >£1m/<£5m | 3 | Unk | Rented |  | 1900's extended 1970's | 1905-07-04 | Stone |  | Concrete |  | Tile |  | No | No | [41 empty] | NO |  | 2025-09-23 | YES | YES | YES | NO | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Min y Coed | Harrison Drive | St Mellons | Cardiff |  | CF3 0FL | >£1m/<£5m | 3 | Unk | Rented |  | 2023 |  | Timber Frame |  | Unkown |  | Tile |  | YES | No | [41 empty] | NO |  | 2025-10-15 | YES | YES | YES | YES | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Ty Yn y Pwll | Newport Road | Trethomas | Caerphilly |  | CF83 8BR | >£1m/<£5m | 3 | Unk | Rented |  | 2023 |  | Timber Frame |  | Concrete |  | Other | Aluminium Composite | YES | No | [41 empty] | NO |  | 2025-05-16 | YES | YES | YES | YES | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | Cei’r Dywrain | BARRY |  |  |  | CF62 5EA | >£1m/<£5m | 3 | Unk | Rented |  | 2023 |  | Brick |  | Unkown |  | Other | Aluminium Composite | NO | No | [41 empty] | NO |  | 2025-11-05 | YES | YES | YES | YES | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
United Welsh | St Line House | 60 Mount Stuart Square | Cardiff |  |  | CF10 5LY | >£1m/<£5m | 5 | Unk | Rented |  | 1905-03-14 | 1905-07-16 | Stone |  | Unkown |  | Tile |  | NO | No | [41 empty] | NO |  | 2025-03-03 | YES | YES | YES | YES | NO | YES | YES | YES | NO | YES | Fire compartmentation |  |  | NO
Note on B19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: these are walk up blocks FRA 8/6/25
Note on B21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is split in to blocks and has multiple FRA's
Note on B22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: this is split in to multiple blocks all with the same FRA date
Note on B23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This has been spit in to multiple walk up blocks blocks all dated 1/6/24
Note on B24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This has been spit in to multiple blocks
Note on B25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: split in to multiple blocks
Note on B26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: walk up blocks dated 09/06/2025
Note on B29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: split in to multiple blocks.
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: multiple blocks
Note on B34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: multiple blocks
Note on B48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: walk up 31/03/2026
Note on B50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: split in to walk up blocks fra dated 31/03/2026
Note on B52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: split in to blocks
Note on B53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: walk up 31/03/2024
Note on B54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: split in to multiple blocks
Note on B55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: walk up fra 31/03/2024
Note on B56: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: walk up FRA 31/03/2024

## Options (hidden)
Predominant Occupancy | Cladding Type | YES
Rented | High Pressure Laminate (HPL) | NO
Leased | Structurally Insulated Panels (SIPS)
Shared | Timber
Other | Aluminium Composite Material (ACM)
Render
Brick Slip
Concrete
Wall Construction | Tiles
Brick | Steel
Stone | Other
Concrete
Other
Insulation Type
Expanded Polystrene (EPS)
Extrude Polystyrene (XPS)
Floor construction | Expanded Polystrene (EPS) with fire retardant
Timber | Poleythylene
Concrete | Polyisocyanurate (PIR)
Other | Polyisocyanurate (PIR) LPC / FM approved
Polyurethane (PUR)
Modified Phenolic Foam
Foamed Glass
Roof construction | Glass Fibre
Slate | Mineral / Rock Wool
Tile | Other
Felt on timber
Felt on concrete
Concrete
Other