## Pricing Schedule
PROJECT PARTICULARS SCHEDULE OF WORKS
Longmeadow Court, Druids Green, Cowbridge CF71 7BP
Division of first floor flat into two self contained units.
Contract Timescales
Commencement Date: TBA
Contract Period: 16 Weeks
Completion Date: TBA
Employer:
Vale of Glamorgan Council, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
Contract Administrator:
Vale of Glamorgan Council, Quarry Rd, Wenvoe, Cardiff, CF5 6AA
Tenders may be rejected if the information asked for in the ITT/RFQ and Specification is not given at the time of tendering. The submitted tender must be fully inclusive of all items shown, failure to price any items or to price items outside of the submitted tender figure may invalidate the tender and lead to rejection of the tender. Tenders may be rejected if the information asked for in the ITT, Specification and pricing scheduleda are not completed in full at the time of tendering. Faiure to complete all cells/sections may lead to the tender being rejected .The use of "included" should be avoided. Where cells/sections do not apply they should be marked as "N/a"
N.B. It is strongly recommended that the contractor visits the site to determine sizes etc. Additionally please be aware that the contract is for works to Vale of Glamorgan Council owned property only and the contractor is to make consideration with neighbouring flats and ensure party wall compliance.
The schedule is to be priced in accordance with the attached specifications, drawings and all other relevant documentation. The Pricing Schedule takes precedence in accuracy over all drawings and photographs.
Items of work which are not individually specified nor seemingly 'allowed for' within in the pricing schedule, but are however expressed or detailed within the specific ions. Are to be included by the contractor and are deemed included within the contractors price.
During the works, the contractor is to provide sufficient & appropriate protection to all structures and surfaces to prevent damage. Any dust, dirt, moisture etc. created by the works is to be fully cleaned on a daily basis and as required to prevent spread of dirt & dust to other areas.
All waste materials generated through these works are to be disposed of away from site in an appropriate and documented manner. All disposal costs are to be allowed for in the tendered contract bids.
The contractor is to devise a safe means of access to all points of work. This will be assessed by and agreed with the Contract Administrator prior to commencement of works. Safe and suitable working platforms must be provided with a full and unbroken working area in compliance with health & safety and construction standards.
All installations, including supplied products and materials, are to comply fully with the 'Welsh Housing Quality Standards 2023' specification and all other specifications attached to this document.
It is the responsibility of the tendering contractor to bring to the attention of the contract administrator any queries with regard to the tender submission prior to the tender submission date. Any query that is raised after the award of contract that should have been raised during the tender stage will be completed by the contractor at no additional cost to the client.
Please note that all interim payments must be accompanied by a monthly valuation sheet which gives a complete breakdown of completed items.
Note: Works are to make reference to and follow instructions within the following associated documents: PHOTOS N/A DRAWINGS TAL25 03 01 V2 SURVEYS & REPORTS J076148 - Warden’s flat, Longmeadow court SPECIFICATIONS Fan Ventilation Specification Bathrooms & Tiling Specification Carpet Material Specification VOGC - SPECIFICATION W Rev 1 - Non-loading timber partitions Fire Door Specification Internal door Non Fire Specification Specification H Rev 1 - Loft Insulation Painting Internal Specification Kitchen & Tiling Specification Rewiring Specification Welsh Housing Quality Standard 2023
|  | Description. | Qty | Unit | Rate | £ . p
ALL PRICED ITEMS SHOWN BELOW ARE TO BE FULLY INCLUSIVE OF ALL PRELIMINARY COSTS.
Preliminaries (including but not limited to) - all relevant sections to be completed
| 1.01 | Time Related Charges
|  | Head office support/ General administration | 1 | Wks. |  | 0
|  | Site supervision | 1 | Wks. |  | 0
|  | Tenant liaison | 1 | Wks. |  | 0
|  | Principal contractor | 1 | Wks. |  | 0
|  | Accommodation - Site compound and welfare facilities | 1 | Wks. |  | 0
|  | Services - Electricity | 1 | Wks. |  | 0
|  | Services - Water | 1 | Wks. |  | 0
|  | Site Security Fencing/ Hoardings and the like | 1 | Wks. |  | 0
|  | Insurances, permits fees and contracts | 1 | Wks. |  | 0
|  | Preliminaries Time Related Charges |  |  |  | 0
|  | Time related charges over contract period. - Sub Total | 16 | Wks. |  | 0
| 1.02 | Fixed Charges
|  | Scaffolding, lifts & the like - Transport, Install & Dismantle |  | Item |  | 0
|  | Scaffolding, lifts & the like - Weekly Hire |  | Wks. |  | 0
|  | Protection of existing landscaping, structures & surfaces |  | Wks. |  | 0
|  | Traffic Management |  | Wks. |  | 0
|  | Plant and equipment |  | Wks. |  | 0
|  | Client meetings |  | Nr |  | 0
|  | Surveys, Photography pre condition and completion |  | Item |  | 0
|  | Inspection, Testing, commissioning and training |  | Item |  | 0
|  | Site set up and demobilisation including welfare, security, temporary services and the like |  | Item |  | 0
|  | Safety equipment and PPE |  | Item |  | 0
|  | Training and induction |  | Item |  | 0
|  | Waste disposal, skips and the like |  | Item |  | 0
|  | Legal Fees |  | Item |  | 0
|  | Signage |  | Item |  | 0
|  | Deliveries |  | Item |  | 0
|  | Cleaning |  | Item |  | 0
|  | Risk management |  | % |  | 0
|  | Performance Bond | N/a | N/a |  | N/a
|  | Preliminaries Fixed Charges - Sub Total |  |  |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
Pre works gas safety checks MUST be carried out by a competent Gas Safe Engineer to solid, oil and gas fuelled heating appliances and to include all flues. All "Live Flues" are to be isolated and tagged prior to commencement of works on a daily basis and ensure all flues are reinstated, replaced, extended or modified as per Gas Safe Specification & Regulations and CP12s provided as soon as practicable indicating and recording any remedial works carried out. Pre-start gas checks are to be carried out with VOGC supervising Officer and a CP12 completed indicating appliances, their current condition and location flue conditions both vertical and horizontal and whether the chimneys are in use prior to commencement of works. No works are to proceed until approval has been provided by the VOGC supervising officer by the issuing of a "Permit" to commence works(CPT/PCW 001) to be signed and dated by the contractor and VOGC Officer.
|  | Description. | Qty | Unit | Rate
FACILITATING WORKS
| 2 | ASBESTOS
| 2.01 | The contractor is to be aware of Asbestos Surveys and Reports; "J076148 - Warden’s flat, Longmeadow court" Further Asbestos may be present within the property that was not identified in the Survey listed above. The contractor is still to remain vigilant for ACM during the operations of the contract and follow all safety procedures and government guidelines where asbestos may be present.
|  | Description. | Qty | Unit | Rate
| 3 | ELECTRICAL TESTS
| 3.01 | Carry out an Electrical Inspection Condition Report (EICR) and provide to the Contract Administrator. No Rewiring work is to proceed without Authorisation from Contract Administrator and costs agreed. | 1 | Item |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 4 | GAS SAFETY TEST & WATER MAINS
| 4.01 | Carry out Pre-start gas checks to boiler, main line, flues and Chimney. Provide a CP12 indicating appliances, their current condition prior to commencement of works. | 1 | Item |  | 0
| 4.02 | Extend incoming water main from Flat 1 to Flat 2 for its own dedicated supply, route the through attic. Inclusive of insulation and necessary connections and disconnections. | 1 | Item |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 5 | INTERNAL DEMOLITION
| 5.01 | Remove existing door to Wardens office, complete, including linings, stops and architraves and dispose. Infill door opening in blockwork, render and skim finish both sides. Replace / splice in new skirting boards both sides and make good works disturbed. | 1 | nr |  | 0
| 5.02 | Remove door linings, stops and architraves to first floor store opposite kitchen, WC and bedroom 2 complete and dispose. Infill door opening in blockwork, with a render and skim finish both sides. Replace / splice in new skirting boards both sides and make good works disturbed. | 3 | nr |  | 0
| 5.03 | Remove all existing internal doors to first floor and dispose. | 11 | nr |  | 0
| 5.04 | Remove door linings, stops and architraves to Flat 1 existing Kitchen and Flat 2 proposed Kitchen. | 2 | nr |  | 0
| 5.05 | Remove carpet flooring throughout ground floor entrance lobby and staircase, complete, including latex and adhesives and dispose. | 7 | m2 |  | 0
| 5.06 | Remove carpet flooring throughout first floor areas, complete, including latex and adhesives and dispose. | 1 | Item |  | 0
| 5.07 | Remove and dispose of all WC and shower room sanitaryware, above ground drainage and water supplies. Include for all temporary isolations and connections. | 1 | Item |  | 0
| 5.08 | Remove tiling to Bathroom and dispose. | 1 | Item |  | 0
| 5.09 | Remove spur shelving and all fixtures and fittings from stores. | 1 | Item |  | 0
| 5.1 | Strip out existing skirtings from store rooms and dispose. | 1 | Item |  | 0
| 5.11 | Remove internal stud partition wall between WC and shower room and dispose. | 1 | Item |  | 0
| 5.12 | Remove internal stud partition wall between stores and dispose. | 1 | Item |  | 0
| 5.13 | Carefully remove existing skirting within the property where necessary only and to retain for reuse. | 1 | Item |  | 0
| 5.14 | Strip out and re-route plumbing and heating services to allow for conversion into both shower rooms. | 1 | Item |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 6 | CENTRAL HEATING
| 6.01 | Allow for decommissioning the existing wet heating system in the existing wardens flat including for removal and isolation of all ancillary fittings including for making good disturbed areas | 1 | Item |  | 0
TRUE |  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 7 | Supply, deliver, and install Lot 20-compliant High Heat Retention (HHR) storage heaters in all designated rooms of the flats shown on the provided drawings. System must be able to provide whole-flat heating, controlled independently and/or via a smart controller (Dimplex Control hub)or app.
| 7.01 | FLAT 1
|  | Lounge-Dimplex QM150RF (1.5 kW) | 1 | Item |  | 0
|  | Kitchen-Dimplex QM100RF (1.0 kW) | 1 | Item |  | 0
|  | Bedroom 1-Dimplex QM100RF (1.0 kW) | 1 | Item |  | 0
|  | Bedroom 2-Dimplex QM100RF (1.0 kW) | 1 | Item |  | 0
|  | Shower Room- Dimplex QM050RF (05 kW) | 1 | Item |  | 0
|  | Hallway- Dimplex QM050RF (05 kW) | 1 | Item |  | 0
|  | Dimplex Control Hub | 1 | Item |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 7.02 | FLAT 2
|  | Lounge-Dimplex QM150RF (1.5 kW) | 1 | Item |  | 0
|  | Kitchen-Dimplex QM100RF (1.0 kW) | 1 | Item |  | 0
|  | Bedroom 1-Dimplex QM100RF (1.0 kW) | 1 | Item |  | 0
|  | Bedroom 2-Dimplex QM100RF (1.0 kW) | 1 | Item |  | 0
|  | Shower Room- Dimplex QM050RF (05 kW) | 1 | Item |  | 0
|  | Hallway- Dimplex QM050RF (05 kW) | 1 | Item |  | 0
|  | Dimplex Control Hub | 1 | Item |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 8 | Environmental monitoring Per flat
|  | Ei1025 Temperature, Humidity & CO2 Sensor – Living Room and Kitchen | 2 | no |  | 0
|  | Ei1020 Temperature & Humidity Sensor – Bathroom / Wetroom | 2 | no |  | 0
|  | Ei1000G Smart link Gateway – close enough to connect to the consumer unit e.g. Hallway | 2 | no |  | 0
|  | Ei3000MRF Smart LINK Module – installed in Fire alarm and CO detectors base unit to connect to the gateway | 2 | no |  | 0
|  | 1 x MCB/RCBO to Gateway | 2 | no |  | 0
|  | Required cabling for Gateway | 2 | no |  | 0
|  | Test and commission of system | 2 | no |  | 0
|  | Description. | Qty | Unit | Rate | 0
| 9 | VENTILATION
Ventilation systems to be Nuaire CYFAN centrifugal extract fan designed to meet the flow rates for all wet room applications such as the bathroom, kitchen, utility, WC etc. The fan to be continuous operation and include for all necessary duct work, electrical fittings and making good. As per "Fan Ventilation Specification".
| 9.01 | Core Holes from inner to outer skin walls and EWI for installation of ventilation fans. | 4 | nr |  | 0
| 9.02 | Supply and install extract fan to Kitchen as described. | 2 | nr |  | 0
| 9.03 | Supply and Install extract fans to Bathrooms as described. | 2 | nr |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 10 | CEILINGS & WALLS
| 10.01 | Dot & dab 12.5mm soundproof plasterboard to existing party wall between Flat 1 and 2. Including for necessary skim coat. | 1 | Item |  | 0
| 10.02 | Supply & Install new 12.5mm foil backed plasterboard and 3mm skim coat ceilings, throughout first floor. | 83 | m2 |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 11 | BATHROOMS
All bathroom works are to be carried out in accordance with "Bathrooms & Tiling Specification". Inclusive of all fittings, plumbing, pipework and ancillary items.
| 11.01 | Supply and install close coupled WC & Cistern Complete. Including seat. | 2 | nr |  | 0
| 11.02 | Supply and install 550 WHB & Pedestal to Bathroom. | 2 | nr |  | 0
| 11.03 | Supply and Install AKW Sulby 2 Rectangular Shower Tray with Gravity Waste 1200mm x 900mm or similar approved. | 2 | nr |  | 0
| 11.04 | Supply and Fit Whiterock Wall Panelling to both bathrooms. Or similar approved. | 38 | m2 |  | 0
| 11.05 | Supply and install electric shower T80Z FAST FIT ECO 8.5KW, inclusive of necessary cabling, isolators and switches. | 2 | nr |  | 0
| 11.06 | Include for supply and fitting 2nr soap dishes, 2nr wall mounted toilet roll holders, 2nr toilet brushes. | 1 | Item |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 12 | FLOORING
| 12.01 | Supply and install loose lay LVT Flooring. Range: Moduleo Roots 55 EIR Colour: Shades Grey, Natural Style: Wood Effect Allow to Latex where necessary and floors to be a smooth and even finish. Loose Lay range to be stuck down with an proprietary adhesive.. The contractor is to ensure that floors are level throughout all rooms before installing. | 64 | m2 |  | 0
| 12.02 | Supply and install Carpet to the internal staircase to Flat 1 using easy twist carpet and cosy 10mm underlay as per "Carpet Material Specification". | 5 | m2 |  | 0
| 12.03 | Supply and Fit Threshold Strips to shower rooms. | 2 | lm |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 13 | CARPENTRY
| 13.01 | Supply and fit 75mm Pencil round architrave to all new internal door linings (Flat 2 WC, Kitchen, Bedroom and Store, Flat 1 store). | 40 | lm |  | 0
| 13.02 | Provide studwork wall (50 x 100 @ 600 c/s) including plasterboard one sides. Including sound proof insulation. As Per "TAL25 03 01 V2" & "VOGC - SPECIFICATION W Rev 1 - Non-loading timber partitions". (Lining to party walls). Allow for forming opening for borrowed light window and 2nr door openings. | 15 | m2 |  | 0
| 13.03 | Supply and install borrowed light 6mm glazed laminated, obscured glass window to Flat 1 bedroom. 1200 x 450mm. | 1 | Item |  | 0
| 13.04 | Supply and install radiator covers to all new and retained radiators | 1 | Item |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 14 | INTERNAL DOORS
Internal Doors and ironmongery must comply with the attached "Fire Door Specification" & "Internal door Non Fire Specification".
Ironmongery: Furniture: Mortice latch to BS EN 12209 and lever furniture, Type: Hoppe Edinburgh range Hinges: 1½ pair 100 mm butts to BS EN 1935 (medium duty). Other requirements: Bathrooms and W.C. door furniture must incorporate a privacy latch capable of emergency opening from outside.
| 14.01 | Supply and fit fire door set, complete with fire rated frame, stops, timbers, ironmongery & FD30S doors with hydraulic closers. Flat 1: Kitchen Flat 2: Kitchen | 2 | nr |  | 0
| 14.02 | Supply and fit 32mm thick internal linings complete to new openings, inclusive of door stops. | 2 | nr |  | 0
| 14.03 | Supply and fit Oak Veneer Finish or similar 6-panel, grained, hollow core doors to internal linings. Inclusive of ironmongery. | 7 | nr |  | 0
| 14.04 | Supply and fit non fire rated storage cupboard doors, to suit opening. Storage cupboards | 2 | pr |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 15 | PAINTING AND DECORATING
All decorating materials to be from the Dulux Range. All walls, woodwork, radiators, pipes (where not boxed in) and doors to be white gloss finish (doors to be painted on all faces and edges).
| 15.01 | Decorations to Internal Wall finishes, as per "Painting Internal Specification". Apply 2 coats as described. | 266 | m2 |  | 0
| 15.02 | Decorations to Ceiling finishes as per "Painting Internal Specification". Apply 2 coats as described. | 83 | m2 |  | 0
| 15.03 | New and Existing Joinery, door linings, architraves and skirtings. Knot and prime surfaces (including careful, abrasive rub-down to existing painted timber) and apply one number undercoat and one number gloss finish in colour White. | 350 | lm |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 16 | LOFT SPACE
| 16.01 | Remove existing loft insulation including for any debris. | 83 | m2 |  | 0
| 16.02 | Supply and fit rockwool or similar loft Insulation to attic space, to achieve 300mm depth as per "Specification H Rev 1 - Loft Insulation". | 83 | m2 |  | 0
| 16.03 | Build a blockwork wall to partition the attic space between adjoining properties, creating a party wall. Inclusive of all necessary fire stopping and building control sign off if required. | 9 | m2 |  | 0
| 16.04 | Supply & fit a new PROFAB ACCESS 1000FR series hatch to each Landing, in size 500x700mm. Allow for all necessary adjustments to structure of ceiling around new hatch for correct fitting. | 2 | nr |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 17 | PROVISIONAL QUANTITIES
| 17.01 | Supply and install 6" Taurus skirting required and decorate as per "Painting Internal Specification" . | 22 | lm |  | 0
| 17.02 | Allow for timber boxing ne 300 x 100mm in all new and retained heating pipework, inclusive of decoration as per "Painting Internal Specification". | 40 | lm |  | 0
| 17.03 | Apply two coats of 3mm Skim finish to walls where deemed necessary by Contract Administrator. | 30 | m2 |  | 0
|  | Carried to Main Summary |  |  |  | 0
|  | Description. | Qty | Unit | Rate
| 18 | PROVISIONAL SUMS
| 18.02 | Allow a provisional sum of £13,000.00 to supply and Install new Kitchens as per "Kitchen & Tiling Specification" & receipt of Howdens Kitchen Design. Inclusive of White Goods requested by Social Services and necessary plumbing. | 1 | Item |  | 13000
| 18.03 | Allow a provisional sum of £14,000.00 for a full or partial rewire of each flat (£7,000 per flat) including new mains operated fire/smoke alarm which connects into the existing fire alarm system. And supply of new meter setup. Include for PIR lighting system to external stair case area include for all necessary wiring and light fittings Works to be approved by the Contract Administrators upon review of the condition report. Works to be completed in line with current regulations, "Rewiring Specification" and "Welsh Housing Quality Standard 2023". All electrical cabling to be chased and make good, excluding fire alarm cables. | 1 | Item |  | 14000
| 18.04 | Allow a provisional sum of £2,000.00 for a door entry system for Flat 2 | 1 | Item |  | 2000
| 18.05 | Allow a provisional sum of £500.00 for Surestop remote mains water stop cock installations to each flat. | 1 | Item |  | 500
| 18.06 | Allow a provisional sum of £2,000.00 for the supply and install of a 3kw instantaneous water heater. Product to be agreed by Contract Administrator. | 1 | Item |  | 2000
| 18.07 | Allow a provisional sum of £1,000.00 for Internet cabling and or WIFI. | 1 | Item |  | 1000
| 18.08 | Allow a provisional sum of £1,000.00 for supply and installation of external canopy above front door of Flat 2. | 1 | Item |  | 1000
|  | Carried to Main Summary |  |  |  | 33500
|  | Description. | Qty | Unit | Rate
| 19 | Contingency
| 19.01 | Include the Client contingency sum of £25,000 for unforeseen works. | 1 | Item |  | 25000
|  | Carried to Main Summary |  |  |  | 25000
MAIN SUMMARY
|  | Description. | Qty | Unit | Rate
Page 1
Page 2
|  | Page 4 - ELECTRIAL TESTS |  |  |  | 0
|  | Page 4- GAS SAFETY TESTS |  |  |  | 0
|  | Page 5 - INTERNAL DEMOLITION |  |  |  | 0
|  | Page 6 - CENTRAL HEATING |  |  |  | 0
|  | Page 6 - FLAT 1 HEATING |  |  |  | 0
|  | Page 6 - FLAT 2 HEATING |  |  |  | 0
|  | Page 6 - ENVIRONMENTAL MONITORING |  |  |  | 0
|  | Page 6 - VENTILATION |  |  |  | 0
|  | Page 7 - CEILINGS & WALLS |  |  |  | 0
|  | Page 7 - BATHROOMS |  |  |  | 0
|  | Page 7 - FLOORING |  |  |  | 0
|  | Page 8 - CARPENTRY |  |  |  | 0
|  | Page 8 - INTERNAL DOORS |  |  |  | 0
|  | Page 9 - PAINTING AND DECORATING |  |  |  | 0
|  | Page 9 - LOFT SPACE |  |  |  | 0
|  | Summary 1 |  |  |  | 0
|  | Page 10 - PROVISIONAL QUANTITIES |  |  |  | 0
|  | Page 10 - PROVISIONAL SUMS |  |  |  | 33500
|  | Summary 2 |  |  |  | 33500
|  | Page 10 - CONTINGENCIES |  |  |  | 25000
|  | Summary 3 |  |  |  | 58500
|  | Page 3 - PRELIMINARIES |  |  |  | 0
|  | Total Cost to Form Tender |  |  |  | 58500
|  | Community Benefits Percentage |  | % | 0 | 0
Day Works.
Include the following Provisional Sums
Section A
Labour - The rate should be inclusive of overheads & profit
|  | Tradesman | 37.5 | Hours
|  | Labourer | 37.5 | Hours
Section B
Materials and Goods
|  | Incidental costs, overheads and profit. |  | %
Section C
Plant
|  | Incidental costs, overheads and profit. |  | %