M3NHF Schedule of Rates

VERSION 8

Responsive Maintenance and Void

Property Works

Specification

Published by M3 Housing Ltd, Three Kings, 23 Commonside East,

Mitcham, Surrey, CR4 2QA

www.m3h.co.uk

ISBN: 978-1-908409-00-3   |   M3NHF Schedule: Responsive Maintenance and

Void Property Works

Version 8 revised and updated in 2023 by Rand Associates Consultancy Services Ltd. and Anthony Collins Solicitors LLP.

Incorporating the NHF Form of Contract 2023

ISBN: 978-1-908409-49-2

All rights reserved. No part of this publication may be reproduced, stored in a retrieval system, or transmitted, in any form or by any means, electronic, mechanical, photocopying, recording or otherwise, without the prior permission of M3 Housing Ltd.

© Rand Associates Consultancy Services Ltd

SPECIFICATION OF WORKMANSHIP AND MATERIALS

CONTENTS

GENERAL	3

ELECTRICAL WORKS	10

SCAFFOLDING AND MEANS OF ACCESS	26

# GENERAL

GENERAL

Applicability

001	This initial general section applies to all subsequent sections of this Specification of Workmanship and Materials (“this Specification”).

002	This Specification is drafted as a series of instructions that the Provider must ensure are complied with in relation to the Works.  Each instruction includes all tasks necessary to comply fully with the instruction and the Schedule of Rates item(s) to which it relates.

003	The Schedule of Rates amounts, as adjusted by the Provider’s tendered Rates where applicable, and the tendered Prices include for carrying out all tasks required by this Specification.  No further payment is due to the Provider in respect of any such tasks beyond the payments provided for in the Schedule of Rates, the Price Framework and the Price Schedule.

004	Specifications across several trades may be relevant to each Schedule of Rates item.  The Provider must comply with all requirements of this Specification applicable to the specific type of Works to be undertaken.

005	References to Paragraphs and Sections in this Specification are to the applicable Paragraph and Section of this Specification. If any contradiction appears within the Specification sections, Schedules of Rates, the Client’s Policy documents etc., the most rigorous standard takes precedence.

Standards of workmanship and Materials

006	Carry out and complete all Works as required by this Contract including:

- in accordance with Law including Health and Safety Law and Building Safety Law;

- in accordance with all applicable Codes of Practice;

- in accordance with Good Industry Practice;

- in accordance with the Client’s Policies;

- in accordance with any specific requirements for those Works in this Specification; and

- to the satisfaction of the Client’s Representative.

007	To the extent that the standard of any Works has not been specified in this Contract, agree the relevant standard for the Works with the Client’s Representative before their execution.  Where particular Works or working methods are to be “approved by” “agreed with” or are indicated to be “subject to the approval of” the Client’s Representative, give the Client’s Representative adequate notice when such approval or agreement is needed and retain evidence of all approvals given, and items that have been agreed, by the Client’s Representative.

008	To the extent that it is necessary to Design any aspects of the Works, in preparing those use the reasonable  skill, care, diligence and expedition as would be reasonably expected of a prudent experienced contractor with Design obligations having experience in carrying out projects similar in size, scope, nature, complexity and value to the Works.

009	Maintain all existing lines and levels at all times and carry through new Work to the same lines and levels unless otherwise Instructed by the Client’s Representative.

European and British Standards & Codes of Practice

010	Ensure all Works undertaken and all Materials used in those Works comply with all applicable Standards and Codes of Practice that are current at the time of their use.

011	References in this Specification of Workmanship and Materials to any Standards and Codes of Practice are to be construed as references to the version current at the time the Order is undertaken.

012	Where a specific Standard or a Code of Practice is referred to, this sets out the minimum acceptable standard of Materials or workmanship.

013	Any requirement in this Specification of Workmanship and Materials to use Materials defined by reference to a specified Quality Assurance Scheme, British Board of Agrément Certificate, Standard or other approval, may be satisfied by compliance with an equivalent international Standard.

014	A Provider offering any Materials on the basis of compliance with any such approval or international Standard shall notify the Client’s Representative of such substitution in advance of placing any order for those Materials and provide (in English) technical or other details of the approval or Standard and its qualifying tests.

Materials

015	The Client wishes to standardise the use of Materials across its Properties.  This is in order to simplify parts requirements and van stock loads, to improve its repairs processes and to reduce maintenance costs.  Wherever possible, match all Materials used to materials currently used in the Properties, particularly in terms of their parts requirements and repair procedures.  In this Specification the Client has set out details of its current Materials to which the Provider is required to standardise.

016	Where this Specification indicates that Materials are to be “Approved by the Client’s Representative”, provide samples of the proposed Materials to the Client’s Representative for Approval.  Any Materials that comply with the functionality and compatibility (including aesthetic compatibility) requirements of this Specification may be proposed.  No further approval is required for any Materials listed in this Specification as being the Client’s currently used Materials.  The purpose of the Client’s Representative’s decision on the use and approval of such Materials is to ensure that they meet the Client’s requirements for functionality and compatibility.  The decision of the Client’s Representative on this is final.

017	Where this Specification requires Materials to be matched to existing Materials or finishes, this match is subject to the Approval of the Client.

018	Do not use any Prohibited Materials in carrying out the Works.  Prohibited Materials are those materials which are generally accepted or (having regard to Good Industry Practice) are reasonably suspected of:

- being harmful in themselves;

- being harmful when used in a particular situation or in combination with other Materials;

- becoming harmful with the passage of time; or

- being damaged by or causing damage to the structure in which they are to be affixed.

019	Materials are to be regarded as harmful if, in the context of their use in the Works (whether alone or in combination with other materials) they:

- are prejudicial to health and safety;

- may pose a threat to the structural stability or the physical integrity of any Property; or

- could materially reduce the normal life expectancy of any part of the Property.

020	Sustainable Timber: All timber and wood derived products referred to throughout this document and which are supplied to the Client, or used in the Works, must be procured in accordance with all applicable Law.

021	CE/UKCA Marked Products: All products referred to throughout this document and supplied to the Client, or used in the Works, must be supplied with a Declaration of Performance (DoP) and carry the appropriate CE/UKCA conformity assessment marking.

Performance Standards on the CE/UKCA mark must comply with relevant Building Regulations where required.

The CE/UKCA mark must be fixed visibly, legibly and indelibly either to the product or to a label attached to the product. If this is not possible or not warranted, then it must be fixed to the packaging or within the accompanying documentation.

The DoP must be made available by the manufacturer (this may be via a website).

022	Use, fix and apply all Materials strictly in accordance with the manufacturer’s recommendations, directions, instructions or technical data sheets.

023	Participate in joint initiatives with the Client and other contractors to establish supply chain agreements.

024	Where appropriate suggest (economically viable) amendments to this Specification where those amendments may lead to an improvement in environmental performance or sustainability.

025	At the Client’s request provide all information the Client reasonably requests regarding the environmental impact of the supply and use of any Materials the Provider selects for use in the Works.

026	[optional clause] If the Provider considers that decanting elderly, vulnerable, people with disabilities and other occupiers and carers from a Property whilst intrusive Works are undertaken or whilst the Works disrupt washing and/or sanitary facilities, provide (at no extra cost) the following facilities:

Decant Mobile - Daytime Decant

Temporary Accommodation conforming to all applicable Standards.

Daytime facilities (where agreed before the start of the Works in the form of either a touring caravan used outside homes between 9am and 5pm and then removed, or a mobile unit located in a fixed position supplied with at least the following:

- External door;

- Bedroom;

- A toilet compartment with WC suite, wash-handbasin and shower unit;

- A flued gas fire/electric heater (note: gas is the preferred option);

- A flued gas fire multi-point water heater or electric water heater;

- Electrical installation complying with the IET Wiring Regulations;

- Mattresses with fireproof removable covers (which shall be thoroughly cleaned and changed after each decant);

- A cooking appliance and fridge;

- Warning notice for health and safety advice to users;

- Fire blanket (to be located by the cooking appliance);

- 1kg-powder fire extinguisher (to be located by the main door);

- Smoke Detector;

- Carbon Monoxide Detector; and

- User’s handbook (to be used by Provider when demonstrating the mobile to new occupants).

Also supply the following:

- A security cabinet for 2 (two) 13kg (thirteen kilogramme) bottles of propane gas if gas is to be used (red gas bottle);

- Entrance steps, handrails, level access ramp (maximum 1:12) to be provided for people with a disability to the satisfaction of the Client’s Representative;

- Water supply; and

- Mains sewerage connection (where feasible).

Daytime decanting must be as agreed with the Customer and the Client including as to the hours required for the daytime facility, its location and siting. The siting of decant facilities must not inconvenience car parking and/or access to adjoining dwellings.

Laundry and storage facilities, telephone connections [or] television aerials [or a dedicated car parking facility] are not required in a daytime facility[Client to edit].

A chemical toilet compliant with all Standards for portable chemical closets may be used where no sewer connection is feasible.

Ensure that all Temporary Accommodation, including its location, installation and checking,  complies with Health and Safety Law.

Comply with any Code of Practice for the transportation, siting and commissioning of caravans published by the National Caravan Council.

Agree the location of the day-time mobile decant facility with the Client’s Representative.

Service checks are to be carried out by suitably qualified personnel after each decant. These checks should cover:

- Electrical;

- Gas;

- Water;

- Fire prevention equipment;

- Warning Notices; and

- Steps and Handrails.

The facility is to be cleaned between each change of user.

The following notice not less than 200mm x 130mm with the heading printed in red is to be fixed in a prominent position in the Temporary Mobile Accommodation.

ADVICE TO OCCUPIERS Ventilation Do not obstruct the ventilators, which are fitted; your safety depends on them. In Case of Fire Get everyone out. Turn off the outside gas valve Raise the alarm and call the Fire Brigade Do not stay behind to put the fire out yourself Do not put yourself at risk Fire Precautions Children - must not be left alone in the caravan. When cooking never leave a cooker unattended Do not use multi-adaptors. If you smoke use metal or glass ashtrays-not plastic. Make sure cigarettes are put out properly Do not smoke in bed. Means of Escape Make sure you know the location and operation of the emergency windows and doors, Keep door and window keys handy. Keep all escape routes clear. If there is smoke, keep low where the air is clearer Do not go back into the caravan. Combustible Materials Keep them clear of all heating and cooking appliances. Fire Fighting Equipment In addition to the 1kg powder fire extinguisher by the main exit door, a fire blanket is provided next to the cooker. Make yourself familiar with the instructions on your fire extinguisher and fire blanket and the fire precautions arrangements on site. Do not stay behind to put the fire out yourself. Do not put yourself at risk. The use of chip pans in mobiles is strictly prohibited.

Permit to Work Certification

027	Comply with any “permit to work system” notified to the Provider by the Client’s Representative and  ensure that no Worker undertakes any Works covered by any “permit to work System” without a permit having been issued by the Client’s Representative.

Access

028	Ensure that a risk assessment is undertaken and a method statement is provided to the Client’s Representative detailing the means of access to undertake all Works requiring access at heights including for inspection and testing.

Firestopping

029	Ensure that all holes for cables, pipes etc., in the structure of any Property formed or drilled by the Provider are fire-stopped in accordance with Building Safety Law.

030	Report immediately to the Client’s Representative where existing holes for cables, pipes or service media  in the structure of any Property have no or inadequate firestopping, giving the detailed location of the hole and providing digital photographs.

# ELECTRICAL WORKS

ELECTRICAL WORKS

GENERAL

Regulations

001	All electrical Works must be carried out in accordance with the applicable Standard - Requirements for Electrical Installations IET Wiring Regulations co-published by the British Standards Institution (“BSI”) and the Institution of Engineering and Technology (“IET”).

Equipotential bonding

002	Standard: To applicable Standard

General: Connect the following metallic parts to the main earthing terminal, where they are extraneous-conductive parts to:

- metal water installation pipes;

- metal gas installation pipes, as near practical to the point of entry of the service into the premises and before any branch pipework where the meter is fitted externally.

- Where practicable the connection shall be made within 600mm of the meter outlet union where the meter is installed internally;

- central heating system pipework;

- other installation pipework (including oil and gas supply pipes) and ducting; and

- exposed metallic structural parts of the building.

003	Sizes of bonding conductors are given in applicable Standard.

Supplementary equipotential bonding

003	Standard: To applicable Standard

004	General: Within the zone formed by the main equipotential bonding, provide connections to:

- baths;

- sinks;

- exposed pipes; and

- heating systems.

005	In locations containing a bath or shower, supplementary equipotential bonding is to comply with applicable Standard

006	Sizes of supplementary equipotential bonding conductors are given in applicable Standards.

007	Electrical equipment and/or electrical circuits installed in a room containing a bath or shower shall have RCD protection, complying with applicable Standards.

008	Where all electrical requirements in the dwelling to the applicable Standard for electrical installations are met, supplementary equipotential bonding as Clause 003 may be omitted.

MATERIALS

Earth Electrode

009	Standard: to applicable Standard

General: Conductive part, which may be embedded in the soil or in a specific conductive medium, in contact with the earth;

Materials: Copper, with hardened steel driving cap, hardened steel tip and phosphor bronze coupling screws;

Mechanical protection: Each earth electrode shall be protected from mechanical damage by enclosing in a heavy duty cast-iron box with lid or a heavy duty concrete box with lid. The earth lead shall be enclosed, where exposed in heavy gauge galvanised steel conduit. Permanent labels to applicable Standard indelibly marked “Safety Electrical Earth Do Not Remove” shall be attached to the earth lead at both the meter cupboard and at the electrical electrode.

Conduit/trunking/ducting

010	Do not use surface conduit or trunking without an Instruction to do so from the Client’s Representative.

Steel Conduit and fittings

011	Standard: to applicable Standard

Type: Plain threadable rigid conduit;

Size: In accordance with applicable Standard;

Fittings: Circular boxes shall be malleable cast-iron;

Finish: Class 4 hot dipped galvanised;

Mounting/support: Conduit shall be secured to surfaces using galvanised steel clips/saddles;

Mounting/support: Conduit shall be secured to surfaces using galvanised steel clips/saddles

Installation: Use maximum practical lengths to minimise number of joints. Form bends by machine and remove burrs from cut ends. Use bends and or/junction boxes at changes of direction. Elbows or tees shall not be used without the consent of the Client’s Representative.  Conduit system to be secured using brass screws an fibre/plastic plug. Boxes must be fixed independently of conduit. Tightly screw all joints to ensure electrical continuity, with no thread showing. All threads to be treated with rust inhibiting paint. Use expansion couplings where conduit crosses movement joints in structure. Make secure connections to boxes, trunking etc., with screwed coupling and provide rubber bushes at open ends.

PVC-u conduits and fittings

012	Ensure PVC-u conduits and fittings comply with the following:

- strength: heavy gauge super high impact;

- shape/colour: round, white;

- jointing: push fit and solvent welded;

- fittings: standard;

- mounting/support: screw the conduit to surfaces using the conduit manufacturer’s clips/saddles;

- use maximum practical straight lengths to minimise number of joints;

- use proprietary bends and/or junction boxes at changes of direction;

- do not use elbows, tees or site formed bends without the approval of the Client’s Representative;

- secure the conduit system using boxes, plated screws and fibre/plastic plugs;

- fix boxes independently of the conduit; and

- form secure joints, using expansion couplings where recommended by the manufacturer and connectors at equipment and terminal fittings.

PVC-u surface cornice trunking system

013	Use PVC-u surface cornice trunking in conjunction with mini trunking for the mechanical protection of sub-mains cables and final circuit cables in accessible locations at ceiling level, where approved by the Client’s Representative.  Ensure the trunking complies with the following:

- fittings: use the manufacturer’s standard fittings;

- colour: white;

- mounting/support: secure to surfaces using plated screws and fibre/plastic plugs; and

- use proprietary units to form junctions and changes of direction wherever possible.

PVC-u surface mini-trunking system

014	Use PVC-u surface mini-trunking for the mechanical protection of final circuit cables in accessible locations.  Ensure the trunking complies with the following:

- fittings: use the manufacturer’s standard fittings;

- colour: white;

- mounting/support: secure to surfaces using plated screws and fibre/plastic plugs; and

- use proprietary units to form junctions and changes of direction wherever possible.

Fire stopping of trunking/ducting

015	Seal trunking/ducting internally with firmly packed rock fibre or intumescent type material supplied by the trunking/duct manufacturer.

Cables generally

016	Ensure cables are BASEC certified.  Use cables in the locations and for the uses specified in the table below:

| Location/Use: | Cable Type: |
| --- | --- |
| General (includes central heating, ventilation and smoke detector systems) | PVC insulated and sheathed |
| Conduit system (complete) | PVC insulated and sheathed or PVC insulated only |
| Sub-mains distribution | PVC split concentric |
| Sub-mains distribution armoured and PVC sheathed | PVC insulated, PVC sheathed, steel wire armour and PVC sheathed |
| Fire alarm system | PVC insulated and sheathed |
| Immersion heater (final connection) | EP rubber/HOFR sheath, Heat resistant PVC flexible cable |

PVC-u insulated and sheathed cables and PVC-u insulated split concentric cables

017	Colour code cables for identification.

Electrical accessories generally (wall mounted)

018	Ensure wall mounted accessories for the connection and control of power, lighting and low voltage equipment are:

- manufactured using white moulded plastic;

- complete with surface or flush type mounting box except where specified otherwise;

- from the same manufacturer in a single installation; and

- marked to show their function where they are a control switch for e.g. an immersion heater, a cooker, a refrigerator, a washing machine or a circulating pump etc.,.

019	Ensure metal boxes for flush mounting switches and sockets are manufactured from galvanised steel complete with an earth terminal.

020	Fix all boxes using brass screws, fibre or plastic plugs.

Electrical accessories generally (ceiling mounted)

021	Ensure ceiling mounted accessories for the connection and control of power, lighting and low voltage equipment:

- are manufactured using white moulded plastic;

- are complete with mounting box where required;

- are from the same manufacturer where used in a single installation;

- are fixed with brass or sheradised screws, with fibre or plastic plugs as required; and

- in conduit systems have a white insulated break-ring between the ceiling roses and cord switches and the respective terminal boxes.

Consumer unit

022	Ensure consumer units:

- have a surface non-combustible pattern unit complete with lid;

- have a main switch of 80/100 amp DP rating;

- are fitted with RCBO’s to applicable Standard;

- located adjacent to the meter at the incoming supply position; and

- have each way permanently labelled to identify the circuit and rating.

023	In installations without Protective Multiple Earthing it must be a surface non-combustible unit complete with lid, fitted with RCBO’s to applicable Standard and must be labelled to correspond to the following circuit allocations:

| Circuit No Allocations | RCBO Rating |
| --- | --- |
| Lighting Downstairs | 6 |
| Lighting Upstairs | 6 |
| Boiler | 6 |
| Immersion Heater | 16 |
| Kitchen Ring Main Circuit | 32 |
| Shower | 45 |
| Cooker | 32 |
| Power Ring Main Circuit – RCD/RCBO protected | 32 |
| Mains Powered Smoke Alarms | 6 |

Residual current device/residual current circuit device (RCD/RCCD)

024	Ensure RCDs and RCCDs:

- function as both isolators and switches;

- have a current rating of 80 amp DP;

- have a sensitivity of 30m amp; and

- are complete with an insulated cover or terminal shrouds.

Residual current circuit breaker (RCCB)

025	Ensure RCCBs:

- function as both isolators and switches;

- have a current rating of 63 amp DP;

- have a sensitivity of 30mA; and

- have a white PVC enclosure.

Residual current circuit breaker with override protection (RCBO)

026	Ensure RCBOs:

- function as both isolators and switches;

- have a current rating of 80A DP;

- have a sensitivity of 30mA; and

- are complete with an insulated cover or terminal shrouds.

ISCO connectors

027	For ISCO connectors ensure:

- the covers and bases are manufactured from black phenolic resin material; and

- the connector blocks are manufactured from brass with electro-tin finish.

Door bells

028	Ensure door bells:

- are primary mains supply, transformer , 6v secondary outlet;

- have a white bell push PVC-u cover; and

- are screw fixed.

Bulkhead light fitting (fluorescent) (metal base)

029	Ensure metal base bulkhead light fittings:

- have a corrosion resistant die-cast or pressed metal base complete with a vandal resistant diffuser;

- have the wiring within the fitting protected by heat resistant sleeving;

- are installed complete with a 20W compact fluorescent lamp with integrated control gear;

- lamp efficacy to be greater than 45 lumens per circuit-watt;

- controlled manually by Customers; and

- are screw fixed.

Bulkhead light fittings (fluorescent) (polycarbonate base)

030	Ensure polycarbonate base bulkhead light fittings:

- have a heavy duty polycarbonate base with a vandal resistant diffuser;

- have the wiring within the fitting protected by heat resistant sleeving;

- are installed complete with a 20W compact fluorescent lamp with integrated control gear;

- lamp efficacy to be greater than 45 lumens per circuit-watt;

- controlled manually by Customers; and

- are screw fixed.

Photocell sensor

031	Ensure sensors to control the landlord’s lighting installation are:

- complete with a baseholder and wall mounting bracket;

- screw fixed to masonry or concrete; and

- fixed in a position approved by the Client’s Representative.

TV aerial installation

032	Ensure TV aerial installations:

- consist of 20mm diameter PVC-u conduit complete with co-axial cabling run from roof level; and

- terminate at a white plastic surface mounted outlet box complete with a white plastic cover plate with single co-axial TV outlet.

Time switch (24 hour)

033	Ensure time switches:

- have a 24 hour and quartz control mechanism;

- are a 20 amp single pole, single throw time switch; and

- have 2 ‘on’ and 2 ‘off’ programmes with a day omitting device and independent motor connections.

Smoke detectors

034	Ensure smoke detectors:

- have white PVC-u for the housing;

- have a minimum 10 year life expectancy;

- include a photo-electronic sensor to applicable Standard;

- are 240 V mains operated with a sealed-in rechargeable Lithium cell back up supply; and

- include a full function test/hush button control, automatic reset, Green and Red LED indicators to confirm alarm status and low power cell warning signal.

Heat detectors

035	Ensure heat detectors:

- have white PVC-u housing;

- have a minimum 10 year life expectancy;

- comprise a fixed temperature fast response thermistor sensor with a range of 54o – 62o centigrade to applicable Standard;

- are 240V mains operated with a sealed-in rechargeable Lithium cell back up supply; and

- include or have a test button control function, Green and Red LED indicators to confirm alarm status and low power cell warning signal.

Carbon monoxide detectors

036	Ensure carbon monoxide detectors:

- have white PVC-u housing;

- have a minimum 10 year life expectancy;

- incorporate an electrochemical cell sensor module;

- are battery operated to applicable Standard fixed with security screws to ceiling;

- sensor power pack life 10 years;

- include a continuous self check function monitor with test/hush facility;

- have a pre-alarm warning LED;

- include LEDS for battery power pack life, CO level and fault status; and

- have a CO gas test feature.

Fixing electrical accessories/equipment

037	Position accessories accurately and squarely to the vertical and horizontal axes. Where not shown otherwise, align adjacent accessories on the same vertical or horizontal axis (as appropriate). Agree the mounting heights with the Client’s Representative.

Multi-gang switches

038	Connect switches so that there is a logical relationship with the lights.

WORKMANSHIP

Installation generally

039	Install, test and commission the electrical work in accordance with the applicable Standards for electrical installations and the design and performance requirements set out in this Section so as to provide a safe, well insulated, earth protected system capable of supplying the anticipated maximum demand.

040	Ensure all installation Works are carried out by qualified electricians fully conversant with the applicable Standards for electrical installations to good workmanship by skilled (electrical) or instructed (electrical) persons and proper Materials shall be used in the electrical installation.

041	Do not allow the number of Apprentices and Trainees at a Property to exceed the number of qualified electricians.

042	Ensure all installation Works are carried out under the direct supervision of a “Qualifying Manager” named in the List of Approved Contractors issued by the National Inspection Council for Electrical Installation Contracting (or equivalent).

043	Use only the types of fastenings, bushes, glands, terminals, connectors, clips, clamps and all other minor accessories necessary to complete the installation that are recommended by the manufacturer of the electrical equipment being installed.

044	Avoid contact between dissimilar metals. Use corrosion resistant fastenings in locations where moisture is present or may occur.

045	Rectify, free of charge to the Contract, any Work which in the opinion of the Client’s Representative has not been properly executed and must replace free of charge to the Contract any Materials which do not comply with this Specification.

046	Confirm the voltage and frequency of the supply before ordering any equipment.

047	Include in his tender for the provision of all fixings and the making good by qualified tradesmen to the satisfaction of the Client’s Representative all damage to walls, ceilings, decorations and fitments.

048	Dust sheets are to be used and every consideration given to Customer’s property.

049	After work is completed each day all systems will be left in a safe usable condition and all dust and mess cleared up.

Circuit chart

050	Standard to applicable Standard

Regulation No. 514.9.1

Requirements: For simple domestic electrical installations the information required in

Regulation 514.9.1 may be given in a Schedule

Schedule: A laminated durable copy of the Schedule relating to the Consumer Unit(s) shall be provided securely fixed within or adjacent to each Consumer Unit.

Electricity supply

051	Note that the electricity supply is nominally 240 volt AC, single phase, 50 hertz, 2 wire.

System of wiring

052	For concealed wiring, use PVC sheathed 600/1000 volt grade cable of the size and type specified.  Wherever possible, run it in within floor, roof and ceiling voids.

053	Run cables along the sides of joists at the mid point. Clip them at 450mm centres using cable clips of tinned brass secured by nonferrous fixing pins, screws, clips or a similar fixing.  Support the wire and equipment located between the joists by a wood bearer of a size of at least 100x25mm.

054	Install the cable:

- with a minimum clearance of 150mm to all heating, gas and waste pipes or ducts; and

- physically separated from other wiring not associated with lighting and power supplies.

055	Where cables cross flooring joists they must be passed through small holes drilled through the centre of the joists.  These holes must not exceed 25mm diameter.

056	Ensure cables leaving or crossing joists do so at right angles to the longitudinal side of the joist, on trusses or binders. Do not notch or saw joints.  Ensure that cables do not run in positions where they are susceptible to damage by floor nails.

057	Do not run cables in roof spaces on the top of joists or insulation.  All cables in a roof space shall be clipped to horizontal timber tray supported on battens secured above roof trusses and kept clear of thermal insulation.

058	Install cables leaving roof voids and within floor spaces or passing through any part of the structure in conduit or trunking as specified.

059	Ensure cables in solid floor that are either laid in screed or in a ceiling void are drawn in through rigid PVC-u conduit as specified and run continuously from the consumer unit to the outlet served.

060	Do not install cables within wall cavities.

061	Contain all wiring to each flat within that flat.

062	Fit conduits complete and then draw the cable through.

063	Cables must be protected, supported and fixed to the requirements of the applicable Standards for electrical installations and all other Regulatory Requirements.

Cables installed in plastered walls

064	Protect cables by rigid PVC-u metric super high impact heavy gauge conduit where no conduit exists at present. Reuse existing conduit where approved by the Client’s Representative.

065	Ensure new conduits are in continuous lengths, smooth in bore, true in size, and terminating in roof spaces and within floor spaces with a minimum projection of 50mm. Provide inside outlet boxes with a universal cleat.

066	Ensure new conduits are vertical and chased into the wall, such that the finished wall will provide a minimum of 10mm plaster cover.  Adequately fix the conduit with sheradised nails and saddle clips, such that during the plastering processes, there is no tendency for plaster to push the conduit forward and reduce the cover.

Cables installed in plasterboard partitions

067	In plasterboard partitions with a timber core, draw cables through the partition between the timber studding and noggins. Where timber work occurs, take the cable over the face of the timber by a small chase through the plasterboard and into the timber.  Make good the chase with a suitable plaster material finished smooth and flush.  Ensure cables installed in partitions are vertical.

068	Take due account of any insulation within the partition when sizing the cables so as to prevent overheating.

Conduit installed on the surface

069	Use super high impact light gauge PVC-u metric rigid conduit and accessories on fairfaced brickwork or unplastered surfaces in heating cupboards, stores, garages, plant rooms, meter compartments and similar areas.

070	Support the conduit by PVC-u spacer bar saddles and wood screws and rawlplugs at intervals not exceeding 400mm.

071	Allow for the expansion of PVC-u conduit.

072	Install the conduit only vertically or horizontally.

Where new cables are to be installed in or under solid floors

073	Protect cables by rigid PVC-u round super high impact heavy gauge conduit laid in continuous lengths from the consumer unit to the outlet served, run in a diagonal line.  Use the proper outlet and inspection bends and tees.  Adequately fix the whole system to avoid any displacement by subsequent building trades.

Requirements for PVC-u conduit systems

074	Install no more cables in each circular conduit than necessary to permit easy insertion and withdrawal. Do not install more than the maximum recommended in the applicable Standards for electrical installations.  Demonstrate to the Client’s Representative that cables can be easily withdrawn and inserted in any section of the installation.  If this cannot be done using the existing conduit, then provide new conduit.

075	Use conduits, boxes, fittings and accessories from the same manufacturer and with suitable fixings for the application.  Ensure circular conduit is at least 20mm in diameter.

076	Ensure PVC-u outlet boxes and equipment do not become distorted during plastering.  Install boxes flush with the finished plaster and the sides vertical, using 1.25" No. 8 woodscrews and rawlplugs or equivalent fixing.

Use of cable trunking

077	Use cable trunking to improve the appearance at points in the installation where a number of conduits terminate or share a common route, and/or at the meter intake positions for the formation of distribution board/local isolator assemblies.  Use compact miniature trunking of the appropriate size.

078	Use PVC-u trunking with fitted end covers. Provide a separate earth continuity conductor.

079	Connect trunking to equipment by appropriate screwed couplers, bushes and shakeproof washers, or flanged couplings.

080	Connect trunking to PVC-u conduit by “threaded to plain” adaptors with lock nuts, or clip in adaptors.

081	Clean out trunking before cable is drawn in.

082	Ensure the number of cables installed in trunking does not exceed the space factor specified in applicable Standard

Conductors

083	Ensure all cables comply with British Cable Association recommendations (or equivalent).

084	Carefully remove any insulation in making terminations without causing damage to the conductor. Double the wiring to fill the terminations.

085	Take the sheath of PVC-u sheathed cable inside the outlet boxes or the pattress of ceiling fittings and similar equipment.

086	Securely clamp flexible cords and fit suitable grommets to all terminal boxes.

087	Use cables of the following types and sizes complete with integral earth continuity:

| Concealed wiring - copper 2 core and earth PVC 600/1000 volt grade |  |
| --- | --- |
| Lighting sub-circuits - 1.5mm sq | Dependent upon length of circuit and to comply British Standard |
| Boiler circuits - 1.5mm sq |  |
| Ring circuits - 2.5mm sq |  |
| Radial circuits - 2.5mm sq |  |
| Cooker circuit - 10.0mm sq |  |
| Shower circuit - 10.0mm sq |  |
| 2/3 Kw Immersion Heater - 2.5mm sq |  |
| 3 Kw Water Heater - 2.5mm sq |  |
| Flexible cords and cables - heat resistant insulation 300/500 volt grade |  |
| Lighting - pendant lamp holder | 0.75mm sq 2 core heat resistant silicone rubber insulated white circular |
| Lighting - final internal connection for enclosed tungsten fittings in bathrooms, garages, and for exterior light fittings | 0.75mm sq 3 core heat resistant butyl rubber |
| 2/3 Kw Immersion heater | 2.5mm sq EP rubber/HOFR sheath or heat resistant PVC flexible cable |
| 3 kw Water heater | 2.5mm sq EP rubber/HOFR sheath or heat resistant PVC flexible cable |

Lighting Circuits

088	Install wiring by the loop-in system.  Ensure there are no joints or connectors in the final-circuit from the consumer distribution unit.

089	Install a maximum of two live pairs and one switch pair at each point. Install the wiring for 2-way switching between switch points.  Terminate the earth conductor in each lighting and switch point.

090	Install lighting points and arrange the system such that:

- 2/3 bedroom Properties are provided with two 6 amp circuits; and

- small 1 bedroom Properties are provided with one 6 amp circuit in the consumer distribution unit.

091	Limit the number of points controlled by one 6 amp RCBO way to 10. If an installation has an excess of 20 lighting points then provide three 6 amp RCBO circuit ways.

092	Ensure pendant type cord grip, all insulated lampholders and ceiling roses are white plastic and are complete with 225mm of flexible cable as specified for a standard height ceiling. For non-standard Properties, adjust the length of the flexible cable to give a 2.1 metre (7ft) clearance from the lampholder to the floor.  Ensure lampholders are all of the insulated heat resisting pattern.

093	Ensure interior light switches (except in bathrooms) are white plastic, flush fitting, single pole, rocker operated 5 amp AC units, mounted in boxes with adjustable fixing lugs.  Gang the switches as required, using a multiple plate cover.

094	Where flush fittings and switches cannot be used, mount single pole rocker operated 5 amp AC surface type switches on matching moulded white plastic boxes.

095	Install light switches at a distance of between 450 and 1200mm above the floor level to the centre of the switch, and at least 150mm from the nearest door frame, unless the Client’s Representative Instructs otherwise.

096	Ensure light switches in bathrooms are white plastic 5 amp AC surface pattern operated by a non-conductive pull cord and knob and hang not more than 900mm above floor level.  Fit them close to the wall and well clear of the door to the room.

097	Support ceiling fittings that are wired and located between joists by wooden bearers of a minimum size of 100x25mm fixed to the joists at both ends of the bearer.

098	Do not provide lamps except where specifically required by the Schedule of Rates.

13 amp ring circuit installation

099	Connect sockets in ring circuits without spurs using cable as specified, with both ends of each circuit terminated in one 32 amp RCBO at the consumer distribution unit.

100	Prevent overloading of circuits by providing specified appliances with separate final-circuits.

101	For Properties with a total internal floor area not exceeding 100 square metres on a single level, provide one ring circuit with appropriate numbers of sockets or fused connection units connected to the ring and one kitchen ring main.

102	Properties with a total internal floor area exceeding 100 square metres or Properties on two or more levels, are to have a minimum of two ring circuits with the appropriate number of sockets or fused connection units connected to the ring, in addition to a kitchen ring main.

103	Locate sockets and fused connector boxes in the same positions as those existing.  Ensure they are 13 amp 3 pin white flush pattern.  Gang sockets as required, with a multiple plate cover.

104	Use surface pattern sockets protected with a RCBO device in garages, and elsewhere on fair face brickwork.

105	Ensure sockets have switches unless otherwise specified.

106	Ensure the positions of sockets relative to the floor level are as follows:

| Location | Dimensions for socket outlets to floor level |
| --- | --- |
| Garages, laundry areas | 450mm - 1200mm |
| General living areas, hall, landings, etc. | 450mm - 1200mm |
| Elderly persons’ Properties | 450mm - 1200mm |
| Bedrooms (except elderly persons’ Properties) | 450mm - 1200mm |
| Kitchens (preferred dimension from bottom of outlet to worktop) | Within 100mm and 300mm above worktop level |

107	In kitchens, where necessary, increase the above dimensions to ensure a satisfactory match with the layout of the wall tiles. Sockets to be aligned level with each other throughout the room. Agree the exact position of sockets with the Client’s Representative before installation to ensure a satisfactory position in relation to storage cupboards and shelves, etc.

108	Recess socket boxes into the walls to just below plaster level and provide them with adjustable fixing lugs.

Cooker circuit

109	For cooker circuits, provide one final-circuit connected to one 32 amp RCBO at the consumer distribution unit using cable as specified.

110	Locate a flush fitting, white plastic cooker control unit with a 45 amp DP main cooker control switch, complete with neon indicator, horizontally within 150-1200mm maximum from the edge of the cooker spaces Instructed by the Client’s Representative.  Ensure the dimension from the top of the unit to the floor is 1400mm and from the side of the cooker to the centre line of the unit is 150mm. Where a Customer owns a separate hob and oven, provide a separate 45A DP switch and cooker connection unit below worktop for each appliance.

111	Ensure a cooker control unit that is located between storage cupboards or shelves and working top surfaces aligns with other sockets around the worktop.

112	Connect the cooker circuit in the cooker control unit.  Extend it to terminate in a cooker cable connector outlet mounted 450mm above the finished floor level and immediately adjacent to the cooker. Terminate the cooker wiring at the cooker connector outlet box where no electric cooker is provided.  Connect the cooker if the Customer has one.

Immersion heaters

113	For heater circuits, provide one final sub-circuit connected to one 16 amp RCBO at the consumer distribution unit using cable as specified.

114	Provide for the heater to be controlled by a heating boost switch to applicable Standards located above the worktop in the kitchen with a 20A switch located adjacent to the hot water cylinder in the hot press.

115	Use flush fitting units where switches are located outside the hot press. Where flex outlets are located inside the hot press, use either surface or flush fitted units.

116	Terminate the circuit adjacent to the heater using suitable cable and 20A switch.  Make the final connection with heat resistant flexible cable as specified and run so as to prevent the hanging of clothes, etc., on the cable.

117	When the supply cable is exposed within a hot press, protect cables with mini-trunking as specified.

Showers

118	For shower circuit, provide one final sub-circuit connected to one 45amp RCBO at the consumer distribution unit using cable as specified. Provide for the shower to be controlled as near as practicable to the shower unit, by a white 45amp AC, DP neon light or indicating flag pull cord switch located in bathroom.

119	New showers are to ne 8.7KW electric shower unit to applicable Standard, BEAB, BEAB CARE, RNIB, CE marked and WRAS approved complete  with installation set maximum temperature control, phased shut down, low pressure indicator, installation set timer setting, including plugging walls as necessary, connect to water and electrical supplies including provision of shower circuit including mini-trunking or rigid PVC-u conduit chased to walls etc., incorporating RCBO protection, controlled with 45A DP switch with neon light or indicator flag, all adjustments to pipework, adjust electrical supply as necessary, fill, test, and undertake tests, provide certificate, and remove all waste.

120	Showers are to be supplied with fixed sliding rail, twist and lock shower head mechanism, shower hose with adjustable shower head outlet and soap dish.

Smoke Heat Detectors

121	Smoke alarms must be approved by the Client’s Representative and must be installed to applicable Standard and must be of the mains powered type.  The mains power must be supplied from an independent circuit of the distribution board and protected by a suitably rated RBCO breaker.  The Provider must provide the necessary wiring for interconnection of the units.  Installation must be strictly as specified by the manufacturer.  One set of instructions must be left on site for Customers’ use. The alarm system shall be tested and a certificate supplied to the Client’s Representative in accordance with the applicable Standards.

122	Detectors must be mains operated with either battery or capacitor back up.

123	In premises of two levels, an optical detector is required in each of the circulation spaces and the main habitable room.  Manufacturer’s technical data sheet requirements must be strictly adhered to.

124	Wiring must be in PVC twin and earth cable looped from an independent circuit at the distribution board.

125	Interconnection must be made using PVC triple and earth cable between the two detectors, using the third core for interconnection, such that in the event of either surrounding the other must also sound.

Installation control and distribution

126	Install, test and commission the electrical work in accordance with the applicable Standards for electrical installations ensuring compliance with design and performance, to provide a safe, well insulated, earth protected system capable of supplying the anticipated maximum demand.

127	Ensure the consumer equipment consists of a non-combustible metal consumer unit with lid complying with applicable Standard complete with:

- main control switch to applicable Standard;

- sufficient RCBO’s to accommodate all the sub-circuits scheduled for the Property; and

- additional 20% spare way capacity to the number of electrical circuits installed.

128	Ensure sufficient space is available for the Utility Provider’s metering and service cutouts. If required, provide a panel which satisfies the requirements of the Utility Provider for mounting meters, cutout and other equipment.

129	Supply and install PVC connection tails to the Utility Provider’s point of supply, using correct coding and matching the cross sectional area to the main isolating switch rating.

130	Upgrade all earthing and bonding to conform to applicable Standard.  Do not use metal trunking as an earthing conductor.

131	Meter tails are to be neatly fixed and clipped as specified.

132	Provide all equipment white in colour.

133	Clearly identify each way on distribution equipment.

134	Ensure the mounting height of equipment is such that persons of average height can reach all fuses, switchgear, etc., from floor level without assistance.

135	Conceal cables above the ceilings and maintain access to the cable runs.

136	Enclose cables run in cupboards in mini-trunking.

137	Before and on starting the Works, obtain approval from the Client’s Representative to the proposed routes of cable runs and wiring circuits.

138	Agree any alterations to the agreed routes of wiring circuits with the Client’s Representative before starting the Works on them.

139	If Works are carried out before having agreed the routes with the Client’s Representative, return and reroute and rewire cable runs and circuits where Instructed by the Client’s Representative.

Standardisation of components

140	Use matching components with all lighting switches, sockets, fused spurs and similar equipment used in the Works, being from the same manufacturer.

Customer’s fittings

141	Refix any existing fittings installed by the Customer, provided the fitting conforms to applicable Standard.

142	Notify the Client’s Representative of any Customer’s fitting which does not meet applicable Standard and which will therefore not be rewired or reconnected.

Removal of floor boarding, etc

143	Carefully remove any floor boarding necessary for the installation of cables.  Saw through the tongues only and replace the boards in a workmanlike manner. Joists to be drilled only for the installation of cables.  Ensure any new floor boarding is identical in width and thickness.  Remove all debris from the joist and roof spaces.

144	Make good all plaster disturbed by the removal of fittings to a true and level surface.

145	Do not disfigure timber frames and mouldings by sawing or chiselling out for the insertion of cables.

146	Where the removal of mouldings, etc. is necessary, ensure the replacement is carried out by a qualified tradesman and that the replacement surface matches the existing surface.

Existing roof insulation

147	Where the roof insulation must be moved for the electrical installation, carefully move it to one side.  On completion of the electrical Works carefully replace it to its original position.  Take care to cover lengths of cable with insulating material to ensure the current rating of the cable(s) is not unduly altered.

Removal of old cables and fittings

148	Remove old cables and redundant switches, sockets, clips, boxes, etc. from roof spaces, exposed walls and other noticeable places and make good any disturbed surfaces.

COMPLETION

Inspection and testing

149	Ensure that on completion and before being energised, any installation is tested in accordance with applicable Standard.

150	Give not less than 24 hours’ notice to the Client’s Representative before commencing the testing.

151	After satisfactory completion of tests, submit copies of all inspection and completion certificates, with all associated schedules and test results if applicable, to the Client’s Representative.

152	Note the testing instrument serial numbers on the test certificates.

153	All charges for testing or re-testing must be borne by the Provider.

154	The Provider must provide all the test instruments and test equipment required, make all arrangements for connections of the mains supply and issue to local authority supply company all appropriate test notices.

155	The Provider must affix to the distribution board a notice in accordance with applicable Standard.

Report and certificates

156	Ensure all inspections, reports and test certificates and forms are the current version at the time of the test and are in the standard format published by IET, the National Inspection Council for Electrical Installation Contracting (NICEIC), the Electrical Contractors’ Association (ECA) or other certifying and testing body approved by the Client’s Representative.

157	For minor Works or alterations to an electrical installation which involve a change or modification to an existing single circuit, provide a certificate for Minor Electrical Installation Works.

158	Issue an Electrical Installation Completion Certificate for Major Works or alterations to electrical installations which involve:

- a change or modification to two or more existing circuits;

- the addition of one or more new circuits to an existing installation; or

- a new installation.

159	Provide an electrical installations condition report when specifically Instructed by the Client’s Representative.

Operating Instructions

160	Each consumer unit must be supplied with an operating instruction card which must be mounted adjacent to the unit.

161	The Provider must leave with the Customer printed instructions regarding operation of the consumer unit trip switch.

162	The instruction leaflet for the smoke detectors must be left in a safe place either by the electricity meter or consumer unit.

Client’s current manufacturers/suppliers/products

163	Ensure all Materials are compatible with and standardised to the Client’s current products specified in the table below (listed by manufacturers, suppliers and/or brand names).

| Product | Brand Name | Manufacturer’s Details |
| --- | --- | --- |
| Consumer Unit and MCBS |  | Wylex Metal |
| Batten Lamp Holder |  | Hager |
| Pendant lamp Holder |  | Hager |
| Ceiling Lighting Switch |  | Hager |
| Lighting Plate Switches |  | Hager |
| PVC Back Boxes and PVC Trunking |  | Marshall Tufflex Range |
| Switched Socket Outlet DP –Twin and Single |  | Hager |
| Immersion Heater Switch – 20A DP Switch with Neon |  | Hager |
| Smoke Detectors |  | ALCO |
| Carbon Monoxide Alarm |  | ALCO |
| 40A DP Ceiling Shower Switch |  | Hager |
| 45A D P Switch for Cooker |  | Hager |
| Cooker Cable outlet With Terminals |  | Hager |
| Fused Connection Units |  | Hager |
| Flex Outlet Plate |  | Hager |
| External Light Fitting |  | Robust 10W LED |
| Bathroom Light Fitting |  | Robust 10W LED |
| Kitchen Light Fitting |  | Strip Light LED |
| Extractor Fans |  | Nuaire Cyfan |

# SCAFFOLDING AND MEANS OF ACCESS

SCAFFOLDING AND MEANS OF ACCESS

001	Provide scaffolding for the Works where required by Regulatory Requirements.

002	Moveable towers can be used where Regulatory Requirements allow this.  This is also subject to the approval of the Client’s Representative for scaffolding above the equivalent of the ridge line of a two storey Property.

003	Only light short-term Work may be done from ladders where this is in line with the Code of Practice for Ladders.

004	Working platforms required at heights of 2 metres and above must be carried by a properly constructed scaffold.  Scaffold may be provided at lower levels.

005	Obtain:

- a licence from the highways authority where scaffold is to be constructed on or over the public highway; and

- permission from the adjoining landowner to occupy the space where scaffolding is erected over an adjoining property.

006	Where scaffold is to be constructed on or over the public highway the Provider must:

- consult the highways authority as to whether lighting or any other form of warning is required;

- if so, provide this (with any electrical supply being of a maximum of 100 volts); and

- notify the police where, when and for how long, the scaffold is to be in place.

007	Before erecting any scaffold to which Clause 05 applies, the Provider must provide evidence to the Client’s Representative that the permissions referred to in that Paragraph have been obtained and, where applicable, the notifications under Clause 06 have been given.

008	Ensure that any temporary roofs are properly designed and secured and must provide calculations and drawings to the Client’s Representative (for checking and approval).

009	Before the erection of any scaffolding to three storeys and above, the Provider must:

- submit an engineer’s design of the scaffold to the Client’s Representative for checking and approval;

- when erected, supply a certificate from a Member of the Institute of Structural Engineers indicating the scaffolding is in good condition and complies in all respects with all relevant Codes of Practice; and

- similarly certify any alteration to the scaffold.

010	Construct all scaffolds in accordance with:

- Work at Height Regulations 2005 (as amended);

- Applicable Standard; and

- either:

- NASC Technical Guidance TG20 for tube and fitting scaffolds; or

- the manufacturer’s guidance for system scaffolds.

011	For all scaffolds:

- approved materials in good condition must be used;

- all components must be inspected prior to use;

- sole plates must carry a minimum of 2 standards and wherever possible be placed parallel to the face of the building;

- they must be rigid and constructed on a solid foundation;

- standards must be upright at all times;

- ledgers must be horizontal and fixed with load bearing coupler;

- gaps in working platforms must not exceed 25mm wide and where necessary the inside boards must be secured to achieve this.  No gap is to exceed 6 square inches anywhere.  Where third parties are at risk, no gaps are acceptable – nothing must be allowed to fall through or off the platform;

- sufficient positive ties to the main walls of buildings must be fitted;

- fans and/or working areas over entrances and exits must be fully double boarded with a continuous membrane between to stop any matter falling through;

- where hoists are erected in scaffold, extra ties must be used to prevent vibration of the scaffold; and

- toe boards and guard rails must be fitted to working or access platforms and to stairs where people working on them could fall 2 metres or more;

- Materials must not be thrown, tipped or allowed to fall off the scaffolds or working platforms;

- when partially erected or partly dismantled a notice saying “Do not use” must be displayed on the scaffold; and

- the scaffold must be made unclimbable at all times when not in use for undertaking the Works.

012	Scaffold requiring protection from lightning strike in accordance with the applicable Standards or equivalent, must be certified by a qualified electrical engineer, when first erected and with regular testing and a certificate being provided at not less than monthly intervals. Copies must be provided to the Client’s Representative.

013	Scaffold must be erected, dismantled and altered:

- by competent persons;

- where the scaffolding is over 5m high, under the supervision of a person trained and certificated under the Construction Industry Scaffolders Registration Scheme (or equivalent approved by the Client’s Representative);

- in accordance with either:

- NASC Guidance Document SG4 for tube and fitting scaffolds; or

- the manufacturer’s instructions for system scaffolds; and

- so that at all times windows are openable by the occupants from the inside.

014	Scaffolding must be inspected by the Provider’s ‘competent person’ at least every 7 (seven) days.  The Provider must correct any faults found immediately.  A record of such inspections and the Provider’s report must be submitted to the Client’s Representative within 1 (one) Working Day of each inspection.

015	Where the Client’s Representative advises the Provider of this, the Provider must allow another contractor working directly for the Client to use scaffolding erected by the Provider, subject to that contractor agreeing to comply with any health and safety requirements in relation to the use of that scaffolding reasonably required by the Provider.

016	Scaffolding must be struck within 1 (one) week of the Client having advised the Provider that the Works have been satisfactorily completed, unless the Client requires the scaffolding to be maintained for another contractor working directly for the Client.  In these circumstances:

- the scaffolding must be struck within 1 (one) week of the Client having advised the Provider that the scaffolding is no longer required; and

- the Client must pay the Provider for the use of the scaffolding by the Client’s other contractor at the rates payable for the use of scaffolding under the Price Framework (even where the payment for the scaffolding to be erected and maintained for the Works was included in the Rates).

017	Payment for scaffolding will be in accordance with the Schedule of Rates for Scaffolding and Means of Access.

018	The Rates for scaffolding are deemed to additionally include as appropriate for the following:

.1	Basing out, preparing and levelling of ground, provision of additional support, base plates, spreaders and the like as necessary.

.2	Protection of the structure fabric, finishings, roof coverings and the like.

.3	Provision of all requisite tubes and fittings of every description, delivery, handling and removal.

.4	Erecting, supporting, maintaining, adapting and dismantling as required.

.5	Bridging across structures and all other obstructions where necessary.

.6	Removal, temporary storage/resiting, protection and subsequent reinstatement as required of all TV, radio and telecommunication aerials, satellite dishes and the like.

.7	Fans, gantries, hoardings, sheeting and double boarding of working platforms to afford protection around/over entrances, paths, rights of way and other forms of access or thoroughfare unless specifically instructed by the Client’s Representative.

.8	Working platforms to towers and chimney scaffolding.

.9	Toe boards, guard-rails, handrails, safe ladder access, ladders, warning signs, taping and the like.

.10	Ancillary plant and equipment such as tower feet/wheels, out-riggers, cross bracing, gin wheels, ropes and the like.

.11	Lighting and/or alarming where deemed necessary or appropriate and/or as specifically directed by the Client’s Representative.

.12	Protection against lighting strike.

.13	Fixed handholds and physical ties to the structure where necessary, subsequent removal and making good.

.14	Provision of certified structural design calculations and erection certificates to the Client Representative where required under the Contract.

.15	Reinstatement of ground and making good any damaged surfacing and/or paving’s if necessary.

.16	Compliance with all Regulatory Requirements including provision of all associated licences, permits and the like and the payment of all related fees and charges.

.17	Additional lifts of scaffolding, working platforms, handrails, ladders, other access provisions and the like necessitated by structure/roof design, for example changes in roof pitches at mansards and anything similar.