M3NHF Schedule of Rates

VERSION 8

Planned Maintenance and Property

Reinvestment Works

Specification

Published by M3 Housing Ltd, Three Kings, 23 Commonside East,

Mitcham, Surrey, CR4 2QA

www.m3h.co.uk

ISBN: 978-1-908409-03-4   |   M3NHF Schedule: Planned Maintenance and Property

Reinvestment Works

Version 8 revised and updated in 2023 by Rand Associates Consultancy Services Ltd.

Incorporating the NHF Form of Contract 2023 (Planned Works)

ISBN: 978-1-908409-38-6

All rights reserved. No part of this publication may be reproduced, stored in a retrieval system, or transmitted, in any form or by any means, electronic, mechanical, photocopying, recording or otherwise, without the prior permission of M3 Housing Ltd.

© Rand Associates Consultancy Services Ltd

SPECIFICATION OF WORKMANSHIP AND MATERIALS

CONTENTS

GENERAL	3

PLASTERWORK AND OTHER FLOOR, WALL AND CEILING FINISHES	10

# GENERAL

GENERAL

Applicability

001	This initial general section applies to all subsequent sections of this Specification of Workmanship and Materials (“this Specification”).

002	This Specification is drafted as a series of instructions that the Provider must ensure are complied with in relation to the Works.  Each instruction includes all tasks necessary to comply fully with the instruction and the Schedule of Rates item(s) to which it relates.

003	The Schedule of Rates amounts, as adjusted by the Provider’s tendered Rates where applicable, and the tendered Prices include for carrying out all tasks required by this Specification.  No further payment is due to the Provider in respect of any such tasks beyond the payments provided for in the Schedule of Rates, the Price Framework and the Price Schedule.

004	Specifications across several trades may be relevant to each Schedule of Rates item.  The Provider must comply with all requirements of this Specification applicable to the specific type of Works to be undertaken.

005	References to Paragraphs and Sections in this Specification are to the applicable Paragraph and Section of this Specification. If any contradiction appears within the Specification sections, Schedules of Rates, the Client’s Policy documents etc., the most rigorous standard takes precedence.

Standards of workmanship and Materials

006	Carry out and complete all Works as required by this Contract including:

- in accordance with Law including Health and Safety Law and Building Safety Law;

- in accordance with all applicable Codes of Practice;

- in accordance with Good Industry Practice;

- in accordance with the Client’s Policies;

- in accordance with any specific requirements for those Works in this Specification; and

- to the satisfaction of the Client’s Representative.

007	To the extent that the standard of any Works has not been specified in this Contract, agree the relevant standard for the Works with the Client’s Representative before their execution.  Where particular Works or working methods are to be “approved by” “agreed with” or are indicated to be “subject to the approval of” the Client’s Representative, give the Client’s Representative adequate notice when such approval or agreement is needed and retain evidence of all approvals given, and items that have been agreed, by the Client’s Representative.

008	To the extent that it is necessary to Design any aspects of the Works, in preparing those use the reasonable  skill, care, diligence and expedition as would be reasonably expected of a prudent experienced contractor with Design obligations having experience in carrying out projects similar in size, scope, nature, complexity and value to the Works.

009	Maintain all existing lines and levels at all times and carry through new Works to the same lines and levels unless otherwise Instructed by the Client’s Representative.

European and British Standards & Codes of Practice

010	Ensure all Works undertaken and all Materials used in those Works comply with all applicable Standards and Codes of Practice that are current at the time of their use.

011	References in this Specification of Workmanship and Materials to any Standards and Codes of Practice are to be construed as references to the version current at the time the Order is undertaken.

012	Where a specific Standard or a Code of Practice is referred to, this sets out the minimum acceptable standard of Materials or workmanship.

013	Any requirement in this Specification of Workmanship and Materials to use Materials defined by reference to a specified Quality Assurance Scheme, British Board of Agrément Certificate, Standard or other approval, may be satisfied by compliance with an equivalent international Standard.

014	A Provider offering any Materials on the basis of compliance with any such approval or international Standard shall notify the Client’s Representative of such substitution in advance of placing any order for those Materials and provide (in English) technical or other details of the approval or Standard and its qualifying tests.

Materials

015	The Client wishes to standardise the use of Materials across its Properties.  This is in order to simplify parts requirements and van stock loads, to improve its repairs processes and to reduce maintenance costs.  Wherever possible, match all Materials used to materials currently used in the Properties, particularly in terms of their parts requirements and repair procedures.  In this Specification the Client has set out details of its current Materials to which the Provider is required to standardise.

016	Where this Specification indicates that Materials are to be “Approved by the Client’s Representative”, provide samples of the proposed Materials to the Client’s Representative for Approval.  Any Materials that comply with the functionality and compatibility (including aesthetic compatibility) requirements of this Specification may be proposed.  No further approval is required for any Materials listed in this Specification as being the Client’s currently used Materials.  The purpose of the Client’s Representative’s decision on the use and approval of such Materials is to ensure that they meet the Client’s requirements for functionality and compatibility.  The decision of the Client’s Representative on this is final.

017	Where this Specification requires Materials to be matched to existing Materials or finishes, this match is subject to the Approval of the Client.

018	Do not use any Prohibited Materials in carrying out the Works.  Prohibited Materials are those materials which are generally accepted or (having regard to Good Industry Practice) are reasonably suspected of:

    - being harmful in themselves;

    - being harmful when used in a particular situation or in combination with other Materials;

    - becoming harmful with the passage of time; or

    - being damaged by or causing damage to the structure in which they are to be affixed.

019	Materials are to be regarded as harmful if, in the context of their use in the Works (whether alone or in combination with other materials) they:

    - are prejudicial to health and safety;

    - may pose a threat to the structural stability or the physical integrity of any Property; or

    - could materially reduce the normal life expectancy of any part of the Property.

020	Sustainable Timber: All timber and wood derived products referred to throughout this document and which are supplied to the Client, or used in the Works, must be procured in accordance with all applicable Law.

021	CE/UKCA Marked Products: All products referred to throughout this document and supplied to the Client, or used in the Works, must be supplied with a Declaration of Performance (DoP) and carry the appropriate CE/UKCA conformity assessment marking.

Performance Standards on the CE/UKCA mark must comply with relevant Building Regulations where required.

The CE/UKCA mark must be fixed visibly, legibly and indelibly either to the product or to a label attached to the product. If this is not possible or not warranted, then it must be fixed to the packaging or within the accompanying documentation.

The DoP must be made available by the manufacturer (this may be via a website).

022	Use, fix and apply all Materials strictly in accordance with the manufacturer’s recommendations, directions, instructions or technical data sheets.

023	Participate in joint initiatives with the Client and other contractors to establish supply chain agreements.

024	Where appropriate suggest (economically viable) amendments to this Specification where those amendments may lead to an improvement in environmental performance or sustainability.

025	At the Client’s request provide all information the Client reasonably requests regarding the environmental impact of the supply and use of any Materials the Provider selects for use in the Works.

026	[optional clause] If the Provider considers that decanting elderly, vulnerable, people with disabilities and other occupiers and carers from a Property whilst intrusive Works are undertaken or whilst the Works disrupt washing and/or sanitary facilities, provide (at no extra cost) the following facilities:

Decant Mobile - Daytime Decant

Temporary Accommodation conforming to all applicable Standards.

Daytime facilities (where agreed before the start of the Works in the form of either a touring caravan used outside homes between 9am and 5pm and then removed, or a mobile unit located in a fixed position supplied with at least the following:

- External door;

- Bedroom;

- A toilet compartment with WC suite, wash-handbasin and shower unit;

- A flued gas fire/electric heater (note: gas is the preferred option);

- A flued gas fire multi-point water heater or electric water heater;

- Electrical installation complying with the IET Wiring Regulations;

- Mattresses with fireproof removable covers (which shall be thoroughly cleaned and changed after each decant);

- A cooking appliance and fridge;

- Warning notice for health and safety advice to users;

- Fire blanket (to be located by the cooking appliance);

- 1kg-powder fire extinguisher (to be located by the main door);

- Smoke Detector;

- Carbon Monoxide Detector; and

- User’s handbook (to be used by Provider when demonstrating the mobile to new occupants).

Also supply the following:

- A security cabinet for 2 (two) 13kg (thirteen kilogramme) bottles of propane gas if gas is to be used (red gas bottle);

- Entrance steps, handrails, level access ramp (maximum gradient 1:12) to be provided for people with a disability to the satisfaction of the Client’s Representative;

- Water supply; and

- Mains sewerage connection (where feasible).

Daytime decanting must be as agreed with the Customer and the Client including as to the hours required for the daytime facility, its location and siting. The siting of decant facilities must not inconvenience car parking and/or access to adjoining dwellings.

Laundry and storage facilities, telephone connections [or] television aerials [or a dedicated car parking facility] are not required in a daytime facility[Client to edit].

A chemical toilet compliant with all Standards for portable chemical closets may be used where no sewer connection is feasible.

Ensure that all Temporary Accommodation, including its location, installation and checking,  complies with Health and Safety Law.

Comply with any Code of Practice for the transportation, siting and commissioning of caravans published by the National Caravan Council.

Agree location of the day-time mobile decant facility with the Client’s Representative.

Service checks are to be carried out by suitably qualified personnel after each decant. These checks should cover:

- Electrical;

- Gas;

- Water;

- Fire prevention equipment;

- Warning Notices; and

- Steps and Handrails.

The facility is to be cleaned between each change of user.

The following notice not less than 200mm x 130mm with the heading printed in red is to be fixed in a prominent position in the Temporary Mobile Accommodation.

ADVICE TO OCCUPIERS Ventilation Do not obstruct the ventilators, which are fitted; your safety depends on them. In Case of Fire Get everyone out. Turn off the outside gas valve Raise the alarm and call the Fire Brigade Do not stay behind to put the fire out yourself Do not put yourself at risk Fire Precautions Children - must not be left alone in the caravan. When cooking never leave a cooker unattended Do not use multi-adaptors. If you smoke use metal or glass ashtrays-not plastic. Make sure cigarettes are put out properly Do not smoke in bed. Means of Escape Make sure you know the location and operation of the emergency windows and doors, Keep door and window keys handy. Keep all escape routes clear. If there is smoke, keep low where the air is clearer Do not go back into the caravan. Combustible Materials Keep them clear of all heating and cooking appliances. Fire Fighting Equipment In addition to the 1kg powder fire extinguisher by the main exit door, a fire blanket is provided next to the cooker. Make yourself familiar with the instructions on your fire extinguisher and fire blanket and the fire precautions arrangements on site. Do not stay behind to put the fire out yourself. Do not put yourself at risk. The use of chip pans in mobiles is strictly prohibited.

Permit to Work Certification

027	Comply with any “permit to work system” notified to the Provider by the Client’s Representative and  ensure that no Worker undertakes any Works covered by any “permit to work System” without a permit having been issued by the Client’s Representative.

Access

028	Ensure that a risk assessment is undertaken and a method statement is provided to the Client’s Representative detailing the means of access to undertake all Works requiring access at heights including for inspection and testing.

”.

Firestopping

029	Ensure that all holes for cables, pipes etc., in the structure of any Property formed or drilled by the Provider are fire-stopped in accordance with Building Safety Law.

030	Report immediately to the Client’s Representative where existing holes for cables, pipes or service media  in the structure of any Property have no or inadequate firestopping, giving the detailed location of the hole and providing digital photographs.

# PLASTERWORK AND OTHER FLOOR, WALL AND CEILING FINISHES

PLASTERWORK AND OTHER FLOOR, WALL AND CEILING FINISHES

MATERIALS

Cement

001	Use either normal setting ordinary or rapid hardening or sulphate resisting Portland cement or blast furnace cement. All cement must comply with applicable Standard and be manufactured by a firm with their capability assessed and registered with BSI or other quality certification body acceptable to the Client’s Representative.

Lime

002	Use Class B hydrated lime, to applicable Standard.

Sand

003	Sand for mortar is to be to applicable Standard 0/2 FP or MP Category 3 unless specified otherwise. Sand for facework mortar is be from one source, different loads to be mixed if necessary to ensure consistency of colour and texture’.

| Sand and aggregate Material Property Limits | applicable Standard Category for other aggregates and Sand | applicable Standard Category for Air cooled blast furnace slag |
| --- | --- | --- |
| Acid soluble sulphate content | AS0.2 | AS 1.0 |
| Total sulphur | < 1% by mass | < 2% by mass |
| Water soluble content | < 1% by mass | < 1% by mass |
| Loss on ignition | PFA ONLY< 7% by mass | < 3% by mass |

004	Where mixes contain lime, the lime:sand mortar shall be obtained premixed from a competent mortar manufacturer to the satisfaction of the Client’s Representative. Ordinary Portland cement is added on site by volume in accordance with the mix specification.

005	Coloured mortar, where required, to be made using a proprietary coloured ready-mixed lime:sand to applicable Standards; colour as shown on drawings.

Building paper

006	Building paper is to be water resistant breather type.  Starting from the bottom, fix with clout nails or staples in horizontal lengths, with 100mm laps.

Membranes

WORKMANSHIP GENERALLY:

007	Apply Materials carefully to provide a completely waterproof, continuous membrane. Laps to be not less than 300mm. Ensure that surfaces to be covered are clean, dry, smooth and free from voids, sharp protrusions and frost. Protect finished sheeting adequately to prevent puncturing during following work. Cover sheeting with permanent overlying construction as soon as possible. Immediately prior to covering, check for damage and repair as necessary. Where services pass through sheeting, make junctions completely watertight by forming collars to pipes. Identify position of adjoining damp proof courses and expose to view where concealed. Thoroughly clean away all mortar, debris and dirt from vicinity of DPCs, including any projecting portions of DPCs. DPCs which project from the wall: Lap by 200mm with sheeting and fully bond/seal to projecting DPC.

POLYTHENE DPM:

008	Type: PIFA - Standard 6/83A:1995. Min.300 micrometres / 1200 gauge. Lay sheets neatly and tuck well into angles to prevent bridging. If sheets cannot be kept dry, double welted joints may be used provided they are temporarily weighted to hold the folds in position prior to laying concrete or insulation. Form folded welts at corners in upstands.

009	RADON GAS IMPERMEABLE MEMBRANE BARRIER SHEETING SYSTEM (300μm):

- Primary protection for use in Zone 1 at ground level with ground supported and suspended

concrete floors;

- Performance:

- Radon Permeability 12x10-12m²/s: Laboratory Test;.

- Low temperature flexibility to applicable Standard – No cracking at -25º Centigrade;.

- Products:

- Low Density Polyethylene (LDPE) sheet, minimum 300 micrometres (1200 gauge);

- Tensile strength to applicable Standards Method 326E: 1995.

- Minimum 13N/mm²;

- Elongation to applicable Standard;

- Minimum 450%.;

- Tear Resistance to applicable Standard: Method 360C;

- Minimum 100N;

- Accessories:

- 5mm polypropylene geotextile protection layer for gas membrane barrier;

- 30mm double sided butyl tape self-adhesive bonding strip sealant for compression joints;

to be non-hardening permanently flexible and durable;.

- 110, 120 or 130mm nominal diameter take external dimension of pipe preformed Top Hat

pipe collars section (for service pipes);

- 110 -140mm diameter adjustable stainless steel clip;

- Preparation:

- Barriers shall be stored rolled up in a dry area until they are to be used; keep away from

sharp objects and chemical solvents;

- Store rolls on their sides under cover until needed;

- To offer protection against granular fill or rough surfaces of pre-cast concrete units; lay

down geotextile protection layer;

- Installation in accordance with manufacturer’s technical data sheet.

010	RADON GAS IMPERMEABLE MEMBRANE BARRIER SHEETING SYSTEM (300μm):

- Primary protection for use in Zone 2 at ground level with ground supported and suspended

concrete floors;

- Performance:

- Radon Permeability 12x10-12m²/s: Laboratory Test;

- Low temperature flexibility to applicable Standard – No cracking at -25º Centigrade;

- Form an airtight, durably sealed, barrier across the whole of the building; including the floor, internal walls and both external and party walls - along with the associated cavities.

- Carefully install and seal sections of the barrier; ensure airtight sealing at all joints, laps,

service entries and cavity trays.

- Products:

- Low Density Polyethylene (LDPE) sheet, minimum 300 micrometres (1200 gauge);

- Tensile strength to applicable Standard Method 326E: 1995.

- Minimum 13N/mm²;

- Elongation to applicable Standard;

- Minimum 450%.;

- Tear Resistance to applicable Standard: Method 360C;

- Minimum 100N;

- Accessories:

- 5mm polypropylene geotextile protection layer for gas membrane barrier;

- 30mm double sided butyl tape self-adhesive bonding strip sealant for compression joints;

to be non-hardening permanently flexible and durable;.

- 110, 120 or 130mm nominal diameter take external dimension of pipe preformed Top Hat

pipe collars section (for service pipes);

- 110 -140mm diameter adjustable stainless steel clip;

- Preparation:

- Barriers shall be stored rolled up in a dry area until they are to be used; keep away from

sharp objects and chemical solvents;

- Store rolls on their sides under cover until needed;

- To offer protection against granular fill or rough surfaces of pre-cast concrete units; lay

down geotextile protection layer;

- Installation in accordance with manufacturer’s technical data sheet.

011	INSTALLATION OF RADON GAS IMPERMEABLE MEMBRANE:

- 	Form an airtight, durably sealed, barrier across the whole of the building; including the floor,

internal walls and both external and party walls - along with the associated cavities;

- 	Carefully install and seal sections of the barrier; ensure airtight sealing at all joints, laps,

service entries and cavity trays.

Application and arrangement:

- 	Remove loose debris from the surface of the concrete slab. The surface of the slab should

be smooth and free from projections or indentations.

- 	Cover entire site with main membrane barrier to be loose-laid directly onto a protection layer(as recommended by manufacturer) on concrete slab; allow for 150mm over lapping joints

between sheets; lay main membrane barrier neatly, tuck well into angles to prevent bridging

and creasing.

- 	Repair or replace any damaged areas.

- 	Take care to ensure all joints have a clean, dry and dust-free overlap.

- 	Carry edges of membrane under DPC of external walls. Avoid slip panes as per

PD 6697:2010.

- 	Provide 600mm wide membrane strip under internal walls; allow for 150mm overlapping

joints with the main membrane barrier.

- In the case of an extension to an existing dwelling, cut a chase in the existing wall and tuck

in the membrane. If there is a radon membrane in the existing floor, make the cut slightly

above or below.

- 	For service pipe penetrations through the main membrane barrier, cut a hole in the barrier

so that it fits neatly around the penetration and install preformed “Top Hat” pipe collars

membrane sections ensuring 150mm overlap with main membrane barrier.

- 	Ensure a secure gas-tight seal connection at membrane barrier overlaps using one strip of

double-sided tape; 2 No. strips to be used to seal “Top Hat” pipe collar sections - firstly tape

butt joint main membrane barrier to service pipe and secondly, membrane barrier to “Top

Hat” Section.

- 	Install and tighten adjustable stainless steel clip around top of “Top Hat” pipe collars to

ensure a gas tight seal is maintained around service penetrations.

- 	Ensure that the barrier is not punctured as building work continues; any damage must be

repaired before laying the floor slab; cover the barrier with the permanent over lapping

construction as soon as possible.

Slip Resistance

012	The Pendulum Test Value (PTV) should be 36+ (CoF) or above when tested, wet or dry as appropriate for the anticipated service conditions including any likely surface contamination  by the method described in and required by the applicable Standard.

013	For plaster, use Gypsum building plasters or 'Pre-mixed Lightweight Plaster', plaster to applicable Standard (see below) to a minimum thickness of 8mm, Finish Plaster to applicable Standard; minimum thickness of 2mm to bonding plaster, minimum thickness of 3mm when applied to plasterboard.

| Types of gypsum binders and gypsum plasters |  |
| --- | --- |
| Designation | Notation |
| Gypsum Binders e.g.: - gypsum binders for direct use or further processing (dry powder products); - gypsum binders for direct use on site - gypsum binders for further processing (e.g. for gypsum blocks, gypsum plasterboards, gypsum elements for suspended ceilings, gypsum boards with fibrous reinforcement) | A A1 A2 A3 |
| Gypsum plaster: - gypsum building plaster; - gypsum based building plaster; - gypsum-lime building plaster; - lightweight gypsum building plaster; - lightweight gypsum based building plaster; - lightweight gypsum –lime building plaster; - gypsum plaster for plasterwork with enhanced surface hardness. | B B1 B2 B3 B4 B5 B6 B7 |
| Gypsum plaster for special purposes: - gypsum plaster for fibrous plasterwork; - gypsum mortar; - acoustic plaster; - thermal insulation plaster; - fire protection plaster; - thin coat plaster, finishing product; - finishing product. | C C1 C2 C3 C4 C5 C6 C7 |

Bonding agent

014	Where bonding agents are permitted, use an opaque white non-toxic externally plasticised PVA of high viscosity manufactured to applicable Standard solution to sound surfaces, with a 1:3 solution to be applied to soffits.

Metal lathing, beads and stops

015	Ensure steel lathing is of the plain expanded type having a minimum weight of 1.6Kg/m2.

016	Ensure beads and stops are of an appropriate profile and:

- for internal use are galvanised; and

- for external use are manufactured from stainless steel or PVC-u to applicable Standard.

Plasterboard

017	Plasterboard is to be to applicable Standard; core density of 6kg/m2 for 12.5mm board. Product selection to be restricted to materials with a minimum 75% recycled content.

018	Dry lining is to be to applicable Standard, core density of 10kg/m2 for a 12.5mm board; taper edged.

Wall tiling

019	Plain cushion edge white or coloured glazed ceramic tiles to applicable Standards size 6mm minimum thickness.  Waterproof adhesives for ceramic tiles to be to applicable Standard.  Waterproof grout to applicable Standard.  Wall tiling for repairs is to match existing for repairs to existing tiled surfaces.

Sealant

020	Sealants are to be:

- gun grade white silicone mould resistant sealant to applicable Standard low modulus; or

- gun grade white silicone sealant to applicable Standard low modulus; or

- fire retardant sealant to applicable Standard

Textured decorative finish

021	Use a plastic compound textured decorative finish. Apply it to provide a finish to match the existing finish. Apply to no less than the minimum thickness stated in the manufacturer’s technical data sheet.

Steel lathing beads and stops

022	Lathing to Timber or Masonry to be either:

- Zinc coated lathing to applicable Standards zinc coated Reference L3 fixed with staples at 150mm centres; or

- Stainless steel lathing to applicable Standards stainless steel Reference SWL fixed with stainless steel staples at 150mm centres.

023	Lathing to External Wall Insulation to be either:

- Stainless steel lathing to applicable Standards stainless steel Reference HWL fixed with stainless steel staples and ties at 150mm centres; or

- Glass or Carbon reinforced lathing, with fibres encapsulated against alkali attack, strength and stiffness greater than that for stainless steel, fixed with stainless steel staples and ties at 150mm centres

024	Stretch lathing and fix securely in accordance with manufacturer’s technical data sheet to give a taut firm base for plaster/rendering, fix with the ling way of the mesh at right angles to supports and with all strands sloping in the same direction, Lap side edges not less than 100mm. Lap ends 50mm at supports and 100mm between supports. Laps must not occur within 100mm of angles or bends. Tie all edges and ends together with 1.2mm wire ties at not more than 150mm centres. Ensure all joints have a 100m lap and are wired at centres not exceeding 75mm.

025	Angle beads are to be either:

- PVC-u angle bead with 25mm x 25mm lugs to take 2mm plaster to applicable Standard; or

- PVC-u angle bead with 40mm x 40mm lugs, depth to suit external render;

026	Bellcast beads are to be PVC-u with 25mm x 45mm lugs.

027	Stop beads are to be PVC-u edge bead 25mm wide.

028	Fix beads and stops with galvanised steel or stainless steel nails or mortar or render dabs on accordance with the manufacturer’s technical data sheet.

Plasterboard, Dry Lining and Thermal Boards

029	Fix plasterboard to soffits or studding with 32mm x 12 swg galvanised clout headed nails for 10mm boards and 38mm x 12 swg galvanised clout headed nails for 12.5mm boards at intervals suitable for the particular application.  Provide all supporting members as necessary for fixing the plasterboard. Do not use cross joints in boards. Seal all exposed and cut edges with PVAC sealer.

030	Horizontal joints will not be permitted on dry lining unless the wall height exceeds the maximum manufactured board dimension. All joints are to be taped and finished to a flush seamless finish. Jointing material is to be to applicable Standard.  Seal all exposed and cut edges with PVAC sealer.

031	Ensure flush joints between plasterboards and at the junction between walls and soffits with straight edged and level finish plaster. Cover them with 90mm wide jute scrim cloth bedded in neat board finish.  Apply a coat of neat d finish plaster at least 5mm thick immediately after the joint application has set but before it dries out.

032	Fix dry lining to metal framing with drill point (“jack point”) drywall screws at 300mm centres to vertical studs, around openings and at board edges.

033	Ensure that backing walls are dry and direct bond dry lining with a gypsum based adhesive , seal perimeter and around openings with gypsum adhesive.

034	Ensure the plaster finish to thermal board consists of two coats of premixed lightweight plaster total thickness of plaster system of at least 13mm as follows:

- the first coat being scratch coat of bonding plaster; followed by

- a coat of appropriate finish plaster trowelled to a smooth finish.

Plaster on concrete soffits

035	Ensure the plaster finish to concrete soffits consists of two coats of premixed lightweight plaster, to a total thickness of plaster system of at least 10mm as follows:

- the first coat being a bonding scratch coat; followed by

- a finishing coat trowelled to a smooth finish.

Plaster on solid vertical backgrounds

036	Ensure the plaster finish to solid vertical backgrounds consists of two coats of lightweight premixed plaster to a total thickness of plaster system of at least 13mm as follows:

- the first coat being:

- on low suction backgrounds, a bonding plaster scratch coat containing exfoliated vermiculite; or

- on normal suction backgrounds, a scratch coat of HB browning plaster containing expanded perlite aggregate; and

- the second coat being finish plaster containing exfoliated vermiculite aggregate trowelled to a smooth finish.

Dissimilar Solid Backgrounds for Plaster:

037	Where plaster is to be continued without break across joints between dissimilar solid backgrounds which are rigidly bonded or tied together, cover the joints with a 200 mm wide galvanized mesh strip (backgrounds in the same plane) or with galvanized corner mesh (internal angles) fixed at not more than 600 mm centres along both edges, unless specified otherwise.

Dissimilar Solid Backgrounds for Plaster (Lintels):

038	Where plaster is to be continued without break and without change of plane across the face of a lintel which is not wider than 300 mm and is rigidly bonded or tied to the plaster background:

- Cover the face of the lintel with building paper to applicable Standard extending 25 mm on to the adjacent background.

- Overlay with expanded galvanized steel lathing extending 50 mm beyond the edges of the

- paper and securely fix with masonry nails at not less than 100 mm centres along both edges.

039	Alternatively, a suitable paper and mesh lathing may be used.

Dissimilar Solid Backgrounds For Rendering:

040	Where rendering is to be continued without break across joints between dissimilar solid backgrounds which are in the same plane and rigidly bonded or tied together, cover joints with a 150 mm wide strip of building paper to applicable Standard overlaid with 300 mm wide stainless-steel lathing fixed at not more than 600 mm centres along both edges, unless specified otherwise.

Conduits:

041	Conduits bedded in undercoat to be covered with 90 mm wide jute scrim bedded in finishing coat mix, pressed flat and trowelled in. Do not lap ends of scrim.

Cement beds, backings and renderings generally

042	Unless the Client’s Representative Instructs otherwise, ensure all beds, backings and renderings are composed of one part Portland Cement to three parts sand, by volume. Keep the water content as low as possible and ensure it does not exceed 18 litres per 50 Kg of cement (including the moisture content in the sand).

043	Brush sub-bases and backgrounds free of all dust. Well wet them and coat them with cement slurry before applying the screeds. Alternatively, use 1:10 EVA bonding adhesive instead of cement slurry.

044	Where the beds, backings or renderings are specified as waterproof, incorporate waterproofer to applicable Standard in the mix.

045	Expansion joints should be placed to form bays not exceeding 3.50m x 3.50m. Finish off the surfaces of beds and backings to receive the appropriate tiling, paving or other finishing.

046	External rendering is to be to applicable Standard. Ensure external renderings have a surface finish to match the existing renderings.

Granolithic finish

047	Ensure granolithic finish is composed of 1 part cement to 1-part fine aggregate to 2 parts coarse aggregate 10mm maximum size, all measured by weight. Add the minimum amount of water necessary to give sufficient workability for laying and compacting. All granolithic repairs are to match existing.

048	Thoroughly scabble, clean, wet and treat the base for granolithic application either by brushing on a neat cement grout or an EVA emulsion bonding agent. Lay the granolithic finishing in bays not exceeding 15m2 with the bay proportions being such that the ratio of sides will not exceed 1:1 1/2.

049	Ensure the minimum thickness is 19mm to a sound loadbearing concrete base. To prevent dusting, avoid excessive trowelling. Carry out curing for at least 4 days or, if the Client’s Representative so Instructs, for longer.

050	Ensure the deviation from the level is no more than +/- 3mm in 3m.

051	Steel trowel the granolithic to produce a close knit surface and either tool it by stud rolling or sprinkle it with non slip grains to produce an anti-slip finish as Instructed by the Client’s Representative.

Wall tiling

052	Fix tiles to the backing with straight joints on a combed bed of waterproof adhesive. Ensure all exposed edges of tiles are round edged. Either round edge or mitre the external angles, at the Provider’s discretion. Form exposed stop end corners using double bullnose tiles.

053	Fill the joints between tiles solid with waterproof grout. Tool off the joints and clear off all residual adhesive and grout from the tiles and surrounding surfaces on completion of the Works.

Quarry and Ceramic floor tiling

054	Lay tiles either on a bed of cement and sand (1:3) or on a cementitious adhesive bed to applicable Standard 3-6mm thick, which makes full contact with the tile and background.

Suitability of Backgrounds/Bases:

055	Before starting work ensure that backgrounds/bases:

- Are sufficiently flat to permit specified flatness of finished surfaces, bearing in

- mind the permissible minimum and maximum thicknesses of the bedding material.

- Have been allowed to dry out by exposure to the air for not less than the following:

- Concrete slabs: 6 weeks.

- Cement:sand screeds: 4 weeks.

- Rendering: 2 weeks.

- Gypsum plaster: 4 weeks.

Plain Coloured Skirting To Existing Painted Plaster:

056	Tiles: Plain coloured unglazed ceramic skirting tiles, minimum rounded top edge, coved bottom to applicable Standards, Size: 8mm minimum. Joint width: 3mm.

- Background/Base: Existing painted plaster.

- Grouting material: Waterproof grout.

Setting Out:

057	Ensure that:

- Joints to be true to line, continuous and without steps.

- Joints on walls to be truly horizontal, vertical and in alignment round corners.

- Joints in floors to be parallel to the main axis of the space or specified features.

- Cut tiles/slabs to be kept to the minimum, as large as possible and in unobtrusive locations.

- Before laying tiles obtain confirmation of setting out to satisfaction of the Client’s Representative.

Flatness of Wall Tiling:

058	Sudden irregularities not permitted. When measured with a slip gauge in accordance with the applicable Standards, the variation in gap under a 2 m straight edge placed anywhere on the surface to be not more than 3 mm.

Flatness of Floor Tiling:

059	Sudden irregularities not permitted. When measured with a slip gauge in accordance with the applicable Standards, the variation in gap under a straight edge (with feet) placed anywhere on the surface to be not more than 3mm over a 2m straight edge.

Vinyl and thermoplastic tiles

060	Unless the Client’s Representative Instructs otherwise, lay tiles in accordance with applicable Standard with straight joints on a combed bed of adhesive to a standard and quality approved by the Client’s Representative.  Match the size, colour and pattern of the tiles as nearly as possible to any existing surrounding tiles.

Vinyl and other Resilient Sheet Floor Coverings

061	Unless the Client’s Representative Instructs otherwise, vinyl and other resilient sheet floorings are to be of a standard, quality and laid in accordance with the applicable Standards.

062	All non slip floor coverings to be 2mm thick anti slip vinyl sheet floor coverings to in accordance with the applicable Standards and to have a Pendulum test value (PTV or slip resistance value) (36+ (CoF) or above) as tested to in accordance with the applicable Standards and a Surface roughness (Rz) (20+µm (microns) or above) to in accordance with the applicable Standards.  Floor covering to be complete with aluminium threshold strips at doors

Textured decorative finish

063	Fill joints in plasterboard to receive decorative textured finish with plastic filler. Cover them, while wet, with wet strength paper scrim or while wet or dry, with glass fibre membrane scrim tape. Allow this to dry before applying the finishing coat. Apply the finishing coat evenly. Tool or brush this to match the existing surrounding finishes or as the Client’s Representative Instructs otherwise.

Labour and sundry items

064	Cut and fit and/or make good all wall and floor finishings around any kind of obstruction or projection of a permanent nature from the wall background or floor base including any:

- structural elements;

- pipework, ducting and their brackets and supports;

- fittings and appliances in connection with the electrical, water, gas heating, air conditioning, communication and waste disposal systems; and/or

- fittings and any permanent object in connection with any permanent parts of the Property.

065	Unless the Client’s Representative Instructs otherwise, maintain plasterwork, renderings, backings, asphalt and any applied finishes in the same plane as any existing surrounding similar applications.  Make a fair joint between the new application and any existing surrounding application.

Client’s current manufacturers/suppliers/products

066	Ensure all Materials are compatible with and standardised to the Client’s current products specified in the table below (listed by manufacturers, suppliers and/or brand names).

| Product | Brand name | Manufacturer’s details |
| --- | --- | --- |
| Vinyl Flooring to Kitchens and Bathrooms | Colour Choices – “Pampeleone Sable Cassiopee Grass” and “Oxyd Anthracite” | “Griptex ǁ” manufactured by Gerflor Limited, Wedgnock House, Wedgnock Lane, Warwick CV34 5AP. |
| Vinyl Flooring to Wetrooms | Colour Choices – “Otter” AQI2006, “Blue Penguin” AQI2002, “Hippo” AQI2013 and “Tern” AQI2008 | “Altro Aquarius Safety Flooring” manufactured by Altro Limited, Works Road, Letchworth Garden City, Hertfordshire, SG6 1NW |

[complete table as appropriate]