# Parc Clwyd Rhuthun – Specification Document

Public Exercise, Cycle Infrastructure & Canopy Shelters

## Project Overview

This specification outlines the requirements for the supply and installation of public exercise equipment, cycle infrastructure, and canopy shelters across Ruthin as part of the Parc Clwyd project. The aim is to enhance community wellbeing, support active travel, and promote healthy living by providing high-quality, safe, and durable outdoor facilities. Installations will be located across multiple sites in the town, with attention to safety, accessibility, environmental considerations, and community engagement.

Lot Structure and Interaction
This procurement is divided into two separate lots:

- Lot 1 – Supply of Equipment (supply only)

- Lot 2 – Installation of Equipment (installation only)

Bidders may submit a tender for one lot or both lots.

Where a bidder is awarded both lots, the Council reserves the right to coordinate delivery and installation as a single programme.

Where different contractors are appointed for Lot 1 and Lot 2, the successful Lot 2 installer will be required to install equipment supplied under Lot 1. Compatibility and coordination requirements are therefore reflected in this specification.

## 1. Lot 1 – Supply of Equipment

Please refer to Appendix 1 - Locations of Equipment for indepth detail.

### 1.1 Cycle Infrastructure

Perspex Weather-Protected Cycle Shelters

- Locations: Lon Fawr / Y Ganolfan, Cae Ddol, Railway Walks, Brynhyfryd Leisure Centre

- Dimensions: 2140mm W x 3600mm L x 2150mm H

- Materials: Welded heavy-duty box section frames, galvanised steel, powder coated RAL 6005, 4mm ClearView PETg UV roof/cladding

- Requirements: Shelters delivered ready for installation with all fixings included

Sheffield Galvanised Cycle Stands

- Locations: Lon Fawr / Y Ganolfan, Cae Ddol, Railway Walks

- Materials: Hot-dip galvanised steel

- Dimensions: To be confirmed per location

Bike Repair Stands

- Locations: Lon Fawr, Cae Ddol, Railway Walks, Brynhyfryd Leisure Centre

- Materials: Galvanised steel, weather-resistant finish

- Dimensions: To be confirmed

### 1.2 Exercise Equipment

- Locations: Park Road, Railway Walks (Briec)

- Equipment: Wheelchair accessible Tai Chi disks, multi-gyms, arm & pedal bicycles, and Table Tennis table

- Materials: Galvanised steel, weather-resistant finish

### 1.3 Canopy Shelters

- Locations: Cae Ddol, Park Road Park, Star Park

- Dimensions: 8m x 4m x 3558mm H

- Materials: White tensile steel frame, galvanised/powder-coated, waterproof UV fabric

- Requirements: Delivered ready for installation, including fixings

### 1.4 Benches

- Locations: Cae Ddol, Park Road Park

- Equipment: Recycled plastic accessible picnic benches, Cast iron recycled slat seating bench with back

- Requirements: Delivered ready for installation, including fixings

## 2. Lot 2 – Installation of Equipment

Please refer to Appendix 1 - Locations of Equipment for indepth detail.

### 2.1 Installation Requirements

- Lot 2 bidders are required to provide installation pricing based on the indicative quantities and specifications in Lot 1.

- Concrete footings, bases, fixings, and all associated site preparation required to achieve compliant installation shall be included within Lot 2 pricing.

- Installation of porous soft pour safety surfacing around exercise equipment (excluding cycle shelters), based on indicative extents shown in the schedule and drawings.

- Bidders should assume a standard industry-compliant depth suitable for outdoor exercise equipment and clearly state their assumptions within their pricing submission.

- All equipment must be securely fixed and compliant with UK health and safety regulations.

- References to the schedule and drawings relate to the tender documents issued alongside this specification.

### 2.2 Guidance for Lot 2 Pricing

- Bidders should provide unit installation rates for each type of equipment. Where dimensions or final specifications are noted as “to be confirmed”, bidders shall provide installation pricing based on reasonable industry-standard assumptions. These assumptions should be clearly stated within the pricing submission and will be used as the basis for post-award confirmation.

- If final quantities or equipment details differ from those set out in Lot 1, any post-award adjustments arising from final confirmed quantities or specifications shall be made using the unit rates submitted at tender stage, ensuring transparency and value for money.

- Include concrete base dimensions, depth, and any surfacing required per unit.

- Installation must ensure accessibility, safety, and environmental protection.

### 2.3 Site-Specific Notes

- Utility checks (SPN, WW, etc.) must be completed before installation.

- Installation must cause minimal disruption to the local community.

- Equipment must be tested post-installation to ensure proper function.

- Liaison with the local project team is required to coordinate schedules.

## 3. Safety and Quality Assurance

- Compliance with UK Health and Safety standards.

- Supervision of all installation works.

- Regular checks during installation to ensure stability and functionality.

- Post-installation inspections mandatory.

## 4. Maintenance and Warranty

- Maintenance schedule for ongoing care of exercise and cycle infrastructure.

- Warranty: Minimum 12 months for defects in materials and workmanship.

- Ongoing support during warranty period to be included.

## 5. Environmental and Community Considerations

- Materials must meet sustainability standards.

- Minimal disruption to the local environment, especially near the River Clwyd.

- Ensure inclusivity and accessibility for all users.

## 6. Documentation and Compliance

- Provide risk assessments, site plans, and utility checks prior to installation.

- Comply with local planning, zoning, and floodplain regulations.

- Contractors must meet legal, safety, and quality standards.

## 7. Insurance Requirements

- Public Liability: £10,000,000 per claim

- Employers’ Liability: £10,000,000 per claim

- Professional Indemnity: £2,000,000 per claim

Submit certificates, provider details, and a declaration confirming coverage will remain valid for contract duration and 12 months after completion.

## 8. Tendering Notes

- Lot 1 – Supply only: Provide equipment details, manufacturer information, specifications, and warranty.

- Lot 2 – Installation only: Provide unit rates for installation, concrete bases, surfacing, and any preparatory work.

- Bidders can bid for one lot or both.

- If equipment details change after Lot 1 award, installation costs may be adjusted through agreed confirmation.

- All dimensions are indicative unless stated otherwise