## Tender Sum Analysis
Tender Sum Analysis - Sports Wales Switchgear Upgrade
| Ref | Description |  | Total
Generally
Site Safety
| 1 | Main contractor's preliminaries |  | 0
| 2 | Alterations, Repairs and Conservation |  | 0
| 3 | Carpentry |  | 0
| 4 | Proprietary linings and partitions |  | 0
| 5 | Doors, shutters and hatches |  | 0
| 6 | Floor, Wall, Ceilings and Roof Finishes |  | 0
| 7 | Decorations |  | 0
| 8 | Insulation, fire stopping and fire protection |  | 0
| 9 | Electrical Services |  | 0
| 10 | Additional works |  | 0
|  | Sub Total |  | 0
|  | Main Contractor Overheads and profit | 0% | 0
|  | Contingency |  | 0
|  | Total to Form of Tender (excluding VAT) |  | 0

## General
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
General
0.01 | This document is a schedule of works intended to describe the content and scope of the works required. It has not been measured in strict accordance with SMM7 and or NRM and it is not intended that the works will be remeasured
0.02 | The Contractor will be deemed to have read the drawings and specifications together with this Schedule of Works and to have included within the tender all of the works described in all the documents or reasonably inferred by them. In addition, it is essential that the Contractor arranges a site visit prior to tendering for the works, to assist their pricing comprehensively
0.03 | This Schedule of Works is to be read in conjunction with: - The Drawings - The Specifications - Any other salient design information supplied. Provide for the requirements set out in the above documents, and all associated costs
0.04 | All Works and subsequent amendments to be in accordance with the Building Regulations, and all amendments are to be to the satisfaction of the CA. All materials and workmanship to be in accordance with the relevant current British Standards, Codes of Practice and relevant regulations. The works are to be designed and constructed to meet all applicable mandatory and statutory regulations. Any variance from the above conformity within the Tender information should be identified and brought to the attention of the Client and document originator without delay.
0.05 | All dimensions and drawings are as accurate as possible, but contractors are advised to check all dimensions, levels, etc. before commencement of work. The agent will accept no responsibility for the Principal Contractor’s failure to do this. Similar or alternative materials may only be used if they meet with the Local Authority approval and are approved in writing by the Client prior to their usage.
0.06 | The Principal Contractor shall be responsible for insurance for the works throughout the duration of the contract including public liability, fire, theft, and any damage caused by the Contractor throughout the duration of the contract. Insurance held by Principal Contractor to be in accordance with CA’s requirements. Contractor to provide evidence to CA within one week of request.
0.07 | Relevant statutory undertakers and service providers must be notified of any proposed works required. The Principal Contractor must ensure that all notices (e.g. Building Regulation inspection) are given as required and that all relevant licenses obtained, and relevant notices given (e.g. scaffolding, skips on the highway etc.) and that all safety barriers etc. are provided.
0.08 | The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included. The quantities will not be subject to re-measure and the price will be tendered as a “Lump Sum” basis.
| Sub Total |  |  |  | 0

## Site Safety
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
Site Safety & Associated Provisions
0.01 | All sub-contractors are to be suitably qualified and experienced in working in the trades in which they are employed. All personnel to hold current CSCS cards and wear appropriate PPE. All plant operators to be suitably trained and hold appropriate IPAF or equivalent licenses.
0.02 | The Contractor is to ensure the works are priced to ensure there is no operational disruption to the surrounding neighbours.
0.03 | The Contractor is responsible for strict adherence to all site and Client rules and regulations.
0.04 | During the full period of the works the Contractor is to be aware and considerate of other users of the site. Suitable access and fire escape routes are always to be kept clear. Roads are always to be kept clear, noise is to be kept to a minimum, and hours of work to be between 8am and 5:30pm, Monday to Friday only unless agreed with Client in advance.
0.05 | Prior to the start of works a suitable area for use as a Contractors Compound is to be agreed with the CA and on-site storage, welfare facilities and site office is to be provided by the Principal Contractor for the duration of the works
0.06 | The Construction (Design & Management) Regulations 2015 (CDM) apply to this project and must be complied with
0.07 | Routes of all existing services within the vicinity of the proposed works to be determined before work commences.
| Sub Total |  |  |  | 0

## SOW - 1.0 Preliminaries
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
1 | Main contractor's preliminaries
1.2 | Main Contractor's cost items
1.2.1 | Management and staff
1.2.1.1 | Project specific management and staff
.1 | Project Manager / director - as required |  | wks |  | 0
.2 | Construction / Site Manager - as required |  | wks |  | 0
.3 | Supervisors, including works/trade package managers, building services engineering managers/co-ordinators and off-site production managers. |  | wks |  | 0
.4 | Health and safety manager/officers - as required |  | wks |  | 0
.5 | Commissioning manager (building engineering services). - as required |  | wks |  | 0
.6 | Planning/programming manager and staff - as required |  | wks |  | 0
.7 | Senior/managing quantity surveyor. - as required |  | wks |  | 0
.8 | Project/package quantity surveyors - as required |  | wks |  | 0
.9 | Procurement manager. - as required |  | wks |  | 0
.10 | Design manager. - as required |  | wks |  | 0
.11 | Project engineers. - as required |  | wks |  | 0
.12 | Environmental manager. - as required |  | wks |  | 0
.13 | Temporary works design engineers - as required |  | wks |  | 0
.14 | Materials management staff (e.g. storeman). - as required |  | wks |  | 0
.15 | Administrative staff, including secretary, document controllers, finance clerks and the like. - as required |  | wks |  | 0
.16 | Other management and staff - as required |  | wks |  | 0
1.2.1.2 | Visiting management and Staff - Not Covered by Contractors Overheads
.1 | Managing director, regional director, operations director, commercial director and the like. |  | wks |  | 0
.2 | Quality manager |  | wks |  | 0
.3 | Contracts/commercial manager |  | wks |  | 0
.4 | Health and safety manager. |  | wks |  | 0
.5 | Environmental manager/consultant |  | wks |  | 0
.6 | Other visiting management and staff. |  | wks |  | 0
0
1.2.1.3 | Extraordinary support Costs; allowance to include the following items as deemed required by the Contractor where not already included within Contractors Overheads; Legal advice costs; recruitment costs; team building costs; Other extraordinary support costs; Day Transport; Personnel transport (i.e. transportation of work operatives to site); Temporary Living accommodation; Subsistence Payment; out of normal hours working, including non-productive overtime allowances |  | item |  | 0
1.2.1.4 | Staff Travel |  | wks |  | 0
1.2.2 | Site Establishment
1.2.2.1 | Supply of Main Contractors Temporary site accommodation as required to deliver the Works to include the following as required
.1 | Offices |  | wks |  | 0
.2 | Meeting rooms |  | wks |  | 0
.3 | Canteens |  | wks |  | 0
.4 | drying rooms |  | wks |  | 0
.5 | Toilets and washrooms |  | wks |  | 0
.6 | First Aid room |  | wks |  | 0
.7 | Secure stores |  | wks |  | 0
.8 | Security office |  | wks |  | 0
.9 | Stairs |  | wks |  | 0
.11 | Delivery of temporary site accommodation to site, erection, construction and removal |  | item |  | 0
.12 | Land/property rental where site accommodation located off-site |  | wks |  | 0
.13 | Alterations and adaptations to site accommodation, including, partitioning, doors, painting and decorating, and the like. |  | item |  | 0
.14 | Relocation and alterations of temporary accommodation during construction stage |  | item |  | 0
.15 | Reinstating temporary site accommodation to original condition prior to removal from site |  | item |  | 0
.16 | Removal of site accommodation and temporary works in connection with site accommodation |  | item |  | 0
1.2.2.2 | Temporary Works in connection with Site establishment
.1 | Temporary bases and foundations for site accommodation, including maintenance and reinstatement of existing surfaces on completion of the works. |  | Item |  | 0
.2 | Connections to temporary service, including maintenance and removal on completion of the works. |  | Nr |  | 0
.3 | Connections to temporary drainage, in including maintenance and removal on completion of the works. |  | Nr |  | 0
.4 | Temporary site roads, paths and paving's (including on-site car parking), including reinstatement of existing surfaces on completion of the works |  | Item |  | 0
.5 | Temporary surface water drainage to temporary site roads, paths and pavements, including maintenance and removal on completion of the works. |  | Item |  | 0
1.2.2.3 | Furniture and equipment
.1 | General office furniture, including maintenance |  | item |  | 0
.2 | Conference/meeting room furniture, including maintenance |  | item |  | 0
.3 | Photocopiers, including purchase/rental, maintenance and other running costs |  | item |  | 0
.4 | Canteen furniture, including maintenance. |  | item |  | 0
.5 | Water dispensers, including purchase/rental, maintenance and other running costs. |  | Item |  | 0
.6 | Other office equipment, including maintenance |  | Item |  | 0
.7 | Removal of furniture and equipment |  | Item |  | 0
1.2.2.4 | IT Systems; including Computer hardware; installation, set up maintenance and running costs |  | Item |  | 0
1.2.2.5 | Consumables and services
.1 | Stationary |  | wks |  | 0
.2 | Computer and printer consumables |  | wks |  | 0
.3 | postage |  | wks |  | 0
.4 | Courier charges |  | wks |  | 0
.5 | Tea, coffee, water bottles and the like |  | wks |  | 0
.6 | First aid consumables |  | wks |  | 0
.7 | Photocopier consumables |  | wks |  | 0
.8 | Drawing printer consumables |  | wks |  | 0
1.2.2.6 | Brought-in services; Services outsourced by the main contractor such as; Catering; Equipment maintenance; document management; Printing; off-site parking; photographic services and the like |  | item |  | 0
1.2.2.7 | Sundries - as required
.1 | Main contractor’s signboards. |  | item |  | 0
.2 | Safety and information notice boards. |  | item |  | 0
.3 | Fire points. |  | item |  | 0
.4 | Shelters. |  | item |  | 0
.5 | Tool stores. |  | item |  | 0
.6 | Crane signage. |  | item |  | 0
1.2.3 | Site Temporary Services
1.2.3.1 | Temporary water supply
.1 | Temporary connections. |  | nr |  | 0
.2 | Distribution equipment, installation and adaptations |  | item |  | 0
.3 | Charges |  | wks |  | 0
1.2.3.2 | Temporary gas supply
.1 | Gas connection. |  | nr |  | 0
.2 | Distribution equipment, installation and adaptations |  | item |  | 0
.3 | Charges. |  | wks |  | 0
.4 | Bottled gas. |  | wks |  | 0
1.2.3.3 | Temporary electricity supply
.1 | Temporary connections |  | Nr |  | 0
.2 | Charges – power consumption for site establishment. |  | Wks |  | 0
.3 | Charges – power consumption for the works. |  | Wks |  | 0
.4 | Distribution equipment, installation and adaptations. |  | Item |  | 0
1.2.3.4 | Temporary telecommunication systems
.1 | Landlines (including connection and rental charges), including: – telephone and fax lines – ISDN lines. |  | Wks |  | 0
.2 | Mobile (cellular) phones, including: – mobile phones, including purchase or rental and connection charges. |  | Wks |  | 0
1.2.3.5 | Temporary drainage - As required
.1 | Temporary mains. |  | Item |  | 0
.2 | Septic tanks. |  | wks |  | 0
.3 | Sewage pumping |  | wks |  | 0
.4 | Distribution pipework, etc. |  | item |  | 0
.5 | Drainage installation and adaptations. |  | item |  | 0
.6 | Disposal charges (i.e. rates). |  | wks |  | 0
.7 | Disposal costs (i.e. tanker charges). |  | wks |  | 0
1.2.4 | Site Security
1.2.4.1 | Security Staff - if deemed required by the Contractor |  | wks |  | 0
1.2.4.3 | Hoardings, fences and gates; including gates; Doors; temporary works; decoration; modification; dismantling and removal and making good on completion |  | item |  | 0
1.2.5 | Safety and environmental protection
1.2.5.1 | Safety Programme; Works required to satisfy requirements of CDM Regulations
.1 | Safety audits |  | nr |  | 0
.2 | Staff safety training |  | item |  | 0
.3 | Notices and information to neighbours |  | item |  | 0
.4 | Personal protective equipment (PPE), including for employer and Site visitors |  | item |  | 0
.5 | Fire points |  | Nr |  | 0
.6 | Temporary fire alarms |  | Item |  | 0
.7 | Fire extinguishers. |  | Item |  | 0
.8 | Statutory safety signage |  | Item |  | 0
.9 | Traffic marshals - as deemed required by Contractor |  | Wks |  | 0
1.2.5.2 | Barriers and safety scaffolding
.1 | Guard rails and edge protection (e.g. to edges of suspended slabs and roofs). |  | item |  | 0
.2 | Temporary staircase balustrades (i.e. to new staircases during construction). |  | item |  | 0
.3 | Protection to holes and openings in ground floor slabs, suspended slabs and the like. |  | item |  | 0
.4 | Debris netting/plastic sheeting |  | item |  | 0
.5 | Fan protection. |  | item |  | 0
.6 | Scaffold inspections |  | item |  | 0
.7 | Protective walkways. |  | item |  | 0
.8 | Other safety measures. |  | item |  | 0
1.2.5.3 | Environmental protection measures - extent to be determined by Main Contractor
.1 | Control of pollution |  | item |  | 0
.2 | Residual control of noise |  | item |  | 0
.3 | Environmental monitoring. |  | item |  | 0
.4 | Environmental manager/consultant |  | item |  | 0
.5 | Environmental audits, including safety audits carried out by external consultant |  | Nr |  | 0
1.2.6 | Control and protection
1.2.6.1 | Survey, inspections and monitoring -
.1 | Surveys. |  | item |  | 0
.2 | Topographical survey. |  | item |  | 0
.3 | Non-employer dilapidation survey. |  | item |  | 0
.4 | Structural/dilapidations survey adjoining buildings. |  | item |  | 0
.5 | Environmental surveys. |  | item |  | 0
.6 | Movement monitoring. |  | item |  | 0
.7 | Maintenance and inspection costs |  | item |  | 0
1.2.6.2 | Setting out of the works |  | item |  | 0
1.2.6.3 | Protection of works
.1 | Protection of works and surrounding areas to project handover |  | item |  | 0
1.2.6.4 | Samples
.1 | Provision of samples; including Mock-ups and sample panels as required |  | item |  | 0
1.2.6.5 | Environmental control of building; including drying out; Temporary heating / cooling; temporary waterproofing (including over roofs as required); Temporary enclosures |  | item |  | 0
1.2.7 | Mechanical plant
1.2.7.3 | Cranage; including hire charges; operators; temporary works and bases; power and the like |  | item |  | 0
1.2.7.5 | Access plant; including delivery; collection; maintenance |  | item |  | 0
1.2.7.7 | Other Plant; Small plant and tools |  | item |  | 0
1.2.8 | Temporary works
1.2.8.1 | Access scaffolding
.1 | Provision for the design, installation; adaptions and removal of any Scaffolding for the works as required by the Main Contractor; |  | item |  | 0
1.2.8.2 | Temporary works
.1 | Provision for the design, installation; adaptions and removal of any Temporary Works as required by the Main Contractor to complete the Works; provision to include (but is not limited to); Support or propping; crash decks; temporary tree protection |  | item |  | 0
1.2.9 | Site records
.1 | Site records; Works records: – progress reporting. – site setting out drawings. – condition surveys and reports. – operation and maintenance manuals. – as-built/installed drawings and schedules. – co-ordinating, gathering and compiling health and safety information and presentation to CDM co-ordinator. – compilation of health and safety file (if required). |  | item |  | 0
1.2.10 | Completion and post-completion requirements
.2 | Handover; Training of building user’s staff in the operation and maintenance of the building engineering services systems; Provision of spare parts for maintenance of building engineering services.; Provision of tools and portable indicating instruments for the operation and maintenance of building engineering services systems; Pre-completion inspections; Final inspections. |  | item |  | 0
1.2.11 | Cleaning
.1 | Site tidy; Cleaning site accommodation – internal, including cleaning telephone handsets, other office furniture and equipment and window cleaning. |  | wks |  | 0
.2 | Waste management, including rubbish disposal (including compactor visits; skips and waste bins; roll-off, roll-on waste bins) and other disposal. |  | wks |  | 0
.3 | Maintenance of roads, paths and paving's; Maintenance of temporary site roads, paths, and pavements; Maintenance of public and private roads, including wheel spinners and road sweepers. |  | wks |  | 0
.4 | Building clean; Final builder’s clean. |  | item |  | 0
1.2.12 | Fees and charges
1.2.12.1 | Fees
.1 | Building control fees, where not paid by the employer |  | item |  | 0
.2 | Oversailing fees, |  | item |  | 0
.3 | Considerate Constructors’ Scheme fees (or alternative scheme operated by local authority). |  | item |  | 0
1.2.12.2 | Charges
.1 | Rates on temporary accommodation; if deemed required by Contractor |  | item |  | 0
.2 | Licences in connection with hoardings, scaffolding, gantries and the like. |  | item |  | 0
.3 | Licences in connection with crossovers, parking permits, parking bay suspensions and the like. |  | item |  | 0
1.2.13 | Site services
.1 | Temporary works that are not specific to an element; allowance to include (but is not limited too) temporary screens in connection with minor demolition ; supports to small openings cut into existing walls' temporary support for existing structures - all as deemed required by the Contractor |  | item |  | 0
1.2.13.2 | Multi-service gang
.1 | Site Labourer |  | wks |  | 0
.2 | Forklift / plant drivers as required |  | wks |  | 0
1.2.14 | Insurance, bonds, guarantees and warranties - as required by the Contract
.1 | Works insurance |  | item |  | 0
.2 | Public liability insurance |  | item |  | 0
.3 | Employer’s (main contractor’s) liability insurance |  | item |  | 0
.4 | Other insurances - as required by the Contract |  | item |  | 0
.5 | Other; Bonds; Guarantees and Warranties as required by the Contract |  | item |  | 0
| Sub Total |  |  |  | 0

## SOW - 2.0 Alterations, Repairs
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
2 | Alterations, Repairs and Conservation
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Removing
2.01 | Interior to be completely cleared from debris and dust prior to MEP installation works. | 1 | item | 0 | 0
2.02 | Existing timber non-fire rated louvred door with overhead sparse mesh fanlight to be demolished | 1 | item | 0 | 0
2.03 | Ceiling topper (MDF boarding) to be removed. | 1 | item | 0 | 0
2.04 | Ceiling joists to be removed | 1 | item | 0 | 0
Filling in openings
2.05 | Blockwork infill to existing wall penetration. Air tight sealing required. | 1 | item | 0 | 0
Repairing
2.06 | New concrete levelling screed; subject to condition of existing following removal of MEP equipment, e.g. surface cracks or signs of poor condition. | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 3.0 Carpentry
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
3 | Carpentry
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Primary or structural timbers
3.01 | 8no. 175x45 treated timber ceiling joists @400 centres. Appropriate fixings and intumescent sealant to manufacturer's performance specification, or to equivalent performance specification Contractor's supplier-manufacturer choice. Appropriate fixings between ceiling joist and existing blockwork to be determined by Contractor. Approved fire-certified or equivalent joist fixing to Contractor's choice, (e.g. fire-rated joist hangers) | 1 | item | 0 | 0
3.02 | 175x45 treated timber section; as required | 1 | item | 0 | 0
Boarding, flooring, sheeting, decking, casings, linings, sarking, fascias, bargeboards, soffits and the like
3.03 | 18mm Plywood and 2no. 15mm Fireboard layer to wrap around timber joist. Intumescent sealant joint required between existing blockwork and ceiling buildup. | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 4.0 Proprietary linings
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
4 | Proprietary linings and partitions
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Proprietary metal framed system to form walls
4.01 | Fire-rated lining system - Certified system. Siniat IS50R(400)-312F#0, x3 12.5mm FireBoard (or equivalent), 50mm I-Stud intumescent sealants to all edges. Equivalent acceptable to fire performance specification of 60 minutes. | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 5.0 Doors etc
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
5 | Doors, shutters and hatches
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Door sets
5.01 | Solid Timber FD60S certified doorset. Structural opening 960mm x 2100mm; Timber Veneer Finish - Appropriate fire-sealing to timber frame required. Contractor to refer to performance specification from chosen manufacturer-supplier. - Sizing to be confirmed by Contractor team on site. Certified FD60S rating on door. Timber frame and architrave to manufacturer-supplier specification. Finish to match timber door leaf. Fire door closer. To door manufacturer supplier specification. Door hinges to manufacturer-supplier fire performance specification. 'Keep Shut' signage on both sides of door leaf. Fire-rated 60-minute cylinder thumbturn lock. Thumbturn within switchgear room side. Fire-rated lever handles on both sides Kickplate to both sides of door leaf | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 6.0 Finishes
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
6 | Floor, Wall, Ceilings and Roof Finishes
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Finish to floors
6.01 | Anti dust sealant coating to floor | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 7.0 Decoration
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
7 | Decorations
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Decoration
7.01 | Fireboards to be painted white to match existing blockwork | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 8.0 Fire Stopping
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
8 | Insulation, fire stopping and fire protection
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Fire stopping
8.01 | Infill fireboard panel with rockwool infill. Painted white finish to match blockwork. | 1 | item | 0 | 0
8.02 | All ceiling penetrations to be have firestopped, Quellfire or equivalent solution to meet fire-rating 60 minutes specification. | 1 | item | 0 | 0
8.03 | Existing wall penetration to be fitted with certified fire stopping. E.G Quellfire or equivalent to meet 60-minute fire rating specification. Partial infill maybe required, to be determined by Contractor team when MEP installation (e.g. cabling) has been resolved. | 1 | item | 0 | 0
8.04 | Intumescent sealant to all fireboard contact to blockwork perimeter. | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 9.0 Electrical
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
9 | Electrical Services
The Tender is to be priced based on the information provided by the Drawings and Specifications. The Pricing Schedules are given for guidance purposes only and may not contain all of the intended works nor the full descriptions of all works and it remains the Contractors responsibility for any accuracy and sufficiency. The Contractor shall enter quantities and prices and insert any descriptions and quantities that he considers to have not yet been included under the Additional Works. The quantities will not be subject to re-measure and the price will be tendered on a “Lump Sum” basis.
Electrical Services
9.01 | Existing MEP piping and cabling above switchgear room. Contractor team to survey on site. | 1 | item | 0 | 0
9.02 | Incoming Services | 1 | item | 0 | 0
Low Voltage Distribution
9.03 | DB-16 New Switchboard | 1 | item | 0 | 0
9.04 | DB-1 Replacement Panel Board | 1 | item | 0 | 0
9.05 | PB-1 New Panel Board | 1 | item | 0 | 0
9.06 | Containment System | 1 | item | 0 | 0
9.07 | Amendments to and connection of Existing Cabling into new Switchgear | 1 | item | 0 | 0
9.08 | Earthing | 1 | item | 0 | 0
9.09 | Replacement of Existing Distribution Boards | 1 | item | 0 | 0
9.1 | Replacement of Cabling to Balcony Industrial Socket Outlet | 1 | item | 0 | 0
9.11 | Lighting | 1 | item | 0 | 0
9.12 | New Supply to Existing Fire Alarm Panel | 1 | item | 0 | 0
9.13 | Testing | 1 | item | 0 | 0
9.14 | Commissioning | 1 | item | 0 | 0
Loose ancillaries
Spares:
9.15 | SPN 10A MCB’s 10 No. | 10 | nr | 0 | 0
9.16 | SPN 16A MCB’s 5 No. | 5 | nr | 0 | 0
9.17 | SNP 20A MCB 5 No. | 5 | nr | 0 | 0
9.18 | SPN 32A MCB’s 10 No. | 10 | nr | 0 | 0
9.19 | SPN 32A/30mA RCBO 5 No. | 5 | nr | 0 | 0
Dayworks
GROSS RATES OF LABOUR PER HOUR
| Contractor’s Own Operatives | 1 | hr | 0 | RATE ONLY
9.2 | Foreman | 1 | hr | 0 | RATE ONLY
9.21 | Chargehand | 1 | hr | 0 | RATE ONLY
9.22 | Advanced Electrician | 1 | hr | 0 | RATE ONLY
9.23 | Electrician | 1 | hr | 0 | RATE ONLY
9.24 | Improver | 1 | hr | 0 | RATE ONLY
9.25 | Assistant | 1 | hr | 0 | RATE ONLY
Labour Only Sub Contractor
9.26 | Foreman | 1 | hr | 0 | RATE ONLY
9.27 | Chargehand | 1 | hr | 0 | RATE ONLY
9.28 | Advanced Electrician | 1 | hr | 0 | RATE ONLY
9.29 | Electrician | 1 | hr | 0 | RATE ONLY
9.3 | Improver | 1 | hr | 0 | RATE ONLY
9.31 | Assistant | 1 | hr | 0 | RATE ONLY
Schedule of rates
Containment Systems;
9.32 | Supply and Installation of suspended 3Mtr 600mm Ladder Rack | 1 | item | 0 | RATE ONLY
9.33 | Supply and Installation of suspended 600mm heavy duty cable tray | 1 | item | 0 | RATE ONLY
9.34 | Supply and Installation of suspended 300mm heavy duty cable tray | 1 | item | 0 | RATE ONLY
9.35 | Supply an Installation of 90 Prefabricated 600mm Ladder Rack Fitting | 1 | item | 0 | RATE ONLY
9.36 | Supply an Installation of 90 Prefabricated 600mm Cable Tray Fitting | 1 | item | 0 | RATE ONLY
9.37 | Supply and installation of 3mts 200 x 200mm Steel Galvanised Trunking | 1 | item | 0 | RATE ONLY
9.38 | Supply and installation of 3mts 100 x 100mm Steel Galvanised Trunking | 1 | item | 0 | RATE ONLY
9.39 | Supply and installation of 3Mtr 600mm x 50mm Suspended Cable Basket | 1 | item | 0 | RATE ONLY
LV Distribution
9.4 | Supply and installation of 63A SP NSX Schneider MCCB within Panelboard | 1 | item | 0 | RATE ONLY
9.41 | Supply and installation of 100A SP NSX Schneider MCCB within Panelboard | 1 | item | 0 | RATE ONLY
9.42 | Supply and installation of 63A TP NSX Schneider MCCB within Panelboard | 1 | item | 0 | RATE ONLY
9.43 | Supply and installation of 100A TP NSX Schneider MCCB within Panelboard | 1 | item | 0 | RATE ONLY
9.44 | Replacement of Existing TPN distribution board with Schneider Type B 12Way TPN Distribution Board | 1 | item | 0 | RATE ONLY
9.45 | Replacement of Existing SPN distribution board with Schneider Type A 12Way SPN Distribution Board | 1 | item | 0 | RATE ONLY
9.46 | Supply and installation 20No 10A Type B Schneider MCB | 1 | item | 0 | RATE ONLY
9.47 | Supply and installation 20No 16A Type B Schneider MCB | 1 | item | 0 | RATE ONLY
9.48 | Supply and installation 20No 20A Type B Schneider MCB | 1 | item | 0 | RATE ONLY
9.49 | Supply and installation 20No 32A Type B Schneider MCB | 1 | item | 0 | RATE ONLY
9.5 | Supply and installation 20No 10A 30mA Type B Schneider RCBO | 1 | item | 0 | RATE ONLY
9.51 | Supply and installation 20No 20A 30mA Type B Schneider RCBO | 1 | item | 0 | RATE ONLY
9.52 | Supply and installation 20No 10A 30mA Type B Schneider RCBO | 1 | item | 0 | RATE ONLY
9.53 | Supply and installation 20No 16A 30mA Type B Schneider RCBO | 1 | item | 0 | RATE ONLY
9.54 | Supply and installation 20No 16A 30mA Type B Schneider RCBO | 1 | item | 0 | RATE ONLY
9.55 | Supply and installation 20No 20A 30mA Type B Schneider RCBO | 1 | item | 0 | RATE ONLY
9.56 | Supply and installation 20No 32A 30mA Type B Schneider RCBO | 1 | item | 0 | RATE ONLY
Cabling
9.57 | Supply and Installation of 3mtr 150mm 4C LSF/SWA/LSZH | 1 | item | 0 | RATE ONLY
9.58 | Supply and Installation of 43mtr 120mm 4C LSF/SWA/LSZH | 1 | item | 0 | RATE ONLY
9.59 | Supply and Installation of 3mtr 90mm 4C LSF/SWA/LSZH | 1 | item | 0 | RATE ONLY
9.6 | Supply and Installation of 3mtr 70mm 4C LSF/SWA/LSZH | 1 | item | 0 | RATE ONLY
9.61 | Supply and Installation of 3mtr 50mm 4C LSF/SWA/LSZH | 1 | item | 0 | RATE ONLY
9.62 | Supply and Installation of 3mtr 35mm 4C LSF/SWA/LSZH | 1 | item | 0 | RATE ONLY
9.63 | Supply and Installation of 3mtr 25mm 4C LSF/SWA/LSZH | 1 | item | 0 | RATE ONLY
9.64 | Supply and Installation of Straight Cable Joint up 16 to 50mm Cable Size | 1 | item | 0 | RATE ONLY
9.65 | Supply and Installation of Straight Cable Joint up 50 to 95mm Cable Size | 1 | item | 0 | RATE ONLY
9.66 | Supply and Installation of Straight Cable Joint up 95 to 150mm Cable Size | 1 | item | 0 | RATE ONLY
9.67 | Contingency | 1 | item | 0 | 0
9.68 | Builders work | 1 | item | 0 | 0
| Sub Total |  |  |  | 0

## SOW - 10.0 Additional works
Tender Sum Analysis - Sports Wales Switchgear Upgrade
Ref | Description | Qty | Unit | Rate | Total | Notes
10 | Additional works
| Sub Total |  |  |  | 0