## Option 1
Merthyr Valleys Homes - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall and all associated rear curtilage works at 47 Bro Dawel, Merthyr Tydfil - Pricing Schedule for completion.
Name of Bidder_______________________________
*Please complete the pricing table below, which will constitute your offer to deliver the works.
*Costs are GBP and exclusive of VAT.
*The following scope of works has been produced to provide an overall estimate of the necessary works to complete the project.
*Bidders must survey the site, verify all scope of works, identify any potential extras, and provide accurate final costs for the works, whether expressly included in the below schedules or not.
*Compensation events will only raised if there is significant unforeseen structural works that could not be identified.
*Rates are 'all-in' and must be inclusive of all materials, labour, prelim costs to deliver the requirements of M.V.H in line with the tender instructions, whether expressly included or not.
*Where 'item is stated' the rates submitted must include for all works associated with this item of work.
Item No | Area Heading | DESCRIPTION OF WORKS | Unit | Quantity - To be amended by contractor if required | Rate (£ ex VAT) | Total Cost (£ ex VAT) | Comments
a) Project information
1 |  | Location - 47 Bro Dawel, Merthyr Tydfil, CF47 0YU. | Info | Info
2 |  | Scope of works - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall as per structural engineers design with additional associated works within the rear curtilage. | Info | Info
3 |  | The contact person for visiting site to inspect for quotation purposes is Nicholas Daley - Email: - Nick.Daley@mvhomes.org.uk. | Info | Info
4 |  | This schedule of work is for pricing purpose and is not a guide to the sequence of work. The scope of works has been produced to provide an overall estimate of costs. The contractor must read all structural engineers drawings and specification documents thoroughly, attend site, verify all scope of works, identify any potential extras, and provide accurate final estimated cost of works. Compensation events will only be raised if there is significant unforeseen works that could not be identified. | Info | Info
5 |  | Price to include all labour, materials, and equipment necessary to fully complete the works. All measurements and sizes indicated in this schedule of work and the accompanying drawings are for reference only – all measurements should be checked and verified on site. Any discrepancies, inaccuracies etc found when carrying out the works must be reported to the Contract administrator and Client immediately. | Info | Info
b) Preliminaries & Enabling Works
6 |  | Site Establishment Package to Include - signage, PPE, site protection, first aid, setup of welfare and storage cabins. Allow for disposal off site of all waste materials at a licensed facility for recycling where possible, with evidence of all waste transfer notes . Wash down and clear all areas, leave site in clean condition on completion. Set up and secure site facilities with storage area for deliveries and for surplus materials to be disposed off site. Specific details to be agreed with M.V.H and Merthyr Tydfil County Borough Council where applicable with all licence agreements in place. | item | 1 | 0 | 0
7 |  | Health and Safety - This project is governed by the requirements of the Construction, Design and Management Regulations (CDM 2015) and the Contractor shall include for all costs in discharging their duties and obligations as Principal Contractor. To include a full time Site manager, Temporary Works Designer, and Temporary Works Co-ordinator. Allow for all costs incurred in complying with requirements of current Health and Safety legislation. The contractor is to comply in all respects with current building regulations, British standards, approved codes of practice, product manufactures recommendations and specifications, whether or not specifically stated in this schedule or not. | item | 1 | 0 | 0
8 |  | All works in a public highway must be carried out by a licensed and local authority approved contractor. No works are to commence until all necessary notices have been served and the local authority has approved. This will also apply to scaffolding and temporary works on public highways and footpaths. The contractor is responsible for liaising with the relevant departments and submitting a Section 171 notice to the local authority (M.T.C.B.C) prior to any works commencing. | item | 1 | 0 | 0
9 |  | Carry out all pre-commencement inspections/surveys specified by the engineer and client to ensure that all works can be carried out strictly in accordance with drawings/specifications provided, and to the methods stated by any product manufacturers. Any element of the design that is affected by the Contractor’s chosen phasing for construction must be notified to the design Structural Engineer to ensure that it will not be averse to the design or compromise the specified materials. Prior to commencement the contractor must carry out a schedule of condition survey including photographs of the existing adjacent walls and fences to avoid any issues. | item | 1 | 0 | 0
10 |  | Provide, maintain and remove on completion temporary secure fencing to site. Provide adequate pedestrian safety barriers during course of works. Contractor to ensure safety barriers are erected at all times to separate all working areas from tenants/members of the public. Maintain access routes for residents and local traffic with reasonable provision for residents parking. Maintain secure fencing to working area and ground excavations and slopes. | item | 1 | 0 | 0
11 |  | The Contractor is to protect and maintain all drains, gullies, etc, both within the property boundaries and those of the adjoining properties which may be affected by the works. | item | 1 | 0 | 0
12 |  | Contractor to ensure all areas are investigated for the presence of utility services. Contact should be made with the owners/operators of services for information about the location and status of the services. Those owners and operators should in turn provide any relevant information about the location of services in the proposed work areas. All areas should be cat scanned using a fully calibrated “CAT” (Cable Avoidance Tool) operated by an experienced and fully competent operative, working from service drawings (electricity, water, gas, etc). Contractor is responsible for scanning of whole site area for services prior to commencing work and care must be taken when excavating the area. Identify and protect underground and overhead services in and around the work area. | item | 1 | 0 | 0
13 |  | Allow for protecting the existing wall, buildings, grounds, highways, paths etc whilst the works are in progress. The Contractor will be responsible for all damages and will be required to rectify any damage caused. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations and slopes. | item | 1 | 0 | 0
14 |  | All materials and/or debris arising from the works, are to be carted away to a tip off-site provided at the Contractor’s expense. | item | 1 | 0 | 0
c)Demolition Works
15 |  | The Contractor is responsible for assessing the temporary works required to achieve the finished article. The Contractor must also consider the phasing of their works and its effects on temporary works. All temporary works are the design responsibility of the Contractor. Contractor to formally appoint a suitably qualified Temporary Works Designer and Co-ordinator. All Demolition and Temporary Works to be carried out in accordance with Temporary Works Design and Co - ordinated by the Temporary Works Co-ordinator and site manager. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations, and slopes. | Item | 1 | 0 | 0
16 |  | Demolish existing retaining wall and dispose of rubble off site. Excavate ground as required, remove all tree stumps and vegetation, allowing for battering back and temporary slopes that will remain stable. Dispose of surplus materials. Identify and save any topsoil for re-use. Make provision for managing drainage from gardens and road. | Item | 1 | 0 | 0
17 |  | If any existing service apparatus are effected by the works. The Contractor shall be responsible for placing the orders for all necessary diversions and or new connections. These designs may be subject to fees from the owners/operators. | Provisional Item | 1 | 0 | 0
d) Construction Of New Retaining Wall
18 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. Including grubbing up of existing foundations. | Item | 1 | 0 | 0
19 |  | Supply and placement of Sub - base and blinding layers as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
20 |  | Construct wall as per structural engineers Option 1 - mass gravity retaining wall blockwork. (When chosen option is confirmed Structural engineer will provide further details). | Item | 1 | 0 | 0
21 |  | Supply and placement of backfill, perforated pipe. Coat rear of wall with bitumastic compound. | Item | 1 | 0 | 0
22 |  | Structural Engineer to be notified at various agreed stages to carry out site inspections and verify works are in accordance with the design. | Item | 1 | 0 | 0
23 |  | Footpath and surrounding ground to be made good as required. | Item | 1 | 0 | 0
e) Construction of fencing, steps, handrails within the rear curtilage
24 |  | Agree position of access steps/landings with client, and set out. Exact position to be confirmed with Client following initial earthworks. | Item | 1 | 0 | 0
25 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. | Item | 1 | 0 | 0
26 |  | Supply and placement of well compacted type 1 sub-base. | Item | 1 | 0 | 0
27 |  | Supply, cutting, bending and placement of mesh reinforcement as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
28 |  | Provide and fix formwork/shuttering to support concrete. | Item | 1 | 0 | 0
29 |  | Supply and construct reinforced concrete access steps and landings conforming to building regulations, British standards, codes of practice, to enable safe access from existing patio area on higher ground to lower level of rear curtilage. | Item | 1 | 0 | 0
30 |  | Supply and construct 215mm engineering brickwork wing walls as required to be built of concrete base. | Item | 1 | 0 | 0
31 |  | Supply and erect new chain-link fencing behind new retaining wall. 1.80m high with precast concrete posts cast into concrete, three 2.5mm Dia galvanised mild steel line wires and galvanised or plastic coated steel chain-link fencing complete. Contractor to ensure new fence posts foundations are independent of the new retaining wall. | Item | 1 | 0 | 0
32 |  | Supply and install galvanised metal handrails to both sides of steps conforming to building regulations, British standards, codes of practice. | Item | 1 | 0 | 0
33 |  | Create access within existing chain-link fencing at top of rear curtilage. | Item | 1 | 0 | 0
34 |  | Supply and Install galvanised mild steel gate including posts, latch, stop, and hinges. | Item | 1 | 0 | 0
35 |  | Allow for resetting any service inspection chamber lids, frames, covers etc. | Item | 1 | 0 | 0
[5 empty] | Sub-Total | 0
[5 empty] | Allow here for a 10% contingency | 0
[5 empty] | Total | 0
Link to Environmental Sensors here

## Option 2
Merthyr Valleys Homes - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall and all associated rear curtilage works at 47 Bro Dawel, Merthyr Tydfil - Pricing Schedule for completion.
Name of Bidder_______________________________
*Please complete the pricing table below, which will constitute your offer to deliver the works.
*Costs are GBP and exclusive of VAT.
*The following scope of works has been produced to provide an overall estimate of the necessary works to complete the project.
*Bidders must survey the site, verify all scope of works, identify any potential extras, and provide accurate final costs for the works, whether expressly included in the below schedules or not.
*Compensation events will only raised if there is significant unforeseen structural works that could not be identified.
*Rates are 'all-in' and must be inclusive of all materials, labour, prelim costs to deliver the requirements of M.V.H in line with the tender instructions, whether expressly included or not.
*Where 'item is stated' the rates submitted must include for all works associated with this item of work.
Item No | Area Heading | DESCRIPTION OF WORKS | Unit | Quantity - To be amended by contractor if required | Rate (£ ex VAT) | Total Cost (£ ex VAT) | Comments
a) Project information
1 |  | Location - 47 Bro Dawel, Merthyr Tydfil, CF47 0YU. | Info | Info
2 |  | Scope of works - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall as per structural engineers design with additional associated works within the rear curtilage. | Info | Info
3 |  | The contact person for visiting site to inspect for quotation purposes is Nicholas Daley - Email: - Nick.Daley@mvhomes.org.uk. | Info | Info
4 |  | This schedule of work is for pricing purpose and is not a guide to the sequence of work. The scope of works has been produced to provide an overall estimate of costs. The contractor must read all structural engineers drawings and specification documents thoroughly, attend site, verify all scope of works, identify any potential extras, and provide accurate final estimated cost of works. Compensation events will only be raised if there is significant unforeseen works that could not be identified. | Info | Info
5 |  | Price to include all labour, materials, and equipment necessary to fully complete the works. All measurements and sizes indicated in this schedule of work and the accompanying drawings are for reference only – all measurements should be checked and verified on site. Any discrepancies, inaccuracies etc found when carrying out the works must be reported to the Contract administrator and Client immediately. | Info | Info
b) Preliminaries & Enabling Works
6 |  | Site Establishment Package to Include - signage, PPE, site protection, first aid, setup of welfare and storage cabins. Allow for disposal off site of all waste materials at a licensed facility for recycling where possible, with evidence of all waste transfer notes . Wash down and clear all areas, leave site in clean condition on completion. Set up and secure site facilities with storage area for deliveries and for surplus materials to be disposed off site. Specific details to be agreed with M.V.H and Merthyr Tydfil County Borough Council where applicable with all licence agreements in place. | item | 1 | 0 | 0
7 |  | Health and Safety - This project is governed by the requirements of the Construction, Design and Management Regulations (CDM 2015) and the Contractor shall include for all costs in discharging their duties and obligations as Principal Contractor. To include a full time Site manager, Temporary Works Designer, and Temporary Works Co-ordinator. Allow for all costs incurred in complying with requirements of current Health and Safety legislation. The contractor is to comply in all respects with current building regulations, British standards, approved codes of practice, product manufactures recommendations and specifications, whether or not specifically stated in this schedule or not. | item | 1 | 0 | 0
8 |  | All works in a public highway must be carried out by a licensed and local authority approved contractor. No works are to commence until all necessary notices have been served and the local authority has approved. This will also apply to scaffolding and temporary works on public highways and footpaths. The contractor is responsible for liaising with the relevant departments and submitting a Section 171 notice to the local authority (M.T.C.B.C) prior to any works commencing. | item | 1 | 0 | 0
9 |  | Carry out all pre-commencement inspections/surveys specified by the engineer and client to ensure that all works can be carried out strictly in accordance with drawings/specifications provided, and to the methods stated by any product manufacturers. Any element of the design that is affected by the Contractor’s chosen phasing for construction must be notified to the design Structural Engineer to ensure that it will not be averse to the design or compromise the specified materials. Prior to commencement the contractor must carry out a schedule of condition survey including photographs of the existing adjacent walls and fences to avoid any issues. | item | 1 | 0 | 0
10 |  | Provide, maintain and remove on completion temporary secure fencing to site. Provide adequate pedestrian safety barriers during course of works. Contractor to ensure safety barriers are erected at all times to separate all working areas from tenants/members of the public. Maintain access routes for residents and local traffic with reasonable provision for residents parking. Maintain secure fencing to working area and ground excavations and slopes. | item | 1 | 0 | 0
11 |  | The Contractor is to protect and maintain all drains, gullies, etc, both within the property boundaries and those of the adjoining properties which may be affected by the works. | item | 1 | 0 | 0
12 |  | Contractor to ensure all areas are investigated for the presence of utility services. Contact should be made with the owners/operators of services for information about the location and status of the services. Those owners and operators should in turn provide any relevant information about the location of services in the proposed work areas. All areas should be cat scanned using a fully calibrated “CAT” (Cable Avoidance Tool) operated by an experienced and fully competent operative, working from service drawings (electricity, water, gas, etc). Contractor is responsible for scanning of whole site area for services prior to commencing work and care must be taken when excavating the area. Identify and protect underground and overhead services in and around the work area. | item | 1 | 0 | 0
13 |  | Allow for protecting the existing wall, buildings, grounds, highways, paths etc whilst the works are in progress. The Contractor will be responsible for all damages and will be required to rectify any damage caused. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations and slopes. | item | 1 | 0 | 0
14 |  | All materials and/or debris arising from the works, are to be carted away to a tip off-site provided at the Contractor’s expense. | item | 1 | 0 | 0
c)Demolition Works
15 |  | The Contractor is responsible for assessing the temporary works required to achieve the finished article. The Contractor must also consider the phasing of their works and its effects on temporary works. All temporary works are the design responsibility of the Contractor. Contractor to formally appoint a suitably qualified Temporary Works Designer and Co-ordinator. All Demolition and Temporary Works to be carried out in accordance with Temporary Works Design and Co - ordinated by the Temporary Works Co-ordinator and site manager. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations, and slopes. | Item | 1 | 0 | 0
16 |  | Demolish existing retaining wall and dispose of rubble off site. Excavate ground as required, remove all tree stumps and vegetation, allowing for battering back and temporary slopes that will remain stable. Dispose of surplus materials. Identify and save any topsoil for re-use. Make provision for managing drainage from gardens and road. | Item | 1 | 0 | 0
17 |  | If any existing service apparatus are effected by the works. The Contractor shall be responsible for placing the orders for all necessary diversions and or new connections. These designs may be subject to fees from the owners/operators. | Provisional Item | 1 | 0 | 0
d) Construction Of New Retaining Wall
18 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. Including grubbing up of existing foundations. | Item | 1 | 0 | 0
19 |  | Supply and placement of Sub - base and blinding layers as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
20 |  | Construct wall as per structural engineers - Option 2 - Mass engineering brick retaining wall. ( when chosen option is confirmed, structural engineer will provide further details). | Item | 1 | 0 | 0
21 |  | Supply and placement of backfill, perforated pipe. Coat rear of wall with bitumastic compound. | Item | 1 | 0 | 0
22 |  | Structural Engineer to be notified at various agreed stages to carry out site inspections and verify works are in accordance with the design. | Item | 1 | 0 | 0
23 |  | Footpath and surrounding ground to be made good as required. | Item | 1 | 0 | 0
e) Construction of fencing, steps, handrails within the rear curtilage
24 |  | Agree position of access steps/landings with client, and set out. Exact position to be confirmed with Client following initial earthworks. | Item | 1 | 0 | 0
25 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. | Item | 1 | 0 | 0
26 |  | Supply and placement of well compacted type 1 sub-base. | Item | 1 | 0 | 0
27 |  | Supply, cutting, bending and placement of mesh reinforcement as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
28 |  | Provide and fix formwork/shuttering to support concrete. | Item | 1 | 0 | 0
29 |  | Supply and construct reinforced concrete access steps and landings conforming to building regulations, British standards, codes of practice, to enable safe access from existing patio area on higher ground to lower level of rear curtilage. | Item | 1 | 0 | 0
30 |  | Supply and construct 215mm engineering brickwork wing walls as required to be built of concrete base. | Item | 1 | 0 | 0
31 |  | Supply and erect new chain-link fencing behind new retaining wall. 1.80m high with precast concrete posts cast into concrete, three 2.5mm Dia galvanised mild steel line wires and galvanised or plastic coated steel chain-link fencing complete. Contractor to ensure new fence posts foundations are independent of the new retaining wall. | Item | 1 | 0 | 0
32 |  | Supply and install galvanised metal handrails to both sides of steps conforming to building regulations, British standards, codes of practice. | Item | 1 | 0 | 0
33 |  | Create access within existing chain-link fencing at top of rear curtilage. | Item | 1 | 0 | 0
34 |  | Supply and Install galvanised mild steel gate including posts, latch, stop, and hinges. | Item | 1 | 0 | 0
35 |  | Allow for resetting any service inspection chamber lids, frames, covers etc. | Provisional Item | 1 | 0 | 0
[5 empty] | Sub-Total | 0
[5 empty] | Allow here for a 10% contingency | 0
[5 empty] | Total | 0
Link to Environmental Sensors here

## Option 3
Merthyr Valleys Homes - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall and all associated rear curtilage works at 47 Bro Dawel, Merthyr Tydfil - Pricing Schedule for completion.
Name of Bidder_______________________________
*Please complete the pricing table below, which will constitute your offer to deliver the works.
*Costs are GBP and exclusive of VAT.
*The following scope of works has been produced to provide an overall estimate of the necessary works to complete the project.
*Bidders must survey the site, verify all scope of works, identify any potential extras, and provide accurate final costs for the works, whether expressly included in the below schedules or not.
*Compensation events will only raised if there is significant unforeseen structural works that could not be identified.
*Rates are 'all-in' and must be inclusive of all materials, labour, prelim costs to deliver the requirements of M.V.H in line with the tender instructions, whether expressly included or not.
*Where 'item is stated' the rates submitted must include for all works associated with this item of work.
Item No | Area Heading | DESCRIPTION OF WORKS | Unit | Quantity - To be amended by contractor if required | Rate (£ ex VAT) | Total Cost (£ ex VAT) | Comments
a) Project information
1 |  | Location - 47 Bro Dawel, Merthyr Tydfil, CF47 0YU. | Info | Info
2 |  | Scope of works - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall as per structural engineers design with additional associated works within the rear curtilage. | Info | Info
3 |  | The contact person for visiting site to inspect for quotation purposes is Nicholas Daley - Email: - Nick.Daley@mvhomes.org.uk. | Info | Info
4 |  | This schedule of work is for pricing purpose and is not a guide to the sequence of work. The scope of works has been produced to provide an overall estimate of costs. The contractor must read all structural engineers drawings and specification documents thoroughly, attend site, verify all scope of works, identify any potential extras, and provide accurate final estimated cost of works. Compensation events will only be raised if there is significant unforeseen works that could not be identified. | Info | Info
5 |  | Price to include all labour, materials, and equipment necessary to fully complete the works. All measurements and sizes indicated in this schedule of work and the accompanying drawings are for reference only – all measurements should be checked and verified on site. Any discrepancies, inaccuracies etc found when carrying out the works must be reported to the Contract administrator and Client immediately. | Info | Info
b) Preliminaries & Enabling Works
6 |  | Site Establishment Package to Include - signage, PPE, site protection, first aid, setup of welfare and storage cabins. Allow for disposal off site of all waste materials at a licensed facility for recycling where possible, with evidence of all waste transfer notes . Wash down and clear all areas, leave site in clean condition on completion. Set up and secure site facilities with storage area for deliveries and for surplus materials to be disposed off site. Specific details to be agreed with M.V.H and Merthyr Tydfil County Borough Council where applicable with all licence agreements in place. | item | 1 | 0 | 0
7 |  | Health and Safety - This project is governed by the requirements of the Construction, Design and Management Regulations (CDM 2015) and the Contractor shall include for all costs in discharging their duties and obligations as Principal Contractor. To include a full time Site manager, Temporary Works Designer, and Temporary Works Co-ordinator. Allow for all costs incurred in complying with requirements of current Health and Safety legislation. The contractor is to comply in all respects with current building regulations, British standards, approved codes of practice, product manufactures recommendations and specifications, whether or not specifically stated in this schedule or not. | item | 1 | 0 | 0
8 |  | All works in a public highway must be carried out by a licensed and local authority approved contractor. No works are to commence until all necessary notices have been served and the local authority has approved. This will also apply to scaffolding and temporary works on public highways and footpaths. The contractor is responsible for liaising with the relevant departments and submitting a Section 171 notice to the local authority (M.T.C.B.C) prior to any works commencing. | item | 1 | 0 | 0
9 |  | Carry out all pre-commencement inspections/surveys specified by the engineer and client to ensure that all works can be carried out strictly in accordance with drawings/specifications provided, and to the methods stated by any product manufacturers. Any element of the design that is affected by the Contractor’s chosen phasing for construction must be notified to the design Structural Engineer to ensure that it will not be averse to the design or compromise the specified materials. Prior to commencement the contractor must carry out a schedule of condition survey including photographs of the existing adjacent walls and fences to avoid any issues. | item | 1 | 0 | 0
10 |  | Provide, maintain and remove on completion temporary secure fencing to site. Provide adequate pedestrian safety barriers during course of works. Contractor to ensure safety barriers are erected at all times to separate all working areas from tenants/members of the public. Maintain access routes for residents and local traffic with reasonable provision for residents parking. Maintain secure fencing to working area and ground excavations and slopes. | item | 1 | 0 | 0
11 |  | The Contractor is to protect and maintain all drains, gullies, etc, both within the property boundaries and those of the adjoining properties which may be affected by the works. | item | 1 | 0 | 0
12 |  | Contractor to ensure all areas are investigated for the presence of utility services. Contact should be made with the owners/operators of services for information about the location and status of the services. Those owners and operators should in turn provide any relevant information about the location of services in the proposed work areas. All areas should be cat scanned using a fully calibrated “CAT” (Cable Avoidance Tool) operated by an experienced and fully competent operative, working from service drawings (electricity, water, gas, etc). Contractor is responsible for scanning of whole site area for services prior to commencing work and care must be taken when excavating the area. Identify and protect underground and overhead services in and around the work area. | item | 1 | 0 | 0
13 |  | Allow for protecting the existing wall, buildings, grounds, highways, paths etc whilst the works are in progress. The Contractor will be responsible for all damages and will be required to rectify any damage caused. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations and slopes. | item | 1 | 0 | 0
14 |  | All materials and/or debris arising from the works, are to be carted away to a tip off-site provided at the Contractor’s expense. | item | 1 | 0 | 0
c)Demolition Works
15 |  | The Contractor is responsible for assessing the temporary works required to achieve the finished article. The Contractor must also consider the phasing of their works and its effects on temporary works. All temporary works are the design responsibility of the Contractor. Contractor to formally appoint a suitably qualified Temporary Works Designer and Co-ordinator. All Demolition and Temporary Works to be carried out in accordance with Temporary Works Design and Co - ordinated by the Temporary Works Co-ordinator and site manager. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations, and slopes. | Item | 1 | 0 | 0
16 |  | Demolish existing retaining wall and dispose of rubble off site. Excavate ground as required, remove all tree stumps and vegetation, allowing for battering back and temporary slopes that will remain stable. Dispose of surplus materials. Identify and save any topsoil for re-use. Make provision for managing drainage from gardens and road. | Item | 1 | 0 | 0
17 |  | If any existing service apparatus are effected by the works. The Contractor shall be responsible for placing the orders for all necessary diversions and or new connections. These designs may be subject to fees from the owners/operators. | Provisional Item | 1 | 0 | 0
d) Construction Of New Retaining Wall
18 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. Including grubbing up of existing foundations. | Item | 1 | 0 | 0
19 |  | Supply and placement of Sub - base and blinding layers as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
20 |  | Construct wall as per structural engineers Option 3 - Grouted cavity retaining wall. (Full structural details provided for this option). | Item | 1 | 0 | 0
21 |  | Supply and placement of backfill, perforated pipe. Coat rear of wall with bitumastic compound. | Item | 1 | 0 | 0
22 |  | Structural Engineer to be notified at various agreed stages to carry out site inspections and verify works are in accordance with the design. | Item | 1 | 0 | 0
23 |  | Footpath and surrounding ground to be made good as required. | Item | 1 | 0 | 0
e) Construction of fencing, steps, handrails within the rear curtilage
24 |  | Agree position of access steps/landings with client, and set out. Exact position to be confirmed with Client following initial earthworks. | Item | 1 | 0 | 0
25 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. | Item | 1 | 0 | 0
26 |  | Supply and placement of well compacted type 1 sub-base. | Item | 1 | 0 | 0
27 |  | Supply, cutting, bending and placement of mesh reinforcement as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
28 |  | Provide and fix formwork/shuttering to support concrete. | Item | 1 | 0 | 0
29 |  | Supply and construct reinforced concrete access steps and landings conforming to building regulations, British standards, codes of practice, to enable safe access from existing patio area on higher ground to lower level of rear curtilage. | Item | 1 | 0 | 0
30 |  | Supply and construct 215mm engineering brickwork wing walls as required to be built of concrete base. | Item | 1 | 0 | 0
31 |  | Supply and erect new chain-link fencing behind new retaining wall. 1.80m high with precast concrete posts cast into concrete, three 2.5mm Dia galvanised mild steel line wires and galvanised or plastic coated steel chain-link fencing complete. Contractor to ensure new fence posts foundations are independent of the new retaining wall. | Item | 1 | 0 | 0
32 |  | Supply and install galvanised metal handrails to both sides of steps conforming to building regulations, British standards, codes of practice. | Item | 1 | 0 | 0
33 |  | Create access within existing chain-link fencing at top of rear curtilage. | Item | 1 | 0 | 0
34 |  | Supply and Install galvanised mild steel gate including posts, latch, stop, and hinges. | Item | 1 | 0 | 0
35 |  | Allow for resetting any service inspection chamber lids, frames, covers etc. | Provisional Item | 1 | 0 | 0
[5 empty] | Sub-Total | 0
[5 empty] | Allow here for a 10% contingency | 0
[5 empty] | Total | 0
Link to Environmental Sensors here

## Option 4
Merthyr Valleys Homes - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall and all associated rear curtilage works at 47 Bro Dawel, Merthyr Tydfil - Pricing Schedule for completion.
Name of Bidder_______________________________
*Please complete the pricing table below, which will constitute your offer to deliver the works.
*Costs are GBP and exclusive of VAT.
*The following scope of works has been produced to provide an overall estimate of the necessary works to complete the project.
*Bidders must survey the site, verify all scope of works, identify any potential extras, and provide accurate final costs for the works, whether expressly included in the below schedules or not.
*Compensation events will only raised if there is significant unforeseen structural works that could not be identified.
*Rates are 'all-in' and must be inclusive of all materials, labour, prelim costs to deliver the requirements of M.V.H in line with the tender instructions, whether expressly included or not.
*Where 'item is stated' the rates submitted must include for all works associated with this item of work.
Item No | Area Heading | DESCRIPTION OF WORKS | Unit | Quantity - To be amended by contractor if required | Rate (£ ex VAT) | Total Cost (£ ex VAT) | Comments
a) Project information
1 |  | Location - 47 Bro Dawel, Merthyr Tydfil, CF47 0YU. | Info | Info
2 |  | Scope of works - Demolition of existing retaining wall, site clearance, enabling works, construction of new retaining wall as per structural engineers design with additional associated works within the rear curtilage. | Info | Info
3 |  | The contact person for visiting site to inspect for quotation purposes is Nicholas Daley - Email: - Nick.Daley@mvhomes.org.uk. | Info | Info
4 |  | This schedule of work is for pricing purpose and is not a guide to the sequence of work. The scope of works has been produced to provide an overall estimate of costs. The contractor must read all structural engineers drawings and specification documents thoroughly, attend site, verify all scope of works, identify any potential extras, and provide accurate final estimated cost of works. Compensation events will only be raised if there is significant unforeseen works that could not be identified. | Info | Info
5 |  | Price to include all labour, materials, and equipment necessary to fully complete the works. All measurements and sizes indicated in this schedule of work and the accompanying drawings are for reference only – all measurements should be checked and verified on site. Any discrepancies, inaccuracies etc found when carrying out the works must be reported to the Contract administrator and Client immediately. | Info | Info
b) Preliminaries & Enabling Works
6 |  | Site Establishment Package to Include - signage, PPE, site protection, first aid, setup of welfare and storage cabins. Allow for disposal off site of all waste materials at a licensed facility for recycling where possible, with evidence of all waste transfer notes . Wash down and clear all areas, leave site in clean condition on completion. Set up and secure site facilities with storage area for deliveries and for surplus materials to be disposed off site. Specific details to be agreed with M.V.H and Merthyr Tydfil County Borough Council where applicable with all licence agreements in place. | item | 1 | 0 | 0
7 |  | Health and Safety - This project is governed by the requirements of the Construction, Design and Management Regulations (CDM 2015) and the Contractor shall include for all costs in discharging their duties and obligations as Principal Contractor. To include a full time Site manager, Temporary Works Designer, and Temporary Works Co-ordinator. Allow for all costs incurred in complying with requirements of current Health and Safety legislation. The contractor is to comply in all respects with current building regulations, British standards, approved codes of practice, product manufactures recommendations and specifications, whether or not specifically stated in this schedule or not. | item | 1 | 0 | 0
8 |  | All works in a public highway must be carried out by a licensed and local authority approved contractor. No works are to commence until all necessary notices have been served and the local authority has approved. This will also apply to scaffolding and temporary works on public highways and footpaths. The contractor is responsible for liaising with the relevant departments and submitting a Section 171 notice to the local authority (M.T.C.B.C) prior to any works commencing. | item | 1 | 0 | 0
9 |  | Carry out all pre-commencement inspections/surveys specified by the engineer and client to ensure that all works can be carried out strictly in accordance with drawings/specifications provided, and to the methods stated by any product manufacturers. Any element of the design that is affected by the Contractor’s chosen phasing for construction must be notified to the design Structural Engineer to ensure that it will not be averse to the design or compromise the specified materials. Prior to commencement the contractor must carry out a schedule of condition survey including photographs of the existing adjacent walls and fences to avoid any issues. | item | 1 | 0 | 0
10 |  | Provide, maintain and remove on completion temporary secure fencing to site. Provide adequate pedestrian safety barriers during course of works. Contractor to ensure safety barriers are erected at all times to separate all working areas from tenants/members of the public. Maintain access routes for residents and local traffic with reasonable provision for residents parking. Maintain secure fencing to working area and ground excavations and slopes. | item | 1 | 0 | 0
11 |  | The Contractor is to protect and maintain all drains, gullies, etc, both within the property boundaries and those of the adjoining properties which may be affected by the works. | item | 1 | 0 | 0
12 |  | Contractor to ensure all areas are investigated for the presence of utility services. Contact should be made with the owners/operators of services for information about the location and status of the services. Those owners and operators should in turn provide any relevant information about the location of services in the proposed work areas. All areas should be cat scanned using a fully calibrated “CAT” (Cable Avoidance Tool) operated by an experienced and fully competent operative, working from service drawings (electricity, water, gas, etc). Contractor is responsible for scanning of whole site area for services prior to commencing work and care must be taken when excavating the area. Identify and protect underground and overhead services in and around the work area. | item | 1 | 0 | 0
13 |  | Allow for protecting the existing wall, buildings, grounds, highways, paths etc whilst the works are in progress. The Contractor will be responsible for all damages and will be required to rectify any damage caused. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations and slopes. | item | 1 | 0 | 0
14 |  | All materials and/or debris arising from the works, are to be carted away to a tip off-site provided at the Contractor’s expense. | item | 1 | 0 | 0
c)Demolition Works
15 |  | The Contractor is responsible for assessing the temporary works required to achieve the finished article. The Contractor must also consider the phasing of their works and its effects on temporary works. All temporary works are the design responsibility of the Contractor. Contractor to formally appoint a suitably qualified Temporary Works Designer and Co-ordinator. All Demolition and Temporary Works to be carried out in accordance with Temporary Works Design and Co - ordinated by the Temporary Works Co-ordinator and site manager. Allow for working in a sequence to maintain stability of partially constructed or demolished structures, excavations, and slopes. | Item | 1 | 0 | 0
16 |  | Demolish existing retaining wall and dispose of rubble off site. Excavate ground as required, remove all tree stumps and vegetation, allowing for battering back and temporary slopes that will remain stable. Dispose of surplus materials. Identify and save any topsoil for re-use. Make provision for managing drainage from gardens and road. | Item | 1 | 0 | 0
17 |  | If any existing service apparatus are effected by the works. The Contractor shall be responsible for placing the orders for all necessary diversions and or new connections. These designs may be subject to fees from the owners/operators. | Provisional Item | 1 | 0 | 0
d) Construction Of New Retaining Wall
18 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. Including grubbing up of existing foundations. | Item | 1 | 0 | 0
19 |  | Supply and placement of Sub - base and blinding layers as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
20 |  | Construct wall as per structural engineers - Option 4 - Gabion Basket retaining wall. (When chosen option is confirmed Structural engineer will provide further details). | Item | 1 | 0 | 0
21 |  | Supply and placement of backfill, perforated pipe. | Item | 1 | 0 | 0
22 |  | Structural Engineer to be notified at various agreed stages to carry out site inspections and verify works are in accordance with the design. | Item | 1 | 0 | 0
23 |  | Footpath and surrounding ground to be made good as required. | Item | 1 | 0 | 0
e) Construction of fencing, steps, handrails within the rear curtilage
24 |  | Agree position of access steps/landings with client, and set out. Exact position to be confirmed with Client following initial earthworks. | Item | 1 | 0 | 0
25 |  | Excavate for new foundations to allow for foundation depths widths specified within structural engineering drawings/specifications. | Item | 1 | 0 | 0
26 |  | Supply and placement of well compacted type 1 sub-base. | Item | 1 | 0 | 0
27 |  | Supply, cutting, bending and placement of mesh reinforcement as per structural engineers drawings and specification provided. | Item | 1 | 0 | 0
28 |  | Provide and fix formwork/shuttering to support concrete. | Item | 1 | 0 | 0
29 |  | Supply and construct reinforced concrete access steps and landings conforming to building regulations, British standards, codes of practice, to enable safe access from existing patio area on higher ground to lower level of rear curtilage. | Item | 1 | 0 | 0
30 |  | Supply and construct 215mm engineering brickwork wing walls as required to be built of concrete base. | Item | 1 | 0 | 0
31 |  | Supply and erect new chain-link fencing behind new retaining wall. 1.80m high with precast concrete posts cast into concrete, three 2.5mm Dia galvanised mild steel line wires and galvanised or plastic coated steel chain-link fencing complete. Contractor to ensure new fence posts foundations are independent of the new retaining wall. | Item | 1 | 0 | 0
32 |  | Supply and install galvanised metal handrails to both sides of steps conforming to building regulations, British standards, codes of practice. | Item | 1 | 0 | 0
33 |  | Create access within existing chain-link fencing at top of rear curtilage. | Item | 1 | 0 | 0
34 |  | Supply and Install galvanised mild steel gate including posts, latch, stop, and hinges. | Item | 1 | 0 | 0
35 |  | Allow for resetting any service inspection chamber lids, frames, covers etc. | Provisional Item | 1 | 0 | 0
[5 empty] | Sub-Total | 0
[5 empty] | Allow here for a 10% contingency | 0
[5 empty] | Total | 0
Link to Environmental Sensors here