## Sheet1
Bron Afon Property Specification
Item |  |  | Manufacturer | General Needs | Dimensions | OAP/Disabled
Taps | Sink | Hot | Briston | Hi Lever | 1/2"
|  | Cold |  | VALHNKC-C-D | 1/2"
|  | Pair |  | Non Temperauture controlled
| Bath | Hot | Briston | AR2THLBSMC | 3/4"
|  | Cold |  | Temperature Controlled | 3/4"
| WHB | Hot | Briston | JU1/2C | 1/2"
|  | Cold |  | Non Temperauture controlled | 1/2"
Shower | Bath |  | Methven | Methven SHTLV106 | 3/4"
Mixer
Electric Shower | Shower |  | Mira | Advanced Flex 1785.003
Bath | Standard |  | Roca Carla | A2374L3000 | 1700 x 700
Bath |  |  | Tavistock | 313 | 1700
Panels |  |  | End Panel | 317 | 700
WHB | Basin |  | Twyford | OT421WH | 550 x 410
| Pedestal |  | Twyford | OT4910WH
Toilet | WC Pan |  | Twyford | OT1148WH | Close Coupled
| Cistern |  | Twyford | OT2396WH | 6 Litre Dual Flush
| Dual Flush |  |  |  | Push Button
| Seat |  | Celmac | sem18wh
|  |  | Carrara Matta | 108065000
Shower |  |  | AKW | Surveyor to request model & size | Various | Standard Sulby Tray
Tray
Shower |  |  | AKW | Surveyor to request model & size | To Suit Tray | Sulby Various Options
Screen
Grab |  |  | AKW | Surveyor to request model & size |  |  | Ref: 01610BU
Rail
Shower |  |  | AKW | Surveyor to request model & size |  | 4000 Series Blue Ref: 04070P
Seat
Kitchen | All |  | Benchmarx | Range:- Benchmarx | Various
Units |  |  | Benchmarx | Unit Type:- Draw Line | As Per Plan
Kitchen | All |  | Benchmarx | T Bar 128 |  | T Bar 128
Unit |  |  |  | 128M Bow Dimples |  | 128M Bow Dimples
Handles |  |  | Benchmarx | 128M Chrome Arch |  | 128M Chrome Arch
Worktop |  |  | Benchmarx | 128M Bow |  | 128M Bow
Kitchen | All |  | Lexin (Left or Right) | LE95 | 950 x 508 | Inset Stainless Steel Single
Sink |  |  | Supply |  |  | Bowl With Drainer
Unit | All |  | Benchmark | Colour Coordinated to | 150 x 15 | Colour Coordinated to
Plinth |  |  |  | Door Colour |  | Door Colour
Wall | Kitchen |  | Bumpy White | Ref: NB8690 | 250 x 152 X 6
152 x 152 X 6
Tiles | Bathroom |  |  |  | 152 X 152 X 6
Flooring | Kitchen & |  | IVC
Bathroom
Bathroom | Robus |  | Robus - Golf 10W LED Fitting - R100LED-01
Light
Kitchen |  |  | Ceasar 5ft 48W LED Batten - RCA484015-01
Light
Extractor | Kitchen |  | Vent Axia Low Carbon Response 7 |  | Through Wall
Fan
Extractor | Bathroom |  | Vent Axia Low Carbon Response 7 (SELV) |  | Through Wall
Fan
Shower | Bathroom |  | Gelson |  | Straight
Rail | Bathroom |  | Gelson |  | Angled
| Bathroom |  | Gelson |  | U Shape
Electric |  |  | Mira | 1.1785.003 | 8.5kW | Red ring seltronic
Shower
Consumer |  |  | Hager VM955H
Switchgear
Light |  |  | Hager Sollysta WMPS
Switches
Switched |  |  | Hager Sollysta WMSS
Sockets
Unswitched |  |  | Hager Sollysta WMS
Sockets
Cooker |  |  | Hager Sollysta WMCC50N
Control
Cooker |  |  | Hager Sollysta WMP50FO
Outlet
UPVC |  |  | Marshall-Tufflex or EGA
Trunking
External |  |  | Robus RKE00740PIR-01
Light
Smoke Alarms | All areas |  | AICO | EI3016 (Hard wired) or with the use of the Ei168RC Radio Link Base and when applicable Ei1529RC Remote fire alarm control switch.
HEAT/CO Alarm Multi Sensor | All areas |  | AICO | EI3028
Multi Sensor | All areas |  | AICO | 3000 Series / 83030, 83028, 83024
Combi Boiler | Valiant Eco-Fit |  | Sustain 830C | 10020393
Thermostat | Dan Foss |  |  | TP5001RF RX1-S
Room Programer |  |  | Dan Foss | TP5000SI
Positive Pressure Ventilation | Nuaire |  | Drymaster ECO Range Heat HCS
Internal Fire Doors | TBC
Front Doors | TBC |  | PVC
Back Doors | TBC
Windows | TBC
Woodwork |  |  | Bull Nose Prfile
Internal doors |  |  | Travis Perkins Brand
IronMongery |  |  | Travis Perkins Brand
Scurtain Boards |  |  | Travis Perkins Brand
Architrave |  |  | Travis Perkins Brand