PASSENGER LIFT SERVICING AND MAINTENANCE SERVICES

VOLUME 3 – SPECIFICATION

(2026)

INDEX

- PURPOSE AND SCOPE

- HEALTH AND SAFETY

- MAINTENANCE AND SERVICING REGIME

- BREAKDOWN AND EMERGENCY RESPONSE

- LOLER THOROUGH EXAMINATION AND DEFECT MANAGEMENT

- SERVICE PROVIDER’S REPRESENTATIVE AND POINT OF CONTACT

- RECORDS, MONITORING AND DIGITAL MANAGEMENT

- PERFORMANCE MANAGEMENT AND KPIs

- RESPONSIBILITY AND GOVERNANCE ALIGNMENT

- DATA PROTECTION, EQUALITY AND COMPLAINTS

- VAT

- IT SECURITY REQUIREMENTS

- WORKING FOR ADRA

1.0 PURPOSE AND SCOPE

This specification sets out the requirements for the servicing, maintenance, statutory compliance, monitoring and management the passenger lifting owned or managed by Adra (Tai) Cyf.

The service area will cover the North and Mid Wales region, within the counties of Gwynedd, Conwy, Denbighshire, Flintshire and Wrexham, and any additional areas where Adra may have stock during the contract duration. Therefore, bidders will be expected to be able to provide full coverage across the whole of this area within the required testing schedules and emergency response times.

Bidders need to be aware that a reactive service is required. Bidders are advised to carefully consider the full details of the scope in detail, the rurality of some locations, and the ad-hoc nature of the emergency & remedial works.

The objective is to ensure that, so far as is reasonably practicable, all communal passenger lifts are maintained in a safe condition, remain compliant with statutory obligations, and do not present a risk to residents, visitors, contractors or members of the public.

This specification aligns with Adra’s legal obligations under, but not limited to:

- Health and Safety at Work etc. Act 1974.

- Management of Health and Safety at Work Regulations 1999.

- Lifting Operations and Lifting Equipment Regulations (LOLER) 1998.

- Provision and Use of Work Equipment Regulations (PUWER) 1998.

- Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013 (RIDDOR).

- HSE Approved Code of Practice L113 – Safe Use of Lifting Equipment.

2.0 HEALTH AND SAFETY

2.1 Risk Assessments

The Service Provider shall demonstrate that suitable and sufficient Risk Assessment procedures are in place and implemented for all activities associated with communal passenger lifts.

Risk Assessments shall include assessment of risks to:

- The Service Provider’s employees and sub-contractors.

- Residents, visitors, inspectors and the public within occupied communal areas.

- Engineers undertaking inspections, servicing and maintenance.

- Any other persons affected by the works.

Risk Assessments shall address requirements under COSHH, LOLER and PUWER and be reviewed:

- Periodically.

- When equipment is modified.

- Where there is a significant change in operating conditions.

Copies shall be made available to the Contract Administrator upon request.

2.2 Method Statements

Method Statements shall be prepared for all servicing, maintenance and repair works and shall include:

- Systems of work and isolation procedures.

- Arrangements for resident safety and continuity of access.

- Control of works within occupied communal areas.

- Compliance with relevant legislation and industry best practice.

Method Statements shall be updated as required throughout the contract term.

2.3 Electrical Works

All electrical works shall be carried out by competent, qualified personnel authorised to self-certify in accordance with the current IEE Wiring Regulations. Electrical Test Certificates shall be supplied following applicable works.

2.4 Asbestos

Where asbestos-containing materials are suspected and not identified within existing records, work shall cease immediately, the area made safe, and the Contract Administrator notified for further instruction.

2.5 Engineer Competence

All engineers working on communal passenger lifts shall be suitably trained, experienced and qualified, holding recognised lift industry qualifications (including LEIA NVQ Level 3 or equivalent) and manufacturer-specific training where applicable.

3.0 MAINTENANCE AND SERVICING REGIME

3.1 Planned Maintenance Frequency

Communal passenger lifts shall be serviced at intervals no greater than:

- Every 3 months from the previous service.

Preventative maintenance shall ensure lifts remain safe, reliable and compliant with statutory requirements.

3.2 Repairs and Component Replacement

Minor component repairs shall, where practicable, be completed during scheduled service visits.
Major repairs shall be planned, agreed with Adra and programmed to minimise disruption.

Only suitable, approved and compatible parts shall be used.

4.0 BREAKDOWN AND EMERGENCY RESPONSE

The Service Provider shall provide a 24/7/365 emergency response service for communal passenger lifts.

Required response times:

- Passenger entrapment: Attendance on site within 1 hour.

- Breakdown (no entrapment): Attendance within 4 hours.

- Service restoration: Reasonable endeavours to restore service within 24 hours.

Where restoration cannot be achieved, the lift shall be isolated, left safe and Adra notified of repair proposals and timescales.

5.0 LOLER THOROUGH EXAMINATION AND DEFECT MANAGEMENT

Any defects identified during a Thorough Examination shall be managed as follows:

- A’ Defects (Red) – Immediate danger

  - Lift removed from service.

  - Defect rectified or made safe within 24 hours.

- B’ Defects (Amber) – Serious but non-immediate risk

  - Rectified within 1 month.

- C’ Defects (Green) – Minor defect

  - Rectified at the next scheduled service.

- Observations / Recommendations

  - Assessed by the Service Provider.

  - Written quotation submitted for Adra approval prior to works.

All defects shall be risk-scored, tracked and audited to completion.

6.0 SERVICE PROVIDER’S REPRESENTATIVE AND POINT OF CONTACT

The Service Provider shall nominate and appoint a suitably qualified and experienced representative to supervise all works undertaken on communal passenger lifts and to act on behalf of the Service Provider for all matters connected with the Contract.

Any duly authorised notice, instruction, information or communication given to the nominated representative shall be deemed to have been given to the Service Provider.

The Service Provider shall provide full and up-to-date contact details for the nominated representative. All enquiries from Adra relating to lift servicing, maintenance activities, breakdowns, resident impact, access arrangements and safety within communal areas shall be directed to the nominated representative for response and coordination.

6.1 Customer Care, Conduct and Site Control in Communal Areas

Adra places a high priority on the delivery of a professional, safe and high-quality service within occupied residential buildings. The Service Provider shall ensure all operatives comply with Adra’s Code of Conduct for Contractors and all requirements set out within the Contract Documentation.

Works to communal passenger lifts shall be planned and executed with due regard to resident safety, accessibility, safeguarding and disruption minimisation.

6.2 On Arrival at Site

- All operatives attending communal areas shall carry valid photographic identification and must present identification when requested by residents, building users or Adra staff.

- Operatives shall clearly explain the nature of the works being undertaken, the anticipated duration and any impact on lift availability where appropriate.

- Appropriate bilingual signage and, where necessary, physical barriers shall be displayed to advise residents that lift works are in progress.

6.3 During the Works

- Operatives shall take all reasonable steps to complete servicing and repair works efficiently and, where practicable, within a single visit.

- Communal areas shall be kept sterile, safe and well always controlled, regarding slip, trip, fall, contamination and access risks.

- Tools, equipment, oils, lubricants and materials shall not be left unattended in communal areas and shall be stored securely to prevent risk to residents and visitors.

- Barriers, isolation procedures and warning signage shall be used where required to segregate work areas and reduce exposure to risk.

- Any accidental damage to communal property shall be reported immediately and made good to Adra’s satisfaction.

- Where works cannot be completed in one visit, the lift and surrounding communal areas shall be left safe, secure and clearly signed, and Adra informed of any residual risks and proposed timescales.

6.4 On Completion of Works

- Operatives shall confirm completion of works and ensure the lift is either safely returned to service or left isolated with clear signage.

- All waste materials, packaging and surplus equipment shall be removed from site, leaving communal areas clean and unobstructed.

- Service visit reports and records shall be completed accurately and submitted in accordance with Contract requirements.

6.5 Standards of Behaviour Always

- Operatives shall behave professionally and respectfully towards residents, visitors, always building users and Adra staff.

- Smoking, consumption of alcohol, inappropriate language, loud music or unprofessional behaviour within communal areas is strictly prohibited.

- Operatives shall be appropriately dressed and continuously mindful of safety, security and safeguarding obligations within residential environments.

- Contractors failing to meet these standards may be subject to corrective action and may be excluded from future works.

6.6 Access, Cooperation and Risk Control

The Service Provider shall work with Adra to manage access arrangements for lift motor rooms, shafts and plant areas. Where access cannot be obtained, agreed “No Access” procedures and escalation processes shall be followed.

Reference shall be made to the relevant process maps included within the Contract Documentation for managing access constraints and ensuring statutory obligations are met without compromising safety or compliance.

7.0 RECORDS, MONITORING AND DIGITAL MANAGEMENT

7.1 Record Keeping

All records relating to servicing, inspections, repairs, Thorough Examinations, certifications and defects shall be:

- Logged on an appropriate system.

- Readily retrievable for audit and inspection purposes.

7.2 Contract Management Portal

The Service Provider shall operate a secure digital portal to support contract oversight. As a minimum, this shall display:

- Completed services.

- Scheduled services.

- Overdue services or inspections.

- Breakdown history.

- Outstanding and completed defects.

- ‘No Access’ events.

The portal shall comply with Adra IT and data security requirements.

8.0 Performance Management and KPIs

Performance shall be monitored against agreed KPIs, including:

- Planned maintenance completion.

- Passenger entrapment response.

- Breakdown response times.

- Defect management timescales.

- No-access management.

- Customer satisfaction and complaint handling.

Failure to achieve targets may result in non-conformance action, service credits or contractual escalation.

9.0 RESPONSIBILITY AND GOVERNANCE ALIGNMENT

The Service Provider shall support Adra’s governance arrangements by:

- Cooperating fully with monitoring and auditing activities.

- Providing evidence of compliance when required.

- Supporting the Duty Holder in maintaining lift safety.

The Service Provider shall ensure all personnel appointed to deliver services are competent and appropriately trained.

10.0 DATA PROTECTION, EQUALITY AND COMPLAINTS

The Service Provider shall:

- Comply with Data Protection legislation and Adra policies.

- Treat all personal data confidentially.

- Support Adra’s Equality and Diversity commitments.

- Cooperate with Adra’s Complaints and Review of Decisions processes when applicable.

11.0 VAT

Adra (Tai) Cyf. is a Registered Social Landlord with charitable status. Where applicable, Adra will issue a written VAT declaration confirming eligibility for reduced or zero-rated VAT. The Service Provider shall apply the correct VAT rate in full compliance with legislation.

12.0 IT SECURITY REQUIREMENTS

Given the limited nature of data shared under this agreement, a proportionate security baseline is required as outlined below. The Supplier shall implement and maintain appropriate technical and organisational security measures proportionate to the nature of the service. As a minimum, the Supplier must ensure:

- Secure Access Controls

- All administrative or portal access is protected by Multi-Factor Authentication (MFA).

- Role-based access controls are in place to restrict access to authorised personnel only.

- Secure Platform Access

- Any customer-facing portal or system must be delivered over secure, encrypted connections (HTTPS/TLS 1.2+).

- Where applicable, support for Single Sign-On (SSO) with modern identity providers (e.g. Entra ID) is preferred but not essential.

- Data Protection

- Any data held (including service schedules and property addresses) must be protected against unauthorised access, loss, or disclosure.

- Data must not be shared with third parties without prior approval.

- Basic Security Hygiene

- Systems must be regularly patched and maintained.

- Reasonable protections against common threats (e.g. unauthorised access, malware) must be in place.

- Incident Notification

- Any security incident that could impact the service or associated data must be reported without undue delay (within 24 hours where feasible).

- Compliance Alignment

- The Supplier and/or sub processor should align with recognised standards (e.g. ISO 27001, Cyber Essentials, or equivalent good practice), where applicable, this is not essential for tier 3 vendors, but it’s generally recognised that adherence to these standards is now a good practice.

13.0 WORKING FOR ADRA

Service providers who are working for Adra are representing us. It is therefore important that they have read and understood some of our key policies relating to things like the Welsh language, Customer Service, Health and safety and safeguarding, and are willing to work to these.

These policies are included within this tender pack, and bidders will be asked as part of the quality checks to confirm their acceptance of these policies.

If Adra is to be tagged, photographed, or mentioned in any social media posts, this must only occur on an official business page that is dedicated to professional use. Personal social media accounts must not be used for such purposes. The business page should represent the organisation professionally and must not include or reflect any personal political views or opinions. This ensures that all content aligns with Adra’s values and protects the integrity of our brand.