## Cover Page
Volume 4 - Price Framework
Passenger Lift Servicing & Maintenance Services

## Instructions
Where new stock is introduced to the servicing and repairs regime, the price for that corresponding item (service or repair) will be fixed at the price agreed at the priced rate. The quantities may increase up or down as stock fluctuates, however the price for a corresponding item cannot be increased.
No unauthorised alteration or addition (save for the inclusion of the relevant information) should be made to any part of this price framework. Quotes must not be qualified in any way and must be submitted strictly in accordance with the invitation to tender.
Bidders should note that the prices submitted as part of their submission will form part of the agreement documents with the successful provider and will be 'fixed' for the duration of the contract.
Bidders should note that the estimated quantities contained within the price framework are based on Adra’s anticipated requirements and that Adra does not guarantee any minimum level or value of required services under this agreement.
The price contained within the summary sheet should be carried forward to the form of tender.
Prices must be stated in sterling (GBP) exclusive of VAT but inclusive of other costs, expenses and disbursements howsoever incurred (in whole or in part) in the delivery of these services. Please do not amend this pricing template or add additional lines.
Bidders are required to complete the pricing framework with the required fees. Bidders are required to complete the price framework in full. The framework clients reserves the right to reject any incomplete submissions.
Prices submitted must be based on the details provided in the specification

## KPIs Framework
Introduction
The purpose of the Key Performance Indicators (KPIs) is to ensure that relevant staff from both Adra and the successful service provider understand the methodology and procedures for producing timely and accurate KPIs data during the delivery of services under the framework agreement/contract.
Background to Performance Management & Benchmarking
A KPI is defined as “a measure of performance of an activity that is critical to the success of an organisation.” The use of KPIs enables Adra to:
Set performance targets at the outset of a commission.
1) Monitor the performance of suppliers engaged by Adra.
2) Assess completed commissions.
3) Benchmark performance to provide a basis for continuous improvement.
There is also a statutory obligation on all registered providers to collect KPIs data and to benchmark performance against comparable organisations. This information will form the basis of any audit or inspection of the service. All targets are considered reasonable and appropriate for the delivery of the contract.
Proposed KPIs
KPI 1 Electronic written confirmation.
KPI 2 Planned servicing.
KPI 3 Passenger entrapment response.
KPI 4 Breakdown response (no entrapment).
KPI 5 Defect management.
KPI 5.1 Dangerous defects (Category A): Immediate action / made safe.
KPI 5.2 Serious defects (Category B): Rectified within 30 days.
KPI 5.3 Minor defects (Category C): Rectified within 90 days.
KPI 6 No access.
KPI 7 Customer satisfaction.
KPI 7.1 Installation of lifting equipment (Adaptations KPI).
KPI 7.2 All complaints to be acknowledged within 2 working days.
KPI 7.3 All complaints to be responded to within 10 working days.
Data Collection and Management
Adra shall continuously review the performance of the service provider against the fundamental KPIs throughout the term of the framework agreement / contract.
Responsibilities for data collection are clearly defined. The service provider is responsible for ensuring that data is captured in a timely manner to support accurate reporting at the agreed intervals. KPIs data shall be collected and analysed on a monthly basis, referred to as P1, P2, P3, etc., and reviewed during monthly performance meetings.
Non‑Conformance and Performance Escalation
Should there be any failure to meet KPIs, including failure to achieve the agreed RAG status, Adra reserves the right, at any time, to issue a non‑conformance notice. The service provider must respond within 30 days, outlining the corrective measures and actions that will be implemented going forward.
Adra further reserves the right to review the framework agreement / contract and, where necessary, exercise its right to terminate the agreement in the event of continued failure to meet KPIs requirements.
KPI Reviews
The KPIs shall remain the responsibility of the service provider for the duration of the commission. Adra may, from time to time, review both the service provider’s performance against the KPIs and the effectiveness of the KPIs in delivering value for money.
As a result of these reviews, KPIs may be amended, either in terms of how they are measured or the targets set. Where KPIs are deemed to offer no value over time, they may be removed. Likewise, additional KPIs may be introduced where they are considered to add value to the delivery of services under the framework agreement/contract.
Updating and Re‑Issuing KPIs
Where KPIs are amended, the updated version will be re‑issued to all parties by e-mail, with a new issue number and date. Previous versions should be deleted to avoid confusion. It is imperative that all staff are made aware of any amendments, and all parties have a responsibility to cascade this information within their own organisation.
Performance Monitoring and Impact on Future Work
Adra may review the service provider’s performance against agreed targets and KPIs prior to issuing any commissions, as set out in the framework agreement / contract. Performance against KPIs may be taken into account when considering the issue of any future instructions.

## KPIs
KPIs: Lift Servicing & Maintenance (Passenger Lifts) | RAG Threshold | Indicator description | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12
KPI 1 - Electronic written confirmation. | Green (100.00%) | Written electronic confirmation must be provided to Adra Tai Cyf within 48 hours of a site visit. | bar: P1 to P12
KPI 2 – Planned servicing. | Green (100.00%) | All lifts to receive one planned preventative maintenance service every three (3) months from the previous service. | bar: P1 to P12
KPI 3 – Passenger entrapment response. | Green (100.00%) | Passenger entrapment (emergency) response time to be within 1 hour. | bar: P1 to P12
KPI 4 – Breakdown Response (no entrapment). | Green (100.00%) | Breakdown response time, where there is no passenger entrapment, to be within 4 hours. | bar: P1 to P12
KPI 5 – Defect management. |  | All identified lift defects to be prioritised by risk and rectified within agreed industry standard timescales, as follows: KPI 5.1 - Dangerous defects (Category A) – Immediate action / made safe within 4 hours. KPI 5.2 - Serious defects (Category B) – Rectified within 30 days. KPI 5.3 - Minor defects (Category C) – Rectified within 90 days (or on next service date whichever is the sooner).
KPI 5.1 - Dangerous defects (Category A) – Immediate action / made safe. | Green (100.00%) | bar: P1 to P12
KPI 5.2 - Serious defects (Category B) – Rectified within 30 days. | Green (100.00%) | bar: P1 to P12
KPI 5.3 - Minor defects (Category C) – Rectified within 90 days. | Green (100.00%) | bar: P1 to P12
KPI 6 – No access. | Green (100.00%) | Evidence of a minimum of two (2) contact attempts (e.g. letter, SMS, or telephone call) prior to attendance where access is required. | bar: P1 to P12
KPI 7 – Customer satisfaction (Lift Servicing & Maintenance KPI) |  | Maintain a high level of customer satisfaction when delivering lift services for Adra Tai Cyf. All complaints to be agreed dealt with as follows: KPI 7.1 - All complaints to be acknowledged within 2 working days. KPI 7.2 - All complaints to be responded to within 10 working days.
KPI 7.1 - All complaints to be acknowledged within 2 working days. | Green (100.00%) | bar: P1 to P12
KPI 7.2 - All complaints to be responded to within 10 working days. | Green (100.00%) | bar: P1 to P12

## Summary
TENDER SUMMARY SHEET (SERVICING, REPAIRS & CALL OUT)
ITEM | Service Types | SECTION TOTALS (£)
1 | Three monthly servicing of passenger / goods lifts | 0
2 | Three monthly servicing of platform lifts | 0
SUB-TOTAL |  | 0
ITEM | Repair Cover | SECTION TOTALS (£)
3 | Repair / Defect pricing | 0
SUB-TOTAL |  | 0
TOTAL TO BE CARRIED TO FORM OF TENDER |  | 0
TOTAL: SERVICING, REPAIRS & MAJOR REPAIRS & REPLACEMENTS - The following rates are for undertaking annual service inspections, repairs and maintenance of all Adra's domestic lifting equipement as listed on the appended asset register. To include for any repairs required at time of the service inspection and for responsive call out service as sepcificed in the contract documents. ( Note: The following rates therfore provide an all- inclusive servicing, repairs and breakdown cover include all labour & material costs).
Green cells will be automatically populated with service provider rates.

## Service type
Service Provider (Contractor) to insert rate in green cells on this page.
1. Three‑monthly servicing of passenger lifts.
ITEM | Address | Insert Charge per passenger lift per service (£) | No of Annual Services | Total lifts | Total Annual Charge (£)
1.1 | See Appendix A | 0 | 4 | 12 | 0
ITEM | Address | Insert Charge per platform lift per service (£) | No of Annual Services | Total lifts | Total Annual Charge (£)
1.2 | See Appendix A | 0 | 4 | 4 | 0
Total to carry to summary |  |  |  |  | 0
Passenger Lift Servicing and Defect Repair Requirements
Passenger lifts shall be serviced every three (3) months from the previous service in accordance with the manufacturer’s recommendations, recognised industry best practice and the requirements of this contract.
Routine servicing shall be carried out to ensure the continued safe, reliable and satisfactory operation of the passenger lift and shall include systematic inspection, testing, cleaning, lubrication and minor adjustment of components.
Scope of Servicing Works
Routine passenger lift servicing carried out at three‑monthly intervals shall include comprehensive visual inspection, cleaning, examination, lubrication, adjustment and minor repair of all lift components necessary to maintain the equipment in a safe, reliable and satisfactory operating condition. This shall encompass, where applicable, inspection and cleaning of machine rooms, lift cars, hoistways, pits and adjacent areas; examination of motors, gear units, controllers, brakes, door operators, guide systems, governors, safety devices, valve blocks, hydraulic components, ropes, belts, sheaves, pulleys, trailing cables and associated fixings; lubrication and topping‑up of oils and greases; testing and setting of control equipment, switches, interlocks, levelling devices and indicators; and the repair or replacement of minor components such as contactors, relays, wiring, switches, fuses, brake linings, buttons, indicators and printed circuit boards where required. Servicing shall also cover remote or digital monitoring systems where fitted, associated communication equipment, and support for fault diagnosis and response. All works shall be undertaken in accordance with the manufacturer’s instructions, technical manuals and recognised industry best practice, with servicing activities and minor consumable items deemed to be included within the agreed Schedule of Rates.
Repairs Arising from LOLER Thorough Examinations
While the contractor is not responsible for carrying out LOLER Thorough Examinations, the contractor shall be responsible for undertaking repairs and remedial works identified within LOLER Reports of Thorough Examination, in accordance with the defect categorisation and timescales set out below:
Category A (Red) – Immediate Danger: The lift shall be taken out of service. The defect shall be made safe and permanently rectified within 24 hours.
Category B (Amber) – Serious Defect: The defect shall be rectified within one month of the date of the LOLER report.
Category C (Green) – Minor Defect: The defect shall be rectified at the next scheduled service visit, unless otherwise instructed by Adra.
Any observations or recommendations that do not constitute statutory defects shall be clearly reported, with a written quotation provided for approval prior to works being undertaken.
Breakdown and Emergency Response
The Service Provider shall provide a 24/7/365 emergency response service for communal passenger lifts. Required response times:
1) Passenger entrapment: Attendance on site within 1 hour.
2) Breakdown (no entrapment): Attendance within 4 hours.
3) Service restoration: Reasonable endeavours to restore service within 24 hours.
Costs, Records and Reporting
The costs associated with routine three‑monthly servicing and repairs arising from statutory defect notifications shall be deemed to be included within the agreed Schedule of Rates, unless explicitly stated otherwise.
On completion of each service visit or defect repair, the contractor shall issue a Service Report clearly detailing:
1) Works undertaken;
2) Defects identified;
3) Repairs completed; and
4) Any further remedial actions required.
5) Specimen copies of service report formats may be submitted to the Contract Administrator for approval.

## Repair cover
Service Provider (Contractor) to insert rates in green cells on this page.
Adra (Tai) Cyf. Passanger Lift Maintenance Contract Coverage (Repair Cover)
PLEASE NOTE: Any repairs / defects highlighted in the Thorough Examination (LOLER) MUST be completed within the following timescales:
A' Defect (RED) - Lift out of service. Repair/ Defect to be completed by Service Provider within 24hrs.
B' Defect (AMBER) - Repair / Defect to be completed by Service Provider within 1 month.
C' Defect (GREEN) - Repair / Defect to completed by Service Provider on the next service.
Visual Inspection: | Rate (£)
Periodic checks on motor room, hoistway and pit equipment. | 0
To Clean, (Remove dirt, lint, excess oil and grease) and examine:
Tanks (external). | 0
Motor & Gear unit | 0
Controller. | 0
Valve Block (external). | 0
Brakes. | 0
Top of cars. | 0
Pits and pit equipment (remove accumulated rubbish due to normal use). | 0
Machine room floor areas adjacent to Lift Equipment. | 0
Car door and gate operators. | 0
Top up oil and/or Lubricate:
Motor & Gear unit. | 0
Brakes. | 0
Guide rail lubrication pots. | 0
Car and landing door equipment. | 0
Governor bearings (tension frame sheave, etc). | 0
Divertor pulleys. | 0
Safeties (actuating parts). | 0
Top up hydraulic oil tank. | 0
To Adjust (General minor adjustments required to maintain equipment in satisfactory operating condition). | 0
Car door operators and gate switches. | 0
Landing door interlocks. | 0
Levelling switches (car and hoistway switches and cams). | 0
Safety Switches & Associated levelling devices. | 0
Valve Block. | 0
Guide shoes (car and counterweight guides, shoes, gibs / rollers etc). | 0
Brake. | 0
Control equipment. | 0
Minor Components - To Repair or Replace:
Lubricating Oils & Greases. | 0
Cleaning materials. | 0
Contactors, relays and associated components. | 0
Springs compression/tension for locks, contacts and switches. | 0
Braided and wire connectors. | 0
Arc deflectors. | 0
Fuses and fuse links - control equipment but not main line fuses. | 0
Switch arms and pins (controller, relay panels and starters). | 0
Resistors. | 0
Rectifiers. | 0
Interlocks & gate switches. | 0
Levelling switches (car and hoistway switches and cams). | 0
Position reference components (floor controllers). | 0
Sheaves and pulleys. | 0
Motor & Gear unit components (Drive Unit). | 0
Shorten ropes / Belts (to compensate for stretch and equalise). | 0
Ropes / Belts (including equaliser ropes, hoist, compensating, governor, safety, etc). | 0
Trailing Cables. | 0
Brakes and brake linings. | 0
Governors and governor parts (including tension sheave). | 0
Ram Seals. | 0
Valve Block. | 0
Ram. | 0
Guide shoes (car and counterweight roller guides, shoes, gibs, etc). | 0
Guide rail security & fixings. | 0
Landing Interlocks. | 0
Safety Switches & Associated levers. | 0
Car push buttons. | 0
Landing push buttons. | 0
Car Indicators. | 0
Landing Indicators. | 0
Landing & Car door and door / gate operators. | 0
Printed circuit boards. | 0
Drive Units. | 0
Remote & Digital Services (Where fitted / applicable). | 0
SIM and GSM Management and Support. | 0
eView Software support. | 0
Remote Expert Team. | 0
Connection to Customer Portal. | 0
Guided Maintenance. | 0
Troubleshooting on EMS failure and support. | 0
Risk Assessment. | 0
Reactive Response Times. | 0
Support - call-out rates and response times: |  | Response time
Breakdown response during working hours. (Please confirm response time and applicable hourly rate) | 0
Breakdown response outside working hours. (Please confirm response time and applicable hourly rate) | 0
None breakdown call out response. (Please confirm response time and applicable hourly rate) | 0
Trapped passenger response. (Please confirm response time and applicable hourly rate) | 0
Total to carry to Summary | 0

## App. A - Passenger Lifts
Passenger Lifts Asset List
PLEASE NOTE: This asset list is subject to change throughout the duration of the contract. Amendments will be made to reflect the removal of existing assets and the installation of new assets undertaken as part of the contract works. All changes will be recorded and confirmed to ensure the this asset list remains accurate and up to date for the contract term.
UPRN | Address (15) | Equipment (16) | Type | Manufacturer
76090301 | Cysgod y Coleg, Bala, Gwynedd. LL23 7BD | Public lift | Passanger/goods lift | Exceisior
|  | Public lift | Platform lift | Terry Lifts
78780001 | Bro Llewelyn, Penrhyndeudraeth, Gwynedd. LL48 6AL | Public lift | Passanger/goods lift | Stannah Midilift
77270001 | Pentre Uchaf, Dyffrun Ardudwy, Gwynedd. LL44 2HF | Public lift | Platform lift | Stannah Midilift
76360001 | Morfa Cadfan, Tywyn, Gwynedd. LL36 9AB | Public lift | Platform lift | Terry Lifts
76640001 | Plas Gwyn, Barmouth, Gwynedd. LL42 1LR | Public lift | Passanger/goods lift | Concept Elevators
91000001 | The Old Palace, St Asaph, Denbighshire. LL17 0RD | Public lift | Passanger/goods lift | XIM Hydrolic passanger
95000000 | New Foundry Court, Wrexham. LL14 1AZ | Public lift | Passanger/goods lift | Arona
78990000 | Llys Elen Egryn, Llewelyn Road, Tywyn, Gwynedd. LL36 0AX | Public lift | Passanger/goods lift | TBC
92090001 | Block 1 (1-7), Plas Hwylfryn, Beach Road, Penmaenmawr, Conwy. LL34 6AY | Public Lift | Passanger/goods lift | LS Lifts/Orona
92090002 | Block 2 (8-14), Plas Hwylfryn, Beach Road, Penmaenmawr, Conwy. LL34 6AY | Public lift | Passanger/goods lift | LS Lifts/Orona
14060001 | Block 1 Plas Farrar, Ffordd Farrar, Bangor, Gwynedd. LL57 2FA | Public lift | Passanger/goods lift | Kone
55610001 | Block 1 Fron Deg, Upper Ala Road, Pwllheli, Gwynedd. LL53 2RB | Public lift | Passanger/goods lift | Otis
90010017 | Ty Gwyrddfai, Penygroes Industrial Estate, Penygroes, Gwynedd. LL54 6DB | Public lift | Platform lift | Stannah
14090001 | Plas Penrhos, Ffordd Penrhos, Bangor, Gwynedd. LL57 2FD | Public lift | Passanger/goods lift | Kone
33850001 | Plas Leiod, Caernarfon, Gwynedd. LL55 2DF | Public lift | Passanger/goods lift | Otis