## Cover
Porthcawl Town Council
Public Convenience, John Street
Pricing Document

## PRICING DOCUMENT - SUMMARY
PORTHCAWL TOWN COUNCIL
PUBLIC CONVENIENCE, JOHN STREET
PRICING SUMMARY
1.0 | Construction Works Total
1.1 | Priority 1 |  | 0
1.2 | Priority 2 |  | 0
1.3 | Priority 3 |  | 0
2.0 | Fixed Cost of Staff and Accommodation for Construction Stage JCT Minor Works Contract |  | 0
3.0 | Fixed Fee for OH&P for the JCT Minor Works Contract Based on :- | 0% | 0
|  | TOTAL CARRIED TO FORM OF TENDER (excluding VAT) : | 0
Note:
1. | The Employer takes no responsibility for any formulae errors within this document.
Tenderers should fully check that all formulae are correct prior to submission of tender.
2. | The Employer takes no responsibility for quantities in the pricing document and is up ot the tenderer to allow forrequirements.

## 1.1 Priority 1
Grade 11 Listed Porthcawl Public Conveniences
Porthcawl Town Council
Pricing Document
| Building Works | Quantity | Unit | Rate | £
1 | Priority 1 Repairs
External Fabric
1.1 | Replace artificial roof covering
1.1.1 | Remove and store plain angled ridge tiles and refix | 18 | m |  | 0
1.1.2 | Removal of artificial slates from the full roof area | 107 | m2 |  | 0
1.1.3 | Removal of 8 no. sheet glass roof-lights and lead weatherings | 8 | nr |  | 0
1.1.4 | Removal of battens and underfelt; | 1 | item |  | inc
1.1.5 | Allow for inspection of roof structure by a Structural Engineer | 1 | item |  | 0
1.1.6 | Install new breathable roofing membrane | 107 | m2 |  | 0
1.1.7 | Install new treated roofing battens | 107 | item |  | 0
1.1.8 | Install new natural slate roof covering | 107 | m2 |  | 0
1.1.9 | Install 8 no. flush fitting conservation grade rooflights | 8 | nr |  | 0
1.1.10 | Renew all lead abutment apron and stepped cover flashings with new Code 5 to Lead Sheet | 15 | m |  | 0
1.1.11 | Thoroughly clean all red clay plain angled ridge tiles and prepare for re-bedding. | 18 | m |  | 0
1.1.12 | Allow for replacing 1 no. cracked ridge tile with like for like. | 1 | item |  | 0
1.1.13 | EO for scaffolding | 1 | item |  | 0
1.2 | Replace Corrugated Sheet Roof Covering and Flashing
1.2.1 | Remove existing corrugated sheet roof covering, cement haunching and uPVC gutters and downpipe | 5 | item |  | 0
1.2.2 | Install new black polyester powder coated corrugated aluminium roof covering (black) | 5 | m2 |  | 0
1.2.3 | Install new lead flashing at abutment junction between and outside of concrete cills | 4.5 | m |  | 0
0
| Priority 1 Repairs (continued) | Quantity | Unit | Rate | £
1.3 | Repairs to Rainwater Goods
1.3.1 | Remove all cast iron rainwater goods and allow for temporary rainwater goods | 1 | item |  | 0
1.3.2 | Remove aluminium downpipe from western gable end | 1 | item |  | 0
1.3.3 | Remove uPVC gutter and downpipe from external urinal lean-to roof | 1 | item |  | 0
1.3.4 | Allow for complete replacement of short cast iron downpipe section to western elevation | 2 | item |  | 0
1.3.5 | Allow for complete replacement of existing inappropriate aluminium downpipe to west elevation | 3 | item |  | 0
1.3.6 | Allow for replacement of uPVC gutter and downpipe to lean-to roof | 19 | m |  | 0
1.3.7 | Allow for providing short cast iron downpipe connection between upper and lower northern gutters | 2 | nr |  | 0
1.3.8 | Allow for complete replacement of southern cast iron Ogee profile gutters | 19 | m |  | 0
1.3.9 | Original Ogee profile cast iron gutters to north are to be carefully shotblasted | 19 | m |  | 0
1.3.10 | Original round cast iron downpipe to south elevation is to be carefully shotblasted | 3 | m |  | 0
1.3.11 | Cast iron is to be inspected and treated with corrosion inhibitor prior to receiving a full redecoration in Gloss Black exterior metal paint - allowance | 1 | item |  | 0
1.3.12 | Allow for replacing cast iron brackets to southern gutter with new cast iron counterparts - allowance | 1 | item |  | 0
1.3.13 | Allow for re-installing all rainwater goods with stainless steel fixings. | 1 | item |  | 0
1.4 | Structural Repairs to East Elevation External Walls
1.4.1 | Adopt recommendations in Ferrier Hart Thomas Structural Assessment (2023), requiring the appointment of a specialist to install structural grouted sock anchors | 1 | item |  | 0
|  |  |  | Total | 0
| Priority 1 Repairs (continued) | Quantity | Unit | Rate | £
1.5 | Repairs to East Elevation External Walls
1.5.1 | Remove all render from rear face of parapet wall and confirm cavity wall construction. | 4.5 | m2 |  | 0
1.5.2 | If cavity is identified, allow for retrofit installation of stepped cavity trays in coordination with stepped lead flashing replacement - allowance | 1 | item |  | 0
1.5.3 | Allow for re-rendering rear face of parapet wall to match adjacent areas. | 4.5 | m2 |  | 0
1.5.4 | Rake out all mortar joints to brickwork | 1 | item |  | 0
1.5.5 | Removal of all masonry paint coatings with the StoneHealth DOFF system operated by an approved contractor | 1 | item |  | 0
1.5.6 | Allow for mortar repair of hairline cracks to right side of both cills | 1 | item |  | 0
1.5.7 | Allow for redecoration of cement rendered areas with a Keim Mineral Paint | 9.5 | m2 |  | 0
1.6 | Repairs to South Elevation External Walls
1.6.1 | Carefully remove all failed cementitious render to the plain border and door surrounds on the wall bounding the external urinal - reinstate new | 1 | item |  | 0
1.6.2 | Allow for fluted coping stones to cap outdoor urinal walls and line through with impost band | 2.1 | m |  | 0
1.6.3 | Removal of all masonry paint coatings with the StoneHealth DOFF system operated by an approved contractor | 1 | item |  | 0
1.6.4 | Allow for plastic mortar repair of hairline cracks to exhibited in concrete cills | 1 | item |  | 0
1.6.5 | Allow for mortar repair of damaged door surround | 1 | item |  | 0
1.6.6 | Allow for redecoration of cement rendered areas with a Keim Mineral Paint | 1 | item |  | 0
1.6.7 | Remove all vegetation growth against the building | 1 | item |  | 0
1.6.8 | Allow for re-grouting all joints to the band of block paving at the building's perimeter. | 1 | item |  | 0
|  |  |  | Total | 0
| Priority 1 Repairs (continued) | Quantity | Unit | Rate | £
1.6.9 | Rake out all mortar joints to brickwork pilaster on eastern corner | 1 | item |  | 0
1.6.10 | Remove 2 no. signs and all embedded corroding fixings | 2 | nr |  | 0
1.6.11 | Allow for re-fixing 2 no. signs with stainless steel fixings. | 2 | nr |  | 0
1.7 | Replace Cast in-situ Concrete Floor
1.7.1 | Remove existing cast in-situ concrete floor slab. | 7 | m2 |  | 0
1.7.2 | Allow for providing new cast in-situ concrete slab laid to falls with brush finish and adequate movement joints | 1.05 | m3 |  | 0
1.7.3 | Allow for sealing the concrete floor with a water-based external concrete sealer. | 1.05 | m2 |  | 0
Internal Fabric
1.8 | Provide Insulation to Ceiling-Level across Roof | 90 | m2 |  | 0
1.9 | Refurbish Ceiling Finishes to Female WCs
1.9.1 | Remove paint | 40 | m2 |  | 0
1.9.2 | replacing 10% of softwood timber slats | 4 | m2 |  | 0
1.9.3 | replacing edging and slats to 4 no. rooflight wells | 1 | item |  | 0
1.9.4 | replacing area of missing plain cornice | 3 | m |  | 0
1.9.5 | Rub down and redecorate tensioned iron truss ties. | 1 | item |  | 0
1.9.6 | Provide new ventilated timber attic hatch | 1 | item |  | 0
1.9.7 | Redecorate the softwood ceiling, cornices and edging | 40 | m2 |  | 0
1.10 | Refurbish Ceiling Finishes to Male WCs
1.10.1 | Remove paint | 40 | m2 |  | 0
1.10.2 | replacing 10% of softwood timber slats | 4 | m2 |  | 0
1.10.3 | replacing edging and slats to 4 no. rooflight wells | 1 | item |  | 0
1.10.4 | Provide new edging / architrave to south-west ceiling vent | 1 | item |  | 0
1.10.5 | Provide new ventilated timber attic hatch | 1 | item |  | 0
1.10.6 | Redecorate the softwood ceiling, cornices and edging | 40 | m2 |  | 0
|  |  |  | Total | 0
| Priority 1 Repairs (continued) | Quantity | Unit | Rate | £
1.11 | Refurbishment of Accessible WC Wall Finishes Internal
1.11.1 | Remove tiling and all fixtures | 15 | m2 |  | 0
1.11.2 | New tiling | 15 | m2 |  | 0
1.11.3 | Remove paint from window structure | 1 | item |  | 0
1.11.4 | 2nr new bullnose cill boards | 2 | nr |  | 0
1.11.5 | redecorate window reveals | 1 | item |  | 0
1.12 | Refurbishment of Accessible WC Wall Finishes External
1.12.1 | Remove tiling and all fixtures | 17.5 | m2 |  | 0
1.12.2 | New tiling | 17.5 | m2 |  | 0
1.12.3 | Remove painted hardboard soffit over door | 1 | item |  | 0
1.12.4 | Replace soffit with new painted softwood T&G slats | 1 | item |  | 0
1.13 | Refurbishment of WC Sanitaryware
1.13.1 | sterile clean of all 6 no. high-level cisterns | 6 | nr |  | 0
1.13.2 | Provide 6 no. new Cistern Pulls | 6 | nr |  | 0
1.13.3 | Clean and polish chrome cistern pipes and connections | 6 | nr |  | 0
1.13.4 | Clean and polish copper overflow pipes | 6 | nr |  | 0
1.13.5 | Replace 2 no. corroding base fixings to all toilet pans | 2 | nr |  | 0
1.13.6 | Allow for re-sealing between toilets | 6 | nr |  | 0
1.13.7 | Replace all 6 no. modern plastic and damaged toilet seats | 6 | nr |  | 0
1.13.8 | moisture resistant painted MDF pattresses | 6 | nr |  | 0
1.13.9 | New tiling - allowance | 1 | item |  | 0
1.14 | Refurbishment of 3 no. Vitreous China Wash Basins to FWCs
1.14.1 | Conduct specialist repairs to 2 no. cracked areas to Basin | 2 | nr |  | 0
1.14.2 | Specialist repair to chipped areas underside of basins | 1 | nr |  | 0
1.14.3 | Re-enamel all 3 no. basins | 3 | nr |  | 0
1.14.4 | Conduct enamel repairs to seal | 1 | item |  | 0
1.14.5 | Allow for sealing all basins at wall junctions | 3 | nr |  | 0
1.14.6 | Refix 6no brass bodies | 6 | nr |  | 0
1.14.7 | Install 6 no. new brass cartridges and tap heads | 6 | nr |  | 0
1.14.8 | Install 3 no. new antique brass basin waste inserts | 3 | nr |  | 0
1.14.9 | Thoroughly clean underside of basins to remove limescale | 3 | nr |  | 0
|  |  |  | Total | 0
| Priority 1 Repairs (continued) | Quantity | Unit | Rate | £
1.15 | Refurbishment of Vitreous China Drainage Trough
1.15.1 | Conduct specialist re-enamelling of recessed drainage trough | 1 | item |  | 0
1.15.2 | Allow for re-grouting all joints | 1 | item |  | 0
1.15.3 | Install 1 no. new antique brass basin waste insert | 1 | nr |  | 0
1.16 | Refurbishment of WC Sanitaryware
1.16.1 | Undertake a sterile clean of all 4 no. high-level cisterns | 4 | nr |  | 0
1.16.2 | Provide 4 no. new Cistern Pulls with Ironmongery | 4 | nr |  | 0
1.16.3 | Clean and polish chrome cistern pipes and connections | 4 | nr |  | 0
1.16.4 | Clean and polish copper overflow pipes | 4 | nr |  | 0
1.16.5 | Replace 2 no. corroding base fixings to all toilet pans | 2 | nr |  | 0
1.16.6 | Allow for re-sealing between all toilets and terrazzo floor | 4 | nr |  | 0
1.16.7 | Allow for providing moisture resistant painted MDF | 1 | item |  | 0
1.17 | Refurbishment of Male Urinals
1.17.1 | Undertake clean of 2 no. high-level cisterns and all urinals | 2 | nr |  | 0
1.17.2 | Clean, service and polish copper plumbing | 1 | item |  | 0
1.17.3 | Thoroughly clean surface of high-level cisterns | 2 | nr |  | 0
1.17.4 | Re-enamelling to 8 no. urinals | 8 | nr |  | 0
1.17.5 | Re-sealing junction between urinals and ceramic tile walls | 1 | item |  | 0
1.18 | Refurbishment of 3 no. Vitreous China Wash Basins to FWCs
1.18.1 | Re-enamel 2 no. basins by specialist | 2 | nr |  | 0
1.18.2 | Sealing all basins at wall junctions with mould-resistant silicone | 1 | item |  | 0
1.18.3 | Replace modern chrome taps with new brass pillar taps | 4 | nr |  | 0
1.18.4 | Install 2 no. new antique brass basin waste inserts | 2 | nr |  | 0
1.18.5 | Wire brush 4 no. corroding metal basin support brackets | 4 | nr |  | 0
1.18.6 | Thoroughly clean underside of basins to remove limescale | 1 | item |  | 0
1.18.7 | Replace waste pipes and traps | 2 | nr |  | 0
|  |  |  | Total | 0
| Priority 1 Repairs (continued) | Quantity | Unit | Rate | £
1.19 | Refurbishment of Vitreous China Drainage Trough
1.19.1 | Conduct specialist re-enamelling of recessed drainage trough | 1 | item |  | 0
1.19.2 | Allow for re-grouting all joints | 1 | item |  | 0
1.19.3 | Install 1 no. new antique brass basin waste insert | 1 | nr |  | 0
|  |  |  | Total | 0

## 1.2 Priority 2
Grade 11 Listed Porthcawl Public Conveniences
Porthcawl Town Council
Pricing Document
| Building Works | Quantity | Unit | Rate | £
2 | Priority 2 Repairs
External Fabric
2.1 | Repairs to Cupolas
2.1.1 | Renew deteriorating lead upstand and cover flashings | 2 | nr |  | 0
2.1.2 | Renew deteriorating timber baserails | 1 | item |  | 0
2.1.3 | Remove timber ventilation louvres and frame profile | 1 | item |  | 0
2.1.4 | Replace warped timber ventilation louvres | 8 | nr |  | 0
2.1.5 | Rub down cupola timber structure | 1 | item |  | 0
2.1.6 | Treat all timber with preservative primer | 1 | item |  | 0
2.1.7 | Redecorate the cupolas | 1 | item |  | 0
2.2 | Repairs to Weatherboards
2.2.1 | Remove plastic dry verge profiles to 2 no. west facing gable ends | 12 | m |  | 0
2.2.2 | remove all weatherboards | 1 | item |  | 0
2.2.3 | replacing barge boards to 2 no. west facing gable ends | 12 | m |  | 0
2.2.4 | replacing fascia boards | 1 | item |  | 0
2.2.5 | replacing all soffit boards | 1 | item |  | 0
2.2.6 | wet verge detail | 1 | item |  | 0
2.3 | Repairs to North Elevation External Walls
2.3.1 | render repairs to 3 no. areas of vertical cracking - allowance | 3 | nr |  | 0
2.3.2 | Remove all cement haunching and replace | 19 | m |  | 0
2.3.3 | Remove all vegetation from mortar joints of and replace lime mortar | 19 | m2 |  | 0
2.4 | Repairs to East Elevation External Walls
2.4.1 | Rub down and redecorate 2 no. wrought iron hanging basket brackets. | 2 | nr |  | 0
2.4.2 | Rub down central embedded iron fixing and treat | 1 | nr |  | 0
0
| Priority 2 Repairs (continued) | Quantity | Unit | Rate | £
2.5 | Repairs to West Elevation
2.5.1 | Remove cracked roughcast cement render and allow new | 1 | item |  | 0
2.5.2 | Remove all climbing vegetation | 1 | item |  | 0
2.5.3 | Allow for fluted coping stones to cap outdoor urinal walls | 5.5 | m |  | 0
2.5.4 | Allow for localised making good and redecoration - allowance | 1 | item |  | 0
2.6 | Repairs to Above Ground Drainage Systems
2.6.1 | Renew lead collar | 1 | nr |  | 0
2.7 | Repairs to Below Ground Drainage Systems
2.7.1 | Drainage repairs - allowance | 1 | item |  | 0
2.8 | Repairs to Window 01
2.8.1 | Remove and replace | 1 | nr |  | 0
2.9 | Repairs to Windows 02/03
2.9.1 | Rub down and remove all defective paint | 2 | nr |  | 0
2.9.2 | Remove the lower casement and hinges and new | 4 | nr |  | 0
2.9.3 | Ease opening lights where tight or rubbing | 1 | item |  | 0
2.9.4 | Window 03 polish | 1 | item |  | 0
2.9.5 | Replace metal window stay to Window 02 | 1 | item |  | 0
2.9.6 | Make good any window frame and metal fixings - allowance | 1 | item |  | 0
2.9.7 | Remove failed glazing putty and beads | 1 | item |  | 0
2.9.8 | Replace wire mesh glazing | 5 | nr |  | 0
2.9.9 | Install new hardwood glazing beads | 1 | item |  | 0
2.9.10 | New sealant | 1 | item |  | 0
2.9.11 | New internal and external decoration | 1 | item |  | 0
0
| Priority 2 Repairs (continued) | Quantity | Unit | Rate | £
2.10 | Repairs to Windows 04/05/06 | 3 | nr |  | 0
2.10.1 | Rub down and remove all defective paint
2.10.2 | Remove the lower casement and hinges and new
2.10.3 | Scarf timber repairs
2.10.4 | Polish windows
2.10.5 | Make good any window frame and metal fixings
2.10.6 | Remove failed glazing putty and beads
2.10.7 | Replace wire mesh glazing | 7 | nr |  | 0
2.10.8 | Install new hardwood glazing beads
2.10.9 | New sealant
2.10.10 | New internal and external decoration
2.11 | Repairs to Windows 08/09/10/11 | 4 | nr |  | 0
2.11.1 | Rub down and remove all defective paint
2.11.2 | Remove the lower casement and hinges and new
2.11.3 | Polish windows
2.11.4 | Make good any window frame and metal fixings
2.11.5 | Remove failed glazing putty and beads
2.11.6 | Replace wire mesh glazing | 5 | nr |  | 0
2.11.7 | Install new hardwood glazing beads
2.11.8 | New sealant
2.11.9 | New internal and external decoration
2.12 | Repairs to Windows 012/13 | 2 | nr |  | 0
2.12.1 | Rub down and remove all defective paint
2.12.2 | Remove the lower casement and hinges and new
2.12.3 | Polish windows
2.12.4 | Make good any window frame and metal fixings
2.12.5 | Remove failed glazing putty and beads
2.12.6 | New sealant
2.12.7 | New internal and external decoration
0
| Priority 2 Repairs (continued) | Quantity | Unit | Rate | £
2.13 | Repairs to External Door 02
2.13.1 | Remove external poster frame fixed to door | 1 | item |  | 0
2.13.2 | Sand back existing finishes | 1 | item |  | 0
2.13.3 | Allow for hardwood scarf repair | 1 | nr |  | 0
2.13.4 | Replace 2 no. missing hardwood panel beads | 2 | nr |  | 0
2.13.5 | Allow for redecorating the refurbished door leafs | 2 | nr |  | 0
2.13.6 | Replace all existing brass butt hinges | 6 | nr |  | 0
2.13.7 | Clean, polish and reinstate external brass pull handle | 1 | nr |  | 0
2.13.8 | Refurbish existing Yale rim latch lock | 1 | nr |  | 0
2.13.9 | Remove galvanised steel Brenton Padbolt install new | 1 | nr |  | 0
2.13.10 | Replace internal upper and lower deadbolts | 2 | nr |  | 0
2.13.11 | Allow for new brass signage 'Mens Dynion' | 1 | nr |  | 0
Internal fabric
2.14 | Replace Ceiling Finishes to Entrance Lobby
2.14.1 | Carefully take down existing plaster ceiling finishes | 5 | m2 |  | 0
2.14.2 | Allow for reinstating a slatted softwood T&G ceiling finish | 5 | m2 |  | 0
2.14.3 | Decorate the softwood slats | 1 | item |  | 0
2.15 | Refurbishment of Entrance Lobby Wall Finishes
2.15.1 | Remove all redundant fixtures and fittings | 1 | item |  | 0
2.15.2 | ceramic tile repairs - allowance | 1 | item |  | 0
2.15.3 | deep cleaning | 1 | item |  | 0
2.15.4 | Install wall mounted stop for the external gate | 1 | nr |  | 0
2.16 | Refurbishment of Female WC Internal Wall Finishes
2.16.1 | Remove all redundant fixtures and fittings | 1 | item |  | 0
2.16.2 | ceramic tile repairs - allowance | 1 | item |  | 0
2.16.3 | deep cleaning | 1 | item |  | 0
2.16.4 | Remove all paint from window reveals and cills | 4 | nr |  | 0
2.16.5 | 4no. new painted softwood bullnose cill boards | 4 | nr |  | 0
2.16.6 | redecorating plastered window reveals | 4 | nr |  | 0
0
| Priority 2 Repairs (continued) | Quantity | Unit | Rate | £
2.17 | Refurbishment of Male WC Internal Wall Finishes
2.17.1 | Remove all redundant fixtures and fittings | 1 | item |  | 0
2.17.2 | ceramic tile repairs | 1 | item |  | 0
2.17.3 | Replace 2 no. areas of missing quarter-round corner tiles | 1 | item |  | 0
2.17.4 | Allow for deep cleaning of all wall tiled areas | 1 | item |  | 0
2.17.5 | Remove all paint from window reveals and cills | 4 | nr |  | 0
2.17.6 | Provide 4 no. new painted softwood bullnose cill boards | 4 | nr |  | 0
2.17.7 | redecorating plastered window reveals | 4 | nr |  | 0
2.18 | Replace Defective Gully Cover
2.18.1 | Replace square gully | 1 | item |  | 0
2.18.2 | Decorate with gloss | 1 | item |  | 0
2.19 | Replace Defective Gully Cover
2.19.1 | Replace square gully | 1 | item |  | 0
2.19.2 | Decorate with gloss | 1 | item |  | 0
2.20 | Refurbishment of Doors & Joinery to Female WCs
2.20.1 | Clean all doors | 10 | nr |  | 0
2.20.2 | light rub down and full redecoration | 10 | nr |  | 0
2.20.3 | 10no hardwood scarf repairs | 10 | nr |  | 0
2.20.4 | reseal glazed lights | 10 | nr |  | 0
2.20.5 | localised repairs where ironmongery removed - allowance | 10 | nr |  | 0
2.20.6 | clean all hinges | 10 | nr |  | 0
2.20.7 | D01 works | 1 | item |  | 0
2.20.8 | D02 / D03 D04 Works | 3 | nr |  | 0
2.20.9 | D05 works | 1 | nr |  | 0
2.20.10 | D06 / D07 works | 2 | nr |  | 0
2.20.11 | D08 / D10 works | 2 | nr |  | 0
2.20.12 | D09 works | 1 | nr |  | 0
0
| Priority 2 Repairs (continued) | Quantity | Unit | Rate | £
2.21 | Refurbishment of Doors & Joinery to Male WCs
2.21.1 | Clean all doors | 8 | nr |  | 0
2.21.2 | Light rub down and full redecoration | 8 | nr |  | 0
2.21.3 | 10no hardwood scarf repairs | 10 | nr |  | 0
2.21.4 | Reseal glazed lights | 8 | nr |  | 0
2.21.5 | Localised repairs where ironmongery removed - allowance | 8 | nr |  | 0
2.21.6 | Clean all hinges | 8 | nr |  | 0
2.21.7 | D11 works | 1 | nr |  | 0
2.21.8 | D12 works | 1 | nr |  | 0
2.21.9 | D13 works | 1 | nr |  | 0
2.21.10 | D15 works | 1 | nr |  | 0
2.21.11 | D16 works | 1 | nr |  | 0
2.21.12 | D17 / D18 works | 2 | nr |  | 0
2.22 | Replacement of AWC Doc M Sanitaryware | 1 | nr |  | 0
2.23 | Repair of 2 no. Mirrors to Female WCs
2.23.1 | Rubbing down softwood frames | 2 | nr |  | 0
2.23.2 | Clean and polish | 2 | nr |  | 0
2.23.3 | redecoration - scope tbc | 2 | nr |  | 0
2.24 | Repair of 2 no. Mirrors to Male WCs
2.24.1 | rubbing down softwood frames | 2 | nr |  | 0
2.24.2 | Allow for 1 no. small scarf repair to shelf of large mirror unit | 1 | nr |  | 0
2.24.3 | Clean and polish | 2 | nr |  | 0
2.24.4 | redecoration | 2 | nr |  | 0
2.25 | Replacement of Sanitary Fixtures
2.25.1 | complete replacement of sanitary fixtures | 1 | item |  | 0
2.25.2 | localised ceramic tile repair to damage from fixings - allowance | 1 | item |  | 0
0
| Priority 2 Repairs (continued) | Quantity | Unit | Rate | £
Services
2.26 | Replace 2 no. Hot Water Heaters | 2 | nr |  | 0
2.27 | Test Electrical Installation | 1 | item |  | 0
2.28 | Clean, Check and Insulate of All Copper Plumbing | 1 | item |  | 0
|  |  |  | Total | 0

## 1.3 Priority 3
Grade 11 Listed Porthcawl Public Conveniences
Porthcawl Town Council
Pricing Document
| Building Works | Quantity | Unit | Rate | £
3 | Priority 3 Repairs
External Fabric
3.1 | Repairs to North Elevation External Walls | 1 | item |  | 0
3.2 | Repairs to East Elevation External Walls
3.2.1 | stone insert repair to damaged projecting cornice | 1 | item |  | 0
3.2.2 | mortar plastic repair to small area of damaged chamfered edged | 1 | item |  | 0
3.2.3 | soft cleaning of red clay brickwork | 1 | item |  | 0
3.3 | Repairs to South Elevation External Walls
| Replacing the plastic vent cowl | 1 | nr |  | 0
3.4 | Repairs to External Gate 01 | 1 | nr |  | 0
3.5 | Repairs to External Gate 02 | 1 | nr |  | 0
3.6 | Repairs to External Door 01
3.6.1 | Sand back existing finishes and allow for filling and making good | 1 |  |  | 0
3.6.2 | Allow for redecorating the refurbished door | 1 |  |  | 0
3.6.3 | Retain, clean and service existing brass hinges | 1 |  |  | 0
3.6.4 | Install new brass pull handle | 1 |  |  | 0
3.6.5 | Remove padbolt and install new | 1 |  |  | 0
3.6.6 | Rub down and redecorate historic latch | 1 |  |  | 0
3.6.7 | Allow for new brass signage 'Ladies Merched' | 1 |  |  | 0
3.6.8 | Replace single cracked glazing pane | 1 |  |  | 0
0
| Priority 3 Repairs (continued) | Quantity | Unit | Rate | £
3.7 | Repairs to External Door 03
3.7.1 | Remove existing flush door, frame and all signage / ironmongery | 1 | nr |  | 0
3.7.2 | Replace frame, linings and door with solid hardwood four panelled door | 1 | nr |  | 0
3.7.3 | Allow for staining the hardwood door | 1 | nr |  | 0
3.7.4 | Hang door on new 1 1/2 pairs brass butt hinges |  |  |  | inc
3.7.5 | Provide new brass pull handle |  |  |  | inc
3.7.6 | Provide new solid brass padbolt |  |  |  | inc
3.7.7 | Provide new brass grab rail |  |  |  | inc
3.7.8 | Provide new brass self-closing device |  |  |  | inc
3.7.9 | Allow for new brass signage 'Disabled Anabl' | 1 | nr |  | 0
3.8 | Replacement of Tiled Floor to Entrance Lobby - Scope TBC | 6 | m2 |  | 0
3.9 | Replacement of Ceiling to Acc. WC | 5 | m2 |  | 0
3.10 | Replace Floor Tiles to Accessible WC | 5 | m2 |  | 0
3.11 | Terrazzo Repairs to Female WCs
3.11.1 | Sanding and polishing the terrazzo floor area | 35 | m2 |  | 0
3.11.2 | Remove heavy staining around junctions | 1 | item |  | 0
3.11.3 | Rake out and fill all cracks with a colour-matched terrazzo crack - allowance | 1 | item |  | 0
3.11.4 | Remove poor cement render repairs to indicated locations | 1 | item |  | 0
3.11.5 | Allow for sealing the repaired floor with Tile Doctor Colour Grow | 1 | item |  | 0
3.12 | Install Low-Profile Entrance Matting | 2.5 | m2 |  | 0
0
| Priority 3 Repairs (continued) | Quantity | Unit | Rate | £
3.13 | Terrazzo Repairs to Male WCs
3.13.1 | Sanding and polishing the terrazzo floor area | 35 | m2 |  | 0
3.13.2 | Remove heavy staining around junctions | 1 | item |  | 0
3.13.3 | Rake out and fill all cracks with a colour-matched terrazzo crack | 1 | item |  | 0
3.13.4 | Remove poor cement render repairs to indicated locations | 1 | item |  | 0
3.13.5 | Allow for sealing the repaired floor with Tile Doctor Colour Grow | 1 | item |  | 0
3.14 | Install Low-Profile Entrance Matting | 2 | m2 |  | 0
Services
3.15 | Replacement of Light Fittings Generally | 13 | nr |  | 0
|  |  |  | Total | 0

## 2 Prelims
Grade 11 Listed Porthcawl Public Conveniences
Porthcawl Town Council
Pricing Document
|  | Quantity | Unit | Rate | Total | Notes (not printed)
2 | Main Contractor’s Preliminaries
MANAGEMENT AND STAFF
| Construction / Operations Director |  | wks |  | 0
| Senior Project Manager |  | wks |  | 0
| Project Manager |  | wks |  | 0
| Construction Manager - School Building |  | wks |  | 0
| Site Manager 1 |  | wks |  | 0
| Site Manager 2 |  | wks |  | 0
| Managing Surveyor |  | wks |  | 0
| Senior QS |  | wks |  | 0
| Assistant QS |  | wks |  | 0
| Quality Manager |  | wks |  | 0
| Defects Manager/Soft Landings Delivery & Management |  | wks |  | 0
| Design Manager |  | wks |  | 0
| Assistant Building Manager |  | wks |  | 0
| Community Liaison & Logistics Manager |  | wks |  | 0
| Senior Services Engineer |  | wks |  | 0
| Services Engineer |  | wks |  | 0
| Senior Site Engineer |  | wks |  | 0
| Engineer 1 |  | wks |  | 0
| Engineer 2 |  | wks |  | 0
| Planner/Programmer |  | wks |  | 0
| Foreman 1 |  | wks |  | 0
| Foreman 2 |  | wks |  | 0
| Foreman 3 |  | wks |  | 0
| Gateman |  | wks |  | 0
| Assistant Gateman |  | wks |  | 0
| General Labourer(s) |  | wks |  | 0
| Document Controller/Quality Assurance |  | wks |  | 0
| Safety Advisor/Manager |  | wks |  | 0
| Environmental Advisor/Manager |  | wks |  | 0
| Secretary/Office Manager |  | wks |  | 0
Other staff (Please state):
.........................................................................
.........................................................................
TEMPORARY ACCOMMODATION/SERVICES
| Contractor offices |  | wks |  | 0
| Client offices |  | wks |  | 0
| Meeting rooms |  | wks |  | 0
| Canteen |  | wks |  | 0
| Canteen equipment |  | wks |  | 0
| Stores/containers |  | wks |  | 0
| Drying room |  | wks |  | 0
| Toilets |  | wks |  | 0
| Stairs |  | wks |  | 0
| Set up/removal accommodation |  | wks |  | 0
| Transport accommodation to/from site |  | wks |  | 0
| Local authority rates, fees and charges on temporary buildings |  | wks |  | 0
Other accommodation requirements (please state):
.........................................................................
.........................................................................
SERVICES & FACILITIES
Existing services surveys
Temporary lighting & power/connections/builders work - cabins & site
Temporary electricity - cabins running cost
Temporary electricity - site running cost
Temporary generators
Temporary water for the works/connections/builders work
Temporary water - running costs
General fuel allowance
Allow for all rates/fees/charges related to temporary works
Fuel for testing and commissioning M&E installations
Telephone system
Telephone line rental
Telephone bell connection
Telephone calls
Mobile phones
Mobile telephone calls
SERVICES & FACILITIES CONTINUED
E-mail/internet call charges
Computers, printers and the like
Project extranet costs including provision of electronic record copy on hard drive to Employer on completion of the project
Photocopiers
Photocopier supplies
Stationery
Printing costs
Furniture and fittings
Safety boots
Fluorescent jackets
Fluorescent singlets
Hard hats
Safety glasses
Safety gloves
Ear defenders
Miscellaneous other safety equipment
First aid accommodation/equipment
Fire extinguishers
Site consumables
Ongoing general rubbish removal
Skips
Building clean at completion
Site offices clean
Site roads clean
Wet wheel wash stand alone plant
Delivery & installation wheel wash
Removal wheelwash
Pressure washer
Maintain and clean public/private roads affected by works
Drying out/dehumidifiers
Protection of works including floor and wall finishes
Security Guards
Security Equipment - site - installation/removal
Security Equipment - site - running cost
Security Equipment - cabins - installation/removal
Security Equipment - cabins - running cost
Small plant and tools
Camera/record photographs
INSURANCES AND BONDS
Insurance for loss of or damage to the Works, plant and materials
Insurance for loss of or damage to Equipment
Contractor's Employer Liability Insurance
Contractor's Public Liability Insurance
Contractor's Professional Indemnity Insurance
|  |  |  | Total | 0

## Rear Cover
02920 220 300 admin@tc-consult.co.uk tc-consult.co.uk
TC Consult Ltd, The Old Coach House, 2 Sophia Close, Cardiff, CF11 9HW