FIRE SAFETY SERVICING AND MAINTENANCE 2026

VOLUME 6: Key Performance Indicator (KPI) Framework

February 2026

- Introduction

  - The purpose of this document is to ensure that the relevant staff members from the Client and the successful Service Provider understand the methodology and procedure for producing timely and accurate Key Performance Indicators during the delivery of services under this Agreement. This document outlines for each of the KPIs the following;

  - Definition;

  - Responsible Person;

  - Measurement Process;

  - Reporting

  - Acceptable Score;

  - Unacceptable Score;

- Background to Performance Management & Benchmarking

  - A Key Performance Indicator (KPI) is defined as “the measure of performance of an activity that is critical to the success of an organisation”.

  - The use of KPIs allows the Client to:

- Set performance targets at the outset of a commission

- Monitor performance of suppliers engaged by the Customers

- Assess completed commissions

- Benchmark performance to provide a basis for continuous improvement

2.3 	There is also a statutory obligation on all Registered Providers to collect KPI data and to Benchmark performance with like organisations and this will form the basis of any audit / inspection of the service. All targets are felt to be reasonable for the delivery of the Project.

- Fundamental KPIs, KPIs and targets

  - The Client shall continuously review the performance of the Service Provide against the Fundamental KPIs during the term of the Agreement.

  - Should there be any failings in relation to KPIs then the provisions set out in the contract shall apply.

- Data Collection and Management

  - Data collection and the responsibility for collecting data are clearly defined and the Service Provider has a responsibility for ensuring that data is captured in a timely manner to allow accurate reporting at the given intervals.

- Ad hoc KPI Reviews

  - The KPI’s will be the responsibility of the Service Provider for the duration of the commission. The Client may from time-to-time review both the Service Provider’s performance against the KPIs and the effectiveness of the KPIs in delivering value for money. As such, it is possible that KPIs may need to be amended, either in the way they are collected or the targets that are set against them. Additionally, if over a period of time KPIs are felt to offer no value they may be removed. Similarly, additional KPIs may be added if they are felt to provide additional value to the delivery of services under the framework agreement.

  - To maximise the value of the KPI it is imperative that data is collected and analysed in a timely fashion. Measurement periods for each KPI are given within this document.

- Updating and re-issuing KPI Framework

  - Where this KPI Framework is amended, it will be re-issued to all parties by email with a new issue number and date. The previous version should be deleted by all parties to avoid any potential confusion and it is imperative that when an amended KPI Framework update is issued that all staff are made aware of this and there is duty on all parties to cascade the information within their own organisation.

KPI 1: NUMBER OF PROPERTIES WITH A VALID SERVICING CERTIFICATE

  - Definition

Number of properties that have received a service on or before the anniversary date. This includes supplying a servicing certificate as evidence to cover all the following areas/frequencies:

- Fire Alarm system - 6 monthly service

- Emergency Lighting - annual 3-hour discharge service

- Sprinkler and Mist systems - annual service

- Firefighting Equipment - annual service

- Automatic Opening Vents – 6 monthly service (with Fire Alarm service)

- Dry Riser – 6 monthly visual inspection and annual pressure test

  - Reporting:

This will be monitored and reported monthly, however it is expected that this information is available to view live in “real-time” as part of the performance dashboard contained within the client portal.

  - Excellent Performance

100%

  - Acceptable Performance

Between 98% - 99.9%

  - Unacceptable Performance

Below 98%

KPI 2: NUMBER OF PROPERTIES WITH A VALID TESTING CERTIFICATE

  - Definition

The number of properties that have received a test on or before the anniversary date. This includes supplying a testing certificate as evidence. This includes supplying a servicing certificate as evidence to cover all the following areas/frequencies:

- Fire Alarm system- weekly test

- Emergency Lighting- monthly test

- Automatic Opening Vents - weekly test

- Dry Riser – annual pressure test

  - Reporting:

This will be monitored and reported monthly, however it is expected that this information is available to view live in “real-time” as part of the performance dashboard contained within the client portal.

  - Excellent Performance

100%

  - Acceptable Performance

Between 98% - 99.9%

  - Unacceptable Performance

Below 98%

KPI 3: % OF REPAIRS ARISING FROM SERVICING/TESTS COMPLETED WITHIN TIMESCALE

  - Definition

The % of properties where repairs have been raised following servicing/testing which have received the relevant repair within a two-month timescale.

  - Measurement Process

Ascertain the total number of properties that have received the repair out of the number that were due to receive the repair within the relevant timescales

  - Reporting:

This will be monitored and reported monthly, however it is expected that this information is available to view live in “real-time” as part of the performance dashboard contained within the client portal.

  - Excellent Performance

100%

  - Acceptable Performance

Between 98% - 99.9%

  - Unacceptable Performance

Below 98%

KPI 4: % OF REPAIRS COMPLETED AND DEFECT FREE

  - Purpose

To determine the proportion of repairs completed without defect

  - Reporting:

This will be monitored and reported monthly, however it is expected that this information is available to view live in “real-time” as part of the performance dashboard contained within the client portal.

  - Excellent Performance

100%

  - Acceptable Performance

Between 98% - 99.9%

  - Unacceptable Performance

Below 98%