HIGHWAY DRAINAGE

SYSTEMS

CLEANSING POLICY

| Date | Brief Description of Change | Reference |
| --- | --- | --- |
| 01/08/17 | New policy | RH |

Introduction

The condition of highway drainage systems can contribute to the core objectives as follows:

- Safety – Accumulation of water on carriageways, footways and cycle routes

- Serviceability – Accumulation of water on carriageways, footways and cycle routes

- Sustainability – Polluted effluent from clearing of highway drainage should not be directed into watercourses

Inadequate drainage of the highway structure will reduce effective life and increase maintenance liability.

Highway drainage elements fall into five main categories:

- Gullies, grips and ditches, which may be obstructed by the growth of vegetation or damaged by traffic

- Culverts under roads which may be affected by blockage, subsidence or structural damage

- Other piped drainage which may be affected by blockage or subsidence

- Sustainable urban drainage systems which may require special maintenance attention

- Surface boxes and ironwork which may be affected by subsidence or obstructed access

Risk Based Cleansing Programme and Schedule

There are no statutory indicators identifying the condition of the highway drainage systems and therefore the Authority has developed a local standard based on fit for purpose to provide a level of service required assessed by the level of risk of the system being compromised by failure. The assessment is based on the different speed of traffic on the road and areas most susceptible to flooding. The drainage systems require a cleansing programme to ensure that, so far as reasonably practicable, free of obstruction and have an appropriate inspection and cleansing regime to deliver this.

Gully Emptying

Road side gullies are required so that water flowing along the side of the road channels is collected and drained away via the drainage systems into nearby ditches and watercourses. They have a sump contained in a chamber, beneath the grid cover. The sump should be deep enough to contain silt and to stop the silt running into the drainage system. The build-up of silt in the gully will eventually block the gully and regular cleansing of the gullies is essential to reduce the risk of blockages occurring in the systems. This operation comprises sucking out the contents of the gully into a tanker. Gullies are over filled when emptied to ensure that they are clear and when not, the unit is recorded for jetting.

The frequency of emptying will depend upon location, extent of tree cover, level of rainfall, the extent of kerbing and frequency of sweeping. By default all gullies will be cleaned at least once annually and arrangements are made for non-functioning gullies to be recorded for more frequent or detailed attention. Schedules of gullies requiring increased frequency of emptying is built up by records from the cleansing schedule reports, experience and trouble spots. Since gullies may be obstructed by the growth of vegetation or damage by traffic, especially in rural areas, the Authority plots each gully cleansed electronically by GPS so that the current inventory can be built upon and continually maintained.

There are approximately 16000 gullies on Anglesey and on most occasions a simple gully clean will result in the immediate removal of silt, but it does not always deal with the build-up of material down-stream. To avoid this, the Authority has increased the gully emptying schedule to twice annually so it is more likely that a system will remain free from build up for longer.

The A545, at Glyn Garth, is particularly susceptible to blockage due to leaf fall and thefefore gullies are cleaned monthly during October to February.

Culverts and Manholes

General guidance suggests that culverts and manholes should be inspected every five years by default and cleaned when necessary and piped drainage systems should be checked and flushed if necessary during regular service inspections, but by default at not more than 10 year intervals.

The frequency of cleansing of oil interceptors are by default every five years.

“Since the Authority has limited information of the surface water drainage systems, maintainable by public expense, systems are recorded through the non-functioning gully list. These systems for which these gullies drain into are jetted, surveyed and plotted onto the Authorities Electronic Asset Collection systems in order to build up the information”

Ditches

General guidance suggest that road side ditches should be maintained by the adjoining landowner, however the Authority, through the “Community Gang” carry out the cleansing and clearing work. This is carried out on a six yearly cycle and increased and decreased through assessment by the Engineers through their Highway Safety Inspection.

Ironwork

Ironware comprising covers, gratings, frames and boxes set in carriageways, footways and cycle routes has the potential to compromise safety and serviceability and cause noise and disturbance to local residents. Responsibility for defective ironwork lies with either the Authority or in apparatus installed by utility, lies with the company. Defects identified during the Highway Safety Inspection or from users should be formally noted and passed onto the relevant party, with follow up procedure to ensure that dangerous defects are remedied within the specified timescale.

Environment

Materials arising from all road drainage emptying and cleansing operations should be disposed of correctly in accordance with Natural Resource Wales requirements.

Flooding

Despite effective and regular maintenance operations, flooding of the highway occurs, relevant warning signs are placed in position as quickly as possible and road users are informed of the hazard through local media. The cause of flooding is determined and given prompt attention in order to restore the highway to a reasonable condition. If flooding is attributable to deficiencies in the infrastructure or the maintenance regime, then action to permanently relieve the problem is considered depending on priority.