Adra (Tai) Cyf

ASBESTOS FRAMEWORK – LOT 1 -

REACTIVE AND PLANNED ASBESTOS SURVEYING SERVICES

Lo1 1 – Surveying Services Specification (to be read in conjunction with Pricing Framework)

ASBESTOS SURVEYING REQUIREMENTS

Scope of the Surveys

- To carry out internal targeted refurbishment surveys with management
element throughout within various domestic properties located throughout the
geographical area of the client

- Targeted Refurbishment surveys to external elements of various domestic
properties located throughout the geographical area of the client

- A fixed price for surveys, anywhere in the geographical area of the client, with
no additional charges for travelling etc.

- Minimum of 6-8 samples per survey (where applicable), with unlimited
additional sampling at no extra cost

- A five working day turnaround for all void (unoccupied) property surveys (including providing a pdf copy of survey)

- A ten working day turnaround for all occupied property surveys (including providing a
pdf copy of survey)

- All tenant liaisons done by contractor (communication and arrangement of appointments, contractors should make 2 documented attempts with evidence plus visit before being passed back to the buyer for escalation) including unless otherwise specified by the buyer.

Standard Limitations
All areas will be accessed and inspected as far as is reasonably practicable.
Any areas not accessed must be presumed to contain asbestos. The areas not
accessed and presumed to contain asbestos will be clearly stated in the survey
report to enable the areas to be managed.
The management survey is to cover routine non-destructive maintenance work.
However it should be recognised that where ‘more extensive’ maintenance or repair
work is planned, there may not be sufficient information in this management survey.
In this instance a refurbishment survey must be carried out.
A refurbishment survey will be required for all work which disturbs the fabric of the
building in areas where the management survey has not been intrusive. The decision
on the need for a refurbishment survey will be made by the duty‐holder.
If plans of the premises are not supplied the Consultant will provide site sketches.

Asbestos Survey
Register depicting all items assessed shown on a room-by-room basis including:

• Details of assessment & assigned risk values.
• Photo Analysis Sheets and Recommendations
• Bulk Sample Certificate of Analysis
• Annotated Floor Plans
• Register of all asbestos containing materials found during the survey & Action Plan

Survey types

MANAGEMENT SURVEY, TO INCLUDE INVESTIGATION AND SAMPLING Investigation: Carry out inspection of suspected asbestos location, minimum 6 to 8 samples per survey (unlimited sampling per survey if requested), obtain laboratory analysis, report to Client’s Representative, per any location in a building.

TARGETED REFURBISHMENT AND DEMOLITION SURVEY, TO INCLUDE INVESTIGATION AND SAMPLING Investigation: Carry out inspection of suspected asbestos location, minimum 6 to 8 samples per survey (unlimited sampling per survey if requested), obtain laboratory analysis, report to Client’s Representative, per any location in a building.

TARGETED REFURBISHMENT AND DEMOLITION SURVEY, WITH MANAGEMENT THROUGHOUT TO INCLUDE INVESTIGATION AND SAMPLING Investigation: Carry out inspection of suspected asbestos location, minimum 6 to 8 samples per survey (unlimited sampling per survey if requested), obtain laboratory analysis, report to Client’s Representative, per any location in a building.

Management surveys will involve intrusive work and some disturbance. The extent
of intrusion will vary between premises and depend on what is reasonably practicable
for individual properties, i.e. it will depend on factors such as the type of building, the
nature of construction, accessibility etc.
The management survey will include an assessment of the condition of the various
ACMs and their ability to release fibres into the air if they are disturbed in some way.
This 'material assessment' will give a good initial guide to the priority for managing
the ACMs as it will identify the materials which will most readily release airborne
fibres if they are disturbed.
The survey will involve sampling and analysis to confirm the presence or absence of
ACMs.
However a management survey can also involve presuming the presence or absence
of asbestos. A management survey can be completed using a combination of
sampling ACMs and presuming ACMs or, indeed, just presuming.
Any materials presumed to contain asbestos must also have their condition assessed
(i.e. a material assessment).

Refurbishment and Demolition Surveys are intended to locate all the asbestos in
the building (or the relevant part), as far as reasonably practicable. It is a disruptive
and fully intrusive survey which may need to penetrate all parts of the building
structure. Aggressive inspection techniques will be needed to lift carpets and tiles,
break through walls, ceilings, cladding and partitions, and open up floors. In these
situations, controls should be put in place to prevent the spread of debris, which may
include asbestos.
Refurbishment and demolition surveys should only be conducted in unoccupied
areas to minimise the risks to occupants within the premises. For minor
refurbishment, this would only apply to the room involved or even part of the room
where the work is small and the room large. In these situations, there should be
effective isolation of the survey area (e.g. full floor to ceiling partition), and furnishings
should be removed as far as possible or protected using sheeting. The ‘surveyed’
area must be shown to be fit for reoccupation before people move back in. This will
require a thorough visual inspection and, if appropriate (e.g. where there has been
significant destruction), reassurance air sampling with disturbance.

External surveys

Targeted survey to external areas of a domestic property, prior to re-roofing, installation of External wall insulation, renewal of windows and doors, renewing of soffits & fascia boards, renewing of loft insulation, renewal of downpipes & guttering, removal of chimney stack, removal of verge edging and under cloak. There may also be similar works carried out on existing sheds and outbuildings at some properties too, so please factor this into your pricing.

Due to existing contractor prelims, the surveys will be required on a 10-working day turnaround and must be received prior to the site going ‘live’. However, high level access i.e. chimney stack and roof ridge will be accessed via the principal contractor’s scaffolding once erected. All works should be undertaken in line with The Work at Height Regulations 2005 in order to prevent death and injury caused by a fall from height. Every employer shall ensure that no person engages in any activity, including organisation, planning and supervision, in relation to work at height or work equipment for use in such work unless he is competent to do so or, if being trained, is being supervised by a competent person

CONTRACT REQUIREMENTS

The properties will be located anywhere within north Wales, and access arrangements with our tenants will need to be arranged by yourselves (contact details will be provided).

All surveys will be performed in accordance with guidelines laid out in HSG264/HSG248.

In order to achieve the turnaround times specified above the client expects the
supplier to have direct access to a UKAS accredited laboratory for bulk sampling.

Please note that service providers undertaking surveying work will be required provide Adra with data in real time. If the service provider uses their own asbestos management system, then Adra’s preferred technical approach for data capture would be through a secure API-based integration in the first instance. Asprey (Adra’s asset management system) has public API capability, and the exact scope would need to be reviewed against the provider’s requirements. Full external asbestos management may require additional API coverage.

In addition, Asprey includes asbestos management and mobile functionality as part of the wider suite and Adra would be keen to explore with the service provider that they use Asprey directly for asbestos surveying and ongoing asbestos management.

Expected Turnaround

The Framework will cover the North and Mid Wales region wherever Adra has stock, therefore, bidders will be expected to be able to provide full coverage across the whole of this area within the required response times: -

- Void properties = 5 working day turnaround, meaning surveying the property and providing Adra with a completed survey within 5 working days of receiving our instruction and a key safe being present on the property.

- Tenanted properties = 10 working day turnaround, meaning surveying the property and providing Adra with a completed survey within 10 working days of receiving our instruction. This is based on the tenant's contact details being correct, and the tenant willingness to accept an appointment within the first 4 days of contact being made.

- Timescale for air monitoring = Any scheduled air monitoring must be carried out within 24 hours of the appointment being made (emergency air tests must be carried out within 4 hours of reported incident). Adra expects to receive the results of any air tests within 24 hours of the site visit, and that air test certificates are provided on the day of the air test and left on site with an Adra member of staff or relevant contractor.

Communication requirements

Where the service provider requires access to an occupied residence, the provider's responsibilities for resident liaison are as follows:

- The Service Provider is required to carry out the following communication as a minimum;

        - Notification of scheduled service with 21 days' notice (letter)

        - Notification of scheduled service with 7 days' notice (letter)

        - Notification of scheduled service with 24 hours' notice (telephone call or text message)

        - The above communications must be bilingual (Welsh & English)

- The Contract Manager will seek to assist the Provider to resolve any problems of access to individual properties with individual residents

Void / No Access calls

The service provider shall undertake two documented visits, which is included within the terms of the pricing framework. If both attempted visits result in a void call, Adra will implement their “No Access” procedure. Any subsequent void call visits by the service provider may be charged in line with the agreed Price Framework. The service provider must provide geotagged, time stamped evidence of the two previous visit attempts (and any subsequent visits) in order to invoice for this charge.

KEY PERFORMANCE INDICATORS (KPI)

- Performance of the works and Services will be managed by adopting a suite of KPIs that will be relevant to each project. Broadly these KPIs will be based around, but not limited to:

- Turnaround timescales

- Surveys / Sampling satisfaction

- Level of Non-conformance issued

- Re-scheduled Surveys

- Client Satisfaction

- HSQE (health, safety, quality and environment) objectives

- Level of issues/complaints;

Adra has set out its expectations in terms of performance standards and has included this in the tender documentation. This will be used as the basis of measuring the performance of Adra’s contract with the service provider.