Hit & Miss Fencing Specification

1.8 or 1.2m Height

PCC Concrete Post & Gravel Board.

‘D’ Shaped Timber Top Rail.

150 x 25mm Vertical Timber Planks – offset to both sides.

75 x 50mm Timber Framing.

All timber to be Class 4 pressure treated sawn timber – UC4.

Timber to be free from large knots and defects.

63mm Hot Dipped Galvanised Ring Shank Nails.

Hedgehog Highway.

A hedgehog hole is to be included at ground level at least once per side of the garden boundary. This is to come pre-installed in the gravel board, or to be cut onsite. A minimum size of 13cm x 13cm is required if this is to be cut onsite.

Hit & Miss Fencing Specification

1.8 or 1.2m Height

|  |  |  | All Gates Single Side Hit & Miss 1.8m Gate: 3no. 450mm Hinges 1no. Padbolt Lockable 1no. Barrack Latch 1.2m Gate 2no. 450mm Hinges 1no. Auto Gate Catch |  |
| --- | --- | --- | --- | --- |
| Heavy Pattern Auto Gate Catch. Galvanized | Barrack Latch Size: 225mm Galvanised | Weighty Scotch Tee Hinge. Size: 450mm. Galvanised. |  | ½” Padbolt Lockable Galvanised |