## Reactive work
Date ordered | Description | Response time | Hours billed | Comments
7/30/2025 | Zip tap filter needs changing | Within 5 days | 3 | Whitehead engineer | Plumber
7/30/2025 | Back fire exit can be opened from outside, needs to be secured. | Within 5 days | not known as Sub-contractor - billed total for job | Sub-contractor
2025-05-11 | Arrange for Ceatons to attend site and download CCTV footage from Tuesday 14th October, 9pm – 11pm | Within 5 days | not known as Sub-contractor - billed total for job | Sub-contractor
2025-04-06 | To fit a lock to the first aid room door on a key and thumb turn, retrospectively. | Within 5 days | 1 | Whitehead engineer | Handyperson
2025-07-11 | Faulty light in the tiger trap | Within 5 days | 2 | Whitehead engineer | Electrician
2025-07-11 | The chain for one of the blinds has snapped in meeting room 1 | Within 5 days | 1.5 | Whitehead engineer | Handyperson
2025-02-12 | Fit two new ceiling tiles in place of the missing ones | Within 5 days | 2 | Whitehead engineer | Handyperson
2025-02-12 | Replace Zip tap filter | Within 5 days | 3 | Whitehead engineer | Multi-skilled trade
2025-02-12 | Replacement 17ah battery | n/a | not known as Sub-contractor - billed total for job | Sub-contractor
1/21/2026 | Lock has broken on the I.T cupboard (the white cupboards) | Within 5 days | 1 | Whitehead engineer | Handyperson
1/26/2026 | One of the hand dryers are not working in the men’s toilets | Within 5 days | 1.5 | Whitehead engineer | Electrician
1/28/2026 | The door handle to pod 3 has become very loose | Within 5 days | 1 | Whitehead engineer | Handyperson
2/26/2026 | All lights are not coming on in reception area | Within 5 days | 2 | Whitehead engineer | Electrician
2026-03-03 | The second toilet constantly flushes after an initial flush – possible fault with the flush, please flush before looking at it to better understand issue | Within 5 days | 3 | Whitehead engineer | Plumber
2026-04-03 | Bad smell coming from the disabled toilets – possible issue with pipes | Within 4 hours | 2.5 | Whitehead engineer | Plumber
2026-05-03 | Lights are flickering in the boardroom | Within 5 days | 3 | Whitehead engineer | Electrician
2026-11-03 | Drill plaque onto wall – reception staff to let them know where | Within 5 days | 1 | Whitehead engineer | Handyperson
2026-11-03 | Lights not coming on in the boardroom | Within 5 days | 3.5 | Whitehead engineer | Electrician
3/25/2026 | Zip tap is not turning on | Within 5 days | 1 | Whitehead engineer | Plumber
4/16/2026 | WEEE waste collection for: Flykiller x2 Keyboards x11 Surface keyboards x10 Mouse x6 Headphones x1 Docking station x1 A3 laminator x1 | Within 5 days | not known as Sub-contractor - billed total for job | Sub-contractor
4/20/2026 | Replace zip tap filter | Within 5 days | 3.5 | Whitehead engineer | Plumber
4/21/2026 | Two cameras showing as “no video” | Within 5 days | not known as Sub-contractor - billed total for job | Sub-contractor
4/27/2026 | Faulty lights in kitchen – one wont turn on and another is off colour | Within 5 days | 4 | Whitehead engineer | Electrician
4/30/2026 | Tear in the carpet near pod 4 – Spare carpet tiles in store cupboard near MR3 | Within 5 days | 3 | Whitehead engineer | Handyperson
2026-08-05 | The back double fire exit on the open plan leading to the car park - door damaged - right side top hinge lock needs attention | Within 4 hours | not known as Sub-contractor - billed total for job | Sub-contractor
5/13/2026 | The lights are not coming on near the ladies toilets | Within 5 days | 3 | Whitehead engineer | Electrician
2026-02-06 | The first ladies toilets nearest the door constantly flushes/flushes for very long periods of time every so often after flushing | Within 5 days | 3 | Whitehead engineer | Plumber
6/23/2026 | All cameras are showing black screen, in server room and on reception cameras | Within 5 days | not known as Sub-contractor - billed total for job | Sub-contractor
2026-03-07 | Fit celling tile in men’s toilets – may need to cut to match the shape | Within 5 days | 3.5 | Whitehead engineer | Handyperson
2026-10-09 | There is a leak in the boiler in the cleaners cupboard | Within 5 days | 2.5 | Whitehead engineer | Multi-skilled trade