679015 |  | R | N | Y | N | PL | CYLINDER:RENEW UNVENTED INDIRECT PRE-INSUL 300 LTR | Plumbing | Hot Water Cylinders | Cylinders - Unvented Indirect Pre-insulated | NO | 1686.5536 | Cylinder:Turn on/off supplies, renew 300 litre unvented pre-insulated cylinder complete with primary coil, dual thermostat, wiring centre, valves, exp vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 300 litre unvented pre-insulated cylinder complete with primary coil, dual thermostat, wiring centre 2 part zone valve, temperature and pressure relief valves, 40 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1686.5536
679101 |  | R | N | Y | N | PL | CYLINDER:RENEW VENTED DIRECT INSULATED 100 LTR | Plumbing | Hot Water Cylinders | Cylinders - Vented Direct Pre-insulated | NO | 1115.7808 | Cylinder:Turn on/off supplies, renew 100 litre vented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 100 litre vented pre-insulated Dimplex Quantum or other equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1115.7808
679103 |  | R | N | Y | N | PL | CYLINDER:RENEW VENTED DIRECT INSULATED 125 LTR | Plumbing | Hot Water Cylinders | Cylinders - Vented Direct Pre-insulated | NO | 1143.463 | Cylinder:Turn on/off supplies, renew 125 litre vented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 125 litre vented pre-insulated Dimplex Quantum or other equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1143.463
679105 |  | R | N | Y | N | PL | CYLINDER:RENEW VENTED DIRECT INSULATED 150 LTR | Plumbing | Hot Water Cylinders | Cylinders - Vented Direct Pre-insulated | NO | 1173.9181 | Cylinder:Turn on/off supplies, renew 150 litre vented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 150 litre vented pre-insulated Dimplex Quantum or other equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1173.9181
679107 |  | R | N | Y | N | PL | CYLINDER:RENEW VENTED DIRECT INSULATED 175 LTR | Plumbing | Hot Water Cylinders | Cylinders - Vented Direct Pre-insulated | NO | 1223.7484 | Cylinder:Turn on/off supplies, renew 175 litre vented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 175 litre vented pre-insulated Dimplex Quantum or other equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1223.7484
679109 |  | R | N | Y | N | PL | CYLINDER:RENEW VENTED DIRECT INSULATED 210 LTR | Plumbing | Hot Water Cylinders | Cylinders - Vented Direct Pre-insulated | NO | 1273.6021 | Cylinder:Turn on/off supplies, renew 210 litre vented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 210 litre vented pre-insulated Dimplex Quantum or other equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1273.6021
679111 |  | R | N | Y | N | PL | CYLINDER:RENEW VENTED DIRECT INSULATED 250 LTR | Plumbing | Hot Water Cylinders | Cylinders - Vented Direct Pre-insulated | NO | 1310.9602 | Cylinder:Turn on/off supplies, renew 250 litre vented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 250 litre vented pre-insulated Dimplex Quantum or other equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1310.9602
679201 |  | R | N | Y | N | PL | CYLINDER:RENEW UNVENTED DIRECT INSULATED 100 LTR | Plumbing | Hot Water Cylinders | Cylinders - Unvented Direct Pre-insulated | NO | 978.493 | Cylinder:Turn on/off supplies, renew 100 litre unvented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 100 litre unvented pre-insulated Dimplex Quantum or equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 978.493
679203 |  | R | N | Y | N | PL | CYLINDER:RENEW UNVENTED DIRECT INSULATED 125 LTR | Plumbing | Hot Water Cylinders | Cylinders - Unvented Direct Pre-insulated | NO | 1002.361 | Cylinder:Turn on/off supplies, renew 125 litre unvented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 125 litre unvented pre-insulated Dimplex Quantum or equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1002.361
679205 |  | R | N | Y | N | PL | CYLINDER:RENEW UNVENTED DIRECT INSULATED 150 LTR | Plumbing | Hot Water Cylinders | Cylinders - Unvented Direct Pre-insulated | NO | 1028.6041 | Cylinder:Turn on/off supplies, renew 150 litre unvented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 150 litre unvented pre-insulated Dimplex Quantum or equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1028.6041
679207 |  | R | N | Y | N | PL | CYLINDER:RENEW UNVENTED DIRECT PRE-INSUL 175 LTR | Plumbing | Hot Water Cylinders | Cylinders - Unvented Direct Pre-insulated | NO | 1071.5782 | Cylinder:Turn on/off supplies, renew 175 litre unvented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 175 litre unvented pre-insulated Dimplex Quantum or equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1071.5782
679209 |  | R | N | Y | N | PL | CYLINDER:RENEW UNVENTED DIRECT PRE-INSUL 210 LTR | Plumbing | Hot Water Cylinders | Cylinders - Unvented Direct Pre-insulated | NO | 1114.5406 | Cylinder:Turn on/off supplies, renew 210 litre unvented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 210 litre unvented pre-insulated Dimplex Quantum or equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1114.5406
679211 |  | R | N | Y | N | PL | CYLINDER:RENEW UNVENTED DIRECT PRE-INSUL 250 LTR | Plumbing | Hot Water Cylinders | Cylinders - Unvented Direct Pre-insulated | NO | 1146.7507 | Cylinder:Turn on/off supplies, renew 250 litre unvented pre-insulated Dimplex Quantum cylinder with valves, immersion heaters, thermostat, expansion vessel, connections, vent, test system, bonding. | Cylinder:Isolate supply, drain down, disconnect, clear away and renew or install 250 litre unvented pre-insulated Dimplex Quantum or equal and approved electric water heating cylinder with temperature and relief valves, 18 litre expansion vessel, connect new and existing feed and supply pipes, refill, vent and test system, including all newly made joints, install 2 no. 3kW immersion heaters (lower and upper boost) and thermostat, remake all bonding, remove/refix shelves etc. reconnect electricity supply and test on completion and remove waste and debris. | 1146.7507
679501 | New | U | N | N | N | PL | CYLINDER:RENEW 18 LITRE EXPANSION VESSEL | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 156.9714 | Cylinder:Renew or supply and install defective or missing 18 litre expansion vessel to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | Cylinder:Renew or supply and install defective or missing 18 litre expansion vessel to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 156.9714
679503 | New | R | N | N | N | PL | CYLINDER:RENEW 25 LITRE EXPANSION VESSEL | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 160.7505 | Cylinder:Renew or supply and install defective or missing 25 litre expansion vessel to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | Cylinder:Renew or supply and install defective or missing 25 litre expansion vessel to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 160.7505
679505 | New | U | N | N | N | PL | CYLINDER:RENEW 12 LITRE EXPANSION VESSEL POTABLE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 74.6151 | Cylinder:Renew or supply and install defective or missing 12 litre replaceable membrane potable water expansion vessel to unvented cylinder, turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing 12 litre replaceable membrane potable water expansion vessel to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 74.6151
679507 | New | U | Y | N | Y | PL | CYLINDER:RENEW PRESSURE + TEMPERATURE RELIEF VALVE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 71.0349 | Cylinder:Renew or supply and install defective or missing 7 bar temperature and pressure relief valve to unvented cylinder, including turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing 7 bar temperature and pressure relief valve to unvented cylinder, including turn water etc. off/on, remove and fit new part, test and remove waste and debris. | 71.0349
679509 | New | U | Y | N | Y | PL | CYLINDER:RENEW MULTIFUNCTION VALVE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 163.5702 | Cylinder:Renew or supply and install defective or missing 3.5 bar pressure reducing and 6 bar relief valve to unvented cylinder, including turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing 3.5 bar pressure reducing and 6 bar relief valve to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 163.5702
679511 | New | U | Y | N | Y | PL | CYLINDER:RENEW EXPANSION RELIEF MANIFOLD VALVE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 69.8415 | Cylinder:Renew or supply and install defective or missing 6 bar pressure relief expansion manifold valve to unvented cylinder, including turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing 6 bar pressure relief expansion manifold valve to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 69.8415
679513 | New | U | Y | N | Y | PL | CYLINDER:RENEW PRESSURE 3 PORT REDUCING VALVE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 104.9181 | Cylinder:Renew or supply and install defective or missing 3 port preset 3.5 bar pressure reducing valve to unvented cylinder, including turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing 3 port preset 3.5 bar pressure reducing valve to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 104.9181
679515 | New | U | Y | N | Y | PL | CYLINDER:RENEW TUNDISH | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 36.1104 | Cylinder:Renew or supply and install defective or missing 14mm x 22mm straight plastic tundish to unvented cylinder, including turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing 14mm x 22mm straight plastic tundish to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 36.1104
679517 | New | R | N | N | N | PL | CYLINDER:RENEW 3KW HEATING ELEMENT | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 42.171 | Cylinder:Renew or supply and install defective or missing 3kw heating element to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | Cylinder:Renew or supply and install defective or missing 3kw heating element to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 42.171
679519 | New | U | Y | N | Y | PL | CYLINDER:RENEW 3 KW IMMERSION ELEMENT KIT | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 74.8959 | Cylinder:Renew or supply and install defective or missing 3kw immersion element kit with 11" thermostat to unvented cylinder, including turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing 3kw immersion element kit with 11" thermostat to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 74.8959
679521 | New | U | Y | N | Y | PL | CYLINDER:RENEW 11" THERMOSTAT | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 36.4029 | Cylinder:Renew or supply and install defective or missing 11" thermostat to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | Cylinder:Renew or supply and install defective or missing 11" thermostat to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 36.4029
679523 | New | U | Y | N | Y | PL | CYLINDER:RENEW PRESSURE REDUCING VALVE CARTRIDGE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 41.4807 | Cylinder:Renew or supply and install defective or missing cartridge to 3.5bar pressure relieving or pressure reducing valve to unvented cylinder, turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing cartridge to 3.5bar pressure relieving or pressure reducing valve to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 41.4807
679525 | New | U | Y | N | Y | PL | CYLINDER:RENEW PRESSURE RELIEF VALVE CARTRIDGE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 45.1311 | Cylinder:Renew or supply and install defective or missing cartridge to 6bar pressure relief expansion valve to unvented cylinder, including turn water etc off/on, test, remove waste and debris. | Cylinder:Renew or supply and install defective or missing cartridge to 6bar pressure relief expansion valve to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 45.1311
679527 | New | U | Y | N | Y | PL | CYLINDER:RENEW ELECTRODE ANODE | Plumbing | Hot Water Cylinders | Unvented Cylinder Repairs | IT | 51.2034 | Cylinder:Renew or supply and install defective or missing titanium electrode anode to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | Cylinder:Renew or supply and install defective or missing titanium electrode anode to unvented cylinder, including turn water etc off/on, remove and fit new part, test and remove waste and debris. | 51.2034
680001 |  | R | N | Y | N | PL | SCALE REDUCER:SUPPLY MAGNETIC TYPE | Plumbing | Hot Water Cylinders | Scale Reducers | IT | 48.5751 | Scale Reducer:Supply and install magnetic type scale reducer to cold water supply, locate, turn water off/on, drain down/refill system, cut pipe insert scale reducer unit, connections, test. | Scale Reducer:Supply and install magnetic type scale reducer to cold water supply including locate and turn water off, drain down as necessary, cut into existing pipe and insert scale reducer unit including all necessary connections, reinstate water supply and test and remove waste and debris. | 48.5751
680003 |  | R | N | Y | N | PL | SCALE REDUCER:SUPPLY ELECTROLYTIC TYPE | Plumbing | Hot Water Cylinders | Scale Reducers | IT | 45.5448 | Scale Reducer:Supply and install electrolytic type scale reducer to cold water supply, locate, turn water off/on, drain down/refill system, cut pipe insert scale reducer unit, connections, test. | Scale Reducer:Supply and install electrolytic type scale reducer to cold water supply including locate and turn water off, drain down as necessary, cut into existing pipe and insert scale reducer unit including all necessary connections, reinstate water supply and test and remove waste and debris. | 45.5448
680005 |  | R | N | Y | N | PL | SCALE REDUCER:SUPPLY CHEMICAL TYPE | Plumbing | Hot Water Cylinders | Scale Reducers | IT | 146.2396 | Scale Reducer:Supply and install chemical in line scale reducer to cold water supply, locate, turn water off/on, drain down/refill system, cut pipe insert scale reducer unit, connections, test. | Scale Reducer:Supply and install chemical in line scale reducer to cold water supply including locate and turn water off, drain down as necessary, cut into existing pipe and insert scale reducer unit including fix two stop valves, make all necessary connections and test and remove waste and debris. | 146.2396
680007 |  | U | N | N | Y | PL | SCALE REDUCER:RECHARGE CHEMICAL TYPE | Plumbing | Hot Water Cylinders | Scale Reducers | IT | 37.0638 | Scale Reducer:Gain access and recharge any type of chemical scale reducer. | Scale Reducer:Gain access and recharge any type of chemical scale reducer. | 37.0638
680009 |  | R | N | Y | N | PL | SCALE REDUCER:ELECTRO MAGNETIC NON INTRUSIVE TYPE | Plumbing | Hot Water Cylinders | Scale Reducers | IT | 89.4413 | Scale Reducer:Supply and install electronic Water King non intrusive type scale reducer locate, turn water off/on, drain down/refill system, test. | Scale Reducer:Supply and install electronic 'Water King' non intrusive type scale reducer to hot or cold water pipes complete, computerised control unit with internal transformer hardwired to fused electrical outlet, wire aerials coiled around pipework and secured, make all necessary connections and test and remove waste and debris. | 89.4413
683001 |  | U | N | N | Y | PL | BACK SURGING/VENTING:2 NO STOREY BLOCK | Plumbing | Blocks | Back Surging/Venting | IT | 299.1252 | Back Surging/Venting:Investigate back surging, venting or other fault attributable to unidentified individual property within 2 storey block of flats, investigate, locate, rectify fault, test, report. | Back Surging/Venting:Investigate incidence of back surging, venting of heating system or other fault attributable to individual property within block that cannot be identified within 2 storey block of flats. Investigate, locate offending property and rectify fault including access all intake cupboards, ducts, service voids and properties, isolate water supply, drain down, remove leaking or defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 299.1252
683003 |  | U | N | N | Y | PL | BACK SURGING/VENTING:3-5 NO STOREY BLOCK | Plumbing | Blocks | Back Surging/Venting | IT | 561.7465 | Back Surging/Venting:Investigate back surging, venting or other fault attributable to unidentified individual property within 3-5 storey block of flats, investigate, locate, rectify fault, test. | Back Surging/Venting:Investigate incidence of back surging, venting of heating system or other fault attributable to individual property within block that cannot be identified within 3-5 storey block of flats. Investigate, locate offending property and rectify fault including access all intake cupboards, ducts, service voids and properties, isolate water supply, drain down, remove leaking or defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 561.7465
683005 |  | U | N | N | Y | PL | BACK SURGING/VENTING:6-11 NO STOREY BLOCK | Plumbing | Blocks | Back Surging/Venting | IT | 824.3676 | Back Surging/Venting:Investigate back surging, venting or other fault attributable to unidentified individual property within 6-11 storey block of flats, investigate, locate, rectify fault, test. | Back Surging/Venting:Investigate incidence of back surging, venting of heating system or other fault attributable to individual property within block that cannot be identified within 6-11 storey block of flats. Investigate, locate offending property and rectify fault including access all intake cupboards, ducts, service voids and properties, isolate water supply, drain down, remove leaking or defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 824.3676
683007 |  | U | N | N | Y | PL | BACK SURGING/VENTING:12+ NO STOREY BLOCK | Plumbing | Blocks | Back Surging/Venting | IT | 1318.0956 | Back Surging/Venting:Investigate back surging, venting or other fault attributable to unidentified individual property within 12 or more storey block of flats, investigate, locate, rectify fault, test | Back Surging/Venting:Investigate incidence of back surging, venting of heating system or other fault attributable to individual property within block that cannot be identified within 12 or more storey block of flats. Investigate, locate offending property and rectify fault including access all intake cupboards, ducts, service voids and properties, isolate water supply, drain down, remove leaking or defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 1318.0956
683011 |  | E | Y | N | Y | PL | RECTIFY LEAK:AFFECTING 2 NO FLOORS OF BLOCK | Plumbing | Blocks | Rectify Leaks | IT | 303.2454 | Rectify Leak:Affecting 2No. floors of block of flats, access all intake cupboards, ducts etc and properties, isolate and drain down, remove/renew any defective fitting, reinstate water, test, report. | Rectify Leak:Affecting 2No. floors of block of flats, investigate locate and rectify leak to block of flats including access all intake cupboards, ducts, service voids and properties, isolate water supply, drain down, remove leaking/defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 303.2454
683013 |  | E | Y | N | Y | PL | RECTIFY LEAK:3-5 NO FLOORS OF BLOCK | Plumbing | Blocks | Rectify Leaks | IT | 584.6117 | Rectify Leak:Affecting 3-5 floors of block of flats, access all intake cupboards, ducts etc and properties, isolate and drain down, remove/renew any defective fitting, reinstate water, test, report. | Rectify Leak:Affecting 3-5No. floors of block of flats, investigate locate and rectify leak to block of flats including access all intake cupboards, ducts, service voids and properties, isolate water supply, drain down, remove leaking/defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 584.6117
683015 |  | E | Y | N | Y | PL | RECTIFY LEAK:6-11 NO FLOORS OF BLOCK | Plumbing | Blocks | Rectify Leaks | IT | 865.9781 | Rectify Leak:Affecting 6-11 floors of block of flats, access all intake cupboards, ducts etc and properties, isolate and drain down, remove/renew any defective fitting, reinstate water, test, report. | Rectify Leak:Affecting 6-11No. floors of block of flats, investigate locate and rectify leak to block of flats including access all intake cupboards, ducts, service voids and properties, isolate water supply, drain down, remove leaking/defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 865.9781
683017 |  | E | Y | N | Y | PL | RECTIFY LEAK:12+ NO FLOORS OF BLOCK | Plumbing | Blocks | Rectify Leaks | IT | 1399.4607 | Rectify Leak:Affecting 12 and over floor building, access all intake cupboards, ducts etc, toilet/wetrooms, isolate, drain down, remove/renew any defective fitting, reinstate water, test, report. | Rectify Leak:Affecting 12 or more floor building, investigate locate and rectify leak to building including access all intake cupboards, ducts, service voids, toilets and wetrooms and properties, isolate water supply, drain down, remove leaking/defective fitting of any type of any diameter, prepare existing pipework and renew fitting including any cutting and threading of pipes etc., reinstate water supply and pipe lagging and test on completion, provide written report and remove waste and debris. | 1399.4607
683021 |  | U | N | N | Y | PL | BLOCK SHUTDOWN:2 NO STOREY BLOCK | Plumbing | Blocks | Shutdowns | IT | 210.4315 | Block Shutdown:Give residents 24 hours notice and turn off water to 2 storey block for 12 hours for 3rd party works to be carried out, reinstate supply, renotified upon reinstatement. | Block Shutdown:Turn off water supplies to 2 storey block for no longer than 12 hours for third party works to be carried out. Upon completion of third party works reinstate supply to block. Ensure that all residents have been notified no less than 24 hours prior to isolation of supplies and are re notified upon reinstatement. | 210.4315
683023 |  | U | N | N | Y | PL | BLOCK SHUTDOWN:3-5 NO STOREY BLOCK | Plumbing | Blocks | Shutdowns | IT | 384.3592 | Block Shutdown:Give residents 24 hours notice and turn off water to 3 -5 storey block for 12 hours for 3rd party works to be carried out, reinstate supply, renotified upon reinstatement. | Block Shutdown:Turn off water supplies to 3-5 storey block for no longer than 12 hours for third party works to be carried out. Upon completion of third party works reinstate supply to block. Ensure that all residents have been notified no less than 24 hours prior to isolation of supplies and are re notified upon reinstatement. | 384.3592
683025 |  | U | N | N | Y | PL | BLOCK SHUTDOWN:6-11 NO STOREY BLOCK | Plumbing | Blocks | Shutdowns | IT | 564.1367 | Block Shutdown:Give residents 24 hours notice and turn off water to 6-11 storey block for 12 hours for 3rd party works to be carried out, reinstate supply, renotified upon reinstatement. | Block Shutdown:Turn off water supplies to 6-11 storey block for no longer than 12 hours for third party works to be carried out. Upon completion of third party works reinstate supply to block. Ensure that all residents have been notified no less than 24 hours prior to isolation of supplies and are re notified upon reinstatement. | 564.1367
683027 |  | U | N | N | Y | PL | BLOCK SHUTDOWN:12+ NO STOREY BLOCK | Plumbing | Blocks | Shutdowns | IT | 827.9531 | Block Shutdown:Give residents 24 hours notice and turn off water to 12 or more storey block for 12 hours for 3rd party works to be carried out, reinstate supply, renotify upon reinstatement. | Block Shutdown:Turn off water supplies to 12+ storey block for no longer than 12 hours for third party works to be carried out. Upon completion of third party works reinstate supply to block. Ensure that all residents have been notified no less than 24 hours prior to isolation of supplies and are re notified upon reinstatement. | 827.9531
685001 |  | U | N | N | Y | PL | WATER HAMMER:CLEAR AND REMEDY AIRLOCK | Plumbing | Sundry Works | Airlocks | IT | 42.0194 | Water Hammer:Clear water hammer or airlock in water system, check ballvalve and taps, including turn water supply off, drain as necessary reinstate water supply. Test and provide report on completion. | Water Hammer:Clear water hammer in water system, check ballvalve and taps, including turn water supply off, drain as necessary reinstate water supply and test on completion, report to Client Representative. | 42.0194
690001 |  | X | N | N | Y | PL | VOID:DRAIN DOWN HOT AND COLD WATER | Plumbing | Sundry Works | Safety Checks and Drain Downs | IT | 28.0129 | Void:Drain down hot and cold domestic water system to void property. | Void:Drain down hot and cold domestic water system to void property. | 28.0129
690003 |  | X | N | N | Y | PL | VOID:REFILL HOT AND COLD WATER | Plumbing | Sundry Works | Safety Checks and Drain Downs | IT | 63.0292 | Void:Refill hot and cold domestic water system to void property and check incoming water supply. | Void:Refill hot and cold domestic water system to void property and check incoming water supply. | 63.0292
690005 |  | X | N | N | Y | PL | VOID:SAFETY CHECK HOT AND COLD WATER | Plumbing | Sundry Works | Safety Checks and Drain Downs | IT | 31.5146 | Void:Carry out safety check of complete hot and cold water plumbing and waste installation to any void property and provide written report to the CR. | Void:Carry out safety check of complete hot and cold water plumbing and waste installation to any void property and provide written report to the Client Representative. | 31.5146
693001 | New | R | N | N | N | PL | STAND PIPE:PROVIDE NE 50MM SINGLE OUTLET | Plumbing | Underground Water Mains | Stand Pipes | NO | 158.0132 | Stand Pipe:Supply, install any ne 50mm dia. with single outlet stand pipe to communal garden, cut and fit to existing pipework or to new 19mm alkathene pipework, joints, test, remove waste and debris. | Stand Pipe:Supply and install any ne 50mm diameter with single outlet stand pipe to communal garden including cutting and fitting to existing pipework or to new 19mm alkathene pipework, make all necessary joints, and test, and remove waste and debris. | 158.0132
693003 | New | R | N | N | N | PL | STAND PIPE:PROVIDE NE 50MM DOUBLE OUTLET | Plumbing | Underground Water Mains | Stand Pipes | NO | 171.5033 | Stand Pipe:Supply, install any ne 50mm dia. with double outlet stand pipe to communal garden, cut and fit to existing pipework or to new 19mm alkathene pipework, joints, test, remove waste and debris. | Stand Pipe:Supply and install any ne 50mm diameter with double outlet stand pipe to communal garden including cutting and fitting to existing pipework or to new 19mm alkathene, make all necessary joints, and test, and remove waste and debris. | 171.5033
693021 | New | R | N | Y | N | PL | NEW SUPPLY:EXCAVATE AND CONNECT NEW MAIN | Plumbing | Underground Water Mains | Water Mains - Connections | NO | 177.5896 | New Supply:Isolate water supply, drain down, cut out and insert new tee for 19mm diameter alkathene pipe to any size pipe, all fittings, reinstate water supply, test , item allows for all excavation | New Supply:Isolate water supply, drain down, cut out and insert new tee for 19mm diameter alkathene pipe to any size water main, including all necessary fittings, reinstate water supply and test all newly made joints on completion, item allows for all excavation, earthwork support, backfill and remove waste and debris. | 177.5896
701001 |  | U | N | N | Y | HE | RADIATOR VALVE:RENEW VALVE AND DRAIN DOWN | Heating, Gas Appliances and Installations | Radiators | Radiator - Valves | IT | 88.25 | Radiator Valve:Renew 15mm diameter handwheel or lockshield single entry radiator valve, drain down and vent system, reinstate water supply, install corrosion inhibitor, and test on completion. | Radiator Valve:Renew 15mm diameter handwheel or lockshield single entry radiator valve including drain down and vent system, reinstate water supply, install corrosion inhibitor, test on completion and remove waste and debris. | 88.25
701003 |  | U | N | N | Y | HE | RADIATOR VALVE:RENEW WHILST SYSTEM DRAINED | Heating, Gas Appliances and Installations | Radiators | Radiator - Valves | IT | 13.8219 | Radiator Valve:Renew 15mm diameter handwheel or lockshield single entry radiator valve whilst system is drained for associated work. | Radiator Valve:Renew 15mm diameter handwheel or lockshield single entry radiator valve whilst system is drained for associated work. | 13.8219
701005 |  | U | N | N | Y | HE | RADIATOR VALVE:RENEW THERMOSTATIC AND DRAIN DOWN | Heating, Gas Appliances and Installations | Radiators | Radiator - Valves | IT | 93.6203 | Radiator Valve:Renew 15mm diameter thermostatic radiator valve, drain down and vent system, reinstate water supply, install corrosion inhibitor and test on completion. | Radiator Valve:Renew 15mm diameter thermostatic radiator valve, including drain down and vent system, reinstate water supply, install corrosion inhibitor and test on completion and remove waste and debris. | 93.6203
701007 |  | U | N | N | Y | HE | RADIATOR VALVE:RENEW THERMOSTATIC SYSTEM DRAINED | Heating, Gas Appliances and Installations | Radiators | Radiator - Valves | IT | 18.4152 | Radiator Valve:Renew 15mm diameter thermostatic radiator valve whilst system is drained for associated work. | Radiator Valve:Renew 15mm diameter thermostatic radiator valve whilst system is drained for associated work. | 18.4152
701011 |  | E | Y | N | Y | HE | RADIATOR VALVE:OVERHAUL ANY TYPE | Heating, Gas Appliances and Installations | Radiators | Radiator - Valves | NO | 87.4544 | Radiator Valve:Overhaul any radiator valve, turn supplies off/on, drain down/refill, repack, reseat, deburr spindle, repair leaking valve, renew plastic cap, install corrosion inhibitor and test. | Radiator Valve:Overhaul any radiator valve including turn supplies off/on, drain down/refill as required, repack, reseat, deburr spindle, repair leaking valve, renew plastic cap, install corrosion inhibitor and test on completion and remove waste and debris. | 87.4544
703001 |  | U | N | N | Y | HE | RADIATOR:VENT RADIATORS | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | IT | 38.8511 | Radiator:Vent all radiators to any property and balance system. | Radiator:Vent all radiators to any property and balance system. | 38.8511
703003 |  | U | N | N | Y | HE | RADIATOR:DRAIN DOWN AND REFILL SYSTEM | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | IT | 131.1507 | Radiator:Drain down, reinstate water supply and refill complete system, install corrosion inhibitor, including venting radiators, balance and test system and remove waste and debris. | Radiator:Drain down, reinstate water supply and refill complete system, install corrosion inhibitor, including venting radiators, balance and test system and remove waste and debris. | 131.1507
703005 |  | U | N | N | Y | HE | RADIATOR:MAKE GOOD CONNECTION | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | NO | 61.5111 | Radiator:Drain down radiator, make good faulty connection to valve, flush out, reinstate water supply, and refill, install corrosion inhibitor including venting and test and remove waste and debris. | Radiator:Drain down radiator, make good faulty connection to valve, flush out, reinstate water supply, and refill, install corrosion inhibitor including venting and test and remove waste and debris. | 61.5111
703007 |  | U | N | N | Y | HE | RADIATOR:REMOVE AND REFIX VALVELESS | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | IT | 113.6177 | Radiator:Remove and refit valveless radiator drain/refill system, disconnect, remove, refix loose bracket(s), reconnect, fix pair of radiator valves, install corrosion inhibitor, vent, test. | Radiator:Remove and refit valveless radiator including drain and refill system, disconnect, remove, refix loose bracket(s), reconnect including providing and fixing one pair of radiator valves and all necessary adjustments to pipework, install corrosion inhibitor, vent and test and remove waste and debris. | 113.6177
703009 |  | U | N | N | Y | HE | RADIATOR:REMOVE AND REFIX | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | IT | 61.6632 | Radiator:Remove and refix radiator including shut off valves, drain radiator, disconnect, remove, refix loose bracket(s), refix and reconnect to valves, install corrosion inhibitor, vent, test. | Radiator:Remove and refix radiator including shut off valves, drain radiator, disconnect, remove, refix loose bracket(s), refix and reconnect to valves, install corrosion inhibitor, vent and test and remove waste and debris. | 61.6632
703011 |  | U | N | N | Y | HE | RADIATOR:TEST AND BALANCE SYSTEM | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | IT | 94.1202 | Radiators:Vent all radiators on system, replace any defective air release valves, fire up boiler, adjust controls, test feed and expansion tank, cylinder, rectify minor leaks, balance and test system. | Radiators:Vent all radiators on system, replace any defective air release valves, fire up boiler, adjust controls, test feed and expansion tank, cylinder, rectify minor leaks, balance and test system. | 94.1202
703013 |  | U | N | N | Y | HE | RADIATOR:RENEW AND REFIX BRACKET | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | NO | 20.5136 | Radiator:Renew or refix existing radiator bracket fixed to wall. | Radiator:Renew/refix existing radiator bracket fixed to wall and remove waste and debris. | 20.5136
703015 |  | U | N | N | Y | HE | RADIATOR:CLEAN AND FLUSH OUT SINGLE | Heating, Gas Appliances and Installations | Radiators | Radiators - Repairs | NO | 68.9889 | Radiator:Clean and flush out any size radiator, isolate supplies, drain down, remove to outside property, clean and flush out, refix radiator, refill, vent and test and remove waste and debris. | Radiator:Clean and flush out any size radiator, isolate supplies, drain down, remove to outside property, clean and flush out, refix radiator, refill, vent and test and remove waste and debris. | 68.9889
703025 |  | R | N | Y | N | HE | RADIATOR:RENEW SINGLE CONVECTOR NE 600X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Single Convector Renewal | IT | 113.7773 | Radiator:Shut off valves, drain down/refill, renew with single panel convector radiator and brackets ready primed ne 600x600mm, make connections to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with single panel convector radiator and brackets, ready primed, ne 600x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 113.7773
703027 |  | R | N | Y | N | HE | RADIATOR:RENEW SINGLE CONVECTOR NE 1200X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Single Convector Renewal | IT | 154.2008 | Radiator:Shut off valves, drain down/refill, renew with single panel convector radiator and brackets ready primed ne 1200x600mm, make connections to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with single panel convector radiator and brackets, ready primed ne 1200x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 154.2008
703029 |  | R | N | Y | N | HE | RADIATOR:RENEW SINGLE CONVECTOR NE 1800X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Single Convector Renewal | IT | 299.1914 | Radiator:Shut off valves, drain down/refill, renew with single panel convector radiator and brackets ready primed ne 1800x600mm, make connections to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with single panel convector radiator and brackets, ready primed, ne 1800x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 299.1914
703031 |  | R | N | Y | N | HE | RADIATOR:RENEW SINGLE CONVECTOR OVER 1800X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Single Convector Renewal | IT | 390.3591 | Radiator:Shut off valves, drain down/refill, renew with single panel convector radiator and brackets ready primed over 1800x600mm, connect to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with single panel convector radiator and brackets, ready primed, over 1800x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 390.3591
703033 |  | R | N | Y | N | HE | RADIATOR:RENEW DOUBLE CONVECTOR NE 600X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Double Convector Renewals | IT | 145.3088 | Radiator:Shut off valves, drain down/refill, renew with double panel convector radiator and brackets ready primed ne 600x600mm, make connections to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with double panel convector radiator and brackets, ready primed, ne 600x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 145.3088
703035 |  | R | N | Y | N | HE | RADIATOR:RENEW DOUBLE CONVECTOR NE 1200X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Double Convector Renewals | IT | 200.6264 | Radiator:Shut off valves, drain down/refill, renew with double panel convector radiator and brackets ready primed ne 1200x600mm, make connections to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with double panel convector radiator and brackets, ready primed, ne 1200x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 200.6264
703037 |  | R | N | Y | N | HE | RADIATOR:RENEW DOUBLE CONVECTOR NE 1800X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Double Convector Renewals | IT | 296.2196 | Radiator:Shut off valves, drain down/refill, renew with double panel convector radiator and brackets ready primed ne 1800x600mm, make connections to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with double panel convector radiator and brackets, ready primed, ne 1800x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 296.2196
703039 |  | R | N | Y | N | HE | RADIATOR:RENEW DOUBLE CONVECTOR OVER 1800X600 | Heating, Gas Appliances and Installations | Radiators | Radiators - Double Convector Renewals | IT | 451.1055 | Radiator:Shut off valves, drain down/refill, renew with double panel convector radiator and brackets ready primed over 1800x600mm, make connections to valves, install corrosion inhibitor, vent, test. | Radiator:Shut off valves and drain down, remove and renew with double panel convector radiator and brackets, ready primed, over 1800x600mm, make all connections to existing valves, reinstate water supply, refill, install corrosion inhibitor, vent and test and remove waste and debris. | 451.1055
703201 |  | R | N | Y | N | HE | TOWEL RAIL:RENEW HEATED | Heating, Gas Appliances and Installations | Radiators | Heated Towel Rail | IT | 227.4311 | Towel Rail:Shut off valves, drain, disconnect, clear away and renew heated towel rail, 645x625mm, 2338 BTU/hour, with brackets, make all connections to valves, vent, test and remove waste and debris. | Towel Rail:Shut off valves, drain, disconnect, clear away and renew heated towel rail, 645x625mm, 2338 BTU/hour, with brackets, make all connections to valves, vent, test and remove waste and debris. | 227.4311
704001 |  | U | N | N | Y | HE | AIRLOCKS:CLEAR AIRLOCKS | Heating, Gas Appliances and Installations | Radiators | Airlocks/Reprime | IT | 69.9319 | Airlocks:Clear airlocks from heating system including venting radiators and balance system or pressure pump. | Airlocks:Clear airlocks from heating system including venting radiators and balance system or pressure pump. | 69.9319
704005 |  | U | N | N | Y | HE | REPRIME:REPRIME PRESSURISED SYSTEM COMPLETE | Heating, Gas Appliances and Installations | Radiators | Airlocks/Reprime | IT | 27.1957 | Reprime:Reprime pressurised system including vent and test system. | Reprime:Reprime pressurised system including vent and test system. | 27.1957
705001 |  | R | N | Y | N | HE | TANK:RENEW 18 LITRE FEED AND EXPANSION | Plumbing | Water Storage Tanks | Tanks - Feed and Expansion | NO | 186.8951 | Tank:Renew with 18 litre plastic feed and expansion cold water storage tank, lid, jacket, ballvalve, float Byelaw 30 kit, turn water off/on, drain/refill system, install corrosion inhibitor. | Tank:Renew with 18 litre plastic feed and expansion cold water storage tank, lid, including Byelaw 30 kit turn water off/on, drain/refill system and install corrosion inhibitor, adjust and connect pipework, fix new insulation jacket, ballvalve and float and remove old tank, test on completion and remove waste and debris. | 186.8951
705003 |  | U | N | N | Y | HE | TANK:DRAIN CLEAN OUT REFILL FEED AND EXPANSION | Plumbing | Water Storage Tanks | Tanks - Repairs and Overhauls | NO | 69.4226 | Tank:Isolate supply and drain down 18 litre feed and expansion cold water storage tank thoroughly clean out, reinstate water supply, refill tank and install corrosion inhibitor test on completion. | Tank:Isolate supply and drain down 18 litre feed and expansion cold water storage tank thoroughly clean out, reinstate water supply, refill tank and install corrosion inhibitor test on completion and remove waste and debris. | 69.4226
706001 |  | R | N | N | N | HE | TANK:RENEW INSULATION TO FEED AND EXPANSION | Plumbing | Water Storage Tanks | Insulation - Tank | NO | 19.6659 | Tank:Renew insulating jacket set fixed securely to 18 litre feed and expansion cold water storage tank and remove waste and debris. | Tank:Renew insulating jacket set fixed securely to 18 litre feed and expansion cold water storage tank and remove waste and debris. | 19.6659
730001 |  | X | N | N | Y | HE | VOID:REMOVE ANY GAS APPLIANCE AND SEAL SUPPLY | Heating, Gas Appliances and Installations | Void Works | Void Property Works | IT | 40.8161 | Void:Remove any type of existing gas appliance and seal off supply and remove waste and debris. | Void:Remove any type of existing gas appliance and seal off supply and remove waste and debris. | 40.8161
730003 |  | X | N | N | Y | HE | VOID:BLANK OFF REDUNDANT POINT | Heating, Gas Appliances and Installations | Void Works | Void Property Works | IT | 16.0428 | Void:Blank off redundant gas point and test upon completion. | Void:Blank off redundant gas point and test upon completion. | 16.0428
730005 |  | X | N | N | Y | HE | VOID:TEST AND COMMISSION CENTRAL HEATING SYSTEM | Heating, Gas Appliances and Installations | Void Works | Void Property Works | IT | 46.6214 | Void:Carry out all necessary tests and commission central heating system complete and leave in full working order. | Void:Carry out all necessary tests and commission central heating system complete and leave in full working order. | 46.6214
730007 |  | X | N | N | Y | HE | VOID:CHECK AND TEST GAS INSTALLATION | Heating, Gas Appliances and Installations | Void Works | Void Property Works | IT | 31.0809 | Void:Carry out complete check and test on gas installation to any property and provide report to the Client Representative. | Void:Carry out complete check and test on gas installation to any property and provide report to the Client Representative. | 31.0809
730009 |  | X | N | N | Y | HE | VOID:SAFETY CHECK AND TEST GAS INSTALLATION | Heating, Gas Appliances and Installations | Void Works | Void Property Works | IT | 69.9319 | Void:Carry out complete Landlords gas safety check, turn on and testing to all gas appliances and installation to any property and provide Landlords Gas Safety Check Report (CP12) to the CR. | Void:Carry out complete Landlords gas safety check and testing to all gas appliances and installation to any property and provide Landlords Gas Safety Check Report (CP12) to the Client Representative. | 69.9319
730011 |  | X | N | N | Y | HE | VOID:TEMPORARY CAP GAS SUPPLY | Heating, Gas Appliances and Installations | Void Works | Void Property Works | IT | 24.6327 | Void:Temporary cap gas supply to void property, attend and remove cap on reoccupation of property. | Void:Temporary cap gas supply to void property, attend and remove cap on reoccupation of property. | 24.6327
740001 |  | U | Y | N | Y | HE | GAS COOKER:DISCONNECT BAYONET TYPE SEAL MAKE SAFE | Heating, Gas Appliances and Installations | Domestic Gas Cookers | Domestic Gas Cookers - Void Works | NO | 14.5803 | Gas Cooker:Isolate supply and disconnect any gas cooker (bayonet type fitting) and leave safe. | Gas Cooker:Isolate supply and disconnect any gas cooker (bayonet type fitting) and leave safe. | 14.5803
740003 |  | U | Y | N | Y | HE | GAS COOKER:DISCONNECT SEAL CAP MAKE SAFE | Heating, Gas Appliances and Installations | Domestic Gas Cookers | Domestic Gas Cookers - Void Works | NO | 12.9774 | Gas Cooker:Isolate supply and disconnect any gas cooker, cap off supply pipework and leave safe. | Gas Cooker:Isolate supply and disconnect any gas cooker, cap off supply pipework and leave safe. | 12.9774
740005 |  | U | N | N | Y | HE | GAS COOKER:RECONNECT WITH BAYONET TEST | Heating, Gas Appliances and Installations | Domestic Gas Cookers | Domestic Gas Cookers - Void Works | NO | 15.7593 | Gas Cooker:Connect or reconnect any gas cooker with bayonet type fitting, test and leave in working order. | Gas Cooker:Connect or reconnect any gas cooker with bayonet type fitting, test and leave in working order. | 15.7593
740007 |  | U | N | N | Y | HE | GAS COOKER:RECONNECT AND TEST | Heating, Gas Appliances and Installations | Domestic Gas Cookers | Domestic Gas Cookers - Void Works | NO | 15.5404 | Gas Cooker:Connect or reconnect any gas cooker including removing temporary capping to supply, test and leave in working order. | Gas Cooker:Connect or reconnect any gas cooker including removing temporary capping to supply, test and leave in working order. | 15.5404
740043 |  | U | N | N | Y | HE | GAS COOKER:RENEW STABILITY CHAIN | Heating, Gas Appliances and Installations | Domestic Gas Cookers | Domestic Gas Cookers - Void Works | NO | 14.1474 | Gas Cooker:Renew or install gas cooker stability chain in accordance with the manufacturers technical data sheet and remove waste and debris. | Gas Cooker:Renew or install gas cooker stability chain in accordance with the manufacturers technical data sheet and remove waste and debris. | 14.1474
740045 |  | U | N | N | Y | HE | GAS COOKER:SUPPLY OR RENEW SUPPLY BAYONET FITTING | Heating, Gas Appliances and Installations | Domestic Gas Cookers | Domestic Gas Cookers - Void Works | NO | 22.7125 | Gas Cooker:Isolate supply to any gas cooker point, remove existing fitting, renew or supply and fix new bent or straight bayonet socket fitting screwed to supply pipe, test and leave safe. | Gas Cooker:Isolate supply to any gas cooker point, remove existing bayonet socket, capped end or other fitting, renew or supply and fix new bent or straight bayonet socket fitting screwed to existing supply pipe, test and leave safe and remove waste and debris. | 22.7125
740047 |  | U | N | N | Y | HE | GAS COOKER:SUPPLY OR RENEW BAYONET AND EXTEND PIPE | Heating, Gas Appliances and Installations | Domestic Gas Cookers | Domestic Gas Cookers - Void Works | NO | 47.9866 | Gas Cooker:Isolate supply to any gas point, remove existing fitting, extend existing supply pipe by up to 3.00m with copper pipe and fittings, fix bent or straight bayonet socket fitting, test. | Gas Cooker:Isolate supply to any gas point, remove existing capped end or any other fitting, extend existing supply pipe by upto 3.00m using copper pipe and fittings, supply and fix new bent or straight bayonet socket fitting, test and leave safe and remove waste and debris. | 47.9866
741001 |  | R | N | Y | N | HE | BOILER CUPBOARD:CONSTRUCT | Heating, Gas Appliances and Installations | Void Works | Boiler Cupboards | IT | 482.7572 | Boiler Cupboard:Construct cupboard complete with framing, door lining, stops, architraves and skirting to match existing, flush door with all ironmongery plasterboard lining, make good, decorate. | Boiler Cupboard:Construct cupboard in accordance with the minimum clearances for installation and servicing as set out in the boiler manufacturers technical data sheet and guidance in BS 6798, comprising 50x75mm softwood framing plugged and screwed to walls, 32x100mm softwood door lining with 14x27mm stops, architraves and skirting to match existing, hang 686x1981mm ply flush door on one pair 100mm butt hinges complete with ironmongery, line with 12.5mm taper edged plasterboard scrim jointed, filled and sealed, make good to all disturbed surfaces and decorate to match existing. | 482.7572
741101 |  | R | N | Y | N | HE | GAS VENT:INSTALL PROPRIETARY VENT KIT | Heating, Gas Appliances and Installations | Void Works | Builders Work | NO | 79.3853 | Vent:Supply and install 125mm diameter proprietary ventilator kit complete, core drill through external/internal cavity walls, install vent kit and sleeving, make good, and remove waste and debris. | Gas vent:Supply and install approx. 125mm diameter proprietary ventilator kit complete including core drill openings through external/internal cavity walls and install vent kit and sleeving and make good including all external and internal finishes and remove waste and debris. | 79.3853
741103 |  | R | N | Y | N | HE | GAS FIRE:ADAPT FOR GAS | Heating, Gas Appliances and Installations | Void Works | Builders Work | NO | 233.0942 | Fire:Remove existing fireplace surround, hearth, backboiler and fire, blank off pipework, modify opening to suit new gas fire and backboiler (installed by others) make good, remove waste and debris. | Gas fire:Remove existing fireplace surround and hearth, backboiler and fire, blank off pipework, modify opening to gas regulation standard to suit any gas fire and backboiler (installed by others) including extending skirting and make good finishes, size ne 1200x900x100mm with opening size 510x575mm complete with shelf, bedded in cement lime mortar (1:1:6), make good finishings and remove waste and debris. | 233.0942
741105 |  | R | N | Y | N | HE | DRAUGHTPROOF:PROVIDE TO DOORS | Heating, Gas Appliances and Installations | Void Works | Builders Work | LM | 5.0319 | Draughtproof:Supply and fix proprietary aluminium draught seals to head and both jambs of external doors, screw fixed in accordance with the manufacturers technical data sheet. | Draughtproof:Supply and fix proprietary aluminium draught seals to head and both jambs of external doors, screw fixed in accordance with the manufacturers technical data sheet. | 5.0319
741107 |  | R | N | Y | N | HE | DRAUGHTPROOF:PROVIDE TO WINDOWS | Heating, Gas Appliances and Installations | Void Works | Builders Work | LM | 5.0319 | Draughtproof:Supply and fix proprietary draught seals to all edges of opening casements and of double hung sash windows, all in accordance with the manufacturers technical data sheet. | Draughtproof:Supply and fix proprietary draught seals to all edges of opening casements and edges and meeting rails of double hung sash windows, all in accordance with the manufacturers technical data sheet. | 5.0319
741113 |  | R | N | Y | N | HE | PIPEWORK:PREPARE PRIME PAINT SMALL HEATING | Heating, Gas Appliances and Installations | Void Works | Builders Work | LM | 6.904 | Pipework:Prepare for and apply coat of primer, one undercoat and two coats of gloss paint to copper pipework ne 25mm diameter including clips. | Pipework:Prepare for and apply coat of primer, one undercoat and two coats of gloss paint to copper pipework ne 25mm diameter including clips. | 6.904
760001 |  | X | N | N | Y | HE | RADIATOR:RELOCATE POSITION | Heating, Gas Appliances and Installations | Radiators | Relocate Radiators | IT | 233.6321 | Radiator:Isolate, drain down, remove,set aside radiator for reuse, cut back flow and return pipes, run new pipes to relocated position, refix radiator, connect to new pipes, refill, instal inhibitor. | Radiator:Relocate position of radiator, isolate, drain down, remove, set aside radiator for reuse, cut back flow and return pipework to floor or ceiling void and run new pipework to relocated position including all bends, connectors, clips etc., refix existing radiator in new position, connect to new new flow and return pipework, refill and recommission the heating system, including installing corrosion inhibitor, vent and test and remove waste and debris. | 233.6321
760101 |  | X | N | N | Y | HE | POWER FLUSH:EXISTING HEATING SYSTEM | Heating, Gas Appliances and Installations | Radiators | Power Flushing | IT | 208.8528 | Power Flush:Undertake power flushing of existing heating systems when specifically instructed by Client Representative during installation of new boiler or whilst extending existing installation. | Power Flush:Undertake power flushing of existing heating systems when specifically instructed by Client Representative during installation of new boiler or whilst extending existing installation and remove waste and debris. | 208.8528